## Slide 1: بسم الله الرحمن الرحيم
ANALYSIS OF THE WATER DITRUBUTION NETWORK AND DESING A STORM WATER COLLECTION NETWORK
Prepared by
Mohammed Saleh Zubide
Mohammed Khalid Jbara
Supervisor
Dr. Mohammad Al Masri

## Slide 2: CONTENTS
Objectives
Methodology
Over view for the study area
Primary Evaluation for water sources
Analyses of the water network data
Scenarios and results
Design a storm water collection network
Results of the design

## Slide 3: OBJECTIVES
Primary evaluation of the water sources for zeita town
Analyses of the water distribution network
Design a storm water collection network

## Slide 4: METHODOLOGY
Visit the study area
Draw the network
Enter all data for the pipe
Determine the all data for the junction
Gather the information and data
Primary evaluation
Set up the monthly factor
Scenario for the demand
Results from(Steady state, EPS, in 25yr)
Design a Storm water network
Analyses of the Water Network
Prepare all data
Convert to raster
Draw catch basin,catchment,outfalls, conduits
Determine the intensity and runoff coefficient
Design

## Slide 5: OVERVIEW FOR ZEITA VILLIGE
Location
خط الهدنة

## Slide 6: OVERVIEW FOR ZEITA VILLIGE
TOPOGRAPHY

## Slide 7: HYDROLOGICAL INFORMATION
Hydrological site:

## Slide 8: HYDROLOGICAL INFORMATION
Wadis:

## Slide 9: HYDROLOGICAL INFORMATION
Annual rainfalls:
The annual average of the rainfall for the last 5 years is nearly 570mm.
Annual rainfall in Zeita town (mm) |  |  |  | 
2013 | 2014 | 2015 | 2016 | 2017
520 | 620 | 618 | 550 | 563

## Slide 10: LAND USE

## Slide 11: LAND USE
The table below show the approximated area for the land use field:
ID | Area( dunums ) | Percentage (%)
Total | 2000 | 100 %
Streets(Paved, Non Paved, Corridors). | 159 | 8%
Green house | 164 | 8.2%
Building | 90 | 4.5%
Cemetery | 33 | 1.65%
park | 1.5 | 0.075%
Block factory | 18 | 0.9%
Schools | 13 | 0.65%
The rest(olive trees or citrus fruits or farms.) | 1522 | 76.1%

## Slide 12: POPULATION
**We gathered this information from many sources to have an acceptable values for the number of population:
= (1+G) ^10
G1=1.26%
= (1+G) ^10
G2=0.8%
Gave=1.03%
So the population after 25 year:
P=3500(1+0.0103) ^25
P=4522 capita
Year | population
1997 | 2852
2007 | 3231
2017 | 3500

## Slide 13: PRIMARY EVALUATIONS OF WATER SOURCES
Wells:
Well ID | 15-19/010
Well Name | Bear Za’zoq
Ownerships | Owner by municipality
Managed by | The municipality
Location/ Community | X=155133.75327 Y=199129.31744
Wall depth | 260m
Pumping Capacity | 280 m3/hr.
Connect reservoirs | One reservoirs (500 m3)
Average Static water level below ground level [m] | 82 m
Average Operation water level below ground level [m] | 83 m
Average daily operation hours | 17hr

## Slide 14: PRIMARY EVALUATIONS OF WATER SOURCES
*Number of population that get benefit from this well is (20600 capita) with Zeita.
*but Zeita only (3500 capita).
Water pumped for Zeita only(m3/month)
Emergency walls:
-Ba’ar Albhr [80m3/hr.]
-Ba’ar Abo Sabha [70-100m3/hr.]
Year | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
2012 |  | 16720 | 18920 | 27000 | 35500 | 39900 | 40860 | 42580 | 38040 | 33401 | 28400 | 24500
2013 | 12820 | 17500 | 17950 | 26500 | 34400 | 40900 | 41900 | 44200 | 36020 | 34400 | 30750 | 28000
2014 | 12800 | 16800 | 18400 | 27800 | 36800 | 41700 | 43800 | 45400 | 35800 | 37600 | 31500 | 30004

## Slide 15: PRIMARY EVALUATIONS OF WATER SOURCES
Chart: Total Pumping in (2012/2013/2014)[m3/month]
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Total pumping in 2013 | 12820 | 17500 | 17950 | 26500 | 34400 | 40900 | 41900 | 44200 | 36020 | 34400 | 30750 | 28000
Total Pumping in 2014 | 12800 | 16800 | 18400 | 27800 | 36800 | 41700 | 43800 | 45400 | 35800 | 37600 | 31500 | 30004
Total Pumping in 2012 | 16720 | 18920 | 27000 | 35500 | 39900 | 40860 | 42580 | 38040 | 33401 | 28400 | 24500

## Slide 16: PRIMARY EVALUATIONS OF WATER SOURCES
**Domestic use:
Unite load for the domestic use:
Av consumption for three year in(L/day) =499023L/day
Pop=3500 capita
Unite load=140L/c-day
Year | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Av/month
2012 |  | 7040 | 8000 | 10350 | 20740 | 17000 | 17060 | 19400 | 17040 | 14050 | 14000 | 10403 | 12923.58
2013 | 4900 | 8500 | 8700 | 13000 | 20111 | 21005 | 21950 | 22887 | 18400 | 17200 | 16200 | 14060 | 15576.08
2014 | 4800 | 8004 | 8900 | 13090 | 21450 | 22450 | 23750 | 24444 | 20009 | 19999 | 15456 | 14597 | 16412.42

## Slide 17: PRIMARY EVALUATIONS OF WATER SOURCES
Chart: Water Domeistic in[2012/2013/2014]m3/month
water domistic 2012 | 7040 | 8000 | 10350 | 20740 | 17000 | 17060 | 19400 | 17040 | 14050 | 14000 | 10403
water domidtic 2013 | 4900 | 8500 | 8700 | 13000 | 20111 | 21005 | 21950 | 22887 | 18400 | 17200 | 16200 | 14060
water domistic 2014 | 4800 | 8004 | 8900 | 13090 | 21450 | 22450 | 23750 | 24444 | 20009 | 19999 | 15456 | 14597

## Slide 18: PRIMARY EVALUATIONS
**Agricultural use:
Unite load for the :
Av consumption for three year in(m3/day) =424m3/day
Total area for green house in the demand area= 158172.61m2
Unite load=0.0027m3/m2-day2.7m3/dunum-day .
Year | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Av/month
2012 |  | 6060 | 7950 | 14500 | 12005 | 18090 | 20400 | 20860 | 19900 | 16040 | 12060 | 12400 | 13355.42
2013 | 6040 | 7400 | 7700 | 14450 | 11890 | 16990 | 17450 | 18940 | 15560 | 15640 | 12233 | 12023 | 12523.00
2014 | 5950 | 7020 | 7650 | 12920 | 12480 | 14897 | 16997 | 18997 | 13010 | 15657 | 13998 | 13670 | 12274.67

## Slide 19: PRIMARY EVALUATIONS
Chart: Water agriculture use in[2012/2013/2014]m3/month
water agriculture use 2012 | 6060 | 7950 | 14500 | 12005 | 18090 | 20400 | 20860 | 19900 | 16040 | 12060 | 12400
water agriculture use 2013 | 6040 | 7400 | 7700 | 14450 | 11890 | 16990 | 17450 | 18940 | 15560 | 15640 | 12233 | 12023
water agriculture use 2014 | 5950 | 7020 | 7650 | 12920 | 12480 | 14897 | 16997 | 18997 | 13010 | 15657 | 13998 | 13670

## Slide 20: PRIMARY EVALUATIONS
Largest consumers
Name | Type of usage | Quantity(m3/month)
Block Al Ghanm | Block factory | 800
Olive press Abo Jzer | Olive press | 150
Zeita food company | Frozen meat | 150
Arboretum | Green house | 350
 |  | 1450

## Slide 21: NETWORK DATA
Pipes data:

## Slide 22: NETWORK DATA
Note: Hazen William coefficient for the material =Original Hazen William – (10) for every 10year.

## Slide 23: NETWORK DATA
RESERVOIR DATA

## Slide 24: NETWORK DATA
NODE DATAPOSTION OF NODE :

## Slide 25: NETWORK DATA
Demand:

## Slide 26: NETWORK DATAu7y
Convert building and green house as a point shape file:

## Slide 27: NETWORK DATA
Largest consumers and its nods

## Slide 28: MONTHLY FACTORED
Chart: Monthly factor
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
manthly factor | 0.38721 | 0.52395 | 0.58198 | 0.932 | 1.1744 | 1.3143 | 1.3997 | 1.494 | 1.2368 | 1.1733 | 0.99908 | 0.91823
 | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
M3/HR | 15.06 | 20.38 | 22.64 | 36.25 | 45.68 | 51.13 | 54.45 | 58.11 | 48.11 | 45.64 | 38.86 | 35.72
38.9 | 0.39 | 0.52 | 0.58 | 0.93 | 1.17 | 1.31 | 1.40 | 1.49 | 1.24 | 1.17 | 1.00 | 0.92

## Slide 29: PUMP CHARACTERISTICS
**Pump properties:
Type: Poster
Company: Lenovo
Flow rate design=27
m3/hr. after 25 year
Static head =30m
Characteristic carve:

## Slide 30: PUMP CHARACTERISTICS

## Slide 31: SCENARIO AND RESULTS
1-Analyze the network for the current situation Average condition:
Pressure:
Chart: 

## Slide 32: SCENARIO AND RESULTS
Velocities :
Chart: 

## Slide 33: SCENARIO AND RESULTS
2-Analyze the network with max monthly factor pulse the demand for the press olive as in table (9): 6.1m3/day at junction 58:
Pressure:
Chart: variation of the pressure

## Slide 34: SCENARIO AND RESULTS
Velocities :
Chart: variation of the velocity

## Slide 35: SCENARIO AND RESULTS
3-Analyze the network based on the maximum demand on the future after 25 year:
Pressure:
Chart: 

## Slide 36: SCENARIO AND RESULTS
Velocities :
Chart: 

## Slide 37: DESIGN OF STORM WATER COLLECTION NETWORK
Rational method :
Rational method
Runoff coefficient ( C)
Area(A)
Intensity(I)
Time of concentration(tc)
Return period(R)

## Slide 38: DESIGN OF STORM WATER COLLECTION NETWORK

## Slide 39: DESIGN OF STORM WATER COLLECTION NETWORK
Runoff coefficient(C):
        C= Cr × Pr + Cg × Pg +Cb × Pb + Cs × Ps
Where:
C: Runoff coefficient
P: Percentage
Cr: runoff coefficient of road=0.85
Cg: runoff coefficient of greenhouse=0.88
Cb: runoff coefficient of building=0.75
Cs: runoff coefficient of soil=0.25

## Slide 40: DESIGN OF STORM WATER COLLECTION NETWORK
Runoff coefficient(C):

## Slide 41: DESIGN OF STORM WATER COLLECTION NETWORK

## Slide 42: DESIGN OF STORM WATER COLLECTION NETWORK
Intensity(I):

## Slide 43: DESIGN OF STORM WATER COLLECTION NETWORK
Intensity(I):
Intensity(I):
Time of concentration(C)
slope
Over land flow length
Return period

## Slide 44: DESIGN OF STORM WATER COLLECTION NETWORK
Time of concentration:
Return period= 5 years

## Slide 45: DESIGN OF STORM WATER COLLECTION NETWORK

## Slide 46: DESIGN OF STORM WATER COLLECTION NETWORK
Result :

## Slide 47: DESIGN OF STORM WATER COLLECTION NETWORK
Result :

## Slide 48: DESIGN OF STORM WATER COLLECTION NETWORK
Result :

## Slide 49: DESIGN OF STORM WATER COLLECTION NETWORK
Result :

## Slide 50: DESIGN OF STORM WATER COLLECTION NETWORK