## Slide 1
An-Najah National University
Building Engineering Department
Assessment & Redesign for Establishment of Manage & Development Orphans Funds in Ramallah City
Second semester 2022
Supervised by:
Dr. Mutasim Baba
Prepared by:
Aya Ziyad Rabay’a
Osama Ammar Tbaileh
Mohammad Bassam Saleh

## Slide 2: Contents headlines:
Introduction
Site analyses
Architectural aspects
Environmental aspects
Electromechanical aspects
Structure aspects
Cost estimation aspects

## Slide 3: Introduction:
Office building.
lies in Ramallah city specifically in Al-Biereh.
6 floors and 2 basements.
Each floor’s area 353.5 .

## Slide 4: Site analyses:
The site is about 850 meters above sea level.
The site area is 1200 square meters.

## Slide 5: Site analyses:
Orientation of the building:

## Slide 6: Architectural Aspects

## Slide 7: Architectural Aspects:
Ground Floor:
Before
After

## Slide 8: Architectural Aspects:
First Floor:
Before
After

## Slide 9: Architectural Aspects:
Car parking (B2):

## Slide 10: Environmental Aspects

## Slide 11: Environmental aspects:
Shading.
Daylight.
Solutions.

## Slide 12: Environmental Aspects: Shading:
21-July 8:00 AM
21-December 8:00 AM

## Slide 13: Environmental Aspects: Shading:
21-July 12:00 PM
21-December 12:00 PM

## Slide 14: Environmental Aspects: Shading:
21-July 2:00 PM
21-December 2:00 PM

## Slide 15: Environmental Aspects: Daylight analysis: Ground Floor:
Before
After

## Slide 16: Environmental Aspects: Daylight analysis: Fifth Floor:
Before
After

## Slide 17: Environmental Aspects: Solutions:

## Slide 18: Environmental Aspects: Solutions:

## Slide 19: Environmental Aspects: Solutions:

## Slide 20: Electromechanical Aspects

## Slide 21: Electromechanical aspects:
Artificial Lighting.
HVAC System.
Acoustical System.
Fire Fighting System.
Water Supply System.
Drainage System.

## Slide 22: Electromechanical Aspects: Artificial Lighting:
Employees Office Room

## Slide 23: Electromechanical Aspects: Artificial Lighting:
Meeting Room

## Slide 24: Electromechanical Aspects: Artificial Lighting:
Multi-purpose Room

## Slide 25: Electromechanical Aspects: Artificial Lighting:
Artificial Lighting 1st Plan.

## Slide 26: Electromechanical Aspects: Artificial Lighting:
Artificial Lighting 5th Plan.

## Slide 27: Design Builder software analysis
Improvement & treatment
Electromechanical Aspects:

## Slide 28: Design Builder software analysis
PMV

## Slide 29
Electromechanical Aspects: HVAC System:

## Slide 30
VRV unit
Electromechanical Aspects: HVAC System:

## Slide 31
Wall mounted unit
Electromechanical Aspects: HVAC System:

## Slide 32
Fan coil unit Diffusers
Electromechanical Aspects: HVAC System:

## Slide 33
HVAC units distribution in GF
Electromechanical Aspects: HVAC System:

## Slide 34
HVAC unit distribution in 1st floor
Electromechanical Aspects: HVAC System:

## Slide 35
Standard reverberation time (0.6-1.4)
AL< 10% accept
Electromechanical Aspects: Acoustical system:
For Meeting Room:

## Slide 36
Standard STC 38
STC for barrier between office and adjacent office
Composite TL for barrier between office and corridor.
Standard STC 38
Electromechanical Aspects: Acoustical system:

## Slide 37
Recommendation 80 dB
Electromechanical Aspects: Acoustical system:
Acoustic design for corridor:

## Slide 38
Electromechanical Aspects: Fire Fighting System:
Fire Alarm System in 1st floor:

## Slide 39
Electromechanical Aspects: Fire Fighting System:
Fire Fighting System in 1st floor:

## Slide 40
Electromechanical Aspects: Water Supply System:
Total fixtures unit for water supply.
Size of pipes with total losses.

## Slide 41
Electromechanical Aspects: Water Supply System:
Water supply network in G.F:

## Slide 42
5. Drainage system
Electromechanical Aspects: Drainage System:
Drainage fixture unit in the building.
Diameter & slope for each type of fixture.

## Slide 43: Structural Aspects

## Slide 44: Structural Aspects:
Brief scope of limitations :
1- =28 MPa. For columns and shear wall and 24MPa for slabs and beams .
2- = 420MPa. For all structural element of project.
3- Number of floors are 6 with 2 basements.
4- Live load = 5 𝐾𝑁/𝑚^2 .
5- SI.Dead load = 4 𝐾𝑁/𝑚^2

## Slide 45: Structural Aspects:

## Slide 46: Structural Aspects: Model checks: Compatibility check:
OK

## Slide 47: Structural Aspects: Model checks: Equilibrium check:
OK
Equilibrium Check |  |  |  | 
Load Case | Etab | Manually | Error % | 
Live | 12631.44 | 12631.2 | 0.002 | OK
SID | 30354.84 | 30381.19 | 0.087 | OK
Dead | 25226.83 | 25779.04 | 2.189 | OK
Error must be < 5%

## Slide 48: Structural Aspects: Model checks: Stress-Strain check:
OK
Error must be < 10%
Columns Stress-Strain Check |  |  |  | 
Column # | Etab | Manually | Error % | 
C1 (corner) | 2837.87 | 2742.13 | 3.30 | OK
C2 (internal) | 4403.36 | 4502.98 | 2.26 | OK
C3 (edge) | 3553.23 | 3676.88 | 3.48 | OK
Beams Stress-Strain Check |  |  |  | 
Beam # | Etab | Manually | Error % | 
Beam 1 | 639.09 | 691.18 | 8.20 | OK
Beam 2 | 227.03 | 286.67 | 3.47 | OK
Beam 3 | 148.58 | 160.64 | 8.10 | OK
Slabs Stress-Strain Check |  |  |  | 
Slab # | Etab | Manually | Error % | 
Beam 1 | 64.72 | 66.98 | 3.49 | OK
Beam 2 | 73.94 | 74.78 | 1.13 | OK
Beam 3 | 30.11 | 29.2 | 3.00 | OK

## Slide 49: Structural Aspects: Model checks: Deflection check:
OK
Deflection Check on 5th floor Ceiling |  |  | 
 | Etab | Max. Allowed | 
From Sevice | 26.74 | 37.29 | OK
From Live | 8.01 | 24.86 | OK

## Slide 50: Structural Aspects: Seismic design:
Seismic zone : 2A with (Z = 0.15)
Soil profile : SB.
Acceleration-dependent seismic coefficients Ca=0.15.
Velocity-dependent seismic coefficients Cv= 0.15.
Importance factor I=1.
Force reduction factor R=5.5
Q all. = 3.5 Kg/

## Slide 51: Structural Aspects: Seismic design: Period check:
T manual = 1.37seconds
OK.

## Slide 52: Structural Aspects: Seismic design: Drift check:
OK.
Drift limitation = 2 % times story height.

## Slide 53: Structural Aspects: Design for structural elements: G.F ceiling:

## Slide 54: Structural Aspects: Design for structural elements: Beams:

## Slide 55: Structural Aspects: Design for structural elements: Columns:

## Slide 56: Structural Aspects: Design for structural elements: Foundation:

## Slide 57: Structural Aspects: Design for structural elements: Shear wall:

## Slide 58: Structural Aspects: Design for structural elements: Stairs:

## Slide 59: Cost Estimation Aspects

## Slide 60: Cost Estimation Aspects: General unit cost of the project:

## Slide 61: Thank You