An-Najah National University

Faculty of Engineering & Information Technology Building Engineering Department

Redesign of Jenin chamber of commerce

Graduation project report (I) Prepared by:

Danya Al-atrash Hala Assaf Oday Arafat

Supervised by: Eng. Fady Fatayer.

Presented in partial fulfillment of the requirements for Bachelor degree in Building Engineering.

Jan 2023

# DEDICATION

بسم هللا الرحمن الرحيم

يا ُحلُماً ما ها َن يوماً، يا دعا ًء ألحقته بآمين

ٌي ،الحمد هلل حين البدء وعند الختام

ُخت َم سع

ٌب وال

ُخ ّط در

الحمد هلل الذي لوال هداه لما اهتدينا وال

بعد الثناء والصالة على خاتم األنبياء والمرسلين، نهدي مشروع تخرجنا إلى وال ِدينا الذين حصدوا األشواك عن

دربنا ليمهدوا لنا طريق العلم، فنحن هنا بفضل دعواتهم الصادقة التي المست عنان السماء، وإلى كل من علمنا

حرفا أو كلمة، إلى مدرسينا األعزاء في كلية الهندسة، وإلى أصدقائنا وزمالئنا، إلى شهداء الوطن، شهداء فلسطين،

وإلى أسرانا البواسل، وإلى كل من كان في طريقنا، مر عابرا أو استندنا إليه.

# ACKNOWLEDGMENT

First and foremost, we thank God for giving us the strength and motivation to pursue this project. We also want to express our sincere appreciation to Eng. Fady Fatayer for his guidance and assistance in researching and writing our report. The faculty at An- Najah National University's Building Engineering Department have also been a valuable source of support, providing us with the necessary information and answering our questions throughout this semester. And we don’t forget to thank our families and friends for their continuous support and encouragement, and for providing all means of comfort for us to do the work in the best possible way.

Finally, we would like to acknowledge the contributions of all those who have helped us complete this project, and we extend our heartfelt thanks to all those who have contributed to the success of this project. As we reflect on the skills and insights gained and the memories made, we hope that our project will be remembered for years to come.

# DISCLAIMER STATEMENT

This report was written by Danya Al-Atrash, Hala Assaf and Oday Arafat at the Building Engineering Department, Faculty of Engineering, An-Najah National University. It has not been altered or corrected, other than editorial corrections, as a result of assessment and it may contain language as well as content errors. The views expressed in it together with any outcomes and recommendations are solely those of the student(s). An-Najah National University accepts no responsibility or liability for the consequences of this report being used for a purpose other than the purpose for which it was commissioned.

# TABLE OF CONTENTS

DEDICATION	I

ACKNOWLEDGMENT	I

DISCLAIMER STATEMENT	II

List of Figures	V

List of Tables	VIII

- List of symbols	IX

ABSTRACT	1

Introductory	2

  - Introduction	2

  - Project Problem	2

  - Objectives	2

  - Scope of the Work	2

  - Methodology	3

  - Limitations and Constraints:	3

  - Codes and Standards	3

  - Earlier Course Work	4

Environmental- Architectural Aspects	5

Literature Review	5

    - Standards and Specifications	5

Case Study	14

Site analysis	21

    - Location	21

    - Topography	21

    - Site plan	22

    - Sun path diagram	22

    - Climate in Jenin	24

    - Noise readings	26

    - Shading analysis	26

    - Solar radiation analysis	31

    - Wind	55

Architectural modifications	56

    - Bubbles Diagram after modifications	60

    - Conclusion for architectural modifications	63

    - Edited plans	64

Environmental analysis and Design	78

    - Daylight factor	78

    - Heating and cooling load	92

    - Environmental treatment strategies	94

Structural Aspects	101

Introduction:	101

Assumptions	101

    - STRUCTURAL CODE AND DESIGN	101

    - Material	101

    - Loads	101

Structural system	102

    - Slab Design:	102

    - Columns Design	104

    - Expansion Joint	105

Structural Model	105

    - Structural model checks	107

Quantity surveying & Cost Estimate	125

  - Introduction:	125

  - Cost estimation Techniques:	125

    - Analogous estimation	125

    - Parametric estimation	125

    - Three-point estimation	125

    - Bottom-Up estimation	126

  - Methodology	126

  - Limitations	126

  - Summary	126

Conclusion	127

ARCHITECTURAL Aspects	127

  - ENVIRONMENTAL Aspects	128

  - Structural Aspects	131

  - Quantity surveying & Cost Estimation	131

- References	132

LIST OF FIGURES

Figure 2.1: Computer work station.	5

Figure 2.2: disable people.	6

Figure 2.3: disable people path requirements.	6

Figure 2.4: disable people ramp requirements	6

Figure 2.5: Toilets design requirements	7

Figure 2.6: Disable people Toilets design requirements	7

Figure 2.7: Disable people Toilets design requirements	8

Figure 2.8: Meeting hall stairs standards.	9

Figure 2.9: Stairs distribution in the meeting hall according to standards.	10

Figure 2.10: Stage standards	10

Figure 2.11: Restaurant tables layout	11

Figure 2.12: Parking spaces standard distances.	12

Figure 2.13: Chamber of commerce building	17

Figure 2.14: ground floor plan	17

Figure 2.15: First floor plan	18

Figure 2.16: Third floor plan.	19

Figure 2.17: Ground floor plan	20

Figure 2.18 : Location of the project.	21

Figure 2.19: Topography of the project	21

Figure 2.20: site plan.	22

Figure 2.21: Sun path diagram.	22

Figure 2.21: Revit model	23

Figure 2.22: Monthly climate in Jenin	24

Figure 2.23: Average High and Low Temperature	24

Figure 2.24: Average Monthly Rainfall	25

Figure 2.25: Hours of Daylight and Twilight	25

Figure 2.26: Average Wind Speed in Jenin	25

Figure 2.27: Noise readings	26

Figure 2.28: Elevations of the building	26

Figure 2.29: Shading in winter at 8AM.	27

Figure 2.30: Shading in winter at 12PM.	27

Figure 2.31: Shading in winter at 2PM.	28

Figure 2.32: Shading in summer at 8AM.	29

Figure 2.33 Shading in summer at 12PM.	29

Figure 2.34 Shading in summer at 2PM.	30

Figure 2.35: Solar radiation on south east elevation in winter at 8 am	31

Figure 2.36: Solar radiation on south west elevation in winter at 8 am	32

Figure 2.37: Solar radiation on North West elevation in winter at 8 am	33

Figure 2.38: Solar radiation on north east elevation in winter at 8 am	34

Figure 2.39: Solar radiation on south east elevation in winter at 12 Pm	35

Figure 2.40: Solar radiation on south west elevation in winter at 12 Pm	36

Figure 2.41: Solar radiation on North West elevation in winter at 12 Pm	37

Figure 2.42: Solar radiation on north east elevation in winter at 12 Pm	38

Figure 2.43: Solar radiation on south east elevation in winter at 2 Pm	39

Figure 2.44: Solar radiation on south west elevation in winter at 2 Pm	40

Figure 2.45: Solar radiation on North West elevation in winter at 2 Pm	41

Figure 2.46: Solar radiation on north east elevation in winter at 2 Pm	42

Figure 2.47: Solar radiation on South East elevation in summer at 8 am	43

Figure 2.48: Solar radiation on South West elevation in summer at 8 am	44

Figure 2.49: Solar radiation on North West elevation in summer at 8 am	45

Figure 2.50: Solar radiation on north east elevation in summer at 8 am	46

Figure 2.51: Solar radiation on South East elevation in summer at 12 Pm	47

Figure 2.52: Solar radiation on South West elevation in summer at 12 Pm	48

Figure 2.53: Solar radiation on North West elevation in summer at 12 Pm	49

Figure 2.54: Solar radiation on North East elevation in summer at 12 Pm	50

Figure 2.55: Solar radiation on south east elevation in summer at 2 Pm	51

Figure 2.56: Solar radiation on south west elevation in summer at 2 Pm	52

Figure 2.57: Solar radiation on North West elevation in summer at 2 Pm	53

Figure 2.58: Solar radiation on north east elevation in summer at 2 Pm	54

Figure 2.59: Wind direction.	55

Figure 2.60: Wind direction of the building	55

Figure 2.61: Bubbles diagram legend.	60

Figure 2.62: Ground floor bubbles diagram	60

Figure 2.63: first floor bubbles diagram	61

Figure 2.64: second and third floor bubbles diagram	61

Figure 2.65: fourth floor bubbles diagram 5th floor	62

Figure 2.66: fifth floor bubbles diagram 5th floor	62

Figure 2.67: First basement plan before modifications.	64

Figure 2.68: Second basement plan before modifications.	64

Figure 2.69: First basement plan before modifications.	65

Figure 2.70: Second basement plan before modifications.	65

Figure 2.71: Third basement plan before modifications.	66

Figure 2.72: Ground floor before modifications.	66

Figure 2.73: Ground floor after modifications.	67

Figure 2.74: First floor before modifications.	67

Figure 2.75: First floor after modifications.	68

Figure 2.76: Second floor before modifications.	68

Figure 2.77: Second floor after modifications.	69

Figure 2.78: Third floor before modifications.	69

Figure 2.79: Third floor after modifications.	70

Figure 2.80: Fourth floor before modifications.	70

Figure 2.81: Fourth floor after modifications.	71

Figure 2.82: Fifth floor before modifications.	71

Figure 2.83: Fifth floor after modifications.	72

Figure 2.84: sixth floor before modifications.	72

Figure 2.85: Sixth floor after modifications.	73

Figure 2.86: North- East Elevation.	74

Figure 2.87: South- East Elevation.	74

Figure 2.88: South- West Elevation.	75

Figure 2.89: North- West Elevation.	75

Figure 2.90: Section A-A.	76

Figure 2.91: Section B-B.	77

Figure 2.92: Daylight factor in ground floor before	78

Figure 2.93: Daylight factor in first floor before	79

Figure 2.94: Daylight factor in second floor before	80

Figure 2.95: Daylight factor in third floor before	81

Figure 2.96: Daylight factor in fourth floor before	82

Figure 2.97: Daylight factor in fifth floor before	83

Figure 2.98: Daylight factor in sixth floor before	84

Figure 2.99: Daylight factor in ground floor after.	85

Figure 2.100: Daylight factor in first floor after.	86

Figure 2.101: Daylight factor in second floor after.	87

Figure 2.102: Daylight factor in third floor after.	88

Figure 2.103: Daylight factor in fourth floor after.	89

Figure 2.104: Daylight factor in fifth floor after.	90

Figure 2.105: Daylight factor in sixth floor after.	91

Figure 2.106: Horizontal and vertical louvers used.	94

Figure 2.107: Horizontal louvers used.	94

Figure 2.108: Skylight used.	95

Figure 2.109: Ground floor daylight factor after treating	96

Figure 2.110: First floor daylight factor after treating	96

Figure 2.111: Second floor daylight factor after treating	97

Figure 2.112: Third floor daylight factor after treating	97

Figure 2.113: Fourth floor daylight factor after treating	98

Figure 2.114: Fifth floor daylight factor after treating	98

Figure 2.115: Sixth floor daylight factor after treating	99

Figure 3.1: Section in Upoot	103

Figure 3.2: Upoot dimensions	103

Figure 3.3: Upoot arrangement.	103

Figure 3.4: Expansion Joint location.	105

Figure 3.5: 3d structural model before separation.	105

Figure 3.6: part 1 structural model.	106

Figure 3.7: part 2 structural model.	106

Figure 3.8: Compatibility check for part 1	107

Figure 3.9: Compatibility check for part 2	107

Figure 3.10: Deflection from live load for part 1	108

Figure 3.11: Deflection from service load for part 1	109

Figure 3.12: Deflection from live load for part 2	109

Figure 3.13: Deflection from service load for part 2	110

Figure 3.14: Shear for B3 floor from ETABS for part 1 model.	111

Figure 3.15:Shear for B2 floor from ETABS for part 1 model.	111

Figure 3.16: Shear for B1 floor from ETABS for part 1 model.	112

Figure 3.17: Shear for GF floor from ETABS for part 1 model.	112

Figure 3.18: Shear for f1 floor from ETABS for part 1 model.	113

Figure 3.19: Shear for f2 floor from ETABS for part 1 model.	113

Figure 3.20: Shear for f3 floor from ETABS for part 1 model.	114

Figure 3.21: Shear for f4 floor from ETABS for part 1 model.	114

Figure 3.22: Shear for f5 floor from ETABS for part 1 model.	115

Figure 3.23: Shear for f6 floor from ETABS for part 1 model.	115

Figure 3.24: Shear for f7 floor from ETABS for part 1 model.	116

Figure 3.25: Shear for B3 floor from ETABS for part 2 model.	116

Figure 3.26: Shear for B2 floor from ETABS for part 2 model.	117

Figure 3.27: Shear for B1 floor from ETABS for part 2 model.	117

Figure 3.28: Shear for GF floor from ETABS for part 2 model.	118

Figure 3.29: Shear for F1 floor from ETABS for part 2 model.	118

Figure 3.30: Shear for F2 floor from ETABS for part 2 model.	119

Figure 3.31: Shear for F3 floor from ETABS for part 2 model.	119

Figure 3.32: Shear for F4 floor from ETABS for part 2 model.	120

Figure 3.33: Shear for F5 floor from ETABS for part 2 model.	120

Figure 3.34: Shear for F6 floor from ETABS for part 2 model.	121

Figure 3.35: Shear for F7 floor from ETABS for part 2 model.	121

Figure 3.36: Design results for part 1 model.	123

Figure 3.37: Design results for part 2 model.	124

Figure 5.1: Horizontal and vertical louvers used.	128

Figure 5.2: Horizontal louvers used.	129

Figure 5.3: Skylight used	130

Figure 5.4: Slab section.	131

#### LIST OF TABLES

Table I.1: List of symbols and abbreviations.	IX

Table 2.1: Staff required toilets.	8

Table 2.2: Number of required Toilets in each floor.	8

Table 2.3: Tables standard dimensions.	11

Table 2.4: General spaces standard areas.	13

Table 2.5: Average High and Low Temperature	24

Table 2.6: Shading analysis summary in winter.	28

Table 2.7: Shading analysis summary in summer.	30

Table 2.8: Ground floor spaces assessment	56

Table 2.9: 1st floor spaces assessment	56

Table 2.10: 2nd and 3rd floors spaces assessment	57

Table 2.11: 4th floor spaces assessment	58

Table 2.12: 5th floor spaces assessment	58

Table 2.13: 6th floor spaces assessment	59

Table 2.14: Floors functions before and after modifications.	63

Table 2.15: Elements u-value before and after	92

Table 2.16: Total cooling and heating load before	92

Table 2.17: Total cooling and heating load after	93

Table 2.18: Elements u-value for treated model.	95

Table 2.19: Total cooling and heating load after treating	100

Table 3.1: Live loads for floors.	101

Table 3.2: Building parts weight	102

Table 3.3: Upoot pattern used.	104

Table 3.4: Equilibrium check results for part 1 model.	108

Table 3.5: Equilibrium check results for part 2 model.	108

Table 3.6: Stress strain check result for columns in part 1 model.	122

Table 3.7: Stress strain check result for columns in part 2 model.	122

Table 3.8: Stress strain check result for slab in part 1 model.	122

Table 3.9: Stress strain check result for slab in part 2 model.	122

Table 4.1: Cost estimation results.	126

Table 5.1: Floors functions before and after modifications.	127

Table 5.2: Elements u-value for treated model.	130

Table 5.3: Cost estimation results.	131

## List of symbols

Table I.1: List of symbols and abbreviations.

| Symbol | Description |
| --- | --- |
| ₪or ILS | Israeli shekel |
| % | Parentage |
| N | North direction |
| mm | millimeter |
| cm | Centimeter |
| m | Meter |
| mm2 | Square millimeter |
| cm2 | Square centimeter |
| m2 | Square meter |
| mm3 | Cubic millimeter |
| cm3 | Cubic centimeter |
| m3 | Cubic meter |
| KN | Kilo newton |
| Pa | Pascal |
| Mpa | Mega Pascal |
| Kw | Kilo watt |
| W | watt |
| Wh | Watt hour |
| DF% | Daylight factor |
| dB | Decibels (acoustics measurement unit) |
| Lux | Unit used to quantify illumination |
| fʹc | Compressive strength of concrete |
| fy | Yield stress of steel |
| D.L | Dead load |
| L.L | Live load |
| S.I. D | Super imposed dead load |
| W | Load |
| Wu | Ultimate load |
| Ws | Service load |
| W. L | Wind load |
| S. L | Snow load |
| M | Moment |
| Mu | Ultimate moment |
| V | Shear force |
| Vu | Ultimate shear force |
| @ | at |
| Z | Seismic zone factor |

| Symbol | Description |
| --- | --- |
| L/s | Liter per second |
| Symbol | Description |
| m/s | Meter per second |
| C.S | Column strip |
| M.S | Middle strip |
| C/C | Center to center |
| Psf | Pound per square foot |

# ABSTRACT

All countries want to enhance its economics. In order to enhance the country situation to provide the better life for the people, promote initiatives and businesses, and form partnerships. Which leads to the prosperity of the country.

Redesigning the Jenin Chamber of Commerce building is the planned graduation project, and it will serve a variety of objectives, including achieving comfort for the people working in this place to enhance productivity. That’s will lead to more accurate work, which will lead to enhance the quality of work done by this vital institution.

A strategy that is based on search, analysis and make the best solution will be followed to achieve the previous goals.

The aforementioned procedure will be carried out in two parts, the first one in this semester which will based on the assessment of the current building situation by making a literature review which based on reading books, research, articles and case studies to collect all needed standards that will help in the assessment process, making site analysis where the building located, environmental assessment for the current situation, schematic of a structural design.

To perform the first part, some computer programs were needed, for Environmental analysis assessment and architectural modeling Revit software will used, for structural design verification ETABS 2016 will used.

The second one during the second stage of Graduation Project, which will base the mechanical distribution, which includes water, HVAC, and sewerage systems, as well as the electrical distribution, which includes power systems and a control panel, will be designed in conjunction with the architectural, detailed structural designs, and finishing materials details.

The outputs of our project will be presented at the conclusion in the form of a report with associated tender papers, which will contain design details, tables of quantities, and shop drawings. The final results will be shown at a presentation.

# INTRODUCTORY

## Introduction

During the rapid increase in companies, there are needs to provide an institution that protect these companies. (Jamie Johnson, 2021)

Chamber of commerce is very vital institution located in each city in the world, and contains a group of business people to protects and promote the interest if its members.

(Jamie Johnson, 2021)

The first chamber of commerce was established in 1599 in France, and all over the world the chamber of commerce exists. (Jamie Johnson, 2021)

## Project Problem

There are many problems existing in office buildings, the most important problem is environmental comfort which based on providing natural lighting in the building, which causes uncomfortable work area also the visual design comfort which impacts on the productivity inside the building.(FIVE OFFICE DESIGN PROBLEMS THEIR AND SOLUTIONS, 2022) Therefore, an integrated redesign will make for this project.

## Objectives

There are many objectives in this study, but the main objective is to perform an integrated redesign of Jenin Chamber of Commerce building based on the retrieved architectural plans from Al-Aqsa engineering office located in Jenin. Also seeking to provide fully environmentally comfort building considering safety instructions in the design which based on compliance with civil defense laws in the design.

Based on that, there are many stages will be followed step by step to make this, the first stage is making an evaluation for the architectural design which will based on literature review that contains the architectural design standards and codes also analyzing a case study related to these types of the facilities. The second stage is making an evaluation for the environmental design which contains the following steps: the first step is making sun analysis and over shadowing analysis; the second step is making sound analysis by visiting the site in the rush hours the final step is CFD analysis for air movement outside and inside the building. The third stage is analyzing of the structural system which base on the making a model verification check for the ETABS structural model.

## Scope of the Work

The scope of this research is to reach to an integrated building and comfortable.

## Methodology

The methodology contains many stages, the first stage is collecting data by conducting a literature review that contains codes, standards, and case studies to help for making the assessment and evaluation to make the modifications. After that, the environmental assessment will be made as in the second stage which is about the environmental analysis and evaluation based on the original architectural plans to enhance the environmental situation, to make this, some computer tools and programs will be used such that Revit for solar radiation analysis, overshadowing assessment and heating and cooling assessment, flow design for wind analysis. After that the fourth stage is making all needed modifications and checking it another time, the final stage is about structural design verification which is about making a structural design for all structural elements followed by structural design verification using Etabs software and the final stage is estimating the total cost of the building which will be based on the collected data that depends on previous buildings that have the same function.

## Limitations and Constraints:

There are many limitations and constraints that may effect on the redesign phase:

- The original architectural plans don’t contain the detailed site plan.

- Accuracy in topography received from the office is not high.

- Surrounding buildings.

- Street directions in the region.

- Outdoor noise.

- Land area.

- Allowable building area.

## Codes and Standards

- ACI 318-14 for concrete design

- ASCE/SEI 7-16 for structural design loads

- Metric Handbook for architectural design standards

- Neufert for architectural design standards

## Earlier Course Work

Architectural Design

Design of concrete structures 1,2 and 3 Construction building materials Building construction engineering 1, 2 Thermal design

Acoustics design Lighting design Building core systems HVAC design

Operation and maintenance

Construction economics and quantity surveying Integration of building systems

Steel design

# ENVIRONMENTAL- ARCHITECTURAL ASPECTS

## Literature Review

Literature review was divided into two parts, the first one is standard and specifications and the second is needed spaces for that facility.

### Standards and Specifications

      - General design standards

Figure 2.1: Computer work station.(ADLER, 2007)

      - Disabled people requirements (ADLER, 2007)

Entrance width >=1.3m  Width of door >=0.9 Threshold height<=15mm Tread width >=0.3m Raise height <=0.15m Ramp slop <=6%

Providing handrails at 0.90 height for two ends

Figure 2.2: disable people.(ADLER, 2007)

Figure 2.3: disable people path requirements.(ADLER, 2007)

Figure 2.4: disable people ramp requirements.(ADLER, 2007)

### Toilets

Figure 2.5: Toilets design requirements.(ADLER, 2007)

Minimum toilet area = 1.41 m2(ADLER, 2007)

Figure 2.6: Disable people Toilets design requirements.(ADLER, 2007)

Figure 2.7: Disable people Toilets design requirements.(ADLER, 2007)

Minimum area = 1.30m2

Table 2.1: Staff required toilets. (ADLER, 2007)

Table 2.2: Number of required Toilets in each floor. (ADLER, 2007)

| Floor | Needed Men and women WC |  | Case | Needed Disabled WC |  | Case |
| --- | --- | --- | --- | --- | --- | --- |
|  | Exists | Required |  | Exists | Required |  |
| GF | 8 | 6 | Ok | 1 | 1 | Ok |
| 1st | 9 | 8 | Ok | 1 | 1 | Ok |
| 2nd | 13 | 10 | Ok | 0 | 1 | Add one toilet for disabled |
| 3rd | 13 | 10 | Ok | 0 | 1 | Add one toilet for disabled |
| 4th | 4 | 4 | Ok | 1 | 1 | Ok |
| 5th | 13 | 10 | Ok | 1 | 1 | Ok |
| 6th | 4 | 4 | Ok | 1 | 1 | Ok |

### For meeting hall

Chairs:

Figure 2.8: Meeting hall stairs standards. (Neufert & Neufert, 2012)

As shown, stairs width >=0.50 m and clear distance between chairs >=0.40 m

(Neufert & Neufert, 2012)

Figure 2.9: Stairs distribution in the meeting hall according to standards.

Stage:

Figure 2.10: Stage standards.(Neufert & Neufert, 2012)

The stage height = 0.80 m, and the dimensions is based on the space dimensions.(Neufert & Neufert, 2012)

### Restaurant and coffee shop

Table 2.3: Tables standard dimensions.(ADLER, 2007)

Figure 2.11: Restaurant tables layout(ADLER, 2007)

### Parking spaces and car ramps

The required number of parking spaces = 1/60m2(Jittrapirom, 2010)

Total building area = 6000m2	>number of parking spaces = 100

A three additional parking spaces are needed for disabled people. (Jittrapirom, 2010)

A one floor needed to add for the building Total number of needed parking spaces = 103

      - Parking space dimensions

The standard dimensions of the parking space are 5.00 m length and 2.20 m width.

(ADLER, 2007)

Figure 2.12: Parking spaces standard distances. (ADLER, 2007)

      - Car ramp slope<=15% (ADLER, 2007)

### Elevators

After calculations, the total number of elevators required = 3

### Emergency exits

      - The number of emergency exists >=2 (Ontario Building Code 2012, 2012)

      - Stairs width not less than 1 m. (Ontario Building Code 2012, 2012)

      - Width of emergency exits door not less than 1m. (Ontario Building Code 2012, 2012)

### Fire egressing distance

Codes define the distance of travel required to enter an exit, this is extremely important where the taken time to find an exit, people may be exposed to fire or smoke.

A general rule is that the overall travel distance for at least one exit must not exceed 150 feet (45.72m) in non-sprinkled buildings or 200 feet (61.00m) in buildings that Covered by a sprinkler system. (Life Safety - Means of Egress / Exits – NFPA 101, 2020)

### Corridors

The width corridor >=1.8m (Neufert & Neufert, 2012)

### Spaces standard areas

Table 2.4: General spaces standard areas.

| Space name | Standard Area | Reference |
| --- | --- | --- |
| WC | 1.41 | (ADLER, 2007) |
| WC Disabled | 2.20 | (ADLER, 2007) |
| Office | 9.00 | (ADLER, 2007) |
| Bedroom | 12.00 | (Mahajan, 2022) |
| Kitchen | 3.00 | (ADLER, 2007) |
| Public Services | 60.00 | (Ambiencedore, 2022) |
| Secretary | 15.00 | (ADLER, 2007) |
| Waiting Room | 12.00 | (Mahajan, 2022) |
| President office | 20.00 | (ADLER, 2007) |
| General manager office | 20.00 | (ADLER, 2007) |
| Secretary | 15.00 | (Ambiencedore, 2022) |
| Meeting Room | 22.00 | (Ambiencedore, 2022) |

## Case Study

Adana Chamber of Commerce Service Building

“The building, on the land of Turhan Cemal Beriker Boulevard, as being Adana’s outward gate meets at the same time, new comers to the city”(YEGENAarchitectural, 2022).

Design concept:

Figure 2.13: Chamber of commerce building.

Plans:

Figure 2.14: ground floor plan

This floor contains meeting rooms.

Figure 2.15: First floor plan

This floor contains offices and meeting hall.

Figure 2.16: Third floor plan.

This floor contains meeting hall.

Figure 2.17: Ground floor plan

This floor contains public service hall, offices and president office.

Spaces existed in the facility and its achievement in this project: Offices 

Meeting hall  Public service hall  President office  Kitchen 

Archive 

IT and servers' room 

Reception 

Waiting areas 

## Site analysis

### Location

The location of the building in Jenin-Haifa street.

Figure 2.18 : Location of the project.

### Topography

Figure 2.19: Topography of the project

### Site plan

Figure 2.20: site plan.

### Sun path diagram

Figure 2.21: Sun path diagram.

Figure 2.22: Revit model.

### Climate in Jenin

Figure 2.23: Monthly climate in Jenin(weatherspark, 2022)

Figure 2.24: Average High and Low Temperature(weatherspark, 2022) Table 2.5: Average High and Low Temperature(weatherspark, 2022)

.

Figure 2.25: Average Monthly Rainfall(weatherspark, 2022)

Figure 2.26: Hours of Daylight and Twilight(weatherspark, 2022)

Figure 2.27: Average Wind Speed in Jenin(weatherspark, 2022)

### Noise readings

The readings were done using mobile application for sound level meter.

Figure 2.28: Noise readings

From the previous readings, the background noise from vehicles is high, which will need a treatment for example: acoustical barriers.

### Shading analysis

Figure 2.29: Elevations of the building.

The shading analysis will be divided into two parts, the first one is winter shading analysis and the second is summer shading analysis and through these two parts, three times will be analyzed (8.00AM, 12.00PM and 2.00 AM) before and after modifications.

Summer day: 21/6 Winter day: 21/12

      - Before modifications

-  Winter:

At 8AM

Figure 2.30: Shading in winter at 8AM.

At 12PM

Figure 2.31: Shading in winter at 12PM.

At 2PM

Figure 2.32: Shading in winter at 2PM.

Summary

Table 2.6: Shading analysis summary in winter.

| Time | Elevation Name | Shading | Shadowing | Case |
| --- | --- | --- | --- | --- |
| 8AM | North West | Yes | Yes | Not ok |
|  | South East | No | No | Ok |
|  | North East | No | No | Ok |
|  | South West | No | Yes | Ok |
| 12PM | North West | Yes | No | Not ok |
|  | South East | No | Yes | Ok |
|  | North East | No | No | Ok |
|  | South West | No | No | Ok |
| 2PM | North West | Yes | No | Not ok |
|  | South East | No | Yes | Ok |
|  | North East | No | Yes | Ok |
|  | South West | No | No | Ok |

The big problem is that the high building faces the chamber of commerce building.

-	Summer:

At 8AM

Figure 2.33: Shading in summer at 8AM.

At 12PM

Figure 2.34 Shading in summer at 12PM.

At 2PM

Figure 2.35 Shading in summer at 2PM.

Summary

Table 2.7: Shading analysis summary in summer.

| Time | Elevation Name | Shading | Shadowing | Case |
| --- | --- | --- | --- | --- |
| 8AM | North West | Yes | No | Not ok |
|  | South East | No | No | Ok |
|  | North East | No | No | Ok |
|  | South West | No | Yes | Ok |
| 12PM | North West | Yes | No | Not ok |
|  | South East | No | Yes | Ok |
|  | North East | No | No | Ok |
|  | South West | No | No | Ok |
| 2PM | North West | Yes | No | Not ok |
|  | South East | No | Yes | Ok |
|  | North East | No | Yes | Ok |
|  | South West | No | No | Ok |

Summary:

From the previous analysis, the environmental treatments will be for west and east elevations.

### Solar radiation analysis

Solar radiation analysis will be in summer and winter at three different times (8.00AM, 12.00PM and 2.00 AM) before and after architectural modifications because there is no changing in building shape after modifications.

Summer day: 21/6 and Winter Day: 21/12

-	Winter (21/12) At 8AM

South East elevation

Figure 2.36: Solar radiation on south east elevation in winter at 8 am

As shown in the previous figure the solar radiation is high, which is good for daylighting and in winter for heating purposes.

South West elevation

Figure 2.37: Solar radiation on south west elevation in winter at 8 am

As shown in the previous figure the solar radiation is high, which is good for daylighting and in summer there is no high gain.

North West elevation

Figure 2.38: Solar radiation on North West elevation in winter at 8 am

As shown in the previous figure the solar radiation is very bad because of the existing of the adjacent building which is very bad and there is no solution for that just artificial lighting.

North East elevation

Figure 2.39: Solar radiation on north east elevation in winter at 8 am

As shown in the previous figure the solar radiation is not a big on the north elevation which is not good for daylight factor and artificial lighting needed.

At 12PM

South East elevation

Figure 2.40: Solar radiation on south east elevation in winter at 12 Pm

As shown in the previous figure the solar radiation is high, which is good for daylighting and in winter for heating purposes.

South West elevation

Figure 2.41: Solar radiation on south west elevation in winter at 12 Pm

As shown in the previous figure the solar radiation is high, which is good for daylighting and in summer there is no high gain.

North West elevation

Figure 2.42: Solar radiation on North West elevation in winter at 12 Pm

As shown in the previous figure the solar radiation is very bad because of the existing of the adjacent building which is very bad and there is no solution for that just artificial lighting.

North East elevation

Figure 2.43: Solar radiation on north east elevation in winter at 12 Pm

As shown in the previous figure the solar radiation is not good.

At 2PM

South East elevation

Figure 2.44: Solar radiation on south east elevation in winter at 2 Pm

As shown in the previous figure the solar radiation is high, which is good for daylighting and in winter for heating purposes.

South West elevation

Figure 2.45: Solar radiation on south west elevation in winter at 2 Pm

As shown in the previous figure the solar radiation is high, which is good for daylighting and in winter for heating purposes.

North West elevation

Figure 2.46: Solar radiation on North West elevation in winter at 2 Pm

As shown in the previous figure the solar radiation is very bad because of the existing of the adjacent building which is very bad and there is no solution for that just artificial lighting.

North East elevation

Figure 2.47: Solar radiation on north east elevation in winter at 2 Pm

As shown in the previous figure the solar radiation is not good

-	Summer (21/6) At 8AM

South East elevation

Figure 2.48: Solar radiation on South East elevation in summer at 8 am

As shown in the previous figure the solar radiation is high, which is good for daylighting and in summer there is no high gain.

South West elevation

Figure 2.49: Solar radiation on South West elevation in summer at 8 am

As shown in the previous figure the solar radiation is high, which is good for daylighting and in winter for heating purposes.

North West elevation

Figure 2.50: Solar radiation on North West elevation in summer at 8 am

As shown in the previous figure the solar radiation is very bad because of the existing of the adjacent building which is very bad and there is no solution for that just artificial lighting

North East elevation

Figure 2.51: Solar radiation on north east elevation in summer at 8 am

As shown in the previous figure the solar radiation fair which is good for daylighting.

At 12PM

South East elevation

Figure 2.52: Solar radiation on South East elevation in summer at 12 Pm

As shown in the previous figure the solar radiation is high, which is good for daylighting and in summer there is no high gain.

South West elevation

Figure 2.53: Solar radiation on South West elevation in summer at 12 Pm

As shown in the previous figure the solar radiation is high, which is good for daylighting and in summer there is no high gain. .

North West elevation

Figure 2.54: Solar radiation on North West elevation in summer at 12 Pm

As shown in the previous figure the solar radiation is very bad because of the existing of the adjacent building which is very bad and there is no solution for that just artificial lighting.

North East elevation

Figure 2.55: Solar radiation on North East elevation in summer at 12 Pm

As shown in the previous figure the solar radiation is high, which is good for daylighting and in summer there is no high gain.

At 2PM

South East elevation

Figure 2.56: Solar radiation on south east elevation in summer at 2 Pm

As shown in the previous figure the solar radiation is high, which is good for daylighting and in summer there is no high gain.

South West elevation

Figure 2.57: Solar radiation on south west elevation in summer at 2 Pm

As shown in the previous figure the solar radiation is high, which is good for daylighting and in summer there is no high gain.

North West elevation

Figure 2.58: Solar radiation on North West elevation in summer at 2 Pm

As shown in the previous figure the solar radiation is very bad because of the existing of the adjacent building which is very bad and there is no solution for that just artificial lighting.

North East elevation

Figure 2.59: Solar radiation on north east elevation in summer at 2 Pm

As shown in the previous figure the solar radiation is good.

### Wind

Figure 2.60: Wind direction.

Figure 2.61: Wind direction of the building.

## Architectural modifications

Spaces area assessment:

- Ground floor

Table 2.8: Ground floor spaces assessment

| Space Name | Current Area | Count | Standard Area | Case |
| --- | --- | --- | --- | --- |
| WC1 | 1.5 | 4 | 1.41 | Ok |
| WC2 | 1.8 | 2 | 1.41 | Ok |
| WC security | 2.4 | 1 | 1.41 | Ok |
| WC3 | 2.65 | 1 | 1.41 | Ok |
| WC4 | 2.18 | 1 | 1.41 | Ok |
| WC disabled | 4.14 | 1 | 2.2 | Ok |
| Investment unit 1 | 375 | 1 | - | Ok |
| Investment unit 2 | 200 | 1 | - | Ok |
| Investment unit 3 | 360 | 1 | - | Ok |

- 1st floor

Table 2.9: 1st floor spaces assessment

| Space Name | Current Area | Count | Standard Area | Case |
| --- | --- | --- | --- | --- |
| IT Room | 24.3 | 1 | 20 | Ok |
| Archive | 8.18 | 1 | 12 | Not ok |
| Department of Economic | 29 | 1 | 20 | Ok |
| Kitchen | 13.95 | 1 | 3 | Ok |
| Store | 3.68 | 1 | - | Ok |
| Servers room | 7.36 | 1 | - | Ok |
| Meeting Room | 30.46 | 1 | 22 | Ok |
| WC1 | 1.65 | 1 | 1.41 | Ok |
| WC2 | 1.53 | 1 | 1.41 | Ok |
| WC3 | 3.27 | 1 | 1.41 | Ok |
| WC4 | 1.8 | 6 | 1.41 | Ok |
| WC disabled | 4.14 | 1 | 2.2 | Ok |
| Public Relations | 26.04 | 1 | 20 | Ok |
| President of the Chamber of Commerce | 22.4 | 1 | 20 | Ok |
| General manager | 28 | 1 | 20 | Ok |
| Secretary | 17.5 | 1 | 24 | Not ok |
| Public Services | 69.3 | 1 | 60 | Ok |
| Waiting area | 104.5 | 1 | - | Ok |
| Meeting Hall | 365 | 1 | - | Ok |
| WC | 1.8 | 2 | 1.41 | Ok |
| Meeting Hall Kitchen | 4.32 | 1 | 3 | Ok |

- 2nd and 3rd floor

Table 2.10: 2nd and 3rd floors spaces assessment

| Space Name | Current Area | Count | Standard Area | Case |
| --- | --- | --- | --- | --- |
| Office 1 | 27.00 | 1 | 9.00 | Ok |
| Office 2 | 20.58 | 1 | 9.00 | Ok |
| Office 3 | 18.90 | 1 | 9.00 | Ok |
| Office 4 | 27.93 | 1 | 9.00 | Ok |
| Office 5 | 35.73 | 1 | 9.00 | Ok |
| Office 6 | 17.22 | 1 | 9.00 | Ok |
| Office 7 | 18.45 | 1 | 9.00 | Ok |
| Office 8 | 18.00 | 1 | 9.00 | Ok |
| Office 9 | 18.00 | 1 | 9.00 | Ok |
| Office 10 | 12.94 | 1 | 9.00 | Ok |
| Office 11 | 17.25 | 1 | 9.00 | Ok |
| Office 12 | 18.00 | 1 | 9.00 | Ok |
| Office 13 | 18.00 | 1 | 9.00 | Ok |
| Office 14 | 16.44 | 1 | 9.00 | Ok |
| Office 15 | 19.21 | 1 | 9.00 | Ok |
| Office 16 | 19.00 | 1 | 9.00 | Ok |
| Waiting 1 | 22.00 | 1 | 12.00 | Ok |
| Waiting 2 | 28.56 | 1 | 12.00 | Ok |
| Waiting 3 | 54.00 | 1 | 12.00 | Ok |
| Waiting 4 | 25.10 | 1 | 12.00 | Ok |
| Waiting 5 | 24.30 | 1 | 12.00 | Ok |
| Waiting 6 | 24.30 | 1 | 12.00 | Ok |
| Waiting 7 | 16.48 | 1 | 12.00 | Ok |
| Waiting 8 | 13.50 | 1 | 12.00 | Ok |
| Waiting 9 | 21.24 | 1 | 12.00 | Ok |
| Waiting 10 | 24.30 | 1 | 12.00 | Ok |
| Waiting 11 | 17.86 | 1 | 12.00 | Ok |
| Waiting 12 | 13.60 | 1 | 12.00 | Ok |
| Waiting 13 | 19.00 | 1 | 12.00 | Ok |
| Kitchen1 | 6.00 | 1 | 4.00 | Ok |
| Kitchen2 | 5.70 | 1 | 3.00 | Ok |
| Kitchen3 | 6.75 | 1 | 3.00 | Ok |
| Kitchen4 | 4.32 | 1 | 3.00 | Ok |
| Kitchen5 | 3.65 | 1 | 3.00 | Ok |
| Kitchen6 | 6.00 | 1 | 3.00 | Ok |
| Kitchen7 | 3.00 | 1 | 3.00 | Ok |
| Kitchen8 | 3.00 | 1 | 3.00 | Ok |
| Kitchen9 | 6.00 | 1 | 3.00 | Ok |
| Kitchen10 | 3.65 | 1 | 3.00 | Ok |
| Kitchen11 | 3.45 | 1 | 3.00 | Ok |

| Space Name | Current Area | Count | Standard Area | Case |
| --- | --- | --- | --- | --- |
| Kitchen12 | 3.00 | 1 | 3.00 | Ok |
| Kitchen13 | 4.00 | 1 | 3.00 | Ok |
| WC1 | 2.43 | 1 | 1.41 | Ok |
| WC2 | 2.50 | 1 | 1.41 | Ok |
| WC3 | 3.55 | 1 | 1.41 | Ok |
| WC4 | 2.40 | 1 | 1.41 | Ok |
| WC5 | 2.15 | 1 | 1.41 | Ok |
| WC6 | 2.58 | 1 | 1.41 | Ok |
| WC7 | 1.95 | 1 | 1.41 | Ok |
| WC8 | 1.50 | 1 | 1.41 | Ok |
| WC9 | 2.58 | 1 | 1.41 | Ok |
| WC10 | 2.15 | 1 | 1.41 | Ok |
| WC11 | 1.80 | 1 | 1.41 | Ok |
| WC12 | 1.62 | 1 | 1.41 | Ok |
| WC13 | 2.52 | 1 | 1.41 | Ok |
| Store1 | 6.60 | 1 | - | Ok |
| Store2 | 5.00 | 1 | - | Ok |

- 4th floor

Table 2.11: 4th floor spaces assessment

| Space Name | Current Area | Count | Standard Area | Case |
| --- | --- | --- | --- | --- |
| Show Area 1 | 640.00 | 1 | - | Ok |
| Show Area 2 | 365.00 | 1 | - | Ok |
| WC1 | 1.50 | 4 | 1.41 | Ok |
| WC disabled | 4.14 | 1 | 2.2 | Ok |

- 5th floor

Table 2.12: 5th floor spaces assessment

| Space Name | Current Area | Count | Standard Area | Case |
| --- | --- | --- | --- | --- |
| Convention Hall | 640 | 1 | - | Ok |
| Room1 | 16.65 | 1 | 12.00 | Ok |
| Room2 | 17.10 | 1 | 12.00 | Ok |
| Room3 | 15.75 | 1 | 12.00 | Ok |
| Room4 | 15.20 | 1 | 12.00 | Ok |
| Bed Room1 | 14.30 | 1 | 12.00 | Ok |
| Bed Room2 | 12.20 | 1 | 12.00 | Ok |
| Bed Room3 | 18.00 | 1 | 12.00 | Ok |
| Salon1 | 13.50 | 1 | 10.00 | Ok |
| Salon2 | 16.23 | 1 | 10.00 | Ok |
| Salon3 | 24.30 | 1 | 10.00 | Ok |
| Reception | 47.70 | 1 | 40.00 | Ok |

| Space Name | Current Area | Count | Standard Area | Case |
| --- | --- | --- | --- | --- |
| Kitchen1 | 3.00 | 1 | 3.00 | Ok |
| Kitchen2 | 4.00 | 1 | 3.00 | Ok |
| Kitchen3 | 4.94 | 1 | 3.00 | Ok |
| Kitchen4 | 6.51 | 1 | 3.00 | Ok |
| Kitchen5 | 7.68 | 1 | 3.00 | Ok |
| WC1 | 2.55 | 1 | 1.41 | Ok |
| WC2 | 2.50 | 1 | 1.41 | Ok |
| WC3 | 3.44 | 1 | 1.41 | Ok |
| WC4 | 1.65 | 1 | 1.41 | Ok |
| WC5 | 1.87 | 1 | 1.41 | Ok |
| WC6 | 3.87 | 1 | 1.41 | Ok |
| WC7 | 3.44 | 1 | 1.41 | Ok |
| WC8 | 3.44 | 1 | 1.41 | Ok |
| WC9 | 3.20 | 1 | 1.41 | Ok |
| WC10 | 1.50 | 2 | 1.41 | Ok |
| WC11 | 1.50 | 2 | 1.41 | Ok |
| WC disabled | 2.66 | 1 | 2.20 | Ok |
| Store | 1.68 | 1 | - | Ok |

- 6th floor

Table 2.13: 6th floor spaces assessment

| Space Name | Current Area | Count | Standard Area | Case |
| --- | --- | --- | --- | --- |
| Restaurants | 640 | 1 | - | Ok |
| WC | 1.50 | 4 | 1.41 | Ok |
| WC disabled | 4.14 | 1 | 2.20 | Ok |

There are some weakness points in the previous design:

- Spaces relations.

- Lack of elevators.

- Inappropriate locations of shafts.

- Lack of disabled people Wc’s

- Lack of parking spaces needed.

### Bubbles Diagram after modifications

Figure 2.62: Bubbles diagram legend.

      - Ground floor

Figure 2.63: Ground floor bubbles diagram

All spaces in the ground floor are within the standards and the functional relationships are ok but the function will change to Shops for all floor.

      - 1st floor

Figure 2.64: first floor bubbles diagram

All spaces in the first floor are within the standards and the functional relationships are ok, but there is needing to increase some areas such that Manger room and adding Wc for management department

      - 2nd and 3rd and floors

Figure 2.65: second and third floor bubbles diagram

Not all spaces in the second and third floor are within the standards especially the waiting areas are big than offices, so a redistribution and increasing offices areas will made and the functional relationships are ok.

      - 4th floor

Figure 2.66: fourth floor bubbles diagram 5th floor

All spaces in the fourth floor are within the standards and the functional relationships are ok, but the function will change to be furniture showroom and the location of this floor will in the first floor and chamber of the commerce floor will be in the third floor.

      - 5th floor

Figure 2.67: fifth floor bubbles diagram 5th floor

All spaces in the 5th floor are within the standards and the functional relationships are ok but the convention hall area will change to be a coffee shop.

Note: For 6th floor there is only Restaurant and its area is fair.

### Conclusion for architectural modifications

After making the assessment for the existed spaces and based on literature review data and asking architectural engineers in the faculty, all spaces are within the standards, but the modifications will only make on the floor's functions arrangement, changing some of the floors functions and rearrange of the floors.

The importance points that added and changings to the floors are the following:

- Adding three elevators, so total number of elevators will be 4 elevators for people, and service elevator will be added as service elevator for restaurant and coffee shop.

- Adding shops in the ground floor.

- Adding WC’s in the third and fourth floors for people and disabled people.

- Distribution of restaurant spaces.

- Increasing doors areas.

- Increasing the width of the main entrance.

- Changing the shape of the disabled people ramp and its slope to be 6% as per standards.

- Adding a new basement to increase the number of parking spaces and considering an extra three parking spaces will add for disabled people at the main entrance of the building.

Here is a summary of the floors’ functions before and after

Table 2.14: Floors functions before and after modifications.

| Floor Name | Function before | Function After |
| --- | --- | --- |
| Ground floor | Investments units | Shops |
| First floor | Chamber of commerce | Furniture show areas |
| Second floor | offices | Chamber of commerce |
| Third floor | offices | offices |
| Fourth floor | Furniture show areas | offices |
| Fifth floor | Sweets | Sweets and coffee shop |
| Sixth floor | Restaurant | Restaurant |

### Edited plans

After making modifications there is a comparison between before and after plans.

1- Parking

Before

Figure 2.68: First basement plan before modifications.

Figure 2.69: Second basement plan before modifications.

Two basements with total number of parking spaces of 77.

After

Figure 2.70: First basement plan before modifications.

Figure 2.71: Second basement plan before modifications.

Figure 2.72: Third basement plan before modifications.

Another basement was added and the total number of parking spaces is 100.

-	Ground floors  Before

Figure 2.73: Ground floor before modifications.

After

Figure 2.74: Ground floor after modifications.

-	1st floors  Before

Figure 2.75: First floor before modifications.

The function was chamber of commerce floor.

After

Figure 2.76: First floor after modifications.

The function has become a furniture showroom

-	2nd floor Before

Figure 2.77: Second floor before modifications.

The function was offices

After

Figure 2.78: Second floor after modifications.

The function has become chamber of commerce floor.

-	3rd floor  Before

Figure 2.79: Third floor before modifications.

The function was offices

After

Figure 2.80: Third floor after modifications.

The function has still offices

-	4th floors  Before

Figure 2.81: Fourth floor before modifications.

The function was show areas.

After

Figure 2.82: Fourth floor after modifications.

The function has become offices.

-	5th floor

Before

Figure 2.83: Fifth floor before modifications.

After

Figure 2.84: Fifth floor after modifications.

-	6th floor Before

Figure 2.85: sixth floor before modifications.

After

Figure 2.86: Sixth floor after modifications.

-	Elevations:

Figure 2.87: North- East Elevation.

Figure 2.88: South- East Elevation.

Figure 2.89: South- West Elevation.

Figure 2.90: North- West Elevation.

-	Sections:

Figure 2.91: Section A-A.

Figure 2.92: Section B-B.

## Environmental analysis and Design

### Daylight factor

Daylight factor between 2-5%

      - Before modifications:

Ground floor:

Figure 2.93: Daylight factor in ground floor before.

From the previous analysis the daylight factor in most of spaces is between 2-5% as show in the previous figure and there is a space more than 5% which need a treatment.

First floor:

Figure 2.94: Daylight factor in first floor before.

From the previous analysis the daylight factor in most of spaces is between 2-5% as show in the previous figure and there is a space more than 5% which need a treatment.

Second floor:

Figure 2.95: Daylight factor in second floor before.

From the previous analysis the daylight factor in most of spaces is between 2-5% as show in the previous figure and there is a space more than 5% which need a treatment.

Third floor:

Figure 2.96: Daylight factor in third floor before.

From the previous analysis the daylight factor in most of spaces is between 2-5% as show in the previous figure and there is a space less than 1% and more than 5% which need a treatment.

Fourth floor:

Figure 2.97: Daylight factor in fourth floor before.

From the previous analysis the daylight factor in most of spaces is between 2-5% as show in the previous figure and there is a space less than 1% and more than 5% which need a treatment.

Fifth floor:

Figure 2.98: Daylight factor in fifth floor before.

From the previous analysis the daylight factor in most of spaces is between 2-5% as show in the previous figure and there is a space less than 1% and more than 5% which need a treatment.

Sixth floor:

Figure 2.99: Daylight factor in sixth floor before.

From the previous analysis the daylight factor in most of spaces is between 2-5% as show in the previous figure and there is a space less than 1% and more than 5% which need a treatment.

Summary:

In general daylight factor before is not good.

After modifications

Ground floor

Figure 2.100: Daylight factor in ground floor after.

From the previous analysis the daylight factor in most of spaces is between 2-5% as show in the previous figure and there is a space less than 1% and more than 5% which need a treatment.

First floor

Figure 2.101: Daylight factor in first floor after.

From the previous analysis the daylight factor in most of spaces is between 2-5% as show in the previous figure and there is a space less than 1% and more than 5% which need a treatment.

Second floor

Figure 2.102: Daylight factor in second floor after.

From the previous analysis the daylight factor in most of spaces is between 2-5% as show in the previous figure and there is a space less than 1% and more than 5% which need a treatment.

Third floor

Figure 2.103: Daylight factor in third floor after.

From the previous analysis the daylight factor in most of spaces is between 2-5% as show in the previous figure and there is a space less than 1% and more than 5% which need a treatment.

Fourth floor

Figure 2.104: Daylight factor in fourth floor after.

From the previous analysis the daylight factor in most of spaces is between 2-5% as show in the previous figure and there is a space less than 1% and more than 5% which need a treatment.

Fifth floor

Figure 2.105: Daylight factor in fifth floor after.

From the previous analysis the daylight factor in most of spaces is between 2-5% as show in the previous figure and there is a space less than 1% and more than 5% which need a treatment.

Sixth floor

Figure 2.106: Daylight factor in sixth floor after.

From the previous analysis the daylight factor in most of spaces is between 2-5% as show in the previous figure and there is a space less than 1% and more than 5% which need a treatment.

### Heating and cooling load

-	Elements U-value

Table 2.15: Elements u-value before and after

| Element Type | U-Value |
| --- | --- |
| Exterior wall | 2.05 W/m2-K |
| Glass (Sql Clr 6mm.) | 5.778 W/m2-K |
| Roof | 3.745 W/m2-K |
| Floors | 1.201 W/m2-K |

- Before modifications

Table 2.16: Total cooling and heating load before

The total cooling load before modifications =962.16 Kw The total heating load before modifications =392.42 Kw

- After modifications

Table 2.17: Total cooling and heating load after

The total cooling load after modifications = 874.16 Kw The total heating load after modifications = 693.23 Kw

### Environmental treatment strategies

- Using horizontal and vertical louvers

Figure 2.107: Horizontal and vertical louvers used.

Figure 2.108: Horizontal louvers used.

- Using double low e glass

- Using thermal insulation in walls and roof to enhance cooling load

- Skylight and make court concept in courtyard

Figure 2.109: Skylight used.

Table 2.18: Elements u-value for treated model.

| Element | U-value |
| --- | --- |
| Exterior walls | 0.44 |
| Interior floors | 1.21 |
| Roof | 0.65 |
| Partitions | 1.58 |
| Doors | 2.30 |
| Windows | 1.38 |

Ground floor

Figure 2.110: Ground floor daylight factor after treating.

First floor

Figure 2.111: First floor daylight factor after treating.

Second floor

Figure 2.112: Second floor daylight factor after treating.

Third floor

Figure 2.113: Third floor daylight factor after treating.

Fourth floor

Figure 2.114: Fourth floor daylight factor after treating.

Fifth floor

Figure 2.115: Fifth floor daylight factor after treating.

Sixth floor

Figure 2.116: Sixth floor daylight factor after treating.

From the previous results, the daylight factor in the edges was enhanced but other strategies will be followed for enhancements during the second stage.

Table 2.19: Total cooling and heating load after treating.

The total cooling load after modifications = 567.84 Kw The total heating load after modifications = 286.40 Kw The percentage of enhancement in cooling load = 35% The percentage of enhancement in heating load = 58%

# STRUCTURAL ASPECTS

## Introduction:

In this part of the project, all parts of the structural model of the building were designed, and the building was separated into two parts construction separators then inspections were carried out to verify the correct design.

## Assumptions

### STRUCTURAL CODE AND DESIGN

- American concrete Institute ACI 318-2014. (Building Code Requirements for Structural Concrete (ACI318-14), 2014)

- American Society of Civil Engineer (ASCE) (Minimum design loads for buildings and other structures-ASCE 7-16, 2016)

- The specific weight of concrete = 25 KN/ 𝑚2.

### Material

- Reinforcement steel:

The structural element that resists tensile forces fy= 420 mpa

- Concrete:

A structural element that withstands stress, but is weak in resisting the tensile forces on it.

fc’ =28 mpa.

### Loads

- Live load:

Table 3.1: Live loads for floors.

| Floor category | Live load (KN/m2) |
| --- | --- |
| Parking | 4.78 |
| Stores | 6.00 |
| Offices | 4.78 |
| Sweets | 2.87 |
| Restaurants | 4.78 |

- Weight of wall =15KN/m

- Superimposed dead load

Table 3.2: Building parts weight. (Minimum Design Loads for Buildings and Other Structures, 2005)

| Element | Weight (KN/m2) |
| --- | --- |
| Ceramic or quarry tile | 1.1 |
| Partition | 1.87 |
| Sand | 0.328 |
| CEILINGS | 0.05 |
| Mortar | 0.816 |
| Total | 3.348 |

Superimposed dead load used = 4 KN/M2

- Loads combination:

1.00 D. L+1.00 L.L +1.00 S.I.D as service load combination

1.2 D. L+1.6 L.L +1.2 S.I.D as Ultimate load combination

To ensure more safety in the structural design, the code (ACI 318-14) required using specific equations that include a safety factor.

We will deal with the first two equations in the previous table because they deal with live weights and dead weights.

## Structural system

### Slab Design:

The flat plate with upoot system will used because of the high spans between columns.

H= thickness of slab

αm = 0

from ACI code

hs=Ln/33 = 16 /33 = 0.48 m h equivalent = 0.60m

Figure 3.1: Section in Upoot

Figure 3.2: Upoot dimensions.

The Upoot dimensions is 52 cm * 52 cm

Figure 3.3: Upoot arrangement.

Table 3.3: Upoot pattern used.

Slab unit weight = 10.78 kN/m2.

### Columns Design

The columns dimensions are calculated based on the building loads, For interior column:

Tributary area = 47 m2

Slab unit load = 10.78 KN/m2 --->Approximate column’s load = 47*10.78*9 = 4560.94 KN

Ag = 315867.56 mm2	>Assumed column’s dimension = 80*40ccm

### Expansion Joint

Figure 3.4: Expansion Joint location.

Because of the existing of expansion joint, the structural model will be divided into two parts (Part 1 and Part 2).

## Structural Model

Figure 3.5: 3d structural model before separation.

- Part 1

- Part 2

Figure 3.6: part 1 structural model.

.

Figure 3.7: part 2 structural model.

### Structural model checks

      - Compatibility check

- Part 1

Figure 3.8: Compatibility check for part 1.

- Part 2

Figure 3.9: Compatibility check for part 2.

### Equilibrium check:

#### Part 1

Table 3.4: Equilibrium check results for part 1 model.

| Load | Manual | Base reaction | %Error | Ok/Not |
| --- | --- | --- | --- | --- |
| Live | 20661.105 | 20634.28 | 0.13% | ok |
| SID | 17121.69 | 17082.4 | 0.23% | ok |
| Dead | 71533.447 | 69476.93 | 2.96% | ok |

#### Part 2

Table 3.5: Equilibrium check results for part 2 model.

| Load | Manual | Base reaction | %Error | Ok/Not |
| --- | --- | --- | --- | --- |
| Live | 28997.121 | 28947.91 | 0.17% | ok |
| SID | 24027.272 | 23950.63 | 0.32% | ok |
| Dead | 89769.524 | 86499.83 | 3.78% | ok |

### Deflection check

- Part 1

  - From Live load

ΔLimit = 𝐿/360 = 16.5/360= 45.8 mm. From ETABS:

Maximum deflection:

Figure 3.10: Deflection from live load for part 1.

ΔETABS = 10.4- ((3.4+3+3+3.6)/4) = 7.06mm<45mm	>OK.

  - From service load

ΔLimit = 𝐿/240 = 16.5/240= 68.75mm. From ETABS:

Maximum deflection:

Figure 3.11: Deflection from service load for part 1.

deflection from service load

ΔETABS = 55-((11.7+13.6+9+13)/4) = 43.18mm<68mm---OK.

- Part 2

  - From Live load

ΔLimit = 𝐿/360 = 12/360= 33.3mm. From ETABS:

Maximum deflection:

Figure 3.12: Deflection from live load for part 2.

deflection from Live load

ΔETABS = 6.00- ((3.1+2.1+3+3.2)/4) = 3.15mm<33.33mm---OK.

  - From service load ΔLimit = 𝐿/240 = 12/240= 50mm. From ETABS:

Maximum deflection:

Figure 3.13: Deflection from service load for part 2.

ΔETABS = 36-((11.7+12.3+9.15+13.2)/4)= 24.4mm<50mm---OK.

### Shear check

#### Part 1

ØVc = (0.75/6) * √𝑓𝑐 * bw *d =(0.75/6)*√40 *250 * 520=182.7 KN/ rib

  - B3 floor

Figure 3.14: Shear for B3 floor from ETABS for part 1 model.

  - B2 floor

Figure 3.15:Shear for B2 floor from ETABS for part 1 model.

  - B1 floor

Figure 3.16: Shear for B1 floor from ETABS for part 1 model.

  - GF floor

Figure 3.17: Shear for GF floor from ETABS for part 1 model.

  - F1 floor

Figure 3.18: Shear for f1 floor from ETABS for part 1 model.

  - F2 floor

Figure 3.19: Shear for f2 floor from ETABS for part 1 model.

  - F3 floor

Figure 3.20: Shear for f3 floor from ETABS for part 1 model.

  - F4 floor

Figure 3.21: Shear for f4 floor from ETABS for part 1 model.

  - F5 floor

Figure 3.22: Shear for f5 floor from ETABS for part 1 model.

  - F6 floor

Figure 3.23: Shear for f6 floor from ETABS for part 1 model.

  - F7 floor

Figure 3.24: Shear for f7 floor from ETABS for part 1 model.

#### Part 2

  - B3 floor

Figure 3.25: Shear for B3 floor from ETABS for part 2 model.

  - B2 floor

Figure 3.26: Shear for B2 floor from ETABS for part 2 model.

  - B1 floor

Figure 3.27: Shear for B1 floor from ETABS for part 2 model.

  - GF floor

Figure 3.28: Shear for GF floor from ETABS for part 2 model.

  - F1 floor

Figure 3.29: Shear for F1 floor from ETABS for part 2 model.

  - F2 floor

Figure 3.30: Shear for F2 floor from ETABS for part 2 model.

  - F3 floor

Figure 3.31: Shear for F3 floor from ETABS for part 2 model.

  - F4 floor

Figure 3.32: Shear for F4 floor from ETABS for part 2 model.

  - F5 floor

Figure 3.33: Shear for F5 floor from ETABS for part 2 model.

  - F6 floor

Figure 3.34: Shear for F6 floor from ETABS for part 2 model.

  - F7 floor

Figure 3.35: Shear for F7 floor from ETABS for part 2 model.

The previous check is ok, but at the regions that exceed ØVc, the solution is increase reinforcement or put a stirrup at these regions.

### Stress strain check

        - Columns check From ultimate loads

#### Part 1

Table 3.6: Stress strain check result for columns in part 1 model.

| Column Type | Etabs | Manual | %Error | Ok/Not |
| --- | --- | --- | --- | --- |
| Interior | 12633.28 | 13151.24 | 4.10% | Ok |
| Corner | 1574.09 | 1576.14 | 0.13% | Ok |
| Edge | 5104.97 | 5213.71 | 2.13% | Ok |

#### Part 2

Table 3.7: Stress strain check result for columns in part 2 model.

| Column Type | Etabs | Manual | %Error | Ok/Not |
| --- | --- | --- | --- | --- |
| Interior | 16587.23 | 17205.93 | 3.73% | Ok |
| Corner | 1653.81 | 1672.33 | 1.12% | Ok |
| Edge | 4187.15 | 4322.39 | 3.23% | Ok |

Slab check From live load

#### Part 1

Table 3.8: Stress strain check result for slab in part 1 model.

| Panel type | Etabs | Manual | %Error | Ok/Not |
| --- | --- | --- | --- | --- |
| Exterior | 22 | 24.01 | -9.13% | Ok |

#### Part 2

Table 3.9: Stress strain check result for slab in part 2 model.

| Panel type | Etabs | Manual | %Error | Ok/Not |
| --- | --- | --- | --- | --- |
| Exterior | 33.1 | 37.17 | -12.30% | Ok |

### Design check

#### Part 1

Figure 3.36: Design results for part 1 model.

As shown, the check is ok

Figure 3.37: Design results for part 2 model.

As shown, the check is ok

# QUANTITY SURVEYING & COST ESTIMATE

## Introduction:

Quantity surveying was utilized by the ancient Egyptian culture when they assigned people to estimate costs. It was developed in the 17th century following the great fire in London's rebuilding. (Reddy, 2017)

Money is the only thing that can govern any operation in our lives all over the universe. What precisely is Quantity Surveying?

It may be defined as a position that guarantees that the project's assets are utilized most efficiently and cost-effectively possible by employing project management techniques. (Reddy, 2017)

This chapter will provide a rapid building cost estimate based on a certain technology.

## Cost estimation Techniques:

There are several cost-estimating procedures, however, the following include the most common:

### Analogous estimation

It is also called top-down approximation, and it is utilized when there is no valuable knowledge about the project. It requires less deep knowledge of the project. (4 Most Used Cost Estimation Techniques Used by Project Managers | Opus Kinetic, 2018)

### Parametric estimation

This strategy, also known as past project unit cost, is based upon statistical historical information from previous projects and components. (4 Most Used Cost Estimation Techniques Used by Project Managers | Opus Kinetic, 2018)

### Three-point estimation

Three parameters must be established when employing this strategy, which are as follows:

- Most likely cost (Cm): a normal situation is studied, and everyone is assumed to be ordinary. (4 Most Used Cost Estimation Techniques Used by Project Managers | Opus Kinetic, 2018)

- Pessimistic cost (Cp): considers a worst situation and assumes all goes very wrong. (4 Most Used Cost Estimation Techniques Used by Project Managers | Opus Kinetic, 2018)

- Optimistic cost (Co): the best result scenario is examined, and it all works out better than anticipated. (4 Most Used Cost Estimation Techniques Used by Project Managers | Opus Kinetic, 2018)

### Bottom-Up estimation

This strategy relies on determining the cost for project tasks, which provides a more precise assessment that roughly represents the project's final price. (4 Most Used Cost Estimation Techniques Used by Project Managers | Opus Kinetic, 2018)

## Methodology

Since there is no precise knowledge concerning all of the facility's elements, the conventional estimating approach is employed at this phase.

It is performed by determining the net surface area of the structure and multiplying by the unit price ($/1 sq.m) which is the average unit price for a structure identical to this kind of construction as determined by a professional in this sector.

## Limitations

The biggest limitation is that there isn't enough valuable data about a facility to get an accurate estimate.

## Summary

Table 4.1: Cost estimation results.

| Floor | Area(m2) | Cost/area($/m2) | Total cost ($) |
| --- | --- | --- | --- |
| Parking | 1947.29 | 400 | $778,914.56 |
| Ground-6th floors | 6645.34 | 1200 | $7,974,402.48 |
| Building Total cost ($) | $ 8,753,317.04 |  |  |
| Building unit cost($/m2) | $/m2 1,018.70 |  |  |

# CONCLUSION

## ARCHITECTURAL Aspects

After making the assessment for the existed spaces and based on literature review data and asking architectural engineers in the faculty, all spaces are within the standards, but the modifications will only make on the floor's functions arrangement, changing some of the floors functions and rearrange of the floors.

The importance points that added and changings to the floors are the following:

- Adding three elevators, so total number of elevators will be 4 elevators for people, and service elevator will be added as service elevator for restaurant and coffee shop.

- Adding shops in the ground floor.

- Adding WC’s in the third and fourth floors for people and disabled people.

- Distribution of restaurant spaces.

- Increasing doors areas.

- Increasing the width of the main entrance.

- Changing the shape of the disabled people ramp and its slope to be 6% as per standards.

- Adding a new basement to increase the number of parking spaces and considering an extra three parking spaces will add for disabled people at the main entrance of the building.

Here is a summary of the floors’ functions before and after

Table 5.1: Floors functions before and after modifications.

| Floor Name | Function before | Function After |
| --- | --- | --- |
| Ground floor | Investments units | Shops |
| First floor | Chamber of commerce | Furniture show areas |
| Second floor | offices | Chamber of commerce |
| Third floor | offices | offices |
| Fourth floor | Furniture show areas | offices |
| Fifth floor | Sweets | Sweets and coffee shop |
| Sixth floor | Restaurant | Restaurant |

## ENVIRONMENTAL Aspects

Environmental treatment strategies:

- Using horizontal and vertical louvers

Figure 5.1: Horizontal and vertical louvers used.

Figure 5.2: Horizontal louvers used.

- Using double low e glass

- Using thermal insulation in walls and roof to enhance cooling load

- Skylight and make court concept in courtyard

Figure 5.3: Skylight used.

Table 5.2: Elements u-value for treated model.

| Element | U-value |
| --- | --- |
| Exterior walls | 0.44 |
| Interior floors | 1.21 |
| Roof | 0.65 |
| Partitions | 1.58 |
| Doors | 2.30 |
| Windows | 1.38 |

## Structural Aspects

The design was performed to resist the earthquake forces

    - Design of concrete columns All columns are 40*80

    - Design of concrete slab

Figure 5.4: Slab section.

## Quantity surveying & Cost Estimation

Based on the bottom up estimation technique

Total building cost = $ 8,753,317.04, and Building’s unit cost = $/m2 1,018.70

Table 5.3: Cost estimation results.

| Floor | Area(m2) | Cost/area($/m2) | Total cost ($) |
| --- | --- | --- | --- |
| Parking | 1947.29 | 400 | $778,914.56 |
| Ground-6th floors | 6645.34 | 1200 | $7,974,402.48 |
| Building Total cost ($) | $ 8,753,317.04 |  |  |
| Building unit cost($/m2) | $/m2 1,018.70 |  |  |

# REFERENCES

- ADLER, D. (2007). Metric Handbook Planning and Design Data. 1–851.

- Ambiencedore. (2022). The How To of Conference Room Planning. Ambiencedore. https://www.ambiencedore.com/conference-room-planning- guide/?fbclid=IwAR1vHGYk9S8e2pNO2_kDYdS82kHjbYDfQYpPOGDAA3_ 9q9Ck1vfpQDgdLEU

- Building Code Requirements for Structural Concrete (ACI318-14). (2014). Building Code Requirements for Structural Concrete (ACI 318-14) (14th ed.). ACI Committee 318. https://doi.org/10.14359/51716937

- FIVE OFFICE DESIGN PROBLEMS THEIR AND SOLUTIONS. (2022). FIVE OFFICE DESIGN PROBLEMS THEIR AND SOLUTIONS. Ciaogreen.

Available at: https://www.ciaogreen.com/blog/five-office-design-problems-and-their- solutions/

- Jamie Johnson. (2021). What Is a Chamber of Commerce? Us Chamber. Availe at: https://www.uschamber.com/co/start/strategy/what-is-a-chamber-of-

commerce

- Jittrapirom, P. (2010). Sustainable Transport System and Parking Organisation: A case study of Bangkok´s Parking Standard.

- Life Safety - Means of Egress / Exits – NFPA 101. (2020). Life Safety - Means of Egress / Exits – NFPA 101.

- Mahajan, B. (2022). The Standard Room Size. Civiconcepts. Available at: https://civiconcepts.com/blog/standard-room-size

- Minimum design loads for buildings and other structures-ASCE 7-16. (2016). Minimum design loads for buildings and other structures-ASCE 7-16. ASCE Standard, 7–5, 1–456.

- Neufert, E., & Neufert, P. (2012). Neufert Architects’ Data Fourth Edition. In

Journal of Chemical Information and Modeling (Vol. 53, Issue 9).

- Ontario Building Code 2012. (2012). Ontario Building Code 2012. 1, 9–10.

- weatherspark. (2022). Climate and Average Weather Year Round in Jenin. Weatherspark.

Available at: https://weatherspark.com/y/79953/Average-Weather-in-Jenin-Poland- Year-Round

- YEGENAarchitectural. (2022). Adana Chamber of Commerce Service Building. Available at: https://archello.com/project/adana-chamber-of-commerce-service- building

  - “4 Most Used Cost Estimation Techniques Used By Project Managers | Opus Kinetic.” 2018. https://www.opuskinetic.com/2018/03/4-most-used-cost-

estimation-techniques-used-by-project-managers/ (December 21, 2020).

Available At: https://www.opuskinetic.com/2018/03/4-most-used-cost-estimation- techniques-used-by-project-managers

  - A Common Definition for Zero Energy Buildings. 2015. “A Common Definition for Zero Energy Buildings.” (September): 22.

  - ACI-318. 2014. American Concrete Institute Building Code Requirements for Structural Concrete (ACI 318S-14) and Commentary (ACI 318SR-14).

  - ADLER, DAVID. 2007. “Metric Handbook Planning and Design Data.” : 1– 851. file:///Volumes/750G/%23 setting/%23 Papers2 Library/Papers2/Files/Metric Handbook_ Planning and Design Data, Third Edition - David Littlefield.pdf%5Cnpapers2://publication/uuid/1B514042- DB7B-4A29-B7D2-7521D5BBE614.

  - Aelenei, Laura et al. 2018. COST Action TU 1403 Adaptive Facade Network

Case Studies – Adaptive Facade Network.

  - AISC-360. 2016. “Specification for Structural Steel Buildings, ANSI / AISC 360-16.” American Institute of Steel Construction: 676.

  - Al-Dabbeek, Jalal N., and Radwan J. El-Kelani. 2008. “Site Effect and Expected Seismic Performance of Buildings in Palestine-Case Study: Nablus City.” AIP Conference Proceedings 1020(PART 1): 191–98.

  - Arnold, Christopher. 2016. “Earthquake Effects on Buildings.” Tall Building Design: 69–221.

  - Building Code Requirements for Structural Concrete (ACI318-14). 2014. Building Code Requirements for Structural Concrete (ACI 318-14). 14th ed. Texas: ACI Committee 318.

  - Daylight Factor | Daylighting Pattern Guide. 2020. “Daylight Factor | Daylighting Pattern Guide.” https://patternguide.advancedbuildings.net/using- this-guide/analysis-methods/daylight-factor (November 13, 2020).

Available At: https://patternguide.advancedbuildings.net/using-this-guide/analysis- methods/daylight-factor

  - Energy Use Intensity by Property Type. 2013. “Technical Reference: Technical Reference Canadian Energy Use Intensity by Property Type.” (July): 1–6. https://portfoliomanager.energystar.gov/pdf/reference/Canadian National Median Table.pdf.

Avaliable At: https://portfoliomanager.energystar.gov/pdf/reference/Canadian National Median Table.pdf.

  - Fire prevention code. 1993. Fire Prevention Code. Royal Society Building Research Focus.

  - Gravity Density Specific Weight and Specific. 2021. “Density, Specific Weight and Specific Gravity.” https://www.engineeringtoolbox.com/density- specific-weight-gravity-d_290.html (March 13, 2021).

Avaliable At: https://www.engineeringtoolbox.com/density-specific-weight- gravity-d_290.html

  - “IMPORTANCE OF STRUCTURAL DESIGN - Aarushi Associates.” 2020.

http://www.aarushiassociates.in/uncategorized/importance-of-structural- design/ (December 18, 2020).

Avaliable At: //www.aarushiassociates.in/uncategorized/importance-of-structural- design/

  - International Code Council. 2012. “International Code Council.”

  - IS. 2000. “Concrete, Plain and Reinforced.” Bureau of Indian Standards,New Dehli: 1–114.

  - Keerthirathna, W. A. D., Gayani Karunasena, and V. A. K. Rodrigo. 2018. “Disability Access in Public Buildings.” International Research Conference on Sustainability in Built Environment (June 2010).

  - Kimley, Bob, Bill Horn, and Ed Vick. 2016. “Recommended Parking Ramp Design Guidelines.”

  - Life Safety - Means of Egress / Exits – NFPA 101. 2020. “Life Safety - Means of Egress / Exits – NFPA 101.”

  - MATHalino Unit Weights and Densities of Soil | Geotechnical Engineering Review at. 2021. “Unit Weights and Densities of Soil | Geotechnical Engineering Review at MATHalino.” https://mathalino.com/reviewer/geotechnical-engineering/unit-weights-and- densities-soil (March 13, 2021).

Avaliable At: https://mathalino.com/reviewer/geotechnical-engineering/unit-weights- and-densities-soil

  - Minimum design loads for buildings and other structures-ASCE 7-16. 2016. “Minimum Design Loads for Buildings and Other Structures-ASCE 7-16.” ASCE Standard (7–5): 1–456.

  - Minimum Design Loads for Buildings and Other Structures. 2005. Minimum Design Loads for Buildings and Other Structures Supplement to Minimum Design Loads for Buildings and Other Structures (ASCE/SEI 7-05).

Avaliable At: http://mapleintegration.com/noise_cri.php

  - National Fire Alarm and Signaling Code. 2010. National Fire Alarm and Signaling Code. http://www.nfpa.org/aboutthecodes/AboutTheCodes.asp?DocNum=72.

  - Office Building Elevators. 2021. “Office Building Elevators.” FUJIHD. https://www.fujihd.net/elevator/officebuilding.html?gclid=Cj0KCQjwytOEBh D5ARIsANnRjViFRNiJ5L6D1J2SFol88N2uzsyOz2L3kXY0lC8hPhspLpDw ppL0zYEaAvXtEALw_wcB (May 7, 2021).

Avaliable At:

//www.fujihd.net/elevator/officebuilding.html?gclid=Cj0KCQjwytOEBhD5ARIs ANnRjViFRNiJ5L6D1J2SFol88N2uzsyOz2L3kXY0lC8hPhspLpDwppL0zYEaA vXtEALw_wcB

  - Ontario Building Code 2012. 2012. “Ontario Building Code 2012.” (1): 9–10.

  - Palestinian Environmental NGOs Network. 2016. “Pre Master Plan Solar Energy Production in Palestine : Opportunities and Challenges.” (December).

Avaliable At: http://www.pengon.org/uploads/articles/4.pdf.

  - Reddy, Yeshwanth Babu. 2017. “Modern Quantity Surveying- A Complete Package Adding Values to Projects.” (March).

  - Rizos, Claire. 2013. “How Many Fire Exits Are Required in a Building?”

IFSEC Global’. https://www.ifsecglobal.com/fire/how-many-fire-exits-are- required-in-a-building/ (November 27, 2020).

Avaliable At: https://www.ifsecglobal.com/fire/how-many-fire-exits-are-required- in-a-building/

  - Scarlet, Douglas. 2013. 53 Journal of Chemical Information and Modeling

ERNST NEUFERT 4th.

  - The Importance Of Structural Design | ipl.org. 2020. “The Importance Of Structural Design | Ipl.Org.” https://www.ipl.org/essay/The-Importance-Of- Structural-Design-F38MBAHEAJF6 (December 18, 2020).

Avaliable At: https://www.ipl.org/essay/The-Importance-Of-Structural-Design- F38MBAHEAJF6

  - Uniform Building Code 1997. 1997. “Uniform Building Code 1997.”

Immunological Reviews 57(1): 107–26.