## Slide 1: Climate Chamber
Produced by:
Mosab Ordoniya
Hamze Johri
Hisham Khanfa
Superviser:
Dr.Kamel Subhe

## Slide 3: ABSTRACT
Climate chamber, as the name indicates, a cabinet or a chamber that modulates many cases of storing, working and calibrating ..
conditions for many products such as measurement systems, electronic equipment and drags.

## Slide 4: What is Climate Chamber ?
is an enclosure used to test the effects of specified
environmental conditions on biological items, industrial products, materials, and
electronic devices and
components

## Slide 5
Extreme temperatures
Sudden and extreme temperature variations
Moisture or relative humidity
Electrodynamics vibrations
Electromagnetic radiation
Salt spray
Rain
Weathering
Exposure to sun, causing UV degradation.
Vacuum
Conditions maybe included

## Slide 6
Aerospace
Automotive
Biotechnology
Defense
Electronics
Energy
Pharmaceuticals and Cosmetics
Clean Rooms
Field of applications on climate chamber

## Slide 7
Applications on climate chamber
Electronics

## Slide 8
Biotechnology
Applications on climate chamber

## Slide 9: Control
About the controlling in details; the humidity will be lowered by passing the
enclosed air through cold surfaces, so that the vapor condensed, it will be increased
by evaporating water. Moreover, the temperature will be lowered using
refrigeration cooling unit, increased using heater.

## Slide 10
Parts design [with alternatives]

## Slide 11
Parts design [with alternatives]

## Slide 12
Parts design [with alternatives]

## Slide 13
Parts design [with alternatives]

## Slide 14
Complete assembly

## Slide 15: Frame design

## Slide 16
building the main frame

## Slide 17
Evabrator

## Slide 18
Steam Gas

## Slide 19
Heater

## Slide 20
Fans

## Slide 21
Condenser

## Slide 26
Control system

## Slide 27
Control system

## Slide 28
Control system

## Slide 29
Control system

## Slide 31
Thermal conductivity
Iron: 79.5 (W/m.k)
Poly.= 0.02 (W/m.k)
Wood = 0.04 (W/m.k)
Riron= 1.5723 x 10-4 k/m
RPoly = 1.562 x 10-4 k/m
Rwood = 0.46875 k/m
∑ R = 16.0939 k/m
Side View

## Slide 32
Thermal conductivity:
Fiber = 0.04 (W/m.k)
Air = 0.024 (W/m.k)
Rfiber=
=0.8333 k/m
Rair = 13.98 k/m
∑ R = 15.56k/m
Front View