## Slide 1
“Junker” Gas Calorimeter Device
B.M.A.A

## Slide 2: An-Najah National University faculty of Engineering Mechanical Engineering Department
Prepared by :
Amr Ahmad
Ahmad Rabah
Bader Abu Rayya
Mahmoud Nour
Supervised by:
Dr. Mohammed al-sayyed

## Slide 3: Outline:
Introduction.
Our Design.
Obstacles & Challenges.
Process description.
Required data to be Measured.
Equations and formulas.
Results & Calculations.
Recommendations.
Conclusion.

## Slide 4: Introduction:
What is Calorimeter:
Device used for measuring heating values of gaseous fuels in a sufficient way .
Main aims of building Calorimeter:
Chick combustible gases quality.
Identifying the type of an unknown gas.
Educational goals.

## Slide 5: As Built Design:
1
2
3
4
5
6
Part | Description
1 | Water tank
2 | Gas line
3 | Pressure regulator
4 | Gas volume counter
5 | burner
6 | Vacuum pressure gage

## Slide 6
Bottom View
1
2
3
4
Part NO | Description
1 | Outer shell
2 | Inner shell
3 | copper plates
4 | Vacuum suction line
5 | Vacuum zone
5

## Slide 7: The Base
1
2
3
4
Part NO | DESCRIPTION
1 | Sight opening
2 | Threaded opening for burner
3 | Opening for exhaust gases and condensate
4 | Water inlet

## Slide 8: Obstacles & Challenges:
Lake of good fabrication in the local market
Some of components is not available in the local market .
No enough time , and laboratories availability.
Controlling gaseous fluids.
NO donors , so the cost was personal.

## Slide 9: Process:
1. Connect the Vacuum line
2.
connect the gas line .
6. Collect the
out going water .
3.
Ignite the burner, then wait 20-30 min.
5.
Let the water flow .
4.
Fill the water tank

## Slide 10: Parameters to be measured:
(PAtm.).
(Troom).
(Ti).
(To).
(Tinside).
(Vgas).
(Vwater).
(tprocess).

## Slide 11: Equations and formulas:
To calculate the energy stored into the water, we need the previous measurements :
To calculate mass of burned gas. There is a need to find NO. of moles of gas .
1 mole at 273o k 22.4 L
1 mole at Troom k volume of 1 mole =??

## Slide 12
volume of (1) mole at Troom =
1 mole at Troom
# of moles = ?? Vgas
NO.of moles of burned gas =

## Slide 13
Mass of burned gas = NO.of moles *molar mass
Mass of water= Volume * density
Ug = *1000{ {kj/kg}
Error = Theoretical value − Actual value *100%
Theoretical value

## Slide 14: Results:
Test (1):
*Gas used : propane (C3H8)
*Theoretical heating value for the gas = 46357 kj/kg
*Troom=21oC , PAtm.= 1 atm
Error% | Ug (kj/kg ) | ΔT (0C) | Tin (0C) | Tout (0C) | Mw (kg) | Vw (L) | Vg (L) | Mg (kg)
19.7 % | 37060.2 | 17.2 | 18 | 35.2 | 11 | 11 | 11.7 | 21.34

## Slide 15: Test (2): *Gas used : propane (C3H8) *Troom= 22oC , Patm.= 1 atm *Theoretical heating value for the gas = 46357 kj/kg
Error% | Ug (kj/kg ) | ΔT (0C) | Tin (0C) | Tout (0C) | Mw (kg) | Vw (L) | Vg (L) | Mg (g)
13.8 % | 39790.4 | 15 | 23 | 38 | 3.75 | 3.75 | 3.25 | 5.9

## Slide 16
Test (3):
Gas used : propane (C3H8)
Troom= 22oC , PAtm.= 1 Par
Theoretical heating value for the gas = 46357 kj/kg
Error% | Ug (kj/kg ) | ΔT (0C) | Tout (0C) | Tin (0C) | Mw (kg) | Vw (L) | Vg (L) | Mg (kg)
11.3% | 40942.5 | 13 | 35 | 22 | 2.75 | 2.75 | 2 | 3.65

## Slide 17: Recommendations:
The device should be in a smaller scale to decrease heat losses into materials used.
Using digital measuring devices instead of those used to get more accurate values.
good welding to achieve good vacuum insulation , also use a good vacuum compressor.
Using a very well-known gas with high quality.
find out experimentally and theoretically heat dissipated into materials inside the device before and after reaching the steady state.

## Slide 18: Conclusion:
this device helps to understand the concept of heat transfer and the calorific value.
Existing sources of error, such as reading gauges, welding, quality of gas, vacuum, all resulted in delays in the work.
Up the working efficiency of the device is about 90%, and this is an excellent thing for the work of a student manual manufacturing.
Our device does not exist in Palestine, where the cost of building it= 2000 NIS, where the Junker calorimeter price in the market = 8000 NIS.

## Slide 19
Special Thanks
Dr. Abdulraheem Abu Safa
Eng. Yousef Ratrout
Eng. Maha fuqha

## Slide 20: Thank You 