## Slide 1: Design for Directorate of Health in Nablus
Prepared By:
Ahmad Resha
Osama Khouerh
Qusai Abu Raad
Supervisor: Eng. Abdel Hakeem Al Jawhari
Faculty of Engineering & Information Technology
Department of Building Engineering
An-Najah National University

## Slide 2: Contents:
Site analysis
Architectural Design
Environmental Design
Structural system Design
Electro-Mechanical system Design
Safety design
Quantity Survey and Cost

## Slide 3: Architectural design
Site analysis
The site is located in (balata al balad), east of Nablus near to (Jacob’s well church), it’s to the East-north of Amman street, about 496 m above sea level and 2 kilometers away from city center. Site has a total area of 1483 m2.

## Slide 4: Site analysis

## Slide 5: Site analysis
Building area = 447 m2

## Slide 6: 3D Model
3D model

## Slide 7
3D model

## Slide 8
3D model

## Slide 10: Parking Floor
Old Parking Floor area = 492 m2
Parking Floor area = 500 m2

## Slide 11: Ground Floor
Old Ground Floor area = 425 m2
Ground Floor area = 450 m2

## Slide 12: First Floor
Old First Floor area = 435 m2
First Floor area = 440 m2

## Slide 13: Second Floor
Old Second Floor area = 435 m2
Second Floor area = 440 m2

## Slide 14: Third Floor
Old Third Floor area = 435 m2
Third Floor area = 440 m2

## Slide 15: Southern Elevation

## Slide 16: Northern Elevation

## Slide 17: Section A-A

## Slide 18: Section B-B

## Slide 19: Environmental Design
Thermal Design
Old U value for building envelope
Component | U-value (w/m2-k)
External Wall | 2.608
Partition Wall | 2.585
Floor | 2.106
Roof | 2.01
Windows (Clear glass 4 mm ) | 5.879
Component | U-value (w/m2-k)
External Wall | 0.492
Partition Wall | 2.585
Floor | 0.487
Roof | 0.498
Windows (Double glass, low e, 6 mm) | 1.493
New U value for building envelope

## Slide 20: Shading
Design Builder program ( 3D Model )

## Slide 21: Shading
Eastern windows (vertical shutters)
Southern windows (horizontal Louvers)

## Slide 22: Shading
Summer day (sun path 21/1 at 8:00 am )
Summer day (sun path 21/1 at 2:00 pm )

## Slide 23: Shading
Winter day (sun path 21/1 at 8:00 am )
Winter day (sun path 21/1 at 2:00 pm )

## Slide 24
Heating and cooling load
Cooling load 77.4 kw
Heating load 41.9 kw
Site and Source Energy
Thermal Design
Old total site energy
New total site energy

## Slide 25
Comfort PMV-Set
Old PMV graph
New PMV graph

## Slide 26: daylight analysis
D.F% | Space
3.64 | Meeting hall
5.23 | Reception
5.61 | Medical committee

## Slide 27: Acoustics Design

## Slide 28
RT60 (Reverberation Time)
Old Spaces
New Spaces

## Slide 29
RT60 (Reverberation Time)
Element | Finish material | Absorption coefficient(α) at each frequency |  |  |  |  |  |  |  |  | 
 |  | 63HZ | 125 HZ | 250 HZ | 500 HZ | 1000 HZ | 2000 HZ | 4000 HZ | 8000 HZ | 16000HZ | 
Ceiling | Acoustical Tile | 0.7 | 0.66 | 0.72 | 0.92 | 0.88 | 0.75 | 0.75 | 0.75 | 0.75 | 

## Slide 30
RT60 (Reverberation Time)
At 50 % occupancy | 
FREQ. | RT60
63Hz: | 1.1
125Hz: | 0.98
250Hz: | 0.91
500Hz: | 0.96
1kHz: | 0.57
2kHz: | 0.33
4kHz: | 0.17
8kHz: | 0.09
16kHz: | 0.1
Recommended
Clinic room
(0.4-0.6)
Old RT60 Values for Clinic Room
At 50 % occupancy | 
FREQ. | RT (60)
63Hz: | 0.51
125Hz: | 0.52
250Hz: | 0.49
500Hz: | 0.45
1kHz: | 0.44
2kHz: | 0.44
4kHz: | 0.36
8kHz: | 0.23
16kHz: | 0.23
New RT60 Values for Clinic Room

## Slide 31
RT60 (Reverberation Time)
Old RT60 Values for Manager Room
New RT60 Values for Manager Room
At 50 % occupancy | 
FREQ. | RT(60)
63Hz: | 0.98
125Hz: | 1.14
250Hz: | 1.16
500Hz: | 1.19
1kHz: | 1.16
2kHz: | 0.72
4kHz: | 0.43
8kHz: | 0.23
16kHz: | 0.26
At 50 % occupancy | 
FREQ. | RT (60)
63Hz: | 0.63
125Hz: | 0.66
250Hz: | 0.69
500Hz: | 0.72
1kHz: | 0.75
2kHz: | 0.81
4kHz: | 0.72
8kHz: | 0.5
16kHz: | 0.5
Manager office
room
(0.7-1.3)

## Slide 32
STC and IIC
For External Wall of Clinic Room
TL = 50 dB
External Wall

## Slide 33
STC and IIC
For Manger room adjacent to secretary office
TL = 46 dB
Internal Wall
Recommended Value 45 dB

## Slide 34
IIC For Ceiling
IIC = 70 dB

## Slide 35: Structural Design

## Slide 36: Codes and Loads
Loads
Live Load = 4 kN/
SID = 4 kN/
Eq Load coefficients (UBC-97)
R = 5.5 , I = 1
Z = 2B (Nablus) , Cv= 0.2 , Ca = 0.2
Soil Profile (SB)
Codes
UBC-97 for Earthquake design
ACI 318-14 for RC structure design
Structural design

## Slide 37: Structural system
Materials
Concrete B300 , B350
Steel fy = 420 Mpa
Structural design
Structural System
One Way Ribbed Slab
With Drop Beams
Final Design Sections
Slab thickness 35 cm
Beams dimensions ( 30 * 70 & 30 * 50 ) cm
Columns dimensions ( 30*55 , 45*80 , 50 Circular ) cm
Walls Thickness 30 cm

## Slide 38: 3D-Modeling
Structural design

## Slide 39: Model Checks
Structural design
Compatibility Check

## Slide 40: Model Checks
Structural design
Done for Dead, SID and Live load within difference less than 5 %.
Equilibrium Check
Internal Forces Check
Done for 3 samples of slab strip, beams and columns within difference less than 10%

## Slide 41: Model Checks
Structural design
Deflection Check
Limit = L/240
= 6.5/ 240 = 27 mm

## Slide 42: Model Checks
Structural design
Period Check
Period from ETABS = 0.62 sec.
Period from hand calculation= 0.44
T from ETABS < 1.4 from hand calc.
0.62 sec.< 0.63 sec.

## Slide 43: Slab Reinforcement
Structural design

## Slide 44: Slab Reinforcement
Structural design

## Slide 45
Structural design
Beams Reinforcement

## Slide 46
Structural design
Beams Reinforcement

## Slide 47
Structural design
Columns Reinforcement

## Slide 48
Structural design
Columns Reinforcement

## Slide 49
Structural design
Footing Reinforcement

## Slide 50
Structural design
Footing Reinforcement

## Slide 51
Structural design
Shear Wall Reinforcement

## Slide 52
Structural design
Basement Wall Reinforcement

## Slide 53
Structural design
Stairs Reinforcement

## Slide 54
Structural design
Past and New Design
Past
Not Designed For Seismic Load
High Eccentricity
Hidden Beams
Columns Prevent effective
using Parking
New Design
Earth quick Design Based
Minimum Eccentricity
Drop Beams
Structural Elements compatible with architectural purposes

## Slide 55: Electrical Design

## Slide 56: Ground Floor socket plan

## Slide 57: Ground Floor Lighting Plan

## Slide 58: Luminaires Layout
Old Main Luminaire
New Main Luminaire
100 lm/w
50 lm/w

## Slide 59: 3D Rendering model (Dialux)
New Second Floor
Old Second Floor

## Slide 60: 3D Rendering View for Selected Rooms
Health education office
Conference Room

## Slide 61: Health Education Office
Average Illuminance
535 Lux
UGR = 17.7
Required illuminance
500 lux
Required uniformity
(>0.60)

## Slide 62: Power Consumption Estimation
Type | Consumption (KW/day) | Cost (Nis/day) | Cost (Nis/month)
Lighting | 117.67 | 84.72 | 1677
Power | 171 | 132.12 | 2462
Total | 288.67 | 216.84 | 4139
Old Electricity Consumption Estimation
Type | Consumption (KW/day) | Cost (Nis/day) | Cost (Nis/month)
Lighting | 77.58 | 55.85 | 1117
Power | 222.96 | 160.53 | 3210
Total | 300.54 | 225.4 | 4327
New Electricity Consumption Estimation
Lighting
Decreased by 34 %
VRF system instead of Split Units for specific rooms
Increased by 30 %
High efficacy luminaire
Power

## Slide 63: Mechanical Design

## Slide 64: Water demand = 28 /day
Water Supply System

## Slide 65
Water Supply System
Old number of tanks = 13
New number of tanks = 16

## Slide 66
Drainage system

## Slide 67
Drainage system

## Slide 68
Rain Water Drainage
Rain Water Tank size = 36 m3

## Slide 69: (HVAC (System
VRF system used
From Design builder
Total Cooling load 77.4 kw
Total Heating load 41.9 kw

## Slide 70: (HVAC (System
VRF system
Outdoor unit Selected From LG company with
Cooling capacity 80 kw
Heating capacity 87 kw
(MULTI V 5) MODEL NO: ARUM264BTE5

## Slide 71: (HVAC (System
VRF system
Fan coil From LG company depending
on volumetric flow rate for each space.

## Slide 72: Ground floor HVAC system layout

## Slide 73
Reflective Ceiling Plan

## Slide 74: Firefighting and Safety Design

## Slide 75
Emergency Fire Protection System

## Slide 76
Emergency Fire Protection System
Old Number of Firefighting Tanks = 2
New Number of Firefighting Tanks = 4

## Slide 77
Emergency Egress System
Escaping Plan for Ground Floor
Escaping Plan for First Floor

## Slide 78: Quantity Surveying and Cost Estimation

## Slide 79
Directorate of Health | Total Direct Cost (Nis)
Structure work | 2,297,256
Mechanical Work | 240,500
Finishing Work | 1,158,506
Electrical Work | 294,801
Total direct project cost | 3,991,063
Unit Direct Cost = 3991063/2235 = 1786 Nis /m2
Cost Estimation
Unit Direct Cost = 352 JD /m2

## Slide 80
Thank You