## Slide 1
Improving Safety Procedures
in the Gas Stations
in Nablus City

## Slide 2
Study prepared by:-
Faisal Menawi
Waseem Al- Shayeb
Mohammad Al-Tamimi
Zaid Zrieq
Mohammad Foqha
Supervisor
Dr. Mohammad Othman

## Slide 3: Content
General Information
Rationale of the Study
Objective of the Study
OSHA
Fuel Station Information
Methodology
Authorities Responsible for Licensing Fuel Stations
Analysis
Conclusion

## Slide 4
Safety is an issue of great importance in all life aspects. Its importance appears in home, street, construction site, factory and even offices. Since human life is the most important and expensive asset everywhere.
General Introduction

## Slide 5
Rationale of the Study
This study was prepared to evaluate the extent into which the standards of health and occupational safety are applied in fuel stations especially in Nablus governorate which include 27 working fuel stations which offers various kinds of fuel to customers.
Objectives of the Study
Define the Palestinian standards and track the authorities involved in the process of licensing fuel station and the unique role for each one
Verify the actual safety condition at fuel stations.
Develop an integrated design for fuel station.
Study the actual status of Al – Tamimi Fuel Station in Huwwara as example to a station not Acceptable to Palestinian standards

## Slide 6
Industrial
safety Definition
Industrial safety is seen as the management of activities within a certain industry for the purpose of reducing risks and injuries in a certain occupational function.
Safety Definition
safety is defined as “the state of being "safe" the condition of being protected against physical, spiritual, financial, occupational, or other types or consequences of failure.

## Slide 7: OSHA Statistical method to characterize accident
OSHA stands for Occupational Safety and Health Administration of the United States government. OSHA is responsible for insuring that the workers are provided with a safe working environment.

## Slide 8: Goals of Occupational Health and Safety in Industrial Safety
The measures of occupational health and safety were set for several important reasons that can be summarized as follows:
Protection of the human factor from injuries due to hazards in the work environment
Maintain and protect the physical component of the work represented by the work facility, machinery, and equipment

## Slide 9
Comply all safety measures that guarantee a safe environment which fulfills the protection of both the human and the physical factors
Occupational health and safety can be used as a scientific approach to promote satisfaction and inner security for workers

## Slide 10: Occupational Health and Safety Factors
1- Workers health and safety:
To achieve this factor as it’s the most important aspect of life we should select the suitable workers.
2- Tools and machinery:
As the statics show, 28% of accidents caused by misuse of equipment, to overcome these accidents we should position the machines in their appropriate locations and make periodic maintenance.
3- Work environment:
Its refer to the inner work environment. Protect workers from factors affecting their health or performance

## Slide 11: Fuel Station Information
Fuel stations are facilities delegated
and licensed for selling and distributing fuels for the consumers. These facilities might be privately owned or part of a public entity owned by the public sector.

## Slide 12
Gasoline: is a volatile liquid that produces flammable gases even at low temperatures. It is considered a very dangerous and hazardous material if not handled properly. Gasoline is usually colorless.
Diesel :is a yellowish or greenish low viscosity fuel made up of a mixture of hydrocarbon products remaining after refining the kerosene. Diesel fuel is more safe compared to gasoline .
Kerosene: is similar to diesel fuel in its characteristics although is lighter than diesel and produces more volatile gases when heated.
Fuel station substances

## Slide 13: Effects of fuel on human health
All fuel products may pose a threat to human life if not handled with care
An exposure limit defined by the The Department of Health and Human Services of the United States (DHHS) for present fuels in the air of about one part per million (1 ppm) in a workplace where daily working hours are 8 and weekly working hours are up to 40.

## Slide 14: Methodology
Phase I: conduct evaluation of existing situation through site visits to the fuel stations in Nablus governorate. A questionnaire was prepared for this purpose and will be filled for all fuel stations in the study area and statistically analyzed to verify trends of existing situation.
Phase II: discuss the Palestinian standards set for the construction and licensing of fuel stations.
Phase III: design a prototype for a fuel station that fulfills the requirements and conditions set by the respective authorities and meets the safety standards. A comparison will be made to existing conditions of fuel stations in the study area.
including Petroleum Authority, municipalities and local authorities, Civil Defense, Ministry of Transport, Ministry of Health, Environment Quality Authority, Ministry of Labor, and Palestinian Standards Institute.

## Slide 15: Fuel Station Categories
1- Category A stations: Fuel station under this category are large ones. equipped with dispensers for all types of fuel Minimum space area of 2,500 meters, A stand-by electricity generator is available and located in isolated room at least 15 m away from ventilation orifices.
Category B stations: These stations are medium sized and equipped for fueling all types of vehicles Minimum space area of 1,200 meters, Surrounded by a concrete fencing wall, A minimum safety distance of 10 m between the filling orifices of the underground tanks and any other facilities in the station.
Category C stations: These are small sized stations equipped for vehicles under 15 tons in weight Minimum space area of 600 meters, Surrounded by a concrete fencing wall

## Slide 16: Authorities Responsible for Licensing Fuel Stations
GDP
evidence of ownership of the state
Writing to the GDP and attach to application
Municipality
structure requirements
site requirements
Civil Defense
fuel Tanks and pumps - electric wiring
EQA
EQA participate in the intergovernmental technical committee for the licensing of fuel station. They also conduct field visit during the construction of the station.
MOH
The MOH participates in the intergovernmental technical committee for the licensing of fuel stations and they conduct field visits to supervise location and construction of the station
MOT
Specifications of the Street station
conditions about the fuel transportation
MOL
fire fighter requirements under the conditions of the civil defense
Special requirements for station site and workers safety
fuel transport vehicles
fire prevention and fire fighting

## Slide 17: Questionnaire Analysis Sample
No. | Questionnaire variable factor | Questionnaire answers analysis | Answers comparison with the Palestinian standards
1- | Fuel tanks depth under the ground | 85.7% from 1-3 m 14.3% more than 3 m | The depth under the ground it should be not less than 1 m
2- | Weekly average working hour to the worker | 0% less than 25h 14.1% between 25- 40h 85% between 40-60h 0.9% more than 60h | In the Palestinian labor law the daily working hour is 8 hours

## Slide 18
From the previous analyzing we build a charts to determine our percentage results

## Slide 19: Chart 1
Chart: Station area space
| space area less than 600m2 | space area between 600-1200m2 | space area between 1200-2500m2
 | 0.4285 | 0.285 | 0.285
From the chart the space area of the stations don’t match the Palestinian standards classification which shown below
The classification of the stations
C station with area space not less than 600m2
B station with area space not less than 1200m2
A station with area space not less than 2500m2

## Slide 20: Chart 2
Chart: The station entrances and exits numbering
| 1 entrance and exist | 1 entrance and 1 exist | 2 entrance and one exist
 | 0.285 | 0.141 | 0.5714
From the chart we have28.5% 1 entrance and exit , 14.1% 1 entrance and 1 exit, 57.14% 2 entrance and one exit
While the Palestinian standards talk about the Station should have two lanes on a public street with a capacity not less than 6 m, Lane 1 used as entrances and the other used as an exit

## Slide 21
Chart: Weekly average working hour to the worker
| between 25- 40h | between 40-60h
 | 14.1 | 85
Chart 3
From the chart we have a 14.1% of workers working about 25-48 weekly hour
And 85% percentage of workers working about 48-60 weekly hour
On the other hand in the Palestinian labor law the daily working hour is 8 hours (48 hour/week)

## Slide 22
Chart: The average time to make a regular maintenance
| every 3 month | every 6 month | every year | don’t make any maintain
 | 0.141 | 0.285 | 0.428 | 0.141
Chart 4
From the chart we have a 14% of stations make a periodic maintenance as the Palestinian standards while 43% making a yearly maintenance , 29% Every 6 month, 14.1% don’t make any maintenance.

## Slide 23
Chart: The type of the training course
| devices use | safety
 | 0.714 | 0.285
Chart 5
From the chart we have just 29% of the workers completed a training safety course while 71% of them completed courses not in the safety field and in the Palestinian standards every worker in the station should complete a certificate of the civil defense for the safety before start working in the station

## Slide 24
Chart: The station have fire- fighting equipments
| yes | no
 | 0.714 | 0.285
Chart 6
From the chart we have a percentage of 28.5%from the stations don’t have fire-fighting equipment but in the Palestinian standards it must provide station facilities with fire extinguishers that appropriate to fire accidents

## Slide 25
Chart: The station have first-aid equipments
| yes | no
 | 0.714 | 0.285
Chart 7
From the previous chart we have a 28.5% of the stations don’t have the first – aid equipment while in the conditions of the civil defense standards every station should have a first- aid equipments

## Slide 26
Chart: If the station put warning and guidance signs
| yes | no
 | 0.75 | 0.25
Chart 8
From the previous chart we have 25% of the stations didn’t using the warning signs while in the Palestinian standards it should be put a signs that determined from the civil defense instructions that shown the safety regulation as smoking forbidden and make fire in the station

## Slide 27
Necessarily to implement all of conditions and recommendations of the Palestinian authorities that licensed the fuel stations as the GPD, Civil defense ,Municipality .
should rearrange the fuel station classifications
Implementation of the safety procedures in each station by making calibration with responsible authorities as in our analyzing we note the following:
Conclusion

## Slide 28
Stations that licensed before the Palestinian Authorities don’t apply the Palestinian standards in construction and design
The fuel Stations workers don’t have training courses in safety
Some of the stations do not use a warning signs which necessary to avoid station customers from smoking or using sparks
    The number of the working hour/day to the worker up to 8 hour, which exposure the worker to inhalant a fumes of the fuel substances that affect on their health.

## Slide 29
Low percentage of the stations implement a periodic maintenance
should arrange periodic visits from civil defense and other safety responsible authorities to make a safety checks
Control the maximum load of the fuel transportation vehicles can carrying it

## Slide 30
Thanks For Listening