Cover page

Project title: Temperature monitoring system for medical laboratory refrigerators

Academic Year: 2022-2023

Group Members: Adnan Ennab   11924468 & Mohammad Khamalan 12042772

Department Name: Computer Engineering

Project Type 		Hardware

Supervisor Name:  Dr.Saed Tarapiah

Project’s Abstract:

As we know in hospitals, it is necessary to keep medical medicines at appropriate temperature for each  medicine, as they are kept in refrigerators and freezers so that it will maintain its effectiveness.

In this project, a system will be created based on keeping medicines in refrigerators and freezers (where each medicine has a temperature to be kept)

Refrigerators are loaned by the user (the specialist doctor), and this system is equipped with a DHT temperature sensor that measures the temperature inside the refrigerator and displays the temperature for each refrigerator on the LCD screen and displays whether it is inside the rang or not. The readings are displayed on a web page that changes periodically From time to time, according to the temperature of the refrigerators, through the use of an Ethernet module that is connected to the Arduino, and the benefit of that lies because the Ministry of Health requests a monthly record of readings to check on the conditions of preserving medical materials.

In this system, an alarm beep is sounded if the temperature of the refrigerator is outside the range set by the specialist doctor, and a message is sent to the specialist doctor’s chip by using a GSM module that is connected to the Arduino, and there is an IR sensor to check if the refrigerator contains an empty space To add the medicine or not so that the refrigerator’s heat is not consumed when opening it and searching for an empty place, and the result is displayed on another LCD screen, and for the purpose of protection, a gf tag was used so that the identity of whoever wants to open the refrigerator door is identified and if he has the authority to tamper with its contents.