## Slide 1
An-Najah National University
  Faculty of Engineering and Information Technology
Mechanical Engineering Department
Utilizing Solar Energy for Extracting Fresh Water in Palestine
By
Ahmad Zabadi
Wael Ibrahim
Mohammad Omar
Under supervision of: Dr. Ramez Khaldi

## Slide 2: Introduction
  General Background
  Water in Palestine
Introduction

## Slide 3
Temperature
In summer:
25-30 °C
50-70% RH
In winter:
5-15°C
60-80% RH

## Slide 4
Irradiance
(3000) HOURS YEARLY
(5.4-6) KWH/m2

## Slide 5
Solar Energy

## Slide 6: Methodology
Location of study:

## Slide 7
Description of the AWG System:

## Slide 8: The Procedure of the Experimental Study:
G air = 1/(X1-X2) [Kg air / Kg h2o]
Qo = Gair. (h1-h2) [KJ / Kg h2o]
P = Qo / (EER. 3600) [kwh electricity / Kg h2o]
C= Pp. [NIS / Kg h2o]
Size of solar energy = P / Power Generation Factor for Palestine [kW/ 1 liter]

## Slide 9: The properties of moist air at the outlet of the evaporator
17 | 16 | 15 | 14 | 13 | 12 | 11 | 10 | 6 | (℃) | t
100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | (%) | Φ
0.0121 | 0.0113 | 0.0106 | 0.0099 | 0.0093 | 0.0087 | 0.0081 | 0.0076 | 0.0058 | (kgH20/kgair) | x
47.73 | 44.78 | 41.94 | 39.21 | 36.58 | 34.04 | 31.60 | 29.24 | 20.59 | (kJ/kgair) | h

## Slide 10
Results and Analysis
  Cooling load needed to produce 1 liter of water
Ramallah
Chart: cooling loads Qo in Ramallah city at outlet temperature 13℃
| Jan | Feb | Mar | Apr | May | Jun | July | Aug | Sep | Oct | Nov | Des
Ramallah | 0.995 | 0.901 | 0.9 | 0.204 | 0 | 0 | 13.101 | 3.545 | 2.829 | 0 | 0.354 | 0.694

## Slide 11
  Cooling load needed to produce 1 liter of water
Jenin
Chart: cooling loads Qo in Jenin city at outlet temperature 13℃
| Jan | Feb | Mar | Apr | May | Jun | July | Aug | Sep | Oct | Nov | Des
Jenin | 0 | 0 | 0 | 5.402 | 2.25 | 1.58 | 1.36 | 1.31 | 1.49 | 1.72 | 2.34 | 0

## Slide 12
  Cooling load needed to produce 1 liter of water
Tulkarm
Chart: cooling loads Qo in Tulkarm city at outlet temperature 13℃
| Jan | Feb | Mar | Apr | May | Jun | July | Aug | Sep | Oct | Nov | Des
Tulkarm | 0 | 0 | 4.134 | 1.895 | 1.561 | 1.277 | 1.267 | 1.272 | 1.277 | 1.535 | 2.325 | 0

## Slide 13
  Cooling load needed to produce 1 liter of water
Nablus
Chart: cooling loads Qo in Nablus city at outlet temperature 13℃
| Jan | Feb | Mar | Apr | May | Jun | July | Aug | Sep | Oct | Nov | Des
Nablus | 0.703 | 0.703 | 0.215 | 7.37 | 1.94 | 1.454 | 1.341 | 1.349 | 1.43 | 1.654 | 7.875 | 0.582

## Slide 14
  Cooling load needed to produce 1 liter of water
Jericho
Chart: cooling loads Qo in Jericho city at outlet temperature 13℃
| Jan | Feb | Mar | Apr | May | Jun | July | Aug | Sep | Oct | Nov | Des
Jericho | 0.619 | 0.389 | 0.458 | 0 | 0 | 4.42 | 2.573 | 2.4 | 2.382 | 3.201 | 0 | 0

## Slide 15
  2.Energy consumption (Electricity) for the production of 1 liter of water
Chart: energy consumption(Electricity) for production 1 liter of water
| Jan | Feb | Mar | Apr | May | Jun | July | Aug. | Sep | Oct | Nov | Dec
Ramallah | 0.221 | 0.2 | 0.2 | 0.045 | 0 | 0 | 2.911 | 0.787 | 0.628 | 0 | 0.078 | 0.154
Jenin | 0 | 0 | 0 | 1.2 | 0.5 | 0.35 | 0.3 | 0.29 | 0.33 | 0.38 | 0.52 | 0
tulkarm | 0 | 0 | 0.918 | 0.421 | 0.421 | 0.283 | 0 | 0.282 | 0.283 | 0.341 | 0.516 | 0
Nablus | 0.156 | 0.156 | 0.047 | 1.637 | 0.431 | 0 | 0.298 | 0.299 | 0.317 | 0.367 | 1.75 | 0.129
Jericho | 0.137 | 0.086 | 0.101 | 0 | 0 | 0.982 | 0.571 | 0.533 | 0.529 | 0.711 | 0 | 0

## Slide 16
  3.Cost of producing 1 liter of water
Chart: production cost per one liter of water
| Jan | Feb | Mar | Apr | May | Jun | July | Aug. | Sep | Oct | Nov | Dec
Ramallah | 0.143 | 0.13 | 0.13 | 0.029 | 0 | 0 | 1.892 | 0.512 | 0.408 | 0 | 0.051 | 0.1
Jenin | 0 | 0 | 0 | 0.78 | 0.32 | 0.22 | 0.19 | 0.19 | 0.21 | 0.24 | 0.334 | 0
tulkarm | 0 | 0 | 0.596 | 0.273 | 0.273 | 0.1839 | 0.182 | 0.1833 | 0.1839 | 0.221 | 0.335 | 0
Nablus | 0.101 | 0.101 | 0.031 | 1.064 | 0.28 | 0.21 | 0.193 | 0.194 | 0.206 | 0.239 | 1.137 | 0.084
Jericho | 0.09 | 0.057 | 0.067 | 0 | 0 | 0.648 | 0.377 | 0.352 | 0.349 | 0.469 | 0 | 0

## Slide 17
  4.Size PV Modules
Chart: Size of solar energy for the Palestinian cities
| Ramallah | Jenin | Tulkarm | Nablus | Jericho
size | 15878.1 | 6545 | 5007 | 9540 | 5356

## Slide 18
Potential Benefits of Atmospheric Water Generators (AWGs).
Study on AWG Efficiency in Tulkarm, Palestine.
AWGs as a Promising Solution for Water Scarcity in Palestine, Considerations and Future Research.
Conclusions