## Slide 1: Graduation Project (2) Mixed Use Building
Prepared by :
Ahmad jitan
Hanadi bani fadel
Jihad elyyan
Marah derieh
Supervisor:Eng.Hasan mathar

## Slide 2: Outline
Introduction
Site analysis
Architectural design
Structural design
Environmental design
Electrical design
Mechanical design
Safety
Quantity Survey

## Slide 3: Introduction

## Slide 4: SITE ANALYSIS
The proposed land was chosen to be in the south of Nablus on Gerizim Mountain.

## Slide 5: CONTOUR AND LEVEL
land is 3488 m2 with slope 12m from north to south.

## Slide 6: Architectural Design
Site Plan

## Slide 7: Site plane

## Slide 8: Architectural Design
Ground floor
1289.5 m2 which contains, entrance, shops, store.

## Slide 9: Architectural Design
first&second floor
1289.5 m2 which contains, shops, store.

## Slide 10: Architectural Design
Third floor (food court).

## Slide 11
fourth floor (resturant).
Area 1788.5m2
contain two cinema
Architectural Design

## Slide 12: Architectural Design
5th + 6th floor (offices).
Area 1788.5m2

## Slide 13: Elevations
NORTH ELEVATION

## Slide 14: Elevations
EAST ELEVATION

## Slide 15: Elevations
SOUTH ELEVATION

## Slide 16: Elevations
WEST ELEVATION

## Slide 17: Structural Design

## Slide 18: Structural Design
The software's used for analysis and design is:
ETABs2015 and sap2000 for structural analysis & design.
AutoCAD for all drawings.

## Slide 19: Structural Design
The design of the building was done according to the following codes and standards:
ACI -318-2011 for reinforced concrete structural design.
UBC -97 for earthquake load computations and seismic design .

## Slide 20
The materials used in the construction have the following characteristics :
Compressive strength of Concrete (f'c`)
Compressive strength of Concrete “f′c”. | Type of frame or shells
24 | Slabs
28 | Beams
28 | Column
28 | Wall
28 | Footing
12 | Bracing
28 | Water tank
28 | Stair case
Material Property

## Slide 21
Adding the following layers to improve the bearing capacity of the soil:-
Rock fill 60 cm depth.
Two layer of base course each with 20cm depth
200 KN/m2.
Soil property
Notes: The structure has been built on soil profile has a low bearing capacity can be improved by
Adding the following layers:-

## Slide 22: Loads on the floors
Load on slab and frames | Type of load
4 for office and for other stories 5KN/m2 | Super imposed on slab
2.5 for office and 5 for other stories KN/m2 | Live load on slab
21KN/m | Load on beams from stone

## Slide 23: Structural Design

## Slide 24: First block

## Slide 25
One way ribbed slab with thickness h = 30cm.
Structural elements information

## Slide 26: beams
Main beams (600*500)
Secondary beams (30*25 cm).

## Slide 27: Columns

## Slide 28
Structural Design

## Slide 29: Walls
Shear wall with thickness of 30 cm

## Slide 30: Bracing
Notes: Bracing is constructed in model in order to simulate the reality of the stone and glass elevations

## Slide 31: Analysis the model and checks
Compatibility and deformation check.
Modal is combatable .
Deformation:
Deflection on slab = L/360 = 4650/360 =12.9mm
Etabs result due to live load is
Uz= 8.555mm
Thus , ok .

## Slide 32: Equilibrium checks
Percentage of Error (%) | Base reaction from manual calculation | Base reaction from ETABs | Load type
1.8% | 18380.3 | 18048.2277 | Dead
0.0343% | 5054.595 | 5056.3273 | Live
The percentages of error are too small thus, the checks are acceptable.

## Slide 33: Stress –strain relation checks
Percentage of error (%) | ETABs result | Manual Moment result (KN.m) | Beams label
6.875% | 103.3 | 110.93 | B47(First floor)
7.1% | 42 | 39 | B3(Ground floor )
9.6% | 150.2 | 135.6 | B32 (Ground floor)

## Slide 34: Check column (live load)
ETABS result: P live 30.1kN
Manual : (5.32*8.61)/2*2.5=28.62
Error 5.2%

## Slide 35: Making sure modal participation mass ratio > 90% in both x and y.
TABLE: Modal Participating Mass Ratios |  |  |  |  |  |  |  | 
Case | Mode | Period | UX | UY | UZ | Sum UX | Sum UY | Sum UZ
 |  | sec |  |  |  |  |  | 
Modal | 1 | 0.312 | 0.5166 | 0 | 0 | 0.5166 | 0 | 0
Modal | 2 | 0.116 | 0.00000186 | 0.6112 | 0 | 0.5166 | 0.6112 | 0
Modal | 3 | 0.112 | 0.1375 | 0.00001043 | 0 | 0.6541 | 0.6112 | 0
Modal | 4 | 0.103 | 0.0535 | 8.564E-07 | 0 | 0.7076 | 0.6112 | 0
Modal | 5 | 0.082 | 0.2143 | 0 | 0 | 0.922 | 0.6112 | 0
Modal | 6 | 0.044 | 0 | 0.28 | 0 | 0.922 | 0.8912 | 0
Modal | 7 | 0.039 | 0.035 | 0 | 0 | 0.957 | 0.8912 | 0
Modal | 8 | 0.033 | 0 | 0.0872 | 0 | 0.957 | 0.9784 | 0
Modal | 9 | 0.03 | 0.0335 | 0 | 0 | 0.9905 | 0.9784 | 0
Modal | 10 | 0.021 | 0 | 0.0025 | 0 | 0.9905 | 0.9809 | 0
Modal | 11 | 0.01 | 0.0042 | 0.0000295 | 0 | 0.9947 | 0.9809 | 0
Modal | 12 | 0.008 | 0.00001718 | 0.0094 | 0 | 0.9947 | 0.9903 | 0

## Slide 36: Check period of mode of maximum Modal participation mass ratio.
for the first mode =T etabs =0.312 sec.
T=1.4Ct * (hn) ^3/4
hn =13.2
Ct =0.0488
T= 0.473 sec
T etabs should be <Tcode
Thus, ok.

## Slide 37: mass source

## Slide 38: Seismic-design
seismic zone factor of Nablus Z = 0.20

## Slide 39: Structural Design
soil profile type Sc

## Slide 40: Seismic coefficient Ca, Seismic coefficient Cv could be obtained from Etabs

## Slide 41: response spectrum function

## Slide 42: Load combinations
Service combinations

## Slide 43
Ultimate Combinations
Load combinations

## Slide 44: check the designed member

## Slide 45: Slab design
ɸMn = 21.75/0.55=39.6 KN.m/m. (minimum limit)

## Slide 46
Slab design

## Slide 47: beams design

## Slide 48: Footing design:-

## Slide 49: Footing design:-
Edge and corner columns
Qallowable=200MPa
Pservice =300.5KN
Area needed for the foundation =1.5m2
for interior column
Pservice = 3064.5
Area needed for the foundation =15.4m2
square foundation with dimension of 4*4

## Slide 50: Footing design:-
Pservice = 2249 (at joint 110 as shown in previous figure)
Area needed for the foundation =11.25m2
square foundation with dimension of 3.4*3.4 m2

## Slide 51
Edge columne
d = 200mm, h = 280 mm, with cover = 80 mm.
Footing design:-

## Slide 52: FOUNDATION
Mat foundation solid slab with depth of 0.5m.
As y-direction= 1233.333mm
Use 5Φ18/m
As x-direction= 1233.333mm
Use 5Φ18/m

## Slide 53: stair cases design

## Slide 54: Design of stair
Moments | ρ | As | As min | As required | # of bars
44 | 0.008745 | 1049.36 | 400 | 1049.36 | 6Φ16
34.2 | 0.006664 | 799.7327 | 400 | 799.7327 | 4Φ16
39.6 | 0.0078 | 935.968 | 400 | 935.968 | 5Φ16
23 | 0.004388 | 526.5953 | 400 | 526.5953 | 3Φ16
3.1 | 0.000571 | 68.57344 | 400 | 400 | 4Φ12
6.5 | 0.001205 | 144.5954 | 400 | 400 | 4Φ12

## Slide 55: Design of stair

## Slide 56: Structural separations
Width of joint
=5.3mm

## Slide 57: Water tank design
Moment from sap indicate that minimum steel is required

## Slide 58: Environmental Design
Software:
DesignBuilder

## Slide 59: Sun Path & Shadow
21Dec. at 9 AM

## Slide 60: Sun Path & Shadow
21Dec. At 12 PM

## Slide 61: Sun Path & Shadow
21Dec. At 3 PM

## Slide 62: Sun Path & Shadow
21 June at 9 AM

## Slide 63: Sun Path & Shadow
21 June at 12 PM

## Slide 64: Sun Path & Shadow
21 June at 3 PM

## Slide 65: Shading System
Shutters (Louvers)

## Slide 66: Materials Properties
External Walls
U-Value=0.387W/m²-K

## Slide 67: Materials Properties
Glass Windows
Type of glass used: double glass Low E (e2=0.1) Clr. 6mm air space and 13 mm argon as shown in the figure.

## Slide 68: Natural Lighting
Offices
D.F avg.=5.2%
D.L= 315 Lux

## Slide 69: Acoustic Design
Reverberation Time(RT60):
We used ECOTECT Analysis Program in the calculation and testing of the reverberation time.

## Slide 70: Reverberation Time
For Restaurant:

## Slide 71: Reverberation Time
For Office:RT60 range for offices (0.6 – 0.8), so we achieve the requirements.

## Slide 72: Reverberation Time
For Cinema:

## Slide 73: Reverberation Time
We used decorative sound absorption materials such as Acoustical panels in cinema to meet the requirements.

## Slide 74: Acoustic Plaster
For sound insulation in cinema we used material that insulate sound known as Acoustic Plaster.

## Slide 75: Sound Transmission Class(STC)
Improvements in STC rating of stud partition
STC ratings of Masonry walls
STC For external walls: 60-65 dB

## Slide 76: Sound Transmission Class(STC)
STC For Internal walls:60-65dB

## Slide 77: Loud Speakers
CS 26T plus speakers

## Slide 78: Speaker layout distribution in cinema

## Slide 79: Heating and Cooling Loads
For cooling load:
Cooling load:697.89KW

## Slide 80: Heating and Cooling Loads
For heating load:
Heating load:169.260KW

## Slide 81: Heating and Cooling Loads
Simulation:

## Slide 82: Artificial Lighting Design

## Slide 83: Artificial Lighting Design
Restaurant Design

## Slide 84: Artificial Lighting Design

## Slide 85: Artificial Lighting Design

## Slide 86: Artificial Lighting Design

## Slide 87: Artificial Lighting Design
Office Design

## Slide 88: Artificial Lighting Design

## Slide 89: Artificial Lighting Design

## Slide 90: Artificial Lighting Design

## Slide 91: Electrical Design
Room | watt | N | power
Retail shop 1 | 72 | 15 | 1080
Retail shop 2 | 72 | 12 | 864
Retail shop 3+4+5+6 | 38.5 | 46 | 1771
Retail shop 7 | 41 | 13 | 533
Retail shop 7 | 35 | 6 | 210
Retail shop 8 | 41 | 9 | 369
Retail shop 9 | 41 | 9 | 369
bathroom | 38.5 | 10 | 385
bathroom | 18 | 8 | 144
corridor | 41 | 2 | 82
corridor | 35 | 40 | 1400
Room | 41 | 9 | 369
stairs | 41 | 4 | 164
toltal |  | 7740 | 
Rated current for circuit
breaker (lighting): 10 Amp
Rated current for circuit
breaker (sockets): 16 Amp
One Branch for (4-5) 2Amp
sockets.
Branches for lighting:1 branch
for each 50 m²

## Slide 92: Electrical Design

## Slide 93: Mechanical design
1- Water Supply System
2-Drainage System
3-H-VAC System

## Slide 94
Water supply design
Each unit has its own tanks and meter
Mechanical design

## Slide 95: Mechanical design
 | Pipe Diameter | loss
Vertical | 2.5 | 6
Horizontal | 2 | 1.5
Branch | 1 | 0.072
 |  | 7.5
Water supply design
12 psi pump used for 6th
and 7th floor

## Slide 96: Mechanical design
Drainage design
-Horizontal line (lavatory ) is 2”
-Horizontal line (W.C) is 4”

## Slide 97: Mechanical design
Drainage design

## Slide 98: Mechanical design
Drainage design

## Slide 99: Mechanical design
H-VAC system
variable refrigerant flow (VRF) system :
The basic idea is that a large outdoor unit serves multiple indoor unites

## Slide 100: Mechanical design
H-VAC system
-Main Unit
TOSHIBA, 2 pipe smmsi VRF model number ap4824ht8-e
-With Following Properties:
·Cooling capacity up to 135kw , heating capacity up to 150 kw
· Connection of up to 48 indoor units capacities of 8 to 42hp to be combined with up to
135% of the outdoor unit
· Ultra low noise level

## Slide 101: Mechanical design
H-VAC system
-Indoor Units
1-TOSHIBA VRF Indoor Unit – High-Wall code 32 and 50
Used for offices and retail shops

## Slide 102: Mechanical design
H-VAC system
-Indoor Units
2-TOSHIBA VRF Indoor Unit fresh air intake
Used in cinema and restaurant

## Slide 103: Mechanical design
H-VAC system

## Slide 104: Safety
Fire Fighting System
-Fire extinguishers
-Sprinklers
-Emergency exit
-Fire hose

## Slide 105: Quantities surveying
cost of 1m2 =360 $/m2
 | $ | NIS | JD
Total cost | 4690991.18 | 18294864.9 | 3326339