## Slide 1: BUILDING MANAGEMENT SYSTEMS(BMS)
Prepared By:
Na’el Hantouli
Sajed Ashqar
Oday Qariab
SUPERVISOR:
Dr.Jamal Kharoosheh .

## Slide 2: OUTLINES :
Introduction
Overview
Design
Arduino
Sensors
Outputs
Programming
Feasibility study
Conclusion
Recommendations
Testing

## Slide 3: OUTLINES :
Introduction.
Overview
Design
Arduino
Sensors
Outputs
Programming
Feasibility study
Conclusion
Recommendations
Testing

## Slide 4: Introduction :
This project is based on the idea of ​​building a model that simulates practice management systems for buildings . In our presentation the study and the control of the status of each of the following systems will be considered :
1- lighting system with digital, analogue and sleep mode control
2- Gas detection
3- fire alarm detection
4- Control of air conditioning unit

## Slide 5: OUTLINES :
Introduction
Overview
Design
Arduino
Sensors
Outputs
Programming
Feasibility study
Conclusion
Recommendations
Testing

## Slide 6: Overview:
BMS is a building equipped with special structured wiring to enable human to remotely control or program an array of automated building electronic devices by entering a single command.

## Slide 7: Field visits to the work environment
We have built the project based on field visits to the work environment.
1- We have visited the center commercial Nablus Municipality and made the analysis required .
2- We have discussed the effectiveness of the project with engineers and technicians working in this field.

## Slide 8: Problems and reactions
If there is a gas leak , suction fan and alarm system will work.
If the temperature rose in the work environment to 56 for a time of 1second the suction fan and alarm system will operate .
If increased to 46 for a minute suction fan and alarm system will operate .
The a/c unit will work according to a specific range of temperatures.
If the (automatic on) status of lighting is on, the system will adapt to the environment.

## Slide 9: OUTLINES :
Introduction
Overview
Design
Arduino
Sensors
Outputs
programming
Feasibility study
Conclusion
Recommendations
Testing

## Slide 10
Design :

## Slide 12: OUTLINES :
Introduction
Overview
Design
Arduino
Sensors
Outputs
programming
Feasibility study
Conclusion
Recommendations
Testing

## Slide 13: Arduino:
We used Arduino Uno in our project .
The Arduino Uno is a microcontroller board based on the ATmega328. It has 14 digital input/output pins (of which 6 can be used as PWM outputs).

## Slide 14: OUTLINES :
Introduction
Overview
Design
Arduino
Sensors
Outputs
Programming
Feasibility study
Conclusion
Recommendations
Testing

## Slide 15: Sensors
sensor gas MQ-6(with resistor 20 K ohm)

## Slide 16: LDR ( 2 LDR and 2 resistors(10Kohm) get used)

## Slide 17: LM35( 2 LM35 have been used)

## Slide 18: OUTLINES :
Introduction
Overview
Design
Arduino
Sensors
Outputs
Programming
Feasibility study
Conclusion
Recommendations
Testing

## Slide 19: Outputs
Buzzer (2 buzzers have been used)

## Slide 20
Fans:( 2 fans have been used)
1- Absorbed fan has been used(absorb gas leakage)
2- As condition

## Slide 21
LED array(3 led arrays have been used)

## Slide 22
The electronic circuit that interface between the arduino (low current device) and high current devices is uln2803
The ULN2803APG / AFWG Series are high − voltage, high− current Darlington drivers comprised of eight NPN Darlington pairs.

## Slide 23: Outlines
Introduction
Overview
Design
Arduino
Sensors
Outputs
Programming
Feasibility study
Conclusion
Recommendations
Testing

## Slide 24: Programming
Arduino
Arduino C language:
The Arduino language is merely a set of C/C++ functions that can be called from your code.

## Slide 25: Computer
Java Language :
Java is a computer programming language that is concurrent, class-based, object-oriented, and specifically designed to have as few implementation dependencies as possible.

## Slide 26: Mobile
Android :
Android software development is the process by which new applications are created for the Android operating system. Applications are usually developed in the Java programming language using the Android Software Development Kit, but other development tools are available.

## Slide 27: Outlines
Introduction
Overview
Design
Arduino
Sensors
Outputs
programming
Feasibility study
Conclusion
Recommendations
Testing

## Slide 28: Feasibility Study
Assessment of the current market
Our project can compete in a global market because we insert the mobile application technique in building management systems .
this provides comfortable control , easy use and also saving time and money .

## Slide 29
Availability of the items and the parts at the Palestinian market.

## Slide 30
Strengths and Weaknesses of the product ( BMS ).

## Slide 31
Strengths
Availability of all of the items at the Palestinian market.
Simplicity of the processes in designing the product.
New product idea at the Palestinian market which provides a large market share.
Ease of use the system.

## Slide 32
Weaknesses
If we want to apply it in the market we need to do some modifications on the hardware part, and it will be more complex sometimes (according to work the environment).

## Slide 33: Outlines
Introduction
Overview
Design
Arduino
Sensors
Outputs
programming
Feasibility study
Conclusion
Recommendations
Testing

## Slide 34: Conclusion
By the end of our project we gained much more experiences in the practical work .
We have learned to think more effectively than before , we also leaned the effective use of sources, Perseverance and challenge . Surely communication skills have been developed significantly .

## Slide 35: Recommendations
To add another advantage in the project the GSM shield may be used, which makes the system work well via telecommunication when the internet is unavailable .
In a/c control the use of zone control is more efficient in real work environment.

## Slide 36
Testing

## Slide 37: THANKS
Any Questions?