## Slide 1: HEALTH MONITORING SYSTEM For the elderly and heart patients
Supervised by: Dr. Raed Qadi

## Slide 2
Wa’ad Khalifa & Aseel Bustami
Our Team

## Slide 3
Outline
Features
Hardware Components
Future work
Overall design
Demo
Introduction

## Slide 4
Introduction
Health Monitoring System is a system to monitor and measure the patient's vital signs remotely, which reduces costs for the patient, reduces pressure on the hospital, and protects the patient from injury as a result of a sudden fall.

## Slide 5
Features
Heartbeats(BPM)
Alert message
Pulse rate
Electrodiagram
Blood oximetry
Body temperature
Medicine reminder

## Slide 6
Microcontrollers
NodeMCU ESP2866
ESP32
ArduinoMega

## Slide 7
Sensors
MAX30100
AD8232
MPU6050
DS18B20
Pulse sensor

## Slide 8
Other components
Dotted
board
Breadboard
Buzzer
RTC
Battery
Jumper
wires

## Slide 9
Health Monitoring System Device
Circuit & Overall design

## Slide 10
Electronic Bracelet
Circuit & Overall design

## Slide 11
Problems & Constraints
Components
Time Limit
Internet Connection

## Slide 12
Future work
Linking with ambulance
Blood pressure
Bracelet measures
vital signs
Smart system
Accounts for patients
Location

## Slide 13
Project’s demo

## Slide 14
Thank you