## Slide 1
An-Najah National University Faculty of Engineering and Information Technology
Building Engineering Department
Graduated Project -2
Integrated design of a bank building
Reported by:
Ali Zawawi
Mazen Abd Al Haq
Nasser Abu Baker
Instructor:
Dr. Luay Dwaikat
2022-2023

## Slide 2: Contents
Introduction.
Site analysis.
Architectural aspects.
Environmental aspects.
Structure aspects.
Electro- Mechanical aspects.
Cost estimation.
Conclusion.

## Slide 3
Introduction:
1- Quick reminder of the site analysis.
2- why this project?

## Slide 4
its location:
Site analysis.

## Slide 5
Temperature:
Wind:

## Slide 6
Architectural aspects and the improvements:
1- Emergency stairs & wide the corridors

## Slide 7
Ramps for disabled & cars:

## Slide 8
Add B1&B2&B3:

## Slide 9
The ground floor after the modifications:

## Slide 10
Environmental aspects.
(DAYLIGHT FACTOR)
G.F - Before modifications
GF – After modifications:

## Slide 11
F.F - Before modifications
F.F – after modifications

## Slide 12
(HEATING &COOLING)
heating & cooling Before modifications

## Slide 13
heating & cooling after modifications

## Slide 14
1- External walls after modifications
U- Value = 0.303
2- Roof after modifications
U- Value = 0.307
Modifications has done:

## Slide 15
3- Internal walls after modifications
4- Floor after modifications
5- U-Value for glazing = 1.338 and this value is considered an acceptable value.

## Slide 16
heating design for the building:

## Slide 17
cooling design:

## Slide 18
site and source energy:
    Comparison with baseline:

## Slide 19
Structure aspects:
Compatibility check:

## Slide 20
Equilibrium check:
Stress strain check:

## Slide 21
Deflection check:
Limit =12.64 /360 =35.11 mm
Etabs deflection = 5.70 mm<<35.11mm
From service loads: Limit =12.64/240=52.66mm
is ok

## Slide 22
Etabs deflection = 27.25 mm<<52.66mm

## Slide 23
Design check:

## Slide 24
Punching shear check:

## Slide 25
Period check:

## Slide 26
Slab shear check

## Slide 27
Seismic checks:
Period check:
1.4 * T (method A)= 1.43 > T period from etabs =0.875 Is ok

## Slide 28
Draft check:

## Slide 29
Model participant mass ratio check:

## Slide 30
Column design detailing:

## Slide 31
Slab design detailing:

## Slide 32
Footing detailing:

## Slide 33
Stairs design and detail:

## Slide 34
Design for shear wall:
Shear wall detailing:

## Slide 35
Sheet piles design:
Sheet pile geometry, Bending moment and shear force:

## Slide 36
HVAC system design:
We used VRF system:
Mechanical aspects:

## Slide 37
We used the fan coil system as we can see in the picture:

## Slide 38
The diffusers & return:

## Slide 39
Sample of the distribution of fan coil & diffusers in the celling lighting

## Slide 40
Acoustic systems:

## Slide 41
Acoustic consideration:
1-Meeting room:
RT60 | NR (dB) | Noise level (dBA)
0.8 - 1.0 | 25-30 | 35
By using EASE software:

## Slide 42
2- office room:
RT60 | NR (dB) | Noise level (dBA)
0.8 - 1.0 | 20-25 | 30-40
Reverberation time by EASE:

## Slide 43
3- Between offices (Internal partition):
By using INSUL software to find STC:
The recommendation STC is 35.
The STC for partition wall is 81 >>>> 35, its ok.
Internal walls

## Slide 44
Internal glazing walls:
The STC for partition wall is 38 >>>> 35, its ok.

## Slide 45
External walls:
The recommendation STC is 38.
The STC for partition wall is 39 > 38, its ok.

## Slide 46
FLOOR:
Recommended IIC between (34-55) db.
IIC = 71 >>>>55 ITS ok.

## Slide 47
Roof:
LPA =16 dB that’s ok in the rang (15-20).

## Slide 48
POWER DESIGN:
Total power for the building = 241.62 KW
Total current for circuit breaker = 600 Amp.
Cable size = 3*300 mm^2
Main distribution board

## Slide 50
Main distribution board for the ground floor:

## Slide 51
Mechanical Design:
LIGHTING: \ G.F

## Slide 52
Lighting F1:

## Slide 53
F2:

## Slide 54
F3:

## Slide 55
Water supply:

## Slide 57
Drainage system design:

## Slide 61
Firefighting system design:
ALARM SYSTEM:
FIRE HOSE CABINET DISTRIBUTION:

## Slide 62
DETECTORS DISTRIBUTION:
EXTINGUISHER:
Type A Extinguisher: Use in places exposed to Class A fires on common combustible materials, such as fabric, wood, paper, rubber, and many plastics. This type was used in the prayer room and corridors

## Slide 63
Cost Estimation:
Bill of quantity (BOQ):

## Slide 64
The unit cost of the project | The total cost of the project
1933 NIS / m2 | 19,328,665 NIS

## Slide 65
THANK YOU
ANY QUESTIONS ?