## Slide 1: Anti-corruption commission building project
An-Najah National university
Faculty of Engineering
Building Engineering Department
Supervisor :
Mutasim Baba’
Prepared by :
Loai Eyad Abd
Haya Nour
Ahmad Khaseb

## Slide 2: OUTLINES
Introduction
Site description
Architectural design
Environmental design
Structural design
mechanical design
Electrical design
Quantity surveying

## Slide 3: Introduction

## Slide 4: Site description
Location : Ramallah – Al-Balooa’ neighborhood - (31o55’34" N , 35o12’41" E )
Area:
straight land
Total area 1846 m2
Surrounding
- 2 streets ( 8 m)
- Office building from East
height is (22.5 m )
Commercial building From South height is (24.5 m)

## Slide 5: Site Accessibility
Site Plan

## Slide 6: Architectural Design

## Slide 7: Project Description
7 floors, in addition to two basement as a parking .
Total area of the building equals to 6220 m2
Contains approximately 200 employee .
Second basement
First basement
Ground floor
First floor
Second floor
Third floor
Fourth floor
Fifth floor
Sixth floor
Total area
Stair
817
613
635
830
659
634
634
634
119
6220
m2
m2
m2
m2
m2
m2
m2
m2
m2
m2
634
m2

## Slide 8: Architectural Design
The design for first basement floor
The design for second basement floor

## Slide 9: Architectural Design
The design for Ground floor

## Slide 10: Architectural Design
The design for First floor

## Slide 11: Architectural Design
The old design for Second floor
The new design for Second floor

## Slide 12: Architectural Design
The old design for Third floor
The new design for Third floor

## Slide 13: Architectural Design
The new design for Fourth floor
The old design for Fourth floor

## Slide 14: Architectural Design
The new design for Fifth floor
The old design for Fifth floor

## Slide 15: Architectural Design
The new design for sixth floor
The old design for Sixth floor

## Slide 16: Elevations
East Elevation
West Elevation

## Slide 17: Elevations
South Elevation
North Elevation

## Slide 18: SECTIONS
A-A section
B-B section

## Slide 19: Environmental design
Material properties
Thermal analysis
Acoustical design
Daylighting
shading

## Slide 20: Material properties
External wall
Internal wall

## Slide 21
Internal floors

## Slide 22
Roof slab

## Slide 23
Glass Type
Double low thermal emissivity Glass
Green 6mm/12mm air gap

## Slide 24: shadowing
9 AM
12 PM
12 PM
3 PM
Winter
Winter
Winter
Summer
Summer
Summer

## Slide 25: Shading
Vertical Louvers on East & West elevations :
Shutters on South elevation:

## Slide 26: Thermal analysis
Cooling load = 182 KW ( Avg = 54 w/m2 )
Total Building Energy = 70.33 KWh/m2

## Slide 27
Heating load

## Slide 28
Cooling load
Cooling load = 182 KW ( Avg = 54 w/m2 )

## Slide 29
Thermal comfort Analysis

## Slide 30
Solarium
30

## Slide 31
Solarium
Winter day :
31

## Slide 32
Solarium
Summer day :
32

## Slide 33
Daylight
For Ground Floor:
Before Modification
After Modification
33

## Slide 34
For First Floor:
Before Modification
After Modification
34
Daylight

## Slide 35
For Sixth Floor:
Before Modification
After Modification
35
Daylight

## Slide 36: Acoustical analysis
Material:

## Slide 37: Acoustical analysis
Reverberation time
Office room:
With full occupancy :
With 50% occupancy:

## Slide 38: Acoustical analysis
Reverberation time
With empty room :
 | Empty | 50% | Full
Frequency | RT60 | RT60 | RT60
63 Hz | 0.7 | 0.69 | 0.68
125Hz | 0.71 | 0.70 | 0.70
250Hz | 0.63 | 0.62 | 0.61
500Hz | 0.51 | 0.50 | 0.49
1000Hz | 0.50 | 0.49 | 0.49
2000Hz | 0.54 | 0.53 | 0.52
4000Hz | 0.48 | 0.48 | 0.47
8000Hz | 0.36 | 0.36 | 0.36
16000Hz | 0.36 | 0.36 | 0.36

## Slide 39: Acoustical analysis
Layers | Thickness (mm) | Density(kg/m3)
Cement | 20 | 1500
Block | 100 | 1250
Cement | 20 | 1500
STC calculation :

## Slide 40: Acoustical analysis
Layers | Thickness (mm) | Density(kg/m3)
Tile | 30 | 2100
Mortar | 20 | 2162
Concrete | 40 | 2500
Block | 340 | 1250
For IIC :

## Slide 41: Structural analysis
Codes
- ACI 318-14
- UBC -97
Material
- Compressive strength ( fʹc ) = 28MPa
- Yielding strength of steel (fy) = 420 Mpa.
Bearing capacity =400 kN /m2
Designed load
SID = 5.9 KN/m2
Live load = 2.5 KN/m2

## Slide 42: Structural analysis
EQ Loads (UBC97):
I= 1 Cv=0.32
R= 5.5 Ca=0.22
Z= 0.15 Ct= 0.0731

## Slide 43: Structural analysis
Checks
Compatibility check
Equilibrium check
Stress σ & Strain ɛ check
Period check
Drift check
Base shear check
ok
ok
ok
ok
ok
ok

## Slide 44: Slab Reinforcement
- Thickness =40cm
2- way ribbed slab

## Slide 45: Beams system
Hidden beams

## Slide 46: Columns system
column tag | Dimension (cm) | Reinforcement | Stirrups distribution
C1 | 100x40 | 12ø20 | 4ø10
C2 | 150×40 | 12ø22 | 3ø10

## Slide 47: Shear wall design

## Slide 48: Footings Design

## Slide 49: Single Footing

## Slide 50: Design of water tank
Vertical section
Horizontal section

## Slide 51: Design of retaining walls

## Slide 52: Stairs design

## Slide 53: Electrical design
Socket distribution
Artificial lighting
Load speaker

## Slide 54: Electrical design
Sockets design

## Slide 55: Lighting and switches distribution

## Slide 56: Electrical design Artificial lighting
multipurpose hall
Luminaires

## Slide 57: Electrical design Artificial lighting
Cafeteria
Luminaires

## Slide 58: Load speaker
PRO-16RC
Frequency Range | 50hz - 20khz +/- 4db
Coverage Angle | 105
Sensitivity | 94 Db @ 2.83v / 1m
Mounting Depth | 26.562cm
Product Weight | 11.25Lbs (5.11kg)

## Slide 59: Mechanical design

## Slide 60: Water System
Vertical | Horizontal | Branch
2 '' | 1.25'' | 0.5''
Diameter Of Pipes
underground water tank capacity = 63 m3.

## Slide 61: Drainage system

## Slide 62: Drainage system
Storm water

## Slide 63: Fire Fighting System
Sprinkler
Smoke Detector
Fire Extinguisher
Heat Detector

## Slide 64: Emergency Exit

## Slide 65: Elevators

## Slide 66: HVAC System
System size : 200 Kw two outdoor unit each one 100 Kw

## Slide 67: HVAC System
Fan coil : in each floor 3 units

## Slide 68: HVAC System
Diffusers :
Type 1 – in Multipurpose room :
Low noise criteria diffusers

## Slide 69: HVAC System
Diffusers :
Type 2 – in corridors :
2-way & 3 way diffusers

## Slide 70: HVAC System
Diffusers :
Type 3 – in offices :
4-way diffusers

## Slide 71: HVAC System
Ground floor

## Slide 72: HVAC System
Fifth floor

## Slide 73: Systems integration
G.F

## Slide 74: Systems integration
4.F

## Slide 75: Project cost
The total cost of the project is 5,067,876 ₪ , And the unit cost is 817.40 ₪/m2
75

## Slide 76
Thank you for listening