## Slide 1: Graduation Project 2 “Electrospinning device”
Students:
•Ayman Shakhsher
• Malak Shehadeh
Supervisor:
Dr. Bahaa Shaqour

## Slide 2: Electrospinning process:

## Slide 3: Parameter that affected the structure of nanofiber :
1. Applied voltage. 2. Distance between nozzle-collector.
3. Dispersion flow rate.
Smooth and beaded fiber.

## Slide 4: Applications:
Fddgsd Biomedicine | Filtration separation

## Slide 5: System performance and safety
High voltage power supply (HVPS)
HVPS is one of the main parts of electrospinning process to produce nanofibers
HVPS consists of AC signal , step up transformers , full wave rectifier circuit with filtration circuit and the measurement of the output voltage circuit
A (HVPS) with Vout up to 8KV has been designed by multisim software as shown in the following figure .

## Slide 7: Ac source with step up transformers Vout up to 9000v peak to peak

## Slide 8: After rectification and filtration the signal

## Slide 9: Output voltage

## Slide 10: Voltage divider circuit
Vout = (5/1023) * ADCreading(pin A0) * 2401
Vout=Vin*(R2/(R1+R2))

## Slide 11: Power supply

## Slide 12: For safety issue
Isolate the HVPS
Magnetic reed switch

## Slide 13: For safety and to avoid accidents:
Wear safety gloves.
Wear safety shoes.

## Slide 14: Syringe pump:
1. mechanical part

## Slide 15
2. electrical part:

## Slide 16: Collector:

## Slide 17: Future Work:
Types of collectors:
Flat collector Rotating drum collector

## Slide 18
Shapes of the needle :
Single syringe needle. 1 inlet,4outlets needle. Coaxial needle.

## Slide 19
Any Questions