## Slide 1
Municipality Building
Prepared By:
Thaer Abu Haniya
Nidal Nazzal
Supervisor:
Dr. Muhannad Al-haj Hussain

## Slide 2: Outline
Architectural Design
Structural Design
Environmental Design
Mechanical Design
Electrical Design
Safety Design
BOQ
Site location

## Slide 3
The proposal site is in Nablus city (in front of governorate)

## Slide 4: Outline
Architectural Design
Structural Design
Environmental Design
Mechanical Design
Electrical Design
Safety Design
BOQ
Site location
Circulation and entrances
Parking
Plans
Elevations
Site plan

## Slide 5
Site plan
Main Entrance
Secondary Entrance
Amman street
Governorate
District street

## Slide 6
Ground Floor
Circulation and Entrances

## Slide 7: Parking
Area = 1430 m2
19 cars and about 29 cars out door parking

## Slide 8: Outline
Architectural Design
Structural Design
Environmental Design
Mechanical Design
Electrical Design
Safety Design
BOQ
Site location
Circulation and entrances
Parking
Plans
Elevations
Site plan

## Slide 9: Ground Floor
Area = 1430 m2

## Slide 10: First Floor
Area = 1640 m2

## Slide 11: Second Floor
Area = 1640 m2

## Slide 12: Third Floor
Area = 1040 m2

## Slide 13: Roof

## Slide 14: North Elevation

## Slide 15: East Elevation

## Slide 16: South Elevation

## Slide 17: West Elevation

## Slide 18
Section A-A

## Slide 19
Section B-B

## Slide 20
Section C-C

## Slide 21
final Design

## Slide 24: Outline
Architectural Design
Structural Design
Environmental Design
Mechanical Design
Safety Design
Electrical Design
BOQ
Site location
Daylight factor
Materials and Thermal analysis
Acoustical design

## Slide 25
Modeling by Design Builder program

## Slide 26
Daylight distribution in Cafeteria

## Slide 27
Daylight distribution in accountant

## Slide 28
Sun path and shadow for building in summer at 6.00am

## Slide 29
Sun path and shadow for building in winter at 8.00am

## Slide 30
Materials
1- External wall
U = 0.438 W/m2.k
Cross section in the external wall

## Slide 31
Materials
2- Internal wall
Cross section in the internal wall
U = 1.909 W/m2.k

## Slide 32
Materials
3- Ground floor
Cross section in the ground floor
U = 0.538 W/m2.k

## Slide 33
Materials
4- Internal floor
Cross section in the Internal floor
U = 0.449 W/m2.k

## Slide 34
Materials
5- Roof
Cross section in the roof
U = 1.286W/m2.k

## Slide 35
The windows consist of two layers (double glazing) 6mm with argon gap =13mm
U = 2.511 W/m2.K
Materials

## Slide 36
Thermal Analysis Results
 | Heating load | Cooling load
Total | 271.19 (KW) | 298.45 (KW)
1-Heating and Cooling loads

## Slide 37
2-Total Building energy
The total building energy is 100.74 KWh/m2 < 207KWh/m2
which is acceptable.
3-Thermal comfortable
Thermal Analysis Results
The number of uncomfortable hours = 2096.50 from 8000 hours
which is acceptable.

## Slide 38: Outline
Architectural Design
Structural Design
Environmental Design
Mechanical Design
Safety Design
Electrical Design
BOQ
Site location
Daylight factor
Thermal analysis and materials
Acoustical design

## Slide 39
Modeling by Ecotect program
Using Ecotect program for RT60 analysis in the fees collections hall

## Slide 40: Reverberation Time (RT60)
The optimum reverberation time for fees collections hall Ranges from 0.6 – 1.4 sec.
Materials used:
Element | Absorption Coefficients |  |  |  |  | 
 | 125Hz | 250Hz | 500Hz | 1000Hz | 2000Hz | 4000Hz
Wood floor | 0.15 | 0.11 | 0.1 | 0.07 | 0.06 | 0.07
Plaster for walls | 0.12 | 0.09 | 0.07 | 0.05 | 0.05 | 0.04
Polyurethanene foam reticulated | 0.07 | 0.11 | 0.2 | 0.32 | 0.6 | 0.85

## Slide 41
Frequency\Case | Full occupied (60 person) | Half occupied (30 person) | Empty (0 person)
63Hz | 1.00 | 1.03 | 1.05
125Hz | 1.04 | 1.07 | 1.10
250Hz | 1.08 | 1.18 | 1.29
500Hz | 1.04 | 1.12 | 1.21
1kHz | 0.94 | 1.00 | 1.06
2kHz | 0.64 | 0.67 | 0.70
4kHz | 0.50 | 0.51 | 0.52
8kHz | 0.48 | 0.48 | 0.49
16kHz | 0.48 | 0.48 | 0.49
Results

## Slide 42: Outline
Architectural Design
Structural Design
Environmental Design
Mechanical Design
Safety Design
Electrical Design
BOQ
Site location
Design cods
Design Data
Structural Elements
Etabs Result
Detailing

## Slide 43: Design Codes
The American Concrete Institute code (ACI 318-14).
The seismic design according to UBC-97.
The analysis and design were done using ETABS 2016 programs.

## Slide 44: Design Data
1. Concrete compressive strength
F'c =24 MPa for slabs and beams.
F'c = 28 MPa for columns and footings.
2.Yielding strength of steel
The yield strength of steel Fy= 420MPa
3. Bearing capacity of soil
the bearing capacity of soil = 250 KN/m2

## Slide 45: Designed building

## Slide 46: Structural Systems
One-way ribbed slab.
Thickness = 25cm

## Slide 47: Checks
1-Compatibility check.
2-Deflection check .
3-Equlibriume check.
4-Stress strain check.

## Slide 48: Checks ETABS 2016
Compatibility check: Deflection check:
Allowable deflection= 7/240=29mm Max deflection on slab = 30mm

## Slide 49: Checks ETABS 2016
Equilibrium Check
ETABS results Hand results
Fz live (ETABS) = 33950 KN
Area of floors = 7180 m2
So (33950/7180) = 4.7 KN/m2
close to 5 KN/m2 its ok

## Slide 50: Checks ETABS 2015
Stress strain check ETABS result
Hand calculation
Wu (span) = 73.15 KN
Mu (span) = 169 KN.m
Mu (ETABS) = 177 KN.m
% of deference = 4.50 %

## Slide 51: Seismic Design
The building designed with:
I = 1
Z = 0.2
R = 5.5
Ca = 0.24
Cv = 0.32
Time period:
T = 0.52 sec
T ETABS = 0.862 sec

## Slide 52: Seismic Design
Base shear check : Base reaction from ETABS
VHand = 18431 KN
VETABS = 18172 KN
% of deference = 1.4 %

## Slide 53
Story drift check:
Seismic Design
 | Building
M(mm) | 39.2
Mmax (mm) | 87.5

## Slide 54
mass participation ratio check:
Seismic Design

## Slide 55: Slab design
From the figure, we need minimum area of steel for positive and negative moment.
As = 124 mm2  2Ø10 mm
Use Ø10 mm/150 mm stirrups
we will use steel mish with 4 Ø10mm/m in each direction.

## Slide 56
Slab Reinforcement

## Slide 57: Beams Reinforcement

## Slide 58
Footing Plane

## Slide 59: Footing Reinforcement

## Slide 60: Stairs Reinforcement

## Slide 61: Shear wall Reinforcement

## Slide 62: Outline
Architectural Design
Structural Design
Environmental Design
Mechanical Design
Electrical Design
Safety Design
BOQ
Site location
Water supply system
Drainage system
HVAC

## Slide 63
VAV system
Ducts distribution in Third floor

## Slide 64
VAV system
Ducts diameters
Duct section | V (m3/sec) | ∆P/EL (Pa/m) | D (m) | v (m/sec)
A-B | .2489 | 0.5 | 0.69---(0.5x0.9)m | 5
B-C | 0.22 | 0.5 | 0.5 | 4.5
C-D | 0.18 | 0.5 | 0.4 | 3.8
D-E | 0.15 | 0.5 | 0.35 | 3.7
B-F | 0.18 | 1.66 | 0.4 | 6.7
F-G | 0.15 | 0.1 | 0.35 | 1.9
B-H | 0.15 | 0.2 | 0.35 | 3
H-I | 0.13 | 0.033 | 0.2 | 1.9

## Slide 65
Fan coil selection

## Slide 66
Chillers selection
For chiller 1&2&3&4 with cooling capacity = 39.3 KW & heating capacity = 38.8 KW

## Slide 67: Outline
Architectural Design
Structural Design
Environmental Design
Mechanical Design
Electrical Design
Safety Design
BOQ
Site location
Water supply system
Drainage system
HVAC System

## Slide 68: Water supply system :
design of ground floor:
For W.C = 10*5 = 50 F.U
For lavatory = 12*2 = 24 F.U
The total horizontal fixture units = 74 F.U
The total vertical fixture units = (B+GF+F1+F2+F3)
=74+74+(9*2+6*5)* 6 =436 F.U
Branch = 5 F.U

## Slide 69: Water installation
vertical : 2.5"
horizontal : 1.5"
branch: 1”

## Slide 70: Water supply system :
Assume that there is a 2 day with no water supply from municipality. We use 6 water tanks with 1.5 cube for each one.

## Slide 71: Outline
Architectural Design
Structural Design
Environmental Design
Mechanical Design
Safety Design
Electrical Design
BOQ
Site location
Water supply system
Drainage system
HVAC

## Slide 72
Stack diameter = 4"
Slope for pipe (horizontal pipe) 4" = 1%
Slope for pipe (horizontal pipe) 2" = 1% Slope for pipe (horizontal pipe) 6" = 1%
Drainage system

## Slide 73: Outline
Architectural Design
Structural Design
Environmental Design
Mechanical Design
Electrical Design
Safety Design
BOQ
Site location
Emergency signs

## Slide 74: Emergency Signs

## Slide 75: Outline
Architectural Design
Structural Design
Environmental Design
Mechanical Design
Electrical Design
Safety Design
BOQ
Site location
Socket distribution
Lighting distribution
Dialux program analysis

## Slide 76: Artificial Lighting Dialux Program
For meeting room

## Slide 77
Artificial Lighting Dialux Program
Luminaire used
Total illumination, uniformity and glare

## Slide 78
Main office
Artificial Lighting Dialux Program

## Slide 79: Distribution of Lighting

## Slide 80: Distribution of Sockets

## Slide 81: Outline
Architectural Design
Structural Design
Environmental Design
Mechanical Design
Electrical Design
Safety Design
BOQ
Site location

## Slide 82: Bill of Quantities
Total cost of project = 9,033,437.50 NIS
Total Cost per m = 1600 NIS
2

## Slide 83
Thank you