Abstract:

In these days, with the noticeable spread of pools and tourist resorts, and the

increasing interest of people in them, it has become necessary to enhance the

efficiency of these pools in a way that ensures keeping up with technological

advancements and ensures a high level of health safety and cleanliness,

especially since pools in Palestine have become the primary recreational means for

Palestinian families.

Our project aims to provide advantages for these pools, making it easier to

control and monitor them automatically as conditions change for the pool and

its surroundings, ensuring a high level of comfort and safety without the need

for constant human supervision. Therefore, we decided to create a smart pool

model that includes controlling several vital processes inside the pools, using

Arduino board and connecting it with various types of sensors that serve the

project’s operations, as follow: water filling system, which keeps the water level

stable in a specific height, heating system, to save the temperature of the water

in acceptable range, in addition to sterilization system which adds CL and HCL

as needed. Also, darkness detection will trigger the lighting system inside the

pool.

Our smart pool has a cover which controlled to close by the pool owner for safety

during pool closure or maintenance times. Finally, our pool supports dynamic

control by the application, the owner can specify the temperature, the height,

the duration between the sterilization operations, open cover, close cover and

empty the pool from the application.