## Slide 1
“Passive Villa“
Supervisor : Dr. Muhannad Haj Hussein
By: Ibtehal Alawnih
Elanah Abu Neameh
Fannan Ghozzi
AL - Najah National University

## Slide 2: Contents:
1- site analysis.
2-design stage → Architectural
→Environmental
→Structural design
→Electro-mechanical design
3- quantity survey and cost estimate.

## Slide 3
Site analysis :
Our project located in north – east of Tulkarem city
In the Zone C
Max Number of floor=5floors +roof
Area of site=958 m2

## Slide 4: Accessibility of the site :

## Slide 5: The countering of the site

## Slide 6: Shadow of the surrounding building to the site

## Slide 7: Noise Analysis to the site at 4.00 PM

## Slide 8: Design Villa Concept
Total area =1370 ,with 2floor ,2basment and roof
Notes: The Villa site consists of an outdoor Garden , with small pool two main entrances the first one located in the west direction and second one on the north direction , and the two entrances are related directly to the main street . Parking for cars,, stairs to connected between the different level of the landscape. These all are shown in the figure below.
This villa consists of five floors, with an shape near to rectangular shape as shown in figures below.
The ideal orientation for buildings is an elongated, narrow plan allowing the north and south facades of the building maximum exposure to more easily controllable daylight. From a day lighting point of view, this is Favorite because direct south facade solar radiation is easier to control to prevent excess solar gain, it is relatively uniform, and is necessary for passive solar heating strategies
.
figure 3. 14:Ground floor plan
In order to respect and ensure privacy consideration between different spaces in the villa, we separate the resting spaces , bed room and study room from living spaces and activities space. So, we divided the building into different floor , according to the different types of functions in the villa .
The use of the green yards between the building parts will be important in :
Use the cantilever in the slab itself to satisfy shading concept by the building itself and use type of window doesn’t need shad that lead to reduce the cost of the shading.
Use the stair up to do as chimney to get more effective natural ventilation and cool fresh air in summer.

## Slide 9: Basement 2

## Slide 10: Basement 1

## Slide 11: Ground floor

## Slide 12: First floor

## Slide 13: Roof floor

## Slide 18
South view
North view

## Slide 19: Environmental analysis

## Slide 20
scenario 2 | scenario 1
similar to sc1 +shading | original Ag with windows has SHGC =0.41 and τ=0.64
scenario 4 | scenario 3
original Ag with windows has SHGC =0.28 and τ=0.41 | change Ag windows has SHGC =0.41 and τ=0.64 and shading
scenario 5
Chang Ag with windows has SHGC =0.28 and τ=0.41
Natural Day light analysis
Recommended DF% for residential building = 1.7-3.5 %
DF% analysis for Guest room

## Slide 21: Shading Techniques
Cantilever in the slab it self for the south direction
Windows with SHGC=0.41 &τ=0.64
Vertical shading for east and west direction

## Slide 22
Thermal analysis
Mixed mod (kw / ) | Full Air cond mode (kw//) | Natural ventilation mode |  |  | U-value w/.k | Thickn-ess (cm ) |  | Proposals for wall External | # of option
 |  | Total (Total Hr) | Too Cold (Total Hr) | Too Hot (Total Hr) |  |  |  |  | 
38.10 | 43.351 | 1848 | 928 | 919 | 0.27 | 27 |  | 20cm Block +3cm Eps insulation | 1
38.42 | 44.088 | 1850 | 927 | 922 | 0.48 | 40 |  | 15cm Block +10cm Expanded polystyrene +15cm Block | 2
37.7 | 43.074 | 1847 | 929 | 918 | 0.19 | 19 |  | 2.5cm EPS insulation +10cm concrete +2.5EPSinsulation | 3
 |  | Natural ventilation mode |  |  |  | Thickn-ess (cm ) |  | Proposals for wall External | # of option
 |  | Total (Total Hr) | Too Cold (Total Hr) | Too Hot (Total Hr) |  |  |  |  | 
38.10 | 43.351 | 1848 | 928 | 919 | 0.27 | 27 |  | 20cm Block +3cm Eps insulation | 1
38.42 | 44.088 | 1850 | 927 | 922 | 0.48 | 40 |  | 15cm Block +10cm Expanded polystyrene +15cm Block | 2
37.7 | 43.074 | 1847 | 929 | 918 | 0.19 | 19 |  | 2.5cm EPS insulation +10cm concrete +2.5EPSinsulation | 3

## Slide 23
Compression The Results With Passive Bench March
element | Benchmark/requirement | Palestinian Guide line Green building | Achieved/concept
Total energy demand | ≤30 kWh/m2.yr | 30-80 kWh/m2.yr | 38.1
Specific heating demand or | ≤15kWh/m2.yr | - | 18.1
Specific cooling demand | ≤15kWh/m2.yr | - | 20
Window U value | ≤0.80 W/m2K | 1.9 W/m2.°K | 1.5
U-value walls | <0.15 [W/m²K] | 0.5 W/m2.°K | 0.27
U-value roof | <013 [W/m²K] | 0.39 W/m2.°K | 0.26
U-value to ground and to open space | <0.15 [W/m²K] | 0.6 W/m2.°K | 0.27

## Slide 24
ventilation.
Chimney give 3nach/hr
And light wind .

## Slide 25
Acoustical analysis:

## Slide 26
IIC & STC for rooms .
IIc = 50dB.
STC=50db
STC=51db

## Slide 27
Home Cinema Design
A 5.1 speaker system consists of five speakers positioned as shown in figure
Material | Surface treatments
carpet | Floor
Page board over 50mm(2") fiber glass board | For wall
Plasterboard (12mm(1/2") in suspended ceiling grid) | For ceiling

## Slide 28
RT60 for Home Cinema
From previous figures and tables for RT60 we conclude that home cinema are within range(0.5-1.6) .
full | Empty | TOTAL | 
RT(60) | RT(60) | ABSPT. | FREQ.
1.08 | 1.09 | 44.985 | 125Hz:
0.61 | 0.61 | 40.456 | 250Hz:
0.54 | 0.55 | 30.42 | 500Hz:
1.36 | 1.38 | 24.196 | 1kHz:
1.26 | 1.26 | 20.385 | 2kHz:
0.82 | 0.81 | 18.19 | 4kHz:
0.49 | 0.51 | 7.928 | 8kHz:
Most suitable is milling tone .

## Slide 29: Structural Design

## Slide 30
Structural Design

## Slide 32: Column Center Lines Grid

## Slide 34
Case | Manual Result | ETAB Result | Error %
dead | 13488.54 | 13644 | 1.15%
Live Load | 3062.51 | 3059.652 | 0.093%
Super Imposed | 4075.919 | 4073.43 | 0.06 %
Error<5%... ok

## Slide 35
T ETAB | T manual | 1.3*T manual | check
0.35 | 0.428 | 0.556 | T ETAB<1.3 T manual

## Slide 36: Footing Plan
Footing Level 1

## Slide 37: Footing Plan
Footing Level 2

## Slide 38: Footing Plan
Footing Level 3

## Slide 39
Three Types of footing :
Single Footing

## Slide 40
wall Footing

## Slide 41
Mat foundation

## Slide 42: Column Design

## Slide 43: Longitudinal Column Sections :

## Slide 44: Slabs Reinforcement:
44
Slab reinforcement for first floor

## Slide 45: Slabs Reinforcement:
45
Slab reinforcement for ground floor

## Slide 46: Slabs Reinforcement:
46
Slab reinforcement for basement1 floor

## Slide 47: Slabs Reinforcement:
47
Slab reinforcement for baseent2 floor

## Slide 48: Beam Reinforcement :

## Slide 49: Shear Wall Reinforcement

## Slide 50
Pool Reinforcement

## Slide 51
Electro-Mechanical Design

## Slide 52
Water Supply System

## Slide 53
Recycled water | Fresh water | 
21 | 35 | Total FUs
1.5" | 2" | Vertical pipe diameter
1" | 1.25" | Horizontal pipe diameter
3/4" | 3/4" | branch pipe diameter

## Slide 54: Water drainage

## Slide 55: Fire system:

## Slide 56: VRF system
pipe | Unit power | Supply diameter(inch) | Return diameter(inch)
1 | 8 | 3/8 | 5/8
2 | 8 | 3/8 | 5/8
3 | 8 | 3/8 | 5/8
4 | 6 | 3/8 | 5/8
5 | 3 | 1/4 | 1/2
6 | 3 | 1/4 | 1/2
7 | 3 | 1/4 | 1/2
8 | 3 | 1/4 | 1/2
9 | 3 | 1/4 | 1/2
10 | 3 | 1/4 | 1/2
11 | 3 | 1/4 | 1/2
12 | 3 | 1/4 | 1/2
13 | 3 | 1/4 | 1/2
14 | 3 | 1/4 | 1/2

## Slide 57: Sockets
Space | Number of sockets
Bedroom | 4
Living room | 4
Guest room | 4
Study room | 4
Dining room | 2
Kitchen | 6
Laundry | 2
Home cenima | 4
Home gym | 4
Bathroom | 1
Pool | 4
Store | 1

## Slide 58
Lighting arrangement

## Slide 59
Item | result | Acceptable limit
Eavg | 207 | 150
Uo | 0.627 | >= 0.6
UGR | 10-17 | < 19

## Slide 60: Photovoltaic

## Slide 61: Quantity survey and cost estimate

## Slide 62
Item | unit | quantity | cost (NIS)
Concrete | m³ | 1102.26 | 330678
Steel | Ton | 50.49 | 157422
Excavation | m³ | 1604.25 | 320850
Mechanics | _ | _ | 103200
Electrical | _ | _ | 76770
Finishing | _ | _ | 3080
Total cost of the villa = 1311879 NIS
239 $/m² = Cost/m² = 957 NIS