## Slide 1: Villa
An-Najah National university
Faculty of engineering
Building engineering departmenet
Graduation project ||
Prepared By :
Lotfe juaidi
Zakaria sabaaneh
Mahdi samara
Nabel saadi
Supervisor :
Dr. Mutasem baba

## Slide 2: Outline
Introduction.
Site analysis.
Architectural design.
Structural design.
Environmental design.
Mechanical design.
Electrical design.
Safety and fire system.
Quantity survey

## Slide 3: Introduction
Project definition
Objective.
Green villa
Palestinian requirements
Integrated design
Comfortable
Affordable
Energy efficient

## Slide 4: Site Analysis
Al-Badia , Nablus- Palestine
Total area of 3868.23 m2

## Slide 6: Architectural Design

## Slide 7: Architectural Design
The total area of a villa equal 265 m2 divided into two floors plus roof, the distributions and area of spaces in each floor are shown in the following table.

## Slide 8: Architectural Design
Site plan

## Slide 9: Architectural Design
Master plan

## Slide 10: Architectural Design
Ground floor

## Slide 11: Architectural Design
First floor

## Slide 12: Architectural Design
Roof floor

## Slide 13: Architectural Design
North and East elevations

## Slide 14: Architectural Design
South and West elevations

## Slide 15
3DView

## Slide 16
N.W View

## Slide 17
N.E View

## Slide 18
S.W View

## Slide 19
S.E View

## Slide 20: Structural Design

## Slide 21: Structural Design
Codes and Standards:
ACI -318-11 for reinforced concrete structural design.
UBC -97 for earthquake design.
ASCE 7 2010 for load combinations

## Slide 22: Structural Design
Design data:
Concrete strength for slabs and beams, f’c=28 mpa.
Concrete strength for columns and shear walls ,f’c=28 mpa.
Steel yield strength fy=420 mpa.
Bearing capacity for soil = 250 kN/m2

## Slide 23: Structural Design
Loads:
Load Type | Ribbed slab
Live | 1.98 (kN/m2)
S.I.D | 3.6 (kN/m2)

## Slide 24: Structural Design
Lateral loads:
The city of structure is Nablus.
The seismic zone factor. Z=0.2.
The soil profile is type Sc.
The acceleration seismic coefficient Ca=0.18
The velocity seismic coefficient Cv=0.2
The Seismic importance factor is 1.
The structural design type is intermediate, R=5.5
Numerical coefficient,

## Slide 25: Slabs
ribbed slab with 25 cm thickness.

## Slide 26: Beams

## Slide 27: Columns and footings

## Slide 28: Modeling

## Slide 30: Verification of model
Compatibility check
Equilibrium check
Internal force check
Deflection check
Drift check
Period check

## Slide 31
Case | Manual Result | ETAB Result | Error %
dead | 2706.45 |  | 2.3%
Live Load | 573.46 |  | 0.0052%
Super Imposed | 3738.3 |  | .58 %
Case | Manual Result | ETAB Result | Error %
dead | 2706.45 |  | 2.3%
Live Load | 573.46 |  | 0.0052%
Super Imposed | 3738.3 |  | .58 %

## Slide 32: Slab Reinforcement

## Slide 33: Beam Reinforcement

## Slide 34: G.F Beam Reinforcement

## Slide 35: Columns Reinforcement

## Slide 36: Footing Reinforcement

## Slide 37
Ground beam Reinforcement

## Slide 38: Water tanks Reinforcement

## Slide 39: Environmental Design

## Slide 40: Environmental Design
Palestinian requirements for green building
Number | The outer structural elements | Maximum U-Value w/m2.k
1 | Outer wall | 0.5 w/m2.k
2 | Outer Slab | 0.39 w/m2.k
3 | Ground slab | 0.46 w/m2.k
4 | Windows | 2.1 w/m2.k
5 | Doors | 6 w/m2.k

## Slide 41: Environmental Design
Palestinian requirements for green building
 | Maximum U-Value w/m2.k | Shading coefficient | Transmitting coefficient
The ratio of glass to wall less than 40% | 2.1 w/m2.k | 0.4 max | 25% min
The ratio of glass to wall between (40-60) % | 1.9 w/m2.k | 0.32 max | 10% min
The ratio of glass to wall greater than 60% | 1.9 w/m2.k | 0.25 max | 10% min

## Slide 42: Modeling

## Slide 43
Thermal Analysis
Internal Floor
U value = .396W/m2k
External wall for Mall
U value = .462 W/m2k

## Slide 44
Thermal Analysis
Ground Slab
U value = .435 W/m2k
Window
U value = 1.761 W/m2k

## Slide 45
Energy Simulation
Heating Load Design
Total Heating Load = 13.490 kW

## Slide 46
Energy Simulation
Cooling Load Design and Simulation
Total Cooling Load= 15.06 kW

## Slide 47: Techniques
Heating
Cooling

## Slide 48: Environmental Design
Materials
Palestinian Requirements |  | GREEN Villa | 
Element | Value | Value | Fit/Not
External walls | 0.5 w/m2.k | 0.462 | Fit
External roof | 0.39 w/m2.k | 0.367 | Fit
Ground slab | 0.46 w/m2.k | 0.435 | Fit
Glass | 2.1 w/m2.k | 1.701 | Fit
transmitting | 25% min | 42 | Fit

## Slide 49: Thermal Analysis
Story | Zone | Design Capacity (KW) | Area (m2)
Ground Floor | Kitchen Bed room Dining Room Lounge Room Stair Bath Room | 0.82 0.85 0.86 1.72 0.46 0.21 | 18.0 15.0 27.5 25.5 13.0 4.10
First Floor | Bath Room Bath Room Bed Room1 Bed Room2 Bed Room3 Circulation Lobby1 Lobby2 Stair | 0.34 0.26 0.92 0.83 1.00 0.86 0.07 0.14 0.42 | 5.0 5.0 16.0 16.5 18.6 6.0 2.2 3.0 13.0
Roof | Circulation Stair | 2.28 0.75 | 7.15 13.0
Heating load of the villa

## Slide 50: Thermal Analysis
` | Zone | Design Capacity (KW) | Area (m2)
Ground floor | Kitchen Bed room Dining Room Lounge Room Stair Bath Room | 0.87 0.42 1.20 0.72 0.14 0.10 | 18.0 15.0 27.5 25.5 13.0 4.10
First Floor | Bath Room Bath Room Bed Room1 Bed Room2 Bed Room3 Circulation Lobby1 Lobby2 Stair | 0.28 1.12 1.12 0.77 0.91 1.01 0.11 0.10 0.30 | 5.0 5.0 16.0 16.5 18.6 6.0 2.2 3.0 13.0
Roof | Circulation Stair | 1.98 0.46 | 7.15 13.0
Cooling load of the villa

## Slide 51: Daylight Factor

## Slide 52: Mechanical Design

## Slide 53: Drainage system

## Slide 54: System of distribution of water
Recycled water | Fresh water | 
12 | 28 | Total FUs
1.5" | 2" | Vertical pipe diameter
1.25" | 1.25" | Horizontal pipe diameter
3/4" | 3/4" | branch pipe diameter

## Slide 55: Layout of water tank

## Slide 56: System of distribution of water

## Slide 58: Heating system

## Slide 59
HVAC System
VRF - multi split unit
Indoor Split unit
Outdoor Unit

## Slide 60: VRF System

## Slide 61: Acoustical Design
STC
Layers | STC
8-in(20 cm) Dense hollow block | 48
Add plaster to both sides | 4
Total | 52 db

## Slide 62: Photovoltaic System

## Slide 63: Photovoltaic System
8323 kWh total consumption energy
75% can be covered

## Slide 64: Electrical Design

## Slide 65: Artificial Lighting

## Slide 66: Living Room

## Slide 67: Living Room

## Slide 68: Artificial Lighting

## Slide 69: Sockets

## Slide 70: Sockets
Floor | Number of socket 2 Amp | Number of socket 10 Amp | Number of branches (3Ø2.5 mm2)
G.F | 14 | 2 | 6
F.1 | 21 | 1 | 9
Roof | 4 | 0 | 2

## Slide 71: Branches

## Slide 72: Fire and Alarm System

## Slide 73: Fire and Alarm System

## Slide 74: Quantity Survey

## Slide 75
THANK
YOU