## Slide 1: Experimental Validation Of Solar Radiation Models On Tilt Surface in Palestine
Submitted to:
Dr. Tamer Khatib
Prepared by
Fairouz Hammad
Mays Nour

## Slide 2: Contents
        Introduction.
        Objective.
        Methodology.
        Results and discussion.
        Recommendation.
        Conclusion.

## Slide 3: The Global Solar Radiation ( Terrestrial Solar Radiation )
Is the available solar radiation at sea level below the Earth's atmosphere

## Slide 4: Global Solar Radiation On Surfaces
TILTED SURFCAE
GTILT = GB + GD + GR
1-Direct solar radiation
2- Diffuse Solar Radiation
3- Reflected solar radiation
HORIZONTAL SURFACE
GT = GB+ GD
1-Direct solar radiation
2- Diffuse Solar Radiation

## Slide 6: Objective
.

## Slide 7: Methodology :
Development of measurement device:
setting up the machine that helped us do the measurement on horizontal surface and the tilted surfaces .

## Slide 8
2- Measurement Process: Before starting with the measurement process: 1. We selected an appropriate place where the solar radiation is clear and without shadow. 2. each day we have a new angle .
V5 | V4 | V3 | V2 | V1 | TIME
0.11 | 0.19 | 0.17 | 0.39 | 0.03 | 09:25
0.11 | 0.19 | 0.17 | 0.39 | 0.03 | 09:30
0.12 | 0.19 | 0.18 | 0.38 | 0.03 | 09:35
0.12 | 0.19 | 0.18 | 0.38 | 0.03 | 09:40
0.12 | 0.19 | 0.18 | 0.38 | 0.04 | 09:45

## Slide 9
3- ResultCalculation : Calibration Factor (5.0 W m-2 per mV) * Sensor Output Signal (mV) = Total Shortwave Radiation (W m-2)
Ex: Vi * 1000 = mv mv * 5 = (W m-2)
4 -The steps of analyzing the measurements and the results by using Excel worksheet.

## Slide 10: Result & discussion
The multiplied data , which is the global solar radiation in W\m² .
The relations data between horizontal and south.
The final result.

## Slide 11: The multiplied data, which the global solar radiation in w/m²
Date : 03-11-2016
Angle : 30
Horiz. | norh | east | south | west
750 | 350 | 1050 | 450 | 500
800 | 400 | 1050 | 450 | 500
800 | 400 | 1050 | 400 | 500
500 | 150 | 300 | 400 | 150
200 | 100 | 450 | 450 | 100
900 | 450 | 1100 | 450 | 400
900 | 400 | 1050 | 450 | 450
200 | 100 | 1000 | 400 | 300
850 | 350 | 1000 | 450 | 400

## Slide 12
Chart: 30
Chart: 30
Chart: 30
Chart: 30

## Slide 13
Degree | S | S_R
0 | 1.05 | 1
10 | 1.032 | 1.094
20 | 1.1 | 1.161
30 | 1.72 | 1.2
40 | 1.19 | 1.208
50 | .92 | 1.1864
60 | .82 | 1.1354
70 | ..78 | 1.0564
80 | .74 | ..95
90 | .66 | .825
The relations data between horizontal and south

## Slide 14
Chart: 
| 0 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90
Measured | 1.05 | 1.032 | 1.1 | 1.72 | 1.19 | 0.92 | 0.82 | 0.78 | 0.74 | 0.66
clear sky mathmatical | 1 | 1.094 | 1.161 | 1.2 | 1.208 | 1.1864 | 1.1354 | 1.0564 | 0.95 | 0.825