## Slide 1: Design For The English School
Prepared By:
Ahmad Daraghmeh.
Mohammad Shurrab.
Supervisor: Dr. Ahmad Alhaj Saleh
An-Najah National University Faculty of Engineering Building Engineering Department
1

## Slide 2
Introduction.
Site Analysis.
Architectural Design.
Environmental Design.
Structural Design.
Electrical Design.
PV-System Design.
Mechanical Design.
Quantity Survey and Cost.
Contents
2

## Slide 3: Site Analysis

## Slide 4: Site analysis
The Site is located in Al-Ma’jeen in Nablus City, its rise about 486 m above sea level, The total area of site is 3704 m2

## Slide 6: Building Area = 2430 m2
Number | Floor name | Floor area (m²)
1 | Basement floor | 956
2 | Ground floor | 950
3 | First floor | 524

## Slide 7: Architectural Design

## Slide 8: Basement Floor

## Slide 9: Ground Floor

## Slide 10: First Floor

## Slide 11: North Elevation

## Slide 12: South Elevation

## Slide 13: East Elevation

## Slide 14: West Elevation

## Slide 15: Section A-A

## Slide 16: Section B-B

## Slide 17: 3D Model

## Slide 18: 3D Model

## Slide 19: 3D Model

## Slide 20: 3D Model

## Slide 21
Environmental Design.

## Slide 22: ENVIRONMENTAL DESIGN. ORIENTATION.

## Slide 23: ENVIRONMENTAL DESIGN. Thermal Design. 3D Model in Design Builder.

## Slide 24: ENVIRONMENTAL DESIGN. Material used and properties:
External Walls
U value = 0.36 w/m2.k.

## Slide 25: ENVIRONMENTAL DESIGN. Material used and properties:
Internal partition
U value = 1.13 w/m2.k.

## Slide 26: ENVIRONMENTAL DESIGN. Material used and properties:
Internal floor
U value = .366 w/m2.k.

## Slide 27: ENVIRONMENTAL DESIGN. Material used and properties:
Roof
U value = 0.389 w/m2.k.

## Slide 28: ENVIRONMENTAL DESIGN. Material used and properties:
Windows
6mm Double glass
with 13mm air gab
U value = 1.77w/m2.k.

## Slide 29: ENVIRONMENTAL DESIGN. Thermal Design.
Shading
Louvers System For south Elevation
Cantilever System For Other Elevation.
According to calculation we need cantilever with a length 0.7 m.

## Slide 30: ENVIRONMENTAL DESIGN. Thermal Design.
Shading
In Winter Day
21 July at 8 AM
21 July at 12 PM

## Slide 31: ENVIRONMENTAL DESIGN. Thermal Design.
Shading
In Winter Day
21 January at 8 AM
21 January at 12 PM

## Slide 32: ENVIRONMENTAL DESIGN. Thermal Design. Comfort PMV-Set.

## Slide 33: ENVIRONMENTAL DESIGN. Day lighting performance.
Ground floor result:
for classroom
%DF =5%
Recommendation Rang = 2%-6%

## Slide 34: ENVIRONMENTAL DESIGN. Acoustical DESIGN.

## Slide 35: Acoustical Design. 3D Model in Ecotect.

## Slide 36: Acoustical Design. Recommended values of RT60.

## Slide 37: Acoustical Design. Absorption Coefficient.

## Slide 38: Acoustical Design. Reverberation time (RT60).
Recommended Value(0.5-0.9).

## Slide 39: Acoustical Design. Reverberation time (RT60).
Recommended Value(0.6-1.15).

## Slide 40: Acoustical Design. STC for external wall.
The Recommended Range (50 – 60) dB

## Slide 41: Acoustical Design. STC for internal wall between classrooms.
The Recommended Value = 45 dB

## Slide 42: Acoustical Design. Speakers Design.
Number of speaker for lab = = = 1.94 = 2 speakers.

## Slide 43: Acoustical Design. Speakers Design.

## Slide 44: Structural Design

## Slide 45: Codes & Parameters
Codes
IBC – 2010.
ACI 318-14 for RC structure design.
Design Parameters:
Super imposed dead load = 4 KN/m2.
Live load = 5 KN/m2.
External Wall Weight = 25 KN/m.
R = 6 (Building Frame System – Shear walls).
Ss = 0.7 , S1 = 0.18 in Nablus.
Qall = 250 KN/m2
Cd = 5

## Slide 46: Codes & Parameters
Seismic Hazard Maps

## Slide 47: Structural System
Structural System
One way and Two way Ribbed Slab with Drop Beams.
Materials
Concrete fc = 24 Mpa for slabs and beams.
Concrete fc = 28 Mpa for Columns and Footings.
Design Sections
Slabs Thickness 30 and 32 cm.
Column Dimensions ( 30 × 70 cm , 30 × 90 cm )
Shear Wall thickness = 20 cm.

## Slide 48: 3-D Models for Building
Model of Block 2
Model of Block 1

## Slide 49: Model Checks
Compatibility Check

## Slide 50: Model Checks
Equilibrium Check
Load cases/comp | ETABS | Hand Calculations | Error
Dead | 8519 | 8509 | 0.12%
Live | 5338 | 5339 | 0.0013%
SID | 14464 | 14439 | 0.17 %
Values for Block 2
The values are within error less than 5%
Internal Forces Check
The values are within difference less than 10% and done for slab, beam and column.

## Slide 51: Model Checks
Deflection Check
For Block 1, the maximum deflection value was 34.5 mm.
Allowable deflection = L/240 = 9/240 = 37.5 mm > 34.5mm.
So the deflection is OK.
For Block 2, the maximum deflection value was 29 mm.
Allowable deflection = L/240 = 9/240 = 37.5 mm > 29 mm.
So the deflection is OK.

## Slide 52: Model Checks
Drift Check
Maximum inelastic displacement (∆D) =
Since the maximum inelastic displacement is less than Allowable Drift, check is OK.

## Slide 53: Model Checks
P-Delta Check
θ =
θ: Stability coefficient
P: Axial force
K: Stiffness
h: Story height
θ max =
θ must be less than θ max or 0.1 so, check is OK

## Slide 54: Detailing
Slab Reinforcement
First Slab for Block 2

## Slide 55: Detailing
Slab Reinforcement
Cross section in slab for block 2

## Slide 56: Detailing
Beams Reinforcement
Section A-A
Section B-B
Longitudinal Section of Beam

## Slide 57: Detailing
Columns Reinforcement
C1

## Slide 58: Detailing
Shear Wall Reinforcement

## Slide 59: Detailing
Stairs Reinforcement

## Slide 60: Detailing
Footing Reinforcement

## Slide 61: Detailing
Footing Reinforcement

## Slide 62: Electrical Design.

## Slide 63: Electrical Design. Luminaires Layout.

## Slide 64: Electrical Design. Recommended Lux.
uniformity | glare | Illuminance (Lux) | Classrooms assessment
0.6 | 19 | 300 | Standards
0.6 | 13.8 | 318 | Result
uniformity | glare | Illuminance (Lux) | multi-purpose assessment
0.6 | 19 | 500 | Standards
0.61 | 15.2 | 506 | Result

## Slide 65: Electrical Design. 3D – rendering view (classrooms).

## Slide 66: Electrical Design. 3D – rendering view (Lab).

## Slide 67: Electrical Design. 3D – rendering view (office).

## Slide 68: Electrical Design. 3D – rendering view (Tennis Table).

## Slide 69: Electrical Design. 3D – rendering view (Library).

## Slide 70: Electrical Design. Artificial Lighting.
Basement Floor.

## Slide 71: Basement Floor. Artificial Lighting.
Ground Floor.

## Slide 72: Electrical Design. Artificial Lighting.
First Floor.

## Slide 73: Electrical Design. Socket.
Basement Floor.

## Slide 74: Electrical Design. Socket.
Ground Floor.

## Slide 75: Electrical Design. Socket.
First Floor.

## Slide 76: Electrical Design. Solar PV system.

## Slide 77: Electrical Design. Solar PV system.
Depends on calculation we need 80 cells from type 400 watt to achieve zero net energy building. but we will use 117 cells, and all KWH Will be sold to the municipality of Nablus for .6 NIS per KWH.

## Slide 78: Electrical Design. Solar PV system.

## Slide 79: Electrical Design. Solar PV system.
Summary:
Initial cost of the system = 46.8*1700 = 79560 $
Operation Cost = 1200 $/year.
Electricity Production = 93295KWh/yr.
Annual Saving = 15860 $/yr.
Payback Period =80760/15860= 5.09 years.

## Slide 80: Mechanical Design.
Water supply system
Water consumption.
Domestic hot water.
Drainage system
HVAC system
Firefighting system
Elevator system

## Slide 81: Mechanical Design. Water supply system.
diameter | Pipe
2" | Vertical feeder
1.5" | Horizontal pipe
1" | Branch pipe

## Slide 82: Mechanical Design. Water consumption.
Water consumption by people 5-8 litter for cold water.
Water consumption by people 5 litter for hot water for the purpose of ablutions.
Total number of people 228 person /day.
Total amount of cold fresh water 1.4 cm /day.
Total amount of hot water 1.2 cm /day.

## Slide 83: Mechanical Design. Domestic hot water.

## Slide 84: Mechanical Design. Domestic hot water.
Q= 17.58 Kwh.
Number of panels that has be needed = 17.85/2.77= 6.44 (7 panels).
These cells will be covered in the summer months to protect them from height temperature.

## Slide 85: Mechanical Design. Water drainage system.
Diameter | Pipe
4" | Vertical pipe
2" | Horizontal pipes (lavatory)
2" | Horizontal pipes (kitchen sink)
4" | Horizontal pipes (W.C)
8" | Pipes between manhole

## Slide 86: Mechanical Design. Water drainage system.

## Slide 87: Mechanical Design. Rainwater drainage system.

## Slide 88: Mechanical Design. HVAC system.

## Slide 89: Mechanical Design. Design of Radiator.
dimension | Q radiator from catalog | number of section | number of radiator | Q section | Q radiator (Q total*1.15) | Q total | function
628*600 | 1037*1 | 13 | 1 | 80 | 908.5 | 790 | classrooms
904*600 | 1516*3 | 19 | 3 | 80 | 4830 | 4200 | labs
1180*600 | 1995*3 | 25 | 3 | 80 | 5658 | 4920 | library
1180*600 | 1995*3 | 25 | 3 | 80 | 6062.8 | 5272 | multipurpose
Assume the velocity of water = 0.9 m/s.
our selection shall be (250 SE pump).
Volume of tank that be needed from Boiler = 5 tank.
the chimney diameter = 126 mm.

## Slide 90: Mechanical Design. Radiator System.

## Slide 91: Mechanical Design. Radiator System.

## Slide 92: Mechanical Design. Radiator System.

## Slide 93: Firefighting system.

## Slide 94: Mechanical Design. Firefighting system.
Fire Extinguishers.
Hose Stations.
Warning Signs.
smoke detector.

## Slide 95: Mechanical Design. Emergency Fire Protection System.

## Slide 96: Mechanical Design. Emergency Fire Protection System.

## Slide 97: Mechanical Design. Emergency Fire Protection System.

## Slide 98: Mechanical Design. Sprinklers System.
High | Moderate | Low | 
8 | 12 | 20 | area (m²)
3.5 | 3.5 | 4.5 | Distance (m)
= distribution of sprinkler in y axis
= distribution of sprinkler in x axis
N =

## Slide 99: Mechanical Design. Emergency Exist and Evacuation System.

## Slide 100: Mechanical Design. Emergency Exist and Evacuation System.

## Slide 101: Mechanical Design. Emergency Exist and Evacuation System.

## Slide 102: Mechanical Design. Elevators System.
675 Kg | Capacity
1.5 m/s | Speed
9 person | Number of passengers allowed
we will use one elevator for services

## Slide 103: Quantity Survey.
Cost | Stage
1737557NIS | Structural work
166056NIS | Mechanical work
163066NIS | Electrical work
1404992NIS | Finishing
3471672NIS | Total project cost
1428NIS/m2 | Unit cost

## Slide 104: Done! Thanks a Lot