## Slide 1
Redesign Golden Tree hotel
Prepared by:
Raghad Nazzal
Sewar Abbadi
Jannat Yamak
Supervisor :
Eng. Fadi fatayer

## Slide 2
Introduction :

## Slide 3
Outline:
Introduction
Site plan
Architectural Redesign
Structural Redesign
Integration
Safety Redesign
Electro – Mechanical Redesign
Quantity surveying and cost estimation
Conclusion
Environmental Redesign

## Slide 4: Methodology
Consist of two Phases:
Fig: Methodology

## Slide 5: Site analysis
Fig: Location of the hotel
This hotel located at Bayt-Wazan Nablus city.

## Slide 6
      Location of project and site plan
Fig: Hotel site

## Slide 7
Fig: Sun path

## Slide 8
Building shadow
At 21- January
Fig: Shading at 21- January at 12pm
Fig: Shading at 21- January at 8am

## Slide 9
At 21- July
Fig: Shading at 21- July at 8am
Fig: Shading at 21- July at 12pm

## Slide 10: 3D views for new design
Fig: Hotel 3D view

## Slide 11
Fig: Hotel 3D view

## Slide 12
Fig: Hotel 3D view

## Slide 13
Architectural Redesign

## Slide 14
Architectural plans
Fig: Basement 2 floor plane
The new design has 9 floors: 2basements, Ground, 1st …. 6th floors.
Notes: The ground floor contains the reception and cashier, coat room, kitchen, dining area, mechanical and electrical rooms and storage

## Slide 15
Fig: Basement 1 floor plane

## Slide 16
Fig: Ground floor plane

## Slide 17
Fig: First Floor plane

## Slide 18
Fig: Second floor plane

## Slide 19
Fig: 3rd, 4th and 5th floors plane

## Slide 20
Fig: 6th floor plane

## Slide 21
Sections
Fig: Section 3-3

## Slide 22
Fig: Section 4-4

## Slide 23
Fig: South Elevation
Elevations

## Slide 24
Fig: North Elevation

## Slide 25
Fig: West Elevation

## Slide 26
Fig: East Elevation

## Slide 27: Strength points at new design:
Fig: Circulation stairs in plan before .
Fig :Circulation stairs in plan after .
1_circulation

## Slide 28
2_ Garages
Fig: Old design garages

## Slide 29
Fig: Gf garages
Fig:B1 garages

## Slide 30
Fig: B2 garages

## Slide 31
3_ Rubbish and Linen shuts
Fig :Show no Rubbish and linen shut before
Fig :Show Rubbish and linen shut after

## Slide 32
Fig :show clinic in plans after .
Fig :show no clinic in plans before .
4_ No clinic

## Slide 33
Fig :W.C and shower service in plan after .
Fig :W.C and shower service in plan before .
5_ Service shower and W.Cs

## Slide 34
Fig :Intermediate lobby in plans after.
Fig : No Intermediate lobby in plans before.
6_ Intermediate lobby

## Slide 35
7_ Bedrooms shafts.
Fig: Shafts not found at old design
Fig: New design shafts

## Slide 36
Table: Old design spaces area compared with standards

## Slide 37
Table: New design spaces area compared with standards

## Slide 38
Environmental Redesign

## Slide 39: Design builder analysis
Fig : Section on external wall after
Fig : Section on external wall before
Envelope layers

## Slide 40
Fig :Section in roof after
Fig :Section in roof before

## Slide 41
Fig :Section in internal floor after
Fig :Section in internal floor before

## Slide 42: Simulation:
U values for envelope:
Table: Comparison in U value between old and new design

## Slide 43: Comfort analysis:
Fig : Comfort simulation before .
Fig :Comfort simulation after.

## Slide 44
Table: comparison in comfort value
Total site energy
Table: Total site energy before.

## Slide 45: Table : Total site energy after
Table : Total energy comparing

## Slide 46: Cooling load and heating load analysis:
Table: Heating load before

## Slide 47: Table : Heating load after
Table : Heating and cooling load comparison.

## Slide 48
Acoustical Redesign
Reverberation time (RT60)
Used materials for the wedding hall
False celling
Fig: Absorption coefficient for the
Celling (old)
Fig: Absorption coefficient for the
Celling (new)

## Slide 49
Walls materials
Fig: Absorption coefficient for walls
surfaces (old)
Fig: Absorption coefficient for walls
surfaces (new)

## Slide 50
Floor and windows
Fig: Absorption coefficient for the
floor (old and new)
Fig: Absorption coefficient for
windows (old and new)

## Slide 51
Redesign wedding hall Eccotict results
Table: Redesign wedding hall RT60

## Slide 52
Table: Old and new design wedding hall RT60 values compared with standards

## Slide 53
Sound Transmission Class (STC)
Fig: External wall
Fig: Internal wall
Table: Old and new STC values for partition walls compared with standards

## Slide 54
Impact Insulation Class (IIC)
It’s a measure to find sound transition through slab (floor) between critical zones.
66 > 62 its good
Fig: Floor layers
Fig: 6th floor restaurant Floor CII

## Slide 55: Fig: Speakers distribution and coverage for 6th floor
Speakers distribution

## Slide 56
Structural Redesign

## Slide 57
Design Codes:
ACI-318-08 for reinforced concrete design .
UBC-97 for earthquake load computations .
ASCE for load computations

## Slide 58: Characteristics of materials:
Compressive strength of Concrete f′c = 28MPa.
Concrete weight per unit volume= 25kN/m3
Concrete modules of elasticity E=24870MPa.
Yielding strength of steel FY = 420MPa.

## Slide 59
Loads:

## Slide 60
Project description:

## Slide 61: Etabs Model for block A

## Slide 62: Seismic design:
Using UBC1997 design code: 1. Importance factor: I =1 2. Seismic Zone factor = 0.2 3.Soil profiles in the project (Sd). 4. acceleration-dependent seismic coefficient (Ca) = 0.28 5. velocity-dependent seismic coefficient (CV) = 0.4 6.Response modification factor (R)=5.5

## Slide 63
Model verification checks:
1. Compatibility check:
2.Deflection check:
U from Etabs = 41.5mm < U max= 54.41mm
Notes: compatibility had achieved as shown in the figure

## Slide 64
2. Equilibrium check:
Load | Manual | Etabs | Error
Dead load | 54207.05 KN | 54440.551KN | 0.5%
Live load | 18951.01 KN | 18876.15 KN | 0.25%
SID | 29419.26 KN | 29472.99KN | 0.18%
3. Internal Forces Check:
Load |  | Manual | Etabs | Error
For Dead load | Slab | 36.2 | 35 | 3.3 %
Load |  | Manual | Etabs | Error
For Dead load | Beam | 1224.3 | 1171.3 | 4.3%
Load |  | Manual | Etabs | Error
For Dead load | Column | 1182.57 | 1885.92 | 0.28%

## Slide 65: Seismic checks:
Period check:
Base shear check:
Drift check:
∆ S = 18 mm from ETABS
Then
∆M =0.7*5.5*18 < 0.025 (5) *103 → Ok
∆M The Maximum Inelastic Response Displacement
∆ S the Maximum Elastic Response Displacement (from ETABS)
Period manually | Period from Etabs | Error | Satisfy
0.77 | 1.1 | 2.8% | Yes
Shear manually | shear from Etabs | Satisfy
9691.9 KN | 9692 | Yes

## Slide 66: Slab design: one way ribbed slab
1- one way ribbed slab (33 cm thickness )
Slab plan

## Slide 67
Section in one way ribbed slab
Section in slab:
Slab section

## Slide 68
Design of beams
Beams layout for B1 floor

## Slide 69
Group D detailing
Group D section

## Slide 70
Group C detailing
Group C beam sections

## Slide 71
Remaining beams detailing

## Slide 72
Design of columns:
column layout for B1 floor

## Slide 73
Section in column C2

## Slide 74
Reinforcement for remaining columns

## Slide 75
Design of footings:
Footing Layout

## Slide 76
Detailing of single footing group B

## Slide 77
Detailing of combined footing F10B

## Slide 78
Section in matt foundation
Reinforcement for remain footing

## Slide 79: Shear Wall Design:
Shear wall detailing

## Slide 80
Detailing for remain shear walls

## Slide 81
Electro-Mechanical Redesign

## Slide 82: Lighting Redesign
Old design problems
There were problems in hotel spaces lighting like: bad illuminace, uniformity and glare.

## Slide 83
New design solutions
The new design solved old design problems by using this strategy:
1_Luminaire with low illuminace and good distribution.
2_ Different lighting system is used in the same. 3_Dimming system was used.
4_Philips led light.

## Slide 84
Dialux evo analysis
Fig: 6th floor created using dialux evo

## Slide 85
Dining area analysis
Fig: 3D view for restaurant using dialux evo

## Slide 86
Lighting Units
Table: Luminaries used in the restaurant and number of used units

## Slide 87
Analysis results
Fig: False colour for the dining area

## Slide 88
Table: Old, new and standard values for IL luminance, glare and uniformity in
the dining area

## Slide 89
Table: Old, new and standard values for IL luminance, glare and uniformity
at analysed spaces

## Slide 90: Day light factor

## Slide 91
Electrical connections
Fig: Electrical connection for 6th floor

## Slide 92: Power distribution
Fig: Power distribution for 6th floor

## Slide 93
Fig: New corridor socket distribution
Fig: Old corridor socket distribution
Old design problems and solutions
1_

## Slide 94
Fig: Old design office
Fig: Old design bedroom
2_
3_

## Slide 95
Water system Redesign
New plans :
Fig : Water plan for basement 1 floor
Mechanical Redesign

## Slide 96
Fig : Water plan for ground floor
Fig: Water plan for first floor

## Slide 97
Fig: Water plan for second floor98*

## Slide 98
Fig:Water plan for third ,fourth and fifth floors
Fig: Water connection in bathroom

## Slide 99
Fig: Water plan for sixth floor

## Slide 100: Diameter used according to calculation:
Pipe | Branch | Horizontal | Vertical
Diameter | 2" | 3" | 4"
Losses | 14 | 23.5 | 1
Table : Diameter used for fresh water.
Pipe | Branch | Horizontal | Vertical
Diameter | 2" | 3 " | 4"
Losses | 14 | 23.5 | 1
Table : Diameters used for grey water .

## Slide 101: Problems solved in redesign:
Separate black and grey water ,which means more efficiently in using water.
Using fresh water tanks for 3 days , and added grey water tanks

## Slide 102: Drainage system Redesign
New plans:
Fig : Drainage plan for basement 1 floor

## Slide 103
Fig : Drainage plan for ground floor
Fig: Drainage connection in W.C

## Slide 104
Fig: Drainage plan for first floor
Fig: Drainage plan for second floors

## Slide 105
Fig : Drainage plan for third, fourth and fifth floor
Fig: Drainage plan for sixth floor

## Slide 106
Problem solved in redesign:
1-Connect W.C to trap
Fig:conection before
Fig: conection after

## Slide 107: 2-No shafts which make connection untidy
Fig: Shows no shaft Before
Fig: Shows shaft in new plans after

## Slide 108
3- Connect W.C to each other.
Fig: W.Cs connection before
Fig: Wcs connection after

## Slide 109: HVAC System
VRF system is used as the main Hvac system in the hotel, because it has different functions and zones with different loads and this system allows zones individual control, also the system is energy efficient with Quit operation and less down time.
Notes: Irrigate grass

## Slide 110: Old design problems
The old design had different problems like: Insufficient supply, bad diffusers distribution, no ventilation, bad air quality and no fresh air.
Fig: Old design mezzanine HVAC system

## Slide 111
Fig: Restaurant supply system
Table: Ducts sizing for restaurant
Sample calculation:

## Slide 112
Fig: Total air conditioning system at 6th floor restaurant with duct sizing
and diffusers load:

## Slide 113
Fig: Total air conditioning system at 6th floor with duct sizing and
diffusers load

## Slide 114
Safety Redesign

## Slide 115
Fire System
Fig: 3rd, 4th and 5th floors Floor plans

## Slide 116
Fig: Sprinkler system at 1st floor
Table: Old and new distances between sprinklers

## Slide 117
Fig: Sprinkler coverage at 1st floor restaurant
Fig: Indications signs
Fig: Smoke detector

## Slide 118
Quantity surveying and cost estimation
Cost equals 1713 NIS/MS

## Slide 119
Fig: Restaurant false celling
Integration:

## Slide 120
Fig: Restaurant celling