## Slide 1
Graduation Project II Ehab Ma’aly Sameh Bsharat

## Slide 2
SMART OLIVE
PRESS MACHINE

## Slide 3
Index
SUBJECT | SLIDES
1-1:INTRODUCTION | 4-7
1-2:STEPS OF OLIVE PRESS | 8
2-1:PLC | 
2-2:PLC FATEK | 
2-3:SCADA SYSTEM | 
2-4:FV-DESIGNER | 
3-1: Ladder | 13-26
3-1:PRACTICAL SIDE | 
3-4: operation | 31
4- 1:Financial STYDY | 
4-2:PROBLEMS | 
4-3:PROJECT EXTRACT | 
4-4:CONCLOUSION | 

## Slide 4
1-1: Introduction-GPI
*problem overview
-less of reliability
-not full Automatic
-cant detect the process
-not confidence maybe happened mixing in the olives
1-Problems in olive squeezing

## Slide 5
1-1: Introduction-GPI
2-Guarantees to solve the problems
-Full Automation
By detecting sensors in each step -full detect process
-SCADA system -using Graphical representation for customers
-measure the weight and volume
-not mixed between customers
*problem overview

## Slide 6
1-1: Introduction-GPI
3-INP/OUT
**42 outputs in our project
**There are about 32 inputs in this project.
*problem overview

## Slide 7
1-1: Introduction-GPI
4- SCADA
*problem overview

## Slide 8
1-2: Steps of Olive PRESS
1-Moving and suction
2- washing
1
3- crushing
2
3
4
4- Tanks
6-Filling Tank oil
5
6
5-turbine

## Slide 9: A programmable logic controller (PLC), or programmable controller is an industrial digital computer which has been ruggedized and adapted for the control of manufacturing processes, such as assembly lines, or robotic devices, or any activity that requires high reliability control and ease of programming and process fault diagnosis.
2-1: PLC

## Slide 10: ** ** We used the plc fatek FBs: 1-easy for used. 2-The program is available for free. 3-we can use HMI by computer. 4- cheap
2-2: PLC Fatek
**14OUT(digital)/10INP(digital).
**24 VDC.

## Slide 11: Supervisory control and data acquisition (SCADA) is a control system architecture that uses computers, networked data communications and graphical user interfaces for high-level process supervisory management.
2-3: SCADA
**In project1,we used a wonderware in touch programing. **In graduation project2,we used FV-designer programing.

## Slide 12
2-3: SCADA

## Slide 13
2-4: Fv-Designer

## Slide 14
3-1: ladder
* Ladder of project with 86 line
** 24 IN/OUT external variables with a lot of internals
**** using odd/even to change the mode
*** using two modes that there are two tanks
***** using matrix to link the processes
****** dependent/independet process/variable

## Slide 15
3-1: ladder
Pin number | Object of the pin
X0 | On/Off switch to the machine.
X1 | As there are olives in the fill tank at the begging .
X2 | Push button as detecting sensor for calculating the weight of the olives.
X3 | Push button as start new customer in the machine.
X4 | Push button as washing the olives in the sear.
X5 | As detecting the olives in the bottom of Crushing olives section.
X6 | Push button as finish the customer in the machine.
X7 | As detecting the olives in the top of Crushing olives section.
X8 | As detecting sensor in Tank 2 in the bottom.
X9 | As detecting sensor in Tank 2 in the top.
X10 | As detecting sensor in Tank 1 in the bottom.
X11 | As detecting sensor in Tank 1 in the top.
X12 | As detecting sensor before the olives going to the turbine.
X13 | Push button to fill the oil in the flowmeter sensor.
External input

## Slide 16
3-1: ladder
External output
Pin number | Object of the pin
Y0 | Motor as Crushing process
Y1 | Led as ready machine for new customer
Y2 | Led as the machine in the user process
Y3 | Motor as moving the olives in the sear
Y4 | Motor in Tank 1
Y5 | Led as pause process to short time
Y6 | valve as control in valve of the crushing section
Y7 | Motor in Tank 2
Y8 | Motor as moving the turbine
Y9 | Led as the oil is ready in the tank.

## Slide 17
3-1: ladder
***type of processes
process | dependent | independent
Olives filling | ✓ | 
Washing |  | ✓
Crushing | ✓ | 
Tanks1 | ✓ | 
Tanks2 | ✓ | 
Turbine |  | ✓
Ready oil |  | ✓

## Slide 18
3-1: ladder
***matrix way
process | Mode 1-odd- | Mode 2-even-
Olives filling | M71 | M70
Washing | M73 | M72
Crushing | M75 | M75
Tanks1 | M77 | M76
Tanks2 | M79 | M78
Turbine | M81 | M86
Ready oil | M83 | M82

## Slide 19
3-1: ladder
*Users and changing the mode:

## Slide 20
3-1: ladder

## Slide 21
3-1: ladder
**weight measurement

## Slide 22
3-1: ladder
**washing process

## Slide 23
3-1: ladder
***crushing

## Slide 24
3-1: ladder
***pause process

## Slide 25
3-1: ladder
***Tank 1 / Tank2

## Slide 26
3-1: ladder
***Turbine

## Slide 27
3-1: ladder
***volume

## Slide 28
3-2: Practical

## Slide 29: The following table shows some of the electrical parts that we used to complete the graduation project 2:
The parts used in the project:
:
Nameof element | image
Electrical switches | 
pushbutton | 
Water valve | 

## Slide 30
Flow meter | 
Dc motors(12 volt) | 
Led(12 volt) | 
LCD2*16 | 

## Slide 31
PLC x 24 fatek | 
Water pump(12 volt) | 
Busbar | 
Wire | 

## Slide 32
3-4: Operation

## Slide 33
4-1: Financial stydy
1-OLd Financial
Name of element | Number | Cost in $ | 
Detect sensor | 21 | 9 | 9*21=189
pushbutton | 8 | 1 | 1*8=8
Valve water flow meter with control | 1 | 68.88 | 68.88*1=68.88
Weight machine | 1 | 20 | 20*1=20
Relay | 6 | 10.02 | 10.02*6=60.12
valve | 30 | 11.57 | 11.57*30=347.1
timers | 6 | 2.94 | 2.94*6=17.76
Variable voltage variable frequency | 5 | 90 | 90*5=450
LCDs | collection | 29.89+6.87+50 | 86.76
PLC x 32 | 1 | 169 | 169
PLC x 16 | 1 | 49.99 | 49.99
Summation |  |  | 1466.61 $

## Slide 34
4-1: Financial stydy
2-Practical Financial
Name of element | Number | Cost in( NIS) | 
Pushbutton )small) | 2 | 1 | 2*1=2
Pushbutton ) big) | 3 | 10 | 3*10=30
Switches | 8 | 1 | 1*8=8
Valve water | 1 | 40 | 40*1=40
flow meter with control | 1 | 45 | 45*1=45
Led | 5 | 5 | 5*5=25
Dc motor 12volt | 5 | 5 | 5*5=25
Water pumb | 1 | 30 | 30*1=30
Busbar | 2 | 35 | 2*35=70
LCD 2 x16 | 1 | 25 | 1*25=25
PLC x 24 | 1 | 720 | 1*720=720
Cable of PLC | 1 | 100 | 1*100=100
Wood Box | 1 | 20 | 1*20=20
Image A3 | 1 | 10 | 1*10=10
Summation |  |  | 1150 NIS =319.4 $

## Slide 35
4-2: Problems
**financial.
**hard to save PLC in time.
*build sampling that can’t save the requirements of the full project
**over load current.

## Slide 36
4-3:Project Extracts
1-Dealing with PLC
2-Dealing with sensors
3-Planning to
Build machine ,simulation ,

## Slide 37: ** we learned how to connect the computer with the logical computer programmed, as well as how to deal with the language of its programming. **we learned how to address the practical and software problems that we faced during the work of the project. **Finally ,we learn how to dealing for SCADA system with PLC in our project.
4-4: conclusion

## Slide 38
Thank you
for listening