## Slide 1: An-Najah National University Faculty of Engineering & Information Technology Building Engineering DEPARTMENT
Environmentally friendly restaurant design
Prepared by:
Hiba Ghanem
Nada Hamarsheh
Zeina Qadi
Supervisor: Eng. Fadi Fatayer

## Slide 2: Outline
Introduction
Site location
Architectural Design
Environmental Design
Structural Design
Electrical Design
Mechanical Design
Safety Design
Estimated Cost

## Slide 3: INTRODUCTION

## Slide 4: SITE LOCATION
Al junaid, Nablus – Palestine .
Total area of 5000m².

## Slide 5: ARCHITECTURAL DESIGN
The total area of restaurant = 2346 m², It divided in to three floors .
The area of each floor is shown in the following table :
Floor | Area (m²)
Basement floor | 246
Ground floor | 1180
First floor | 920
Total | 2346

## Slide 6: ARCHITECTURAL DESIGN
Site Plane:

## Slide 7: ARCHITECTURAL DESIGN
Basement Plane:

## Slide 8: ARCHITECTURAL DESIGN
G.F Plane:

## Slide 9: ARCHITECTURAL DESIGN
1st Plane:

## Slide 10: ARCHITECTURAL DESIGN
North Elevation:

## Slide 11: ARCHITECTURAL DESIGN
South Elevation:

## Slide 12: ARCHITECTURAL DESIGN
East Elevation:

## Slide 13: ARCHITECTURAL DESIGN
West Elevation:

## Slide 14: ARCHITECTURAL DESIGN
Section A-A:

## Slide 15: ARCHITECTURAL DESIGN
Section B-B:

## Slide 16: ARCHITECTURAL DESIGN
3D View:

## Slide 17: Environmental design

## Slide 18: Environmental design
U value for external wall = 0.525 W/m2.K

## Slide 19: Environmental design
U value for ceiling= 1.229 W/m2.K

## Slide 20: Environmental design
Glasses:
Double glass with 13 mm air
The Outer → generic ECABS
The inner →AGC Glass
U value = 1.75
Light transmission= 0.12
Direct solar transmission = 0.1

## Slide 21: Environmental design
Heating Design:

## Slide 22: Environmental design
The total Heating Capacity = 88.07 KW

## Slide 23: Environmental design
Cooling Design:

## Slide 24: Environmental design
Total cooling capacity= 189.86 KW

## Slide 25: Environmental design
Site and source energy:
The standard max power intensity= 415.4 kW\m2

## Slide 26: Environmental design
Daylight factor:

## Slide 27: Environmental design

## Slide 28: Environmental design
Acoustics Design:
Results of RT60 from Ecotect (before modification)
According to specifications of restaurants the required RT60 is ( 0.8 – 1.2 ) s

## Slide 29: Environmental design
Results of RT60 from Ecotect (after modification)

## Slide 30: Environmental design
STC Calculations:
For inner wall ( between the kitchen and dining hall ):
required STC 50-54

## Slide 31: Environmental design
STC for external wall:
Required STC level (50-55)

## Slide 32: Environmental design
Required IIC level (55-58)
IIC for ceiling:

## Slide 33: Environmental design
Speakers:
α= 130º
H= 4 m
D= 4.76 m
A=71.14 m2
#of loudspeakers for GF= 10 speakers

## Slide 34: Environmental design
Acoustical Design:
Speakers:
Sound system calculations for the restaurant were only made for the dining halls

## Slide 35: Environmental design
Distribution of speakers:

## Slide 36: STRUCTURAL DESIGN

## Slide 37: STRUCTURAL DESIGN
Codes and Standards:
ACI -318-11 for reinforced concrete structural design.
UBC -97 for earthquake design.
ASCE 7 2010 for load combinations

## Slide 38: STRUCTURAL DESIGN
Design data:
Concrete strength for slabs and beams, f’c=24 MPa.
Concrete strength for columns and shear walls ,f’c=28 MPa.
Steel yield strength fy=420 MPa.
Bearing capacity for soil = 350 kN/m2

## Slide 39: STRUCTURAL DESIGN
Lateral loads:
The city of structure is Nablus.
The seismic zone factor. Z=0.2.
The soil profile is type Sc.
The acceleration seismic coefficient Ca=0.24
The velocity seismic coefficient Cv=0.32.
The Seismic importance factor is 1.
The structural design type is intermediate, R=5.5

## Slide 40: STRUCTURAL DESIGN
Loads:
Load type | Ribbed slab
Live | 5(kN/m2)
S.I.D | 4(kN/m2)

## Slide 41: Preliminary design
Ribbed slab with 37 cm thickness.
Dropped beams with dimensions 850*500 mm
square & circular columns

## Slide 42: Columns and footings

## Slide 43: beams

## Slide 44: modeling

## Slide 45: Verification of model
Compatibility check
Equilibrium check
Internal force check
Drift check
Period check
Model participating mass ratio check

## Slide 46: STRUCTURAL DESIGN
Compatibility check:

## Slide 47: STRUCTURAL DESIGN
Equilibrium check:
Loads | ETABS results | Manual Results | % of error
Live | 12320.6 | 12380 | 0.5
Dead | 26418.7 | 27410 | 3.7
SID | 17948 | 17800 | 0.8
Error = ( ( Manual – ETABS Load ) / Manual Load ) * 100% < 5%

## Slide 48: STRUCTURAL DESIGN
Internal forces Check:
For column 18:
Manual Pu (KN) | ETABS Pu (KN) | % error
3620 | 3913 | 7

## Slide 49: STRUCTURAL DESIGN
Drift check:
Story | dis_X | dis_Y | delta_X | delta_Y | delta_M_X | delta_M_Y | story height | delta limit
0 | 0 | 0 | _ | _ | 0 | 0 | 4000 | 80
1 | 1.726 | 1.772 | 1.726 | 1.772 | 6.6451 | 6.8222 | 5000 | 100
3 | 6.97 | 9.69 | 5.244 | 7.918 | 20.1894 | 30.4843 | 5000 | 100
Since all delta_M_X and delta_M_Y is less than delta limit the check is OK.

## Slide 50: STRUCTURAL DESIGN
Period check:
T standard = 0.0.353 sec
From ETABS:

## Slide 51: STRUCTURAL DESIGN
Modal participating mass ratio:

## Slide 52: Slab reinforcement

## Slide 53: Beams reinforcement

## Slide 54: Columns reinforcement

## Slide 55: Columns reinforcement

## Slide 56: Footing reinforcement

## Slide 57: Stair reinforcement

## Slide 58: Electrical design

## Slide 59: Electrical design
The table below shows the recommended lux for different spaces:

## Slide 60: Electrical design
Artificial lighting for dining:

## Slide 61: Electrical design

## Slide 62: Electrical design

## Slide 63: Electrical design
Work plane 1:

## Slide 64: Electrical design
Work plane 2:

## Slide 65: Electrical design
Work plane 3:

## Slide 66: Electrical design
To check the uniformity, we make a visual task area on the surface of two tables:

## Slide 67: Electrical design
Artificial lighting for dining:

## Slide 68: Electrical design

## Slide 69: Mechanical design
Drainage system
Water supply system
HVAC system

## Slide 70: Mechanical design
Drainage system:
Distribution of manholes:

## Slide 71: Mechanical design
Distribution of drainage pipe through ceiling:

## Slide 72: Mechanical design
Water supply system:
Diameter of fresh water pipes for all stories shown in this table :
Diameter | Vertical | Horizontal | branch
Basement | 2 in | 1 in | 3/8 in
Ground Floor | 2 in | 1.25 in | 3/8 in
1st floor | 2 in | 1.25 in | 3/8 in
2 Pumps should be added to the first floor and second floor with 6psi and 12 psi respectively.

## Slide 73: Mechanical design
Water supply system:

## Slide 74: Mechanical design
HVAC system
In restaurant we used the variable refrigerant flow (VRF) system.
Main component of this system :
Out door unit
Collector
Fan coil unit
Diffusers

## Slide 75: Mechanical design
Out door unit :
We used outdoor unit from TOSHIBA with cooling capacity = 135 KW and heating capacity = 150KW to cover the cooling capacity and heating capacity for dining and beverage area.

## Slide 76: Mechanical design
Collector :
The total cooling load in dining area equal 69.98 KW so that, we used two single BC controller in each floor with 35.1KW nominal cooling capacity.

## Slide 77: Mechanical design
Diffusers :
In restaurant we used the architectural linear slot diffuser (anemostat) so that it can fit with decoration of restaurant and it is sound level fit with the sound level with the restaurant.

## Slide 78: Mechanical design
HVAC system:
Distribution of Diffusers:

## Slide 79: Safety design
Distribution of sprinklers:

## Slide 80: Safety design
Distribution of detectors:

## Slide 81: Safety design
Distribution of extinguisher :
There is two types of fire extinguisher that used in restaurant:
1. Type K: It is located in kitchen.
2. Type A: It is located in the dining areas and corridors.

## Slide 82: Safety design
Exit signs:

## Slide 83: Safety design
Emergency exit :

## Slide 84: Quantity Survey
 | Total cost (NIS) | Unit cost (NIS/m²)
Excavation works | 76489.2 | 19.8
Civil works | 1002963.3 | 427.5
Architectural works | 1273691 | 543
Mechanical works | 101823 | 43.4
Electrical works | 23735 | 10.1
Total cost | 2,478,702.7 | 1043.8
The upper cost did not include decoration, land scape and furniture costs.