## Slide 1
An-Najah National University
Faculty of Engineering and Information Technology
Building Engineering Department
Final Project II – 68591
Cars Showroom
Supervisor:
Dr. Mutasim Baba’
Prepared By:
Mustafa Qassem
Nidal Tuqan
Hisham Al-Karmi

## Slide 2
Site Analysis
Architectural Design
Environmental Design
Structural Design
Mechanical Design
Electrical Design
Safety Design
Quantity Survey and Cost Estimate
Outlines

## Slide 3
Site Analysis

## Slide 4
Our site is located in bet wazzan
village, west of An-Najah National
University ( New Campus ) by 2 km.
Site Analysis

## Slide 5
The site has an area of 7000 m²
The land is excavated along its area.
it’s below of the street by 4 meters.
In south direction there is the
bet wazzan main street which is
the main access to the land.
Site Analysis

## Slide 6
Architectural Design

## Slide 7
Site Plan

## Slide 8
Basement Floor Plan
Car Storage Plan
# of Stored Cars = 38

## Slide 9
First Floor Plan
# of displayed Cars = 14

## Slide 10
Second Floor Plan
# of displayed Cars = 13

## Slide 11
Maintenance Floor Plan

## Slide 12
Elevations
South (Main) Elevation

## Slide 13
Environmental Design

## Slide 14
Our Strategy to obtain Energy Efficiency building is Based on:
1- Envelope Insulation
2- Glass Selection
3- Effective Shading
Environmental Design

## Slide 15
Envelope Insulation
Flat roof
(U-value = 0.289 W/m².K)
Stone wall
(U-value = 0.411 W/m².K)
Construction of Envelope Elements

## Slide 16
Product | LT% | g-value | Shading Coefficient SC | Selectivity LT/g | LRe% | LRi% | U-Value (W/m².K) | 
 |  |  |  |  |  |  | 12mm air | 16mm argon
SGG PLANISTAR SUN | 71 | 0.36 | 0.41 | 1.97 | 14 | 15 | 1.5 | 1
Glass Selection
For glazing façades we used SGG PLANISTAR SUN Glass type with 16mm argon which is a product of Saint-Gobain Company.

## Slide 17
Effective Shading
Shading effect on 15 July at 12:00 pm
Shading effect on 15 Jan at 12:00 pm
For effective shading we used
lovers On the top part of the
glazing area

## Slide 18
Photovoltaic shading canopy for car parking
Umbrella for external car display
Outdoor Shading
Effective Shading

## Slide 19
Block | Zone | Comfort Temperature (°C) | Steady-State Heat Loss (kW) | Design Capacity (kW) | Design Capacity (W/m²)
Car showroom total design heating capacity = 45.470 kw |  |  |  |  | 
First floor total design heating capacity = 21.020 kw |  |  |  |  | 
First Floor | Showroom | 19.31 | 13.81 | 17.26 | 25.97
 | Accessories | 19.26 | 2.14 | 2.67 | 26.71
 | Security Office | 21.32 | 0.44 | 0.55 | 32.40
Second floor total design heating capacity = 24.450 kw |  |  |  |  | 
Second Floor | Showroom | 18.93 | 14.5 | 18.13 | 31.55
 | Office 3 | 21.21 | 0.58 | 0.73 | 39.97
 | Secretary | 21.23 | 0.88 | 1.09 | 34.79
 | Office 1 | 21.03 | 0.87 | 1.08 | 40.75
 | Office 2 | 21.21 | 0.58 | 0.73 | 39.90
 | Manager Office | 20.88 | 1.69 | 2.12 | 40.03
Thermal Analysis
Block | Zone | Design Capacity (kW) | Design Flow Rate (m3/s) | Total Cooling Load (kW) | Sensible (kW) | Latent (kW) | Humidity (%) | Design Cooling Load Per Floor Area(W/m2)
First Floor | Showroom | 34.11 | 1.9568 | 29.66 | 22.59 | 7.07 | 54.3 | 51.3
 | Accessories | 5.11 | 0.2964 | 4.44 | 3.42 | 1.02 | 54.1 | 51.1
 | Security Office | 0.89 | 0.0624 | 0.77 | 0.72 | 0.05 | 48.7 | 52.6
Second Floor | Showroom | 33.52 | 1.9867 | 29.15 | 22.93 | 6.22 | 53.3 | 58.4
 | Office3 | 1.33 | 0.1001 | 1.16 | 1.16 | 0 | 46.5 | 72.7
 | Secretary | 2.08 | 0.1563 | 1.81 | 1.8 | 0 | 46.6 | 66
 | Office1 | 1.74 | 0.1237 | 1.51 | 1.43 | 0.08 | 48.4 | 65.5
 | Office2 | 1.43 | 0.1079 | 1.25 | 1.25 | 0 | 46.4 | 78.5
 | Manager Office | 3.11 | 0.2337 | 2.7 | 2.7 | 0 | 46.7 | 58.8
 | Total | 83.32 | 5.024 | 72.45 | 57.99 | 14.46 | 47.6 | 49.7
Cooling Load
Heating Load

## Slide 20
Temperature and heat loss charts
Thermal Analysis

## Slide 21
Temperature and
heat gain charts
Energy consumption chart
Thermal Analysis

## Slide 22
Fanger PMV chart with mixed mode system
Fanger PMV values with mixed mode system
Fanger PMV chart without HVAC system
Fanger PMV values without HVAC system
Thermal Comfort

## Slide 23
Benchmark Intensity = 165.4 kWh/m²
Our Building Energy Intensity = 89.9 kWh/m²
Reduction = 46%
That’s mean our building is very energy efficient building
Site and Source Energy
Benchmark Intensity energy consumption per total building area
HVAC system performance
Thermal Analysis

## Slide 24
Acoustical Analysis
Recommended RT60 Rating For Showrooms 1 - 1.4 s
FREQ. | TOTAL ABSPT. | SABINE RT(60)
63Hz: | 59.784 | 6.35
125Hz: | 67.166 | 5.57
250Hz: | 119.063 | 3.19
500Hz: | 316.783 | 1.25
1kHz: | 328.265 | 1.2
2kHz: | 278.65 | 1.37
4kHz: | 299.528 | 1.24
8kHz: | 280.096 | 1.18
16kHz: | 267.249 | 1.21

## Slide 25
Acoustical Analysis
To get these results we used “NANOPERF Plenum 130” false ceiling without insulation which is a product of BARRISOL Company

## Slide 26
Sound Transmission Class (STC) & Impact Insulation Class (IIC)
STC For Internal Walls = 51 dB
STC For External Walls = 53 dB
STC For Ribbed Slab = 60 dB
IIC For Ribbed Slab = 67 dB
Acoustical Analysis

## Slide 27
Daylight Factor (DF%)
Block | Zone | Floor Area (m2) | Floor Area above Threshold (m2) | Floor Area above Threshold (%) | Average Daylight Factor (%) | Minimum Daylight Factor (%) | Maximum Daylight Factor (%) | Uniformity ratio (Min / Avg)
Showroom | First Floor | 664.674 | 664.251 | 99.94 | 3.7 | 0.207 | 35.15 | 0.056
Accessories | First Floor | 100.101 | 91.166 | 91.07 | 3.82 | 0.5 | 15.1 | 0.13
DF% In First Floor Showroom

## Slide 28
Block | Zone | Floor Area (m2) | Average Daylight Factor (%) | Minimum Daylight Factor (%) | Maximum Daylight Factor (%) | Uniformity ratio (Min / Avg) | Uniformity ratio (Min / Max)
Showroom | Second Floor | 574.504 | 3.8 | 0.24 | 35.77 | 0.063 | 0.0067
Office 3 |  | 18.291 | 2.84 | 0.24 | 7.1 | 0.08 | 0.03
Secretary |  | 31.47 | 3.11 | 0.33 | 9.66 | 0.1 | 0.03
Office 1 |  | 26.555 | 0.17 | 0.02 | 0.5 | 0.11 | 0.04
Office 2 |  | 18.245 | 2.9 | 0.24 | 7.19 | 0.08 | 0.03
Kitchen |  | 41.896 | 3.02 | 0.32 | 8.3 | 0.11 | 0.04
Manager Office |  | 52.86 | 3.02 | 0.24 | 8.26 | 0.08 | 0.03
DF% In Second Floor
Showroom
Daylight Factor (DF%)

## Slide 29
Summary Results, average values for 9:00 and 15:00 | 
Total area (m2) | 781.670
Total area above threshold (m2) | 749.571
% Area within illuminance threshold limits | 95.9
LEED v3 NC 2009 IEQ 8.1 Status | PASS
Summary Results, average values for 9:00 and 15:00 | 
Total area (m2) | 763.821
Total area above threshold (m2) | 669.874
% Area within illuminance threshold limits | 87.7
LEED v3 NC 2009 IEQ 8.1 Status | PASS
LEED v3 test summary results for first floor
LEED v3 test summary results for second floor
LEED V3 NC 2009 IEQ 8.1 Test
Daylight Factor (DF%)

## Slide 30
Structural Design

## Slide 31
The project consists of two block separated by 3.5 cm structural joint.
Structural Design

## Slide 32
ACI -318-09 for reinforced concrete structural design.
UBC -97 for earthquake load computations.
ASCE for load computations.
The analysis and design were done using Etabs program
Design Codes

## Slide 33
Design Data:
Concrete F`c For slab, Beams, Columns, Shear walls and Footing = 28 MPa
Reinforcement steel
The yield strength of steel Fy= 420MPa.
Bearing Capacity For Soil 350 kN/m².
Block A Design

## Slide 34
- Soil Type Sc Location: Nablus → Zone: 2B → Z = 0.2 Cv = 0.32 Ca =0.24 I =1 R = 5.5
In order to reach 90 % of mass participation we
need 30 modes for UX and 19 mods for UY
Seismic Design Data

## Slide 35: Loads Used for Concrete blocks
Load type | Basement slab | First floor slab | second floor slab
Live | 5 KN/m2 | 5 KN/m2 | 1 KN/m2
SID | 4 KN/m2 | 4 KN/m2 | 3 KN/m2
Snow | 0 | 0 | 2 KN/m2
Loads

## Slide 36: Structural Design For Block A
Slabs
Structural system: One way ribbed slab with drop beams.
Thickness = 30 cm .
Structural Design

## Slide 37
Beams
Main beam 90*50
Secondary beam 50*30
Edge beam 30*30
Columns
Two types of column diminutions were used
Column 80x80
Column 70x40
Structural Design

## Slide 38: Foundation Design for the buildings
Using Safe 2014 program we designed MAT foundation for the building
The thickness of the mat will be 950 mm, because the
distance between columns is large.
Check of punching shear is ok.
Footing Design

## Slide 39
Footing Reinforcement
Footing Design

## Slide 40
Sections in footing
Footing Design

## Slide 41
3D Modeling for Block A
Structural Design

## Slide 42
Max deflection in the model = 14.5 mm
Max allowable deflection in slab = L / 240
Max allowable deflection = 5.8 / 240 = 24 mm
Structural Design Checks
Compatibility Check

## Slide 43: Equilibrium Check
Loads | ETABS- Results | Manual Results
Dead Load | 22430KN | 21436 KN
Live load | 7916.9KN | 7910.84 KN
SID load | 6662.3KN | 6662.26 KN
Error = ( ( Manual – ETABS Load ) / Manual Load ) X 100%
Structural Design Checks

## Slide 44
Internal Forces Check
From Etab M = (M1+M2)/2 + M3
(4.2+4.4)/2+3.5 = 7.8
By hand M = W L2 / 8 = 3 * 5 2 / 8 = 9.375 ……………ok
Structural Design Checks

## Slide 45
Base shear (V) for seismic design
Manual calculation for ( V ) = 4267 KN.
From Etabs :
Structural Design Checks

## Slide 46: Design Stage
Ribbed Slab Reinforcements in X – Direction For Block A:
Structural Design

## Slide 47
Beams Reinforcements
Structural Design

## Slide 48
Columns Reinforcements
Structural Design

## Slide 49
Shear walls Reinforcements
Structural Design

## Slide 50
Mechanical Design

## Slide 51
HVAC System (VRF)
Mechanical Design
Outdoor unit : Daikin Company model REYQ30THY1 (E)
Indoor unit : Daikin Company model FXFQ25PVE

## Slide 52
Block | Zone | Design Capacity (kW) | # of indoor units
First Floor | Showroom | 34.11 | 13
 | Accessories | 5.11 | 2
 | Security Office | 0.89 | 1
Second Floor | Showroom | 33.52 | 12
 | Office3 | 1.33 | 1
 | Secretary | 2.08 | 1
 | Office1 | 1.74 | 1
 | Office2 | 1.43 | 1
 | Manager Office | 3.11 | 2
 | Total | 83.32 | 34
The number of needed units according to our selection is 34 unit for the whole building
Selection of indoor units

## Slide 53
Indoor unit specifications
Outdoor unit specifications
Selection of indoor units
MODEL |  | REYQ30THY1(E)
Power supply |  | 3-phase 4-wire system, 380–415 V, 50 Hz
Cooling capacity KW | kcal/h | 72,200
 | Btu/h | 286,000
 | kW | 83.9
Heating capacity KW | kcal/h | 80,800
 | Btu/h | 321,000
 | kW | 94
Power consumption | Cooling (kW) | 20.9
 | Heating (kW) | 22.2
MODEL |  | FXFQ25PVE
Power supply |  | 1-phase, 220-240 V/220 V, 50/60 Hz
Cooling capacity KW | kcal/h | 2,400
 | Btu/h | 9,600
 | kW | 2.8
Heating capacity KW | kcal/h | 2,800
 | Btu/h | 10,900
 | kW | 3.2
Power consumption | Cooling | 0.033
 | Heating | 0.027

## Slide 54
Indoor Units Distribution
Indoor units distribution in first floor
Indoor units distribution in second floor

## Slide 55
Tank Sizes
Our main storage tank is located underground
with capacity of 84 m³ which supplies two
small roof tank for both blocks
3 m³ water roof tank for showrooms building
7 m³ water roof tank for maintenance building
Daily Consumption
For Showroom Building: 0.5 m³/day
For Maintenance Building: 3.5 m³/day
Water Supply System

## Slide 56
Drainage System
Fixture | # of DFU's | Line Diameter
WC | 4 | 4"
Lavatory | 1 | 2"
Kitchen sink | 2 | 2"
Shower | 2 | 2"
Septic tank is used to collect sewer, then we pump waste to the main sewerage network

## Slide 57
Drainage System
Vertical Distance = 6 m Horizontal Distance = 31 m
According to our calculations we need a Submersible pump with minimum power = 8 HP

## Slide 58
Mechanical Design
Drainage system for second floor
Drainage system for maintenance building
HVAC drain pipe distribution

## Slide 59
Mechanical Design
For storm water, we designed a water tank to collect storm water with volume = 75 m³.
Then we used this storm water for cars washing after filtering.

## Slide 60
Electrical Design

## Slide 61
Artificial Lighting Design
Function | Target Lux(Avg) | Recom. Lux | # of Luminaires | Uniformity (Uo) | Reflection Factor % |  |  | Total Load (KW) | Light power density (W/m²)
 |  |  |  |  | Ceiling | Wall | Floor |  | 
Showroom (F.F) | 530 | 500 | 159 | 0.64 | 70 | 84.4 | 20 | 6.46 | 11.74
Showroom (S.F) | 545 | 500 | 143 | 0.68 | 70 | 84.4 | 20 | 5.82 | 11.76
Entrance | 634 | 500 | 9 | 0.71 | 70 | 84.4 | 20 | 0.38 | 18.86
Accessories | 670 | 500 | 25 | 0.77 | 70 | 84.4 | 20 | 1.45 | 18.13
Manager office | 392 | 300 | 6 | 0.71 | 70 | 84.4 | 20 | 0.32 | 8.33
Secretary office | 366 | 300 | 4 | 0.71 | 70 | 84.4 | 20 | 0.21 | 9.91
Maintenance | 435 | 300 | 37 | 0.52 | 42.9 | 57.3 | 42.9 | 6.58 | 22.38
Painting room | 1094 | 1000 | 12 | 0.75 | 42.9 | 57.3 | 42.9 | 1.35 | 30.54
Cars Storage | 339 | 300 | 44 | 0.3 | 70 | 57.3 | 57.3 | 7.83 | 8.28
Results of Dialux simulation

## Slide 62
Artificial lighting for first floor showroom
Artificial Lighting Design

## Slide 63
Artificial lighting for Second floor showroom
Artificial lighting for Entrance
Artificial Lighting Design

## Slide 64
Artificial lighting for Accessories showroom
Artificial Lighting Design

## Slide 65
Artificial lighting for Manager office
Artificial Lighting Design

## Slide 66
Electrical Design
Artificial lighting for Painting booth

## Slide 67
Sound Reinforcement System
Function | # of speakers
First floor showroom | 17
Second floor showroom | 15
Accessories showroom | 3
Total | 35
Distribution of loudspeakers in the showroom- first floor
JBL Control 16C/T loudspeaker

## Slide 68
Electricity Calculations
Sockets distribution in the second floor showroom
Lighting distribution in first floor showroom

## Slide 69
Zone | Lighting C.B | Sockets C.B | HVAC C.B | Total C.B for each zone
First Floor: Showroom | 14 | 3 | 6 | 23
Accessories Showroom | 2 | 1 | 1 | 4
Security Office | 1 | 1 | 1 | 3
Second Floor: Showroom | 12 | 2 | 5 | 19
Manager Office | 2 | 1 | 1 | 4
Secretary Office | 1 | 1 | 1 | 3
Office 1 | 1 | 1 | 1 | 3
Office 2 | 1 | 1 | 1 | 3
Office 3 | 1 | 1 | 1 | 3
Kitchen | 1 | 1 | 0 | 2
Total | 36 | 13 | 18 | 67
Electrical control panel system
Electricity Calculations

## Slide 70
Photovoltaic Panels (PV)
In order to obtain effective energy efficient building, we used the PV to reduce energy consumption
We installed PV panels on three areas.

## Slide 71
Produced Energy by using PV panels
Our Building Energy Consumption
So by using PV’s we can reduce 54 % of consumed energy
Photovoltaic Panels (PV)

## Slide 72
Safety Design

## Slide 73
Safety Design
We designed an emergency exit
In maintenance building Entrances and exits are designed opposite
Separating the entrance and exit of the project so as to prevent accidents

## Slide 74
      Fire alarm system - smoke detectors design
Fire Alarm Systems
Function | Area m² | # of Detectors
First Floor Showroom | 620 | 32
Second Floor showroom | 550 | 26
Accessories Showroom | 101 | 6
Manager Office | 52.5 | 2
Secretary Office | 33.5 | 2
Office 1 | 18.5 | 1
Office 2 | 18.5 | 1
Office 3 | 28.5 | 2
Total | - | 72
Distribution of smoke detectors in second floor
Number of smoke detectors in the building

## Slide 75
      Firefighting system - sprinklers design
Firefighting Systems
Function | Area m² | # of sprinklers
First Floor Showroom | 620 | 63
Second Floor showroom | 550 | 51
Accessories Showroom | 101 | 9
Total | - | 123
First floor showroom sprinklers distribution
Number of sprinklers in the building

## Slide 76
We used dry powder extinguishers
Distribution of fire extinguishers in second floor
Firefighting Systems

## Slide 77
Quantity Survey &
Cost Estimate

## Slide 78
Quantity Survey & Cost Estimate
Total Project Cost = 5,608,995 Nis
Total Cost per m2 = 1430 Nis/m2
Work | Quantity | Unit | Unit Cost | Cost (nis)
Excavation | 859 | m³ | 50 | 42,950.0
Filling | 2056 | m³ | 15 | 30,840.0
Reinf. Concrete work | 2664.52 | m³ | 1000 | 2,664,520.0
Stone | 2057.2 | m² | 250 | 514,300.0
Plastering | 3646.3 | m² | 25 | 91,157.5
Painting | 3646.3 | m² | 25 | 91,157.5
Gypsum Board Walls | 2516.9 | m² | 100 | 251,690.0
Gypsum Board Ceiling | 429.9 | m² | 100 | 42,990.0
Alucobond | 576.7 | m² | 150 | 86,505.0
Curtain wall | 522.28 | m² | 750 | 391,710.0
Windows | 266.1 | m² | 500 | 133,050.0
False Ceiling | 1677.2 | m² | 150 | 251,580.0
Tiling | 1677.2 | m² | 100 | 167,720.0
Sliding Doors | 8 | - | 7500 | 60,000.0
Timber Doors | 37 | - | 1500 | 55,500.0
Metal Gates | 20 | - | 5500 | 110,000.0
PV Panels | 47110 | w | 7.5 | 353325
HVAC units | 34 | - | 6000 | 204000
Elevator | 1 | - | 66000 | 66000
Cars Elevator | 1 | - | 220000 | 220000
Total | - | - | - | 5,608,995.0

## Slide 79
Thank You