## Slide 1
An-Najah National University Engineering Collage Civil Engineering Department
Graduation Project 2
3D Dynamic Analysis And design of
Ministry of Transportation Building
Supervised by: Dr. Munther Diyab
2013

## Slide 2
Introduction
Preliminary Design
3D Modeling analysis and design using SAP2000
Outline

## Slide 3: Chapter One Introduction

## Slide 4: (1) Project Description
Five stories.
Story area of 1500
Story elevation 4.6 m.
Notes: The building consists of two parts separated by an expansion joint.

## Slide 5: (2) Materials and loads
E for concrete 24.9 GPa
fY = 420 MPa
Unit weight is 25 KN/m3
SDL = 4 KN/m2.
(LL) = 4 KN/m2.

## Slide 6: (3) Design Codes

## Slide 7: Chapter Two Preliminary Design

## Slide 8: Architectural Plan

## Slide 9: Structural Plan

## Slide 10: Dimensions For Beams and Slab
Beams dimensions
For the shown panel
1.5
Use slab thickness = 0.2 m

## Slide 11: Manual Checks for Dimensions
Check wide beam shear in the slab:
For Ln = 7.7 m
Vu = 66 KN/m.
Vu < , OK

## Slide 12: Manual Checks for Dimensions
Check beam dimensions
Load distribution from tributary area
Shear force from tributary area
Moment diagram from tributary area

## Slide 13: Manual Checks for Dimensions
Check beam dimensions
Moment diagram from tributary area
Moment diagram from direct design method
Total moment = 267+163.5 = 430.5
Difference percentage = 8%

## Slide 14: Manual Checks for Dimensions
Moment reinforcement using direct design method results:
Shear reinforcement using direct design method results:
Beams dimensions are OK

## Slide 15: Dimensions For columns
Axial Force in column C1 at grid 10-F
Using ρ = 1%
Dimensions are 60X60 cm

## Slide 16: Chapter Three 3D Model & Checks

## Slide 17: Compatibility Check
 The model is compatible.

## Slide 18: Equilibrium Check
Manual result SAP results
Total live load = 9720 KN
Difference percentage = 0.02%
Member | Weight, KN
Shear walls | 4904
Columns | 2898
Beams | 4415
Slab | 12150
external wall | 11325
Superimposed | 9720
Total | 45412

## Slide 19: Internal Forces Check
Moment check in beams:
Moment diagram from direct design method:
Moment diagram from SAP results:
Difference is acceptable

## Slide 20: Internal Forces Check
Shear check in beams:
Shear diagram from direct design method:
Shear diagram from SAP results:
Difference is acceptable

## Slide 21: Internal Forces Check
Axial Force in column C1 at grid 10-F
The ultimate load from SAP = 4250 KN
Difference percentage = 8.8% OK.
Axial Force in column C1 at grid 22-F
The ultimate load from SAP = 2160 KN
Difference percentage = 7.7% OK.

## Slide 22: Deflection Check
Comments on Deflection Check:
Actual beams deflection = total beam deflection - average axial deformation of columns that support the beam.
Actual floor deflection = total deflection - the average axial deformation of the four surrounding columns.
Actual slab deflection = Actual floor deflection - the average actual beams deflection.

## Slide 23: Deflection Check
Deflection in Critical panel:
Deflection in beam due to service load (Total dead + Live)
 The actual deflection in B1 = 6-1 = 5 mm
The actual deflection in B2 = 2 mm

 The actual deflection in B4 = 2.3 mm
Average deflection in beams =
The actual floor deflection = 23 – 1.5 = 21.5 mm
 Actual slab deflection = 1.5– 5.25 = 14.75 mm.

## Slide 24: Deflection Check
Deflection in Critical panel:
Deflection from live load:
-Deflection in B2:
 The actual deflection in B2 from live load
 Actual slab deflection =

## Slide 25: Deflection Check
Check slab long term deflection:
∆ (Total dead) = 9.75 mm.
∆ (Live) = 5 mm.
∆ Long term = ∆ L + λ∞ x ∆ D + λt x ∆ SL

## Slide 26: Chapter Four 3D Dynamic Analysis

## Slide 27: Design Input Data
Nablus is zone 2B, site soil is Sc
Ca = 0.24, CV = 0.32
Importance factor = 1.25
R=4.5
Scale factor = = = 2.725
The structure will be designed as "Intermediate Sway".

## Slide 28: Preliminary Design(Equivalent Static)
Total mass = dead + 0.25*Live = 8422.3 ton
T = 0.766 sec. in Y-direction
=
The difference is 3.03% which is acceptable.

## Slide 29: Preliminary Design(Equivalent Static)
Base shear V = 9592.41 KN between maximum and minimum
The following formula to distribute the base shear on stories:
Floor # | Height | Elevation(h) | Floor Mass | M*(h) | Force | shear
5 | 4.6 | 23 | 1684.457 | 38742.51 | 3540.281 | 3540.281
4 | 4.6 | 18.4 | 1684.457 | 30994.01 | 2420.76 | 5961.041
3 | 4.6 | 13.8 | 1684.457 | 23245.51 | 1815.57 | 7776.612
2 | 4.6 | 9.2 | 1684.457 | 15497 | 1210.38 | 8986.992
1 | 4.6 | 4.6 | 1684.457 | 7748.502 | 605.1901 | 9592.182
 |  |  | ∑ | 116227.5 |  | 

## Slide 30: Modal Analysis
Response spectrum:
The difference between equivalent static shear and response spectrum shear in Y-direction = = 3.98%

## Slide 31: Modal Analysis
Response spectrum:

## Slide 32: Chapter Five Slab, Beams and Columns Design

## Slide 33: Chapter Six Footings, Shear walls and Stairs Design

## Slide 34: Shear Walls Design
For SW1
P = 12500 KN Mx = 1040 KN.m
My = 33 KN.m Vx = 23 KN
Vy = 3684 KN
Use / 200mm
For corners and edges use ρ = 0.01

## Slide 35: Design of Tie Beams
All tie beams moment diagram
Critical tie beam

## Slide 36: Design of Footings
Site soil is classify Sc with
Area is Max from
Wide beam check.
Punching check.
Settlement check.

## Slide 37: Design of Footings
Design of footing F3
Area = 53m2, thickness h= 1.5 m, d=1.35m,
Total ultimate load is 27372 KN
Wide beam check
<
Max settlement is 0.9 cm
AsMIN = 0.0018 * b * h is used in each direction
For top steel AsMIN = 0.0009 * b * h in each direction
Ld < available length, so hock used.

## Slide 38: Design of Footings

## Slide 39: Design of Footings

## Slide 40: Stairs Analysis and Design
use 0.15 m slab thickness
Vu = 24 KN/m < KN/m
For top steel

## Slide 41: Stairs Analysis and Design
Stair Detailing :

## Slide 42: Expansion Joint Design
spacing between the two blocks =
  External Walls
  Will not make bracing

## Slide 43: Expansion Joint Design
Moment diagram with out earthquake:
Moment diagram with earth quake:

## Slide 44
THANK YOU

## Slide 45
Questions
??