## Slide 1
Supervised by : Eng. Wala Omar
Redesign of AL-Rahma Dispensary In Nablus.
Prepared by : Mohammad Shanaa
Mahdi Abu-Safat
Hmed Hamarsheh
Nasser Malayshi

## Slide 2: Outline
Introduction
Site description & Analysis
Architectural design
Environmental design
Structural design
Mechanical design
Electrical design
Quantity survey and cost

## Slide 3: Introduction:

## Slide 4: Site analysis
N

## Slide 5: Site analysis
Climate condition:
Temperature = (9-32) ˚C
Humidity = 61 %

## Slide 6
Sun path and shadows analysis
Sun path and shadows on 21/1 at 9:00 AM.
1. In Winter.

## Slide 7
Sun path and shadows analysis
Sun path and shadows on 21/1 at 12:00 PM.
1. In Winter.

## Slide 8
Sun path and shadows analysis
Sun path and shadows on 21/7 at 9:00 AM.
2. In Summer.

## Slide 9
Sun path and shadows analysis
Sun path and shadows on 21/7 at 12:00 PM.
2. In Summer.

## Slide 10: Architectural design
Site Plan
Second floor
Third floor
Parking
Ground Floor
First Floor

## Slide 11: Site Plan
N

## Slide 12: Basements
About 605 m2 and capacity for 19 cars
N

## Slide 13: Ground Floor
N

## Slide 14: First Floor
N

## Slide 15: Second Floor
N

## Slide 16: Third Floor
N

## Slide 17: Environmental Design
Thermal design.
Natural Lighting.
Acoustic Design.

## Slide 18: Thermal
Exterior Wall
U-Value = 0.51 W/.K

## Slide 19: Thermal
Flat Roof
U-Value= 0.466 W/.K.
Glazing
Double grey 6mm/13mm argon LOE (low emittance glass), and SHGC= 0.568
U-Value= 1.76W/.K.

## Slide 20: Design Builder Results
Design Builder Parameters:
HAVC System: VRF.
System is used for Heating & Cooling.
Building is used for 24 hours.

## Slide 21
Air and operative temperature.
Air temperature equals 22.15 C
Operative temperature equals 21.08 C

## Slide 22: Design Builder Results
between 41-53 %

## Slide 23: Design Builder Results.
Before.
After.

## Slide 24
Site energy.
 | Old | New
Total site energy/year | 253.85 kWh/m2 | 167.93 kWh/m2
The cost of 1 KWh is 0.60 ₪ so the total energy consumption is equal 161514 ₪ (0.60*269191.28).
The cost of 1 KWh is 0.60 ₪ so the total energy consumption is equal 171696 ₪ (0.60*286282.34).
Heating and cooling capacity.
Load capacity | `Old | New
Heating capacity | 224.31 kW | 112.67 kW
Cooling capacity | 305.67 kW | 210.49 kW

## Slide 25: Natural Lighting
Ground Floor

## Slide 26: Natural Lighting
First Floor.

## Slide 27: Natural Lighting
Second Floor.
The total average daylight factor for all building equals 2.39 which is acceptable.

## Slide 28
Natural Lighting
Third Floor:
The total average daylight factor for all building equals 2.14 which is acceptable.

## Slide 29
HVAC system.
System used are :
VRF
This building was divided into several zones.
Main components of VRF system are :
Out door unit (for cooling and heating).
Controller.
Fan coil unit.
Ducts.
Diffusers.

## Slide 30
Out door unit.

## Slide 31
Controller.

## Slide 32
Fan coil unit.
Diffusers.

## Slide 33
  HVAC distribution for ground floor.

## Slide 34
HVAC distribution for ground floor.

## Slide 35
HVAC distribution for ground floor.

## Slide 36
Quantity Surviving.
Total cost for the project = 5,688,085 NIS.
Unit cost for the project = 2634 NIS.

## Slide 37
THANK YOU.