## Slide 1: Energy Supply of Remote House Using Stand-alone PV System.
Supervisor Name: DR. Naser Abu Zaid.
Student Names: 1- Ameer Ziyad Ramadan.
2- Ayman Khair Mansour.
3- Yazan Sameer Abd-alsalam.

## Slide 2: Contents:
Introduction.
  Project 1  project 2.
  Remote house.
Designing stand-alone PV-system.
  Using PV-system simulator.
  Using equations .
Economical study.
Conclusion.

## Slide 3: introduction
Project 1
  Stand-alone PV-system design and power conservation system.
Project 2
  Case study: Stand-alone PV-system design for remote house near Nablus.

## Slide 4: introduction
Remote house:
  Living condition.
  Problem solution.

## Slide 5: Designing stand-alone PV-system. Using equations
load
PV-modules
Charge regulator
Storage system
Invertor
Designing process

## Slide 6: Designing stand-alone PV-system. Using pv syst.

## Slide 7: Designing stand-alone PV-system. Using pv syst.
The electrical load of the house

## Slide 8: Designing stand-alone PV-system. Using pv syst.
PV system:-

## Slide 9: Designing stand-alone PV-system. Using pv syst.

## Slide 10: Designing stand-alone PV-system. Using pv syst.
Storage system

## Slide 11: Designing stand-alone PV-system. Using pv syst.
System summary

## Slide 12: Designing stand-alone PV-system. Using equations.

## Slide 13: Designing stand-alone PV-system. Using equations
Remote house load
EL ≈ 12 KW.h / day.
The growth of the load will obtained by adding 10% to the total energy consumed per one day
EL ≈ 13.2 KW.h / day.
 | Quantity | Power per app(W) | Daily use (H) | Daily energy (W.H)
Lighting | 10 | 32 | 10 | 3200
Refrigerator | 1 | 1200 | 24 | 1200
TV, PC | 2 | 90 | 5 | 900
Domestic appliances | 2 | 100 | 3.5 | 700
Dish and cloth washers | 1 | 1500 | 2 | 3000
Others | 4 | 70 | 6 | 1680
Others | 3 | 60 | 8 | 1440

## Slide 14: Designing stand-alone PV-system. Using equations
power of PV-modules.
: peak power of the PV generator
: daily energy consumption
: safety factor for compensation of resistive losses and PV-cell temperature losses=1.15
: invertor efficiency = 0.9
: Charge regulator efficiency = 0.9
: Peek sun hours = 5.4

## Slide 15: Designing stand-alone PV-system. Using equations
Number of PV Modules
to determine the number of PV modules, we have to determine the rated power
for each module, in our design ( P=135W, V=17.7 , I=7.63 A)

## Slide 16: Designing stand-alone PV-system. Using equations
Connection Of PV Modules Depend On The Output And Input Range Of Charge Controller
In Our Design The Output Of Charge Controller =48v And The Input Range (52v→145v)
So That Output Voltage Of Over All PV System = 70.8V And It’s Connection As Follow.
Connection of PV modules.

## Slide 17: Designing stand-alone PV-system. Using equations
Connection of PV modules.

## Slide 18: Designing stand-alone PV-system. Using equations
Capacity ampere hour of battery
.
: autonym factor = 1.5 days.
Vb: voltage of battery system.
: battery efficiency.
: inverter efficiency.
Dod: depth of discharge

## Slide 19: Designing stand-alone PV-system. Using equations
NUMBER OF BATTERY
n = = 0.93 approximately =1
24battery
number of battery in parallel =

## Slide 20: Designing stand-alone PV-system. Using equations
Connection of battery.

## Slide 21: Designing stand-alone PV-system. Using equations
Charge controller:
charge controller is a device which regulate the transferred power from PV to battery. we select the charge controller according the maximum output power from PV which equal 3470Wso that we choose a charge controller with the following specification (p=4000w,output voltage =48v and input voltage (52v→145v))

## Slide 22: Designing stand-alone PV-system. Using equations
Inverter:
Inverter is a device which convert the dc voltage from battery to ac voltage, we select the inverter size according the peak demand from consumer which equal=2.5kw so that we choose an inverter with the following specification (s=3500VA, P.F (0.1→1) )

## Slide 23: Designing stand-alone PV-system. Using equations
Overall System

## Slide 24: Economical study.

## Slide 25: Economical study
The cost of PV-system:
The element | Quantity | Unit price | cost | warranty
PV module | 28 | 135$ | 3645$ | 25 years
Inverter | 1 | 2750$ | 2750$ | 25 years
Charge controller | 1 | 3500$ | 3500$ | 25 years
Battery | 24 | 325$ | 5200$ | 14 years
Circuit breakers , | 10 | 10.5$ | 105$ | 25 years
Surge arrester and fuses | 24 | 8$ | 192$ | 25 years
Steel frame | --- | ­­--- | 5000$ | 25 years
Initial cost = 20392 $

## Slide 26: Economical study
: number of years
: interest rate = 9%
Because of the warranty of batteries equals only 14 years, so we have to by new batteries at year 14 which equals 5200$
Salvage value of the old batteries = 1040$.
Salvage value of all system after year 25 = 4070,4$.

## Slide 27: Economical study
.

## Slide 28: Economical study
The cost of Diesel generator-system:
Initial cost = 3157.88 $
The element | quantity | Unit price | cost | warranty
Diesel generator | 1 | 3157.88$ | 3157.88$ | 10 years
Maintenance, oil and filter |  | 157.89$ | 157.89$ | 1 year
Petrol | 2146.2 liter | 1.44$ | 2851.2$ | 1 year
Transportation of the fuel | __ | __ | 315$ | 1 year

## Slide 29: Economical study

## Slide 30: Economical study
.

## Slide 31: Economical study
.
.
So we can clearly know that using PV-Generator is costly less than using Diesel generator.

## Slide 32: Results And conclusion
The production cost of energy unit (kW h) of PV-system are less than the cost of energy of diesel generator system.
The PV system is the most appropriate solution to solve the house lake of energy supply problem.
The life time of the PV system is much higher than the life time of the diesel generator.
PV system simulator program is a very useful programme to design such a system.
PV system simulator reduce the time and effort needed to design PV-system.
Diesel generator causes noise and pollution.

## Slide 33
Thanks for listening
Any questions ?