## Slide 1
An-Najah National University
Faculty Of Engineering
Building Engineering Department
Graduation project II
Integrated Redesign of Rehabilitation Center for Mentally Disabled

## Slide 2
Prepared By:
Omar Shoman
Raya Bizreh
Sahar Homran
Solaiman Odeh
Supervised By:
Dr. Mutasim Baba’

## Slide 3
Site of the project
Architectural Design
Structural and Seismic Design
Environmental Design.
Electrical Design
Mechanical Design
Safety Design
Conclusion.
Outline:

## Slide 4: Site of the project: Location and Site: Area = 5000 Square Meter.

## Slide 5: Architectural Design

## Slide 6: The site plan for the project

## Slide 8: 3D MAX

## Slide 11: Basement floor plan (Area = 980 m2)

## Slide 12
Ground floor plan (Area = 907m2)

## Slide 13
Ground Floor (Area = 907 m2):

## Slide 14
First floor plan (Area = 698 m2):

## Slide 15
First floor plan (Area = 698 m2):

## Slide 16
Second floor plan (Area = 695 m2):

## Slide 17
Third floor (Area = 691 m2):

## Slide 18
Forth floor (Area = 434 m2):

## Slide 19
North Elevation

## Slide 20
South Elevation

## Slide 21
West Elevation

## Slide 22
East Elevation

## Slide 23
Section A-A

## Slide 24
Section B-B

## Slide 25: Structural and Seismic Design

## Slide 26: Codes of design:
The American Concrete Institute code ACI 318-08.
The seismic design according to UBC-97.
The analysis and design were done using ETABS program.
Structural Design

## Slide 27: Design Data :
Concrete Compressive Strength :
F’c =24 Mpa For Slabs, Beams, Shear Wall, Retaining Wall And Footing .
F’c =28mpa For Columns.
Yielding Strength Of Steel :
The Yield Strength Of Steel Fy= 420mpa
Structural Design

## Slide 28
Structural Design
Structural System :
Solid slab with drop beams
The longest span (two end continues) = 700 Cm.
The Thickness Of Slab (H) = Ln/28 = 700/28 = 25cm
The Thickness Of Slab (H) = 30cm
Thickness of slab :

## Slide 29
The distribution of columns and shear walls in the building:
Structural Design

## Slide 30
3D modeling from ETABS Program:
Structural Design

## Slide 31
Check model: Compatibility Check
Structural Design

## Slide 32
Error% | ETABS | Manual | 
3.2% | 65081.21 | 67291.65 | Dead load + S.I.D.L
2.9% | 15096.9416 | 15561.985 | Live load
Equilibrium Checks:
Structural Design

## Slide 33
W = 61720.8 KN
Soil type SB
I = 1.25
R = 8.5
Cv = 0.20
Ca = 0.20
T = 0.52 sec.
V = 3490.9 KN
Seismic Design Using Response Spectrum – UBC 97:
Structural Design

## Slide 34
Natural Period (T) for the building:
T(sec) | 
0.73 | From ETABS
0.52 | Manual
Structural Design

## Slide 35
    1. Slab Design :
Structural systems design :
Structural Design

## Slide 36
    1. Slab Design :
Structural Design

## Slide 37
    2. Main Beam Design :
Structural Design

## Slide 38
    2. Main Beam Design :
Structural Design

## Slide 39
    3. Column Design :
Structural Design

## Slide 40
    4. Footing Design :
Structural Design

## Slide 41
    Footing design
    (Isolated Footing):
Structural Design

## Slide 42
    Footing Design
    (Combined Footing):
Structural Design

## Slide 43
    Footing Design
    (Combined Footing):
Structural Design

## Slide 44
    4. Footing Design
    (Wall Footing):
Structural Design

## Slide 45
    5. Shear wall design :
Structural Design

## Slide 46
    6. Retaining Wall Design :
Structural Design

## Slide 47
    7. Water tank design :
Structural Design

## Slide 48
    Water tank design :
Structural Design

## Slide 49
    8. Stairs design :
Structural Design

## Slide 50: Environmental Design

## Slide 51
DesignBuilder Was used for Thermal performance analysis and Simulation
1. Insulation : insolation increased from 3cm to 8cm.
Layers of external walls in original building
U(original) = 0.757 W/m2-k
Layers of external walls after modified building
U(modified) = 0.324W/m2-k
Environmental Design

## Slide 52
2. Selection of optimum glass : Dbl LoE Spec Sel Clr 6mm/13mm Arg
Thermal properties of glass:
3. We used efficient lighting by using LED lamps
4. We used linear control of lighting, to integrate daylighting and artificial lighting for energy saving
Total solar transmission (SHGC) | 0.419
Direct solar transmission | 0.345
Light transmission | 0.8
U-value (W/m2-k) | 1.338
Environmental Design

## Slide 53
5. Mixed Mode of Mechanical ventilation and natural ventilation
6. Shading:
In the south windows we used one horizontal louver above the window and vertical louvers in both left and right of the windows.
In south curtain wall in reception block we used solar pergola .
Environmental Design

## Slide 54: Shading
Building in summer
Building in winter

## Slide 55
Energy consumption intensity per total building area in after modification
= 152.86 kWh/m2
For original design = 270.32 kWh/m2
The energy consumption
intensity per total building
area was reduced by 44%
from original design
The design is energy efficient
Simulation internal gain and solar for after modified building
The Energy Intensity baseline = 396 kWh/m2
The energy consumption intensity for after modification is less than 40 % of the energy intensity baseline
Environmental Design Results - Simulation

## Slide 56
Simulation figure for Fanger PMV for thermal comfort of modified building
range between -1.5 and +0.56
Environmental Design Results - Simulation

## Slide 57
        Heating Load design:
Total design heating capacity for original building = 126.84 kW.
Total design heating capacity for after modified building = 84.67 kW.
Heating Capacity was reduced by 30.9% from original design.
District heating intensity per total building area in original design = 50.45 KWhr/m2
District heating intensity per total building area in after modified design = 47.55 KWhr/m2
Heating loads for after modified building
Total heating loads for after modified building
Environmental Design Results – Heating Design

## Slide 58
        Cooling Load design:
Total design cooling capacity for original building = 352.59 kW
Total design cooling capacity for after modified building = 273.33 kW
The total cooling was reduced by 22.5% from original design
District cooling intensity per total building area in after modified design = 54.69 KWh/m2
District cooling intensity per total building area in original design = 109.38 KWh/m2
The district cooling intensity per
total building area was reduced
by 50% from original design
Cooling loads for after modified building
Environmental Design Results – Cooling Design

## Slide 59
Reception hall:
Type of glass used: Dbl LoE Spec Sel Clr 6mm/13mm Arg
Light transmission = 80%
Average calculated DF= 3.87%
Recommend value from
specifications = 325/9500=3.42%
Calculated value> Required
Daylight factor diagram for reception hall
Generated by DesignBuilder
Daylight Analysis
Pass

## Slide 60
The most case was passed except the following :
Art Room:
Average calculated DF= 4.28%
Recommend value from specifications = 540/9500=5.68%
Calculated value < Required
So this value will be compensated by
artificial lighting using the sensor to
control lighting level in the space to
provide the required value.
Daylight Analysis
Daylight factor diagram for art room generated
by Design Builder

## Slide 61
Bedroom:
Average calculated DF= 2.94%
Recommend value from specifications = 325/9500=3.42%
Calculated value < Required
So this value will be compensated by artificial
lighting using the sensor to control lighting level
in the space to provide the required value.
Daylight factor diagram for bedroom by Design Builder
Daylight Analysis

## Slide 62: Acoustical Design

## Slide 63
Acoustic wall panels
Acoustical Design
Absorptive materials we used in the building:
NRC vary from 0.5 to 0.85

## Slide 64
Acoustic tiles
Acoustical Design
NRC vary from 0.45 to 0.95

## Slide 65
Floor rubber tiles
Acoustical Design
Sound absorbent : elasticity can reduce noise from walking and wheel chairs by up to 18 decibels.
Resistance to heavy impact loads.
No health or environmental concerns.
Recyclable.
Easy to maintain.

## Slide 66
 | STC values | Recommended values
Bed room to bed room | >52 | 52
Offices | 52 | Min 45
Sound Transmission Class (STC):
Impact Insulation Class (IIC):
Using rubber tiles will increase IIC .
Using high pile carpet in physiological room will improve IIC by 24 dB or more.
Acoustical Design

## Slide 67
Acoustical Design
Reverberation Time (RT60):
A sample of therapy room

## Slide 68
Acoustical Design
Reverberation Time (RT60) results before improving :

## Slide 69
Acoustical Design
Reverberation Time (RT60) after improving :
Acoustic wall panels
Acoustic tiles
Floor rubber tiles

## Slide 70
Acoustical Design
Reverberation Time (RT60) after improving :

## Slide 71
Acoustical Design
Reverberation Time (RT60):
Reception hall

## Slide 72
Acoustical Design
Reverberation Time (RT60) before improving :

## Slide 73
Acoustical Design
Reverberation Time (RT60) after improving :
Acoustic tiles
Floor rubber tiles
Low-E (Double glass)

## Slide 74
Acoustical Design
Reverberation Time (RT60):
Reception hall

## Slide 75
Acoustical Design
Reverberation Time (RT60):
Meeting room

## Slide 76
Acoustical Design
Reverberation Time (RT60):

## Slide 77
Acoustical Design
Reinforcement Sound System:
BOSCH LBD 0606/10
Angle of sound distribution for the selected type = 70˚

## Slide 78
Acoustical Design
Reinforcement Sound system Distribution:

## Slide 79
Acoustical Design
Distribution of loudspeaker in reception hall ceiling

## Slide 80: Electrical Design

## Slide 81
Artificial Lighting Design

## Slide 82
Artificial Lighting Design
Main Types of lamps:

## Slide 83
Illuminance level in therapy room
= 500 -540 Lux
Artificial Lighting Design
Therapy room:

## Slide 84
Average illuminance on therapy workplace =537 Lux
Uniformity =0.58
Max. UGR =19.6
Artificial Lighting Design

## Slide 85
Illuminance level in =500lux
Artificial Lighting Design
Multi-purpose
/meeting room:

## Slide 86
Average illuminance on therapy workplace = 541 Lux
Uniformity =0.57
Max. UGR =18.5
Artificial Lighting Design

## Slide 87
Artificial Lighting Design
Reception hall
Required illuminance level in
=300- 325 lux

## Slide 88
Average illuminance on therapy workplace = 346 Lux
Uniformity =0.55
Max. UGR =19.3
Artificial Lighting Design

## Slide 89
Artificial Lighting Design
Average illuminance = 531
Average illuminance = 245
Water pool
Lounge room

## Slide 90
    Sockets calculation
    Lighting calculation
Electrical Design

## Slide 91
    Sockets Arrangement
    Lighting arrangement
Artificial Lighting Design
Pass
Pass

## Slide 92: Mechanical Design

## Slide 93
Water Supply Design

## Slide 94
small roof tank (10m3) with basement water wall (110m3) and pump is used according two reasons:
1- Small water tank is to ensure adequate water pressure in the building. And it allows the user to have both water pressure and water supply in case where there is no electrical power.
2- Basement wall and pump is to minimizing the possible seismic load in the building.
Water Supply Design

## Slide 95
Water Supply Design
Water supply for fourth floor

## Slide 96
Water Supply Design
Drainage system for ground floor

## Slide 97
Rain Drainage System
Roof and Storm water Drainage

## Slide 98
We use VAV terminal unit, variant TVT type for all building
Total design cooling capacity = 273.33 kW
Diffuser selection:
We selected 450*450 mm size
and air flow is 304 L/S
For ground floor right block :
HVAC System Design

## Slide 99
For ground floor block right we used VAV terminal unit, variant TVT 600 x 400 (2450 L/S) system
Duct design
Number of diffuser
HVAC System Design

## Slide 100
HVAC detail:
Mechanical shaft system in WC
HVAC System Design

## Slide 101: Safety Design

## Slide 102
Emergency Exists for ground floor
Safety Design

## Slide 103
Types of fire systems:
Safety Design

## Slide 104
Fire hose
Fire hose
Extinguishers
Sprinkler
Smoke detector
DOME COLOR CAMERA
EXTERNAL CAMERA
Emergency stairs
Safety Design

## Slide 105
Quantity Surveying

## Slide 106
Quantity Surveying
Total cost of building = 6,495,654 NIS.
Unit cost of building = 6,495,654 / 4,518 = 1,438 NIS/m2