## Slide 2: Kindergarten
Amani Nasasrah , Enas Awad
Shadia Yamin , Sondos Ghanim
Dr. Mohannad Haj Hussin

## Slide 3: Contents:
1.Architectral design
2. Environmental design
3. Structural design
4. Mechanical design
5. BOQ calculation

## Slide 4
Architectural design

## Slide 5: site
Land area = 5000 m2

## Slide 6
Site

## Slide 7: Surrounding streets

## Slide 8: Site plan

## Slide 9: Main plan

## Slide 10: Furniture plan

## Slide 11: Elevations
North elevation

## Slide 12
South elevation

## Slide 13
East elevation

## Slide 14
West elevation

## Slide 16
Sections
Section 1-1

## Slide 17
Section 2-2

## Slide 18: Environmental Design

## Slide 19: Environmental Design:
1- The layers for the elements.
2-Total Heating and Cooling Load.
3- Daylight factor.
4- Acoustical Analysis.

## Slide 20: U_value for external wall and their thermal properties

## Slide 21: U_value for flat roof and their thermal properties

## Slide 22
The Total Heating Load capacity =44.76 kW
The Total Cooling Load capacity =151.35 kW

## Slide 23: Day lighting

## Slide 24: Acoustical Analysis

## Slide 26: Sound Transmission Class (STC) STC for partition = 50db

## Slide 27: Sound Transmission Class (STC) STC for Masonry Wall = 50db

## Slide 28: Reverberation Time Case 1 (Playing room): The RT60 is in standard range (1.20-1.60).

## Slide 29: Reverberation Time Case 2 (Multipurpose Hall):

## Slide 31: Structural design

## Slide 32: Structural design
1- Design codes
2- Loads
3-ETABS model and checks
4- Structural elements and detailing

## Slide 33: Structural Design:
Design Codes:
ACI -318-08 (American Concrete Institution) for reinforced concrete structural design.
UBC-97 (Uniform Building Code) for earthquake load computations.
ASCE (American Society Of Civil Engineers) for design loads.

## Slide 34: Loads:
Type of load | Load
Live load | 4KN/m2
SID load | 6.1KN/m2

## Slide 35: Seismic Design Data:
Location: Nablus
Symbol | value
zone | 2B
Z | 0.20
Soil type | Sd
Cv | 0.40
Ca | 0.28
I | 1.00
R | 5.50

## Slide 36
Material Strength Data
Strength type | value
f′c (for columns and footings) | 28 MPa.
f′c (for beams and slabs) | 24 MPa
fy | 420 MPa

## Slide 37: Structural Element Dimensions
STRUCTARAL ELEMENT | DIMENIONS
Slab thickness | 0.3 m
Beam dimensions | 0.4 x 0.6 m
Column dimensions | 0.3 x 0.6 m
Footing(1) dimension | 1x1x0.35 m
Footing(2) dimension | 1.5x1.5x0.35 m

## Slide 38: PLAN

## Slide 39
The system of the slab is one way ribbed slab.

## Slide 40: 3D model

## Slide 41: Checks for models :
Compatibility check :
Period = 0.299 < 2 second

## Slide 42: 2. Equilibrium check:

## Slide 43: 3. Internal Forces Check:
Load | manual | ETABS | % of error
Axial load for column | 418.17 | 439.11 KN | 4.77%
Moment for beam | 1462 KN.m | 1486.84 KN.m | 1.67%
Moment for slab | 16.00 KN .m | 16.50 KN.m | 3.00%

## Slide 44: 4.Deflection check:
type | Max deflection | Deflection
slab | 21.75 mm | 8.15 mm
Beam | 44.58 mm | 27.58 mm

## Slide 45: 5.Shear force check
Block Name | Direction of shear force | Manual shear force (KN) | ETABs shear force (KN) | % of error
Block “A” | EQX | 2053.95 | 2170.50 | 5.3%
 | EQY | 2053.95 | 2230.78 | 7.92%

## Slide 46: Plan of column

## Slide 47: Plan of footing

## Slide 48: Plan of beam

## Slide 49: Design of slab

## Slide 50: Beam design

## Slide 51: design of column

## Slide 52: Footing design

## Slide 53: Mechanical design:
1. Water supply
2. Water drainage
3. HVAC system

## Slide 54: Water supply system:

## Slide 55
ZONE2

## Slide 56
ZONE1

## Slide 57
Total | Weight in F.U | Number of function | Type of supply control | occupancy | fixture
20 | 5 | 4 | Flush tank | public | W.C
4 | 2 | 2 | Faucet | public | Lavatory
24 |  |  |  |  | Total F.U
Table: Fixture units for the zone 1
Total | Weight in F.U | Number of function | Type of supply control | occupancy | fixture
15 | 5 | 3 | Flush tank | public | W.C
2 | 2 | 1 | Faucet | public | Lavatory
3 | 3 | 1 | faucet | clinic | Kitchen sink
20 |  |  |  |  | Total F.U
Table : Fixture units for the zone 2
Water demand (gpm) | Number of F.U | Type of supply control | zone
18 | 24 | Flush tank | Zone 1
15 | 20 | Flush tank | Zone2
Table :Water demand for each zones:

## Slide 58: Water supply system:
Suitable diameter for vertical feeder (2'') , horizontal feeder(1.5'') and branches(3/4'')
Number of dfu’s : The total number of fixture units = 33 dfu

## Slide 59: Mechanical design:
Drainage design system:
The purpose of drainage lines design:
1-easy flow of sewage water.
2- no return of gases.

## Slide 60
*Clean out : the point reaches any place in the pipe for solving any problem occurs to the black water network .
*Trap : The most important element in drainage system design .
Water closet doesn't need trap because it has one on itself.

## Slide 61: Mechanical design:

## Slide 62: Mechanical design:
      *Black water: W.CS & Kitchen sink
      *Grey water: Lavatory.
Stack diameter = 4" Diameters of the pipes = 2 " , 3 " and 4" (horizontal).
Stacks , manholes and vent with diameter = 4" .

## Slide 63
Diameter size (inch) | Drainage fixture unit | Fixture unit
4 | 4 | Water closet
2 | 1 | lavatory
2 | 2 | Kitchen sink
2 | 2 | Service sink
2 | 0.5 | Drinking fountain
Table : diameter size for the drainage fixture unit in the building

## Slide 64: Mechanical design:
Drainage system roof shows manhole lines

## Slide 67: HVAC Design Data :
For external walls =0.51 W/m2 . °C
For roof = 0.382 W/m2 . °C
For doors=6.2 W/m2 . °C
For windows=2.47 W/m2 . °C
For internal wall = 0.61 W/m2 . °C

## Slide 68: Design of main duct , branches duct and diffuser:
light , equipment, occupant,envelope))Heat gain
∆T(supply-return)=10°C
Ƿ=1.2 kg/m3
V (velocity)=5 m/sec
Vo :volumetric flow rate(m3/sec)
Vo=20.85/(10*1.2)=1.74 m3/sec
Area =1.74/5 =0.3475=0.35 m2
Pa/EI =0.6 Pa /m for all ducts.

## Slide 69
# of diffuser for administration =3
# of diffuser for bedroom =8
# of diffuser for multi. room =8
# of diffuser for classroom=4
# of diffuser for teacher room =4

## Slide 70: Diffusers distribution:

## Slide 76: Heating load calculation
Boiler design:
Assume daily hot water = 100 l/s
Cp for water =4.18
T.HW-T.cw=50 C
From table 7-1 un text book boiler tank volume = 100litre
(iron boiler with choosen from table7-8 in text book)

## Slide 77: Pump design
Sell height =100 cm and radiator up 12 cm over ground .
H =100-12=88 cm
From fig. 7-20 MA3 radiator type chosen with H=681mm, L=65 mm, section watt=113
For admin. Room:
Q total = 1566.3 w
# of section=1566.31/113= 14 section
#of radiator =2

## Slide 78
For bed room:
Q total=2275.19
# of section=21section
#of radiator =4
For multi room :
Q total = 2306.2 w
# of section=2306.2/113= 21 section
#of radiator =4
For classroom :
Q total = 2010.67 w
# of section=2010/113= 18 section
#of radiator =3

## Slide 79
Two water pipe was using then:
EL=24*2*1.5=72 m.
M.pump=11.88/4.186*10=0.283 kg/s
SMC choosen (125SE)from fig 7-18 in textbook
P.drop=34*1000/72=472.2m3.h
From table7-6 in textbook the pipe sizing was be:
Two water pip :H=680 mm, depth =70 mm ,output=94w.

## Slide 80: Boiler chimney design:
Given the data as following:
Ƞ=80%
CV=39000
Velocity of water= 5m/s
M.f=Qboiler/ Ƞ* CV =11.88/.8*3900=3.7*10-3
Mg=M.f*25.20=0.095 kg/sec
Ac=Mg/1.1*v=0.017 m2
D=14.85 cm.

## Slide 81: Quantity surveying and cost estimation
Total cost of the project = 601646.85Nis
=158328.11$
=111416 JD