## Slide 1
Qusai Bani Fadel
Mahmoud Mahmoud
GRADUATION PROJECT II
Analyis And Design Of Planet Biodiversity Research Center
Hybat Omaria
Morad Shehade
1
CHAPTER ONE:
DISCRPTION
PRINCIPILES
MATERILS
CODES AND LOADS
2
CHAPTER TWO:
PRELIMINARY
3
CHAPTER THREE:
MODELING
4
CHAPTER
FOUR:
SESIMEC

## Slide 2: INTRODUCTION:

## Slide 3: DESCRPTION:
Project Name:
The project is called Planet Biodiversity Research Center
Location:
This project is located in Hebron City
Specifications:
This project includes the design of Stage, Library, Management rooms, Galleries, Oratory, Cafeteria, Video Conference Hall, Lecture halls, Stores and Computer halls that fulfilled all the requirements of comfort and safety according to usage requirements and include the design of all structural element in building .

## Slide 4: DESCRPTION:
Geotechnical investigation:
According to soil investigation report which made from the engineering office which design this tower.
𝐵𝑒𝑎𝑟𝑖𝑛𝑔 𝐶𝑎𝑝𝑎𝑐𝑖𝑡𝑦 𝑜𝑓 𝑠𝑜𝑖𝑙=𝑞𝑎𝑙𝑙=300𝐾𝑁/𝑚2.
Ɣ=18 𝐾𝑁/𝑚3.

## Slide 5: MATERIALS:
Materials:
1. Concrete:
Concrete used has compressive strength 𝑓𝑐/ = 28 𝑀𝑃𝑎 for all elements in the structure.𝐿𝑖𝑛𝑒𝑎𝑟 𝑀𝑜𝑑𝑢𝑙𝑢𝑠 𝑜𝑓 𝐸𝑙𝑎𝑠𝑡𝑖𝑠𝑖𝑡𝑦 = 𝐸 = 4700√𝑓𝑐/ = 27806 𝑀𝑃𝑎.
2. Steel:
Steel used is grade 60 steels with yielding stress, 𝑓𝑦 = 420 𝑀𝑃𝑎. 𝑓𝑢 = 620 𝑀𝑃𝑎.

## Slide 6: MATERIALS:
4. Other Materials:
Theses contains the materials used for finishing workings.

## Slide 7: CODES USED:
ACI 318-14: American Concrete Institute code. For design the elements of structure.
IBC 2012: International Building Code. For earthquake design.
ASCE 7-10: American Society of Civil Engineering. For determination of loads applied on the structure and considerations of earthquake design.

## Slide 8: LOADS:
Gravity Loads:
1. Dead Loads:
The own weight of the structural elements which is mainly consists of reinforced concrete members with unit weight Ɣ=25 KN/m3.
2. Live Loads:
This load different between the existing and the proposed structures. And for the garages and the floors.

## Slide 9: LOADS:
3. Superimposed Loads:

## Slide 10: LOADS:
Lateral Loads:
**Seismic Loads:
Computed using by IBC code

## Slide 11: LOADS:
Z factor = 0.15g

## Slide 12: LOADS:
Then, Mapped Acceleration Parameters:
Ss = 2.5*0.15 = 0.375 sec
S1 = 1.25*0.15 = 0.1875 sec

## Slide 13: Design philosophy
The slab used in project is two way solid slab because in reality solid slabs work on two way system.
In mass source to determine effective weight of the structure, "dead load, superimposed dead load and 0.25 live load" considered because live load move free in building.
In structural element, capacity of the cross section reduced by reduce modifiers of the element because cracks have been considered
For seismic design, the height of the floors must be uniform.
The structure divides to two blocks because of and thermal effect on building due to long dimension.
Design method that used in project is ultimate design method, this method use factor and combination to increase the value of load.
In any structure program, beam & column represent as 1dimential element but slab and shear wall represent as 2D element.
Codes that used in project are ACI-318-14 and IBC-2012 for seismic load.

## Slide 14: Preliminary design

## Slide 15: Preliminary design
The main objective of the process design is to ensure the existence of necessary operating advantages with structural elements on the most suitable dimensions in terms of security and economic terms.
The knowledge of structural elements of any project is essential in the design of reinforced concrete structures to make comparisons between different types of these elements for the construction of safer system. So, the structural elements that go into the design of this project will described.

## Slide 16: Preliminary design
Blocks in this project was divided to two blocks by architect engineer as shown

## Slide 17: Preliminary design
After that, building divided to four blocks depends on earthquake design requirement like irregularity , … etc. as shown below.

## Slide 18: DATA OF STRUCUTRE:
Structural System:
The system is building frame system using ordinary concrete shear wall
Slab Structural System:
The slab is two-way solid slab
Beams:
Beams are located between all column except block 4 (flat slab used).

## Slide 19: Slab sample calculation for block 3

## Slide 20: Slab
=
h= 0.167
use h =200mm
Vu = Wu (L/2 – d)
= 15.86 (5.5 /2 – 0.16)
= 41.1 KN
= 105.83 KN o.k

## Slide 21: Beam
Block 1

## Slide 22: beam
Block 2

## Slide 23: Column sample calculation for block 3
the tributary area equal 5.5*5.5 = 30.25 m2
wu = 15.86 KN/m2
ϕpn=30.25*15.86*6 + 1.2*6*(0.15*0.2*5.5*25 + 0.25*0.3*5.5*25) =2982.54 KN
ϕpn=0.65*0.8 (0.85*28(0.99 Ag)+ 0.01*420 Ag)
So, Ag = 206600.88 mm2
h = √Ag = 454.53 mm
Use h=500 mm for rectangular section
And D = 500mm for circular section

## Slide 24: MODELING
After Preliminary design the structure should be model on structure design program like ETAPs to make model check (compatibility, equilibrium…)
Modifiers for structure element
Column 0.7
Beam 0.35
Wall 0.7
Slab 0.25

## Slide 25: Model check
Check for compatibility
This check doing to insure that the structure moves as one unit.

## Slide 26
Block 1
Block 2

## Slide 27
Block 3
Block 4

## Slide 28: Model check
Check for deflection
by using Ц = 2D + 2S.D + 1.25L
Block 3
Deflection = 29.25 ≤ = = 30.4mm O.K

## Slide 30: Check for equilibrium
Block 3
Live load = 17574.281 KN % error = 0%
Dead load = 32018.52 KN %error = 0.6%
Superimposed dead load = 25917.4 KN % error = 1.3%

## Slide 31: Check for internal forces
Block 3
Beam at x
Moment by hand = 86.72 KN.m
Moment from ETAB = 84.5 KN.m
%error = 2.6 %
Beam at y
Moment by hand = 85.9 KN.m
Moment from ETAB = 84.15 KN.m
%error = 2.1%

## Slide 32: Seismic load calculation
To determine Ss & S1
Ss = 0.375 sec
S1 = 0.1875 sec

## Slide 33: Seismic load calculation
Determine site class
Depends on soil report and the value of q for that rock equal to 300KN/m2 > 200KN/m2, and according to the table above the site class for area of project is B

## Slide 34: Seismic load calculation
Determine maximum considered earthquake spectral response accelerations
SMS = Fa Ss
SM1 = Fv S1

## Slide 35: Seismic load calculation
Determine design spectral response accelerations
SD S = (2/3) SMS
SD1 = (2/3) SM1

## Slide 36: Seismic load calculation
Determine risk category
Risk category is III

## Slide 37: Seismic load calculation
Determine importance factor
Ie = 1.25

## Slide 38: Seismic load calculation
Determine seismic design category
Design category is C

## Slide 39: Seismic load calculation
Determine base shear
So equivalent lateral force & response spectrum methods are permitted .

## Slide 40: Seismic load sample calculation for block 3
As shown in start animation screenshot and mass participation ratio table, mode 1 and mode 2 do not represent any direction and include a high percentage of torsion , so added shear wall become important .

## Slide 43: Seismic load sample calculation for block 3
After adding a distribution of shear wall the mass participation ratio in x and y for mode 1 and 2 and problem of extreme torsion is solved ( less than 1.2) as shown .

## Slide 44: Seismic load sample calculation for block 3

## Slide 45: Seismic load sample calculation for block 3
Mode 1 in X direction and Mode 2 in Y direction
Ta = Ct *
hn = 24 m
Ta = 0.0466 * = 0.814 sec
T = Ca * Ta
T = 1.525 * 0.814 = 1.241 sec
In X direction
T ETABs = 0.503 sec (mode 2)
Take minimum period
T = 0.503 sec

## Slide 46: Seismic load sample calculation for block 3
CS = = 0.09375
CS,max = = = 0.0932
CS,min = 0.044 * SDS * Ie = 0.044 * 0.375 * 1.25 = 0.0206 > 0.01
By using Cs = 0.0932 and W = 70569.01 KN
V = 0.0932 * 70569.01 = 6577.03 KN
Vfrom ETABs = 6498.1 KN
%error = 1.2 %

## Slide 47: Seismic load sample calculation for block 3
In Y direction
T = 1.241 sec.
TETABs = 0.699 sec. (mode 1)
Take minimum period (T = 0.699 sec.)
CS = = 0.09375
CS,max = = = 0.067
CS,min = 0.044 * SDS * Ie = 0.044 * 0.375 * 1.25 = 0.0206 > 0.01
By using Cs = 0.067 and W = 70569.01 KN
V = 0.067 *70569.01 = 4728.12 KN
Vfrom ETABs = 4676.02 KN
%error = 1.1%

## Slide 48: Seismic load sample calculation for block 3
To represent re response spectrum on ETABs value of response spectrum shall be at least 85% of equivalent static value
In X direction the value of response spectrum was 3647.3 KN
So scale factor value must be edit by interpolation.
Old scale factor was equal (g*Ie/R) = 9810*1.25/5 = 2452.5
New scale factor will be = = 3714
New value of response spectrum is 5523.4 and its equal to 0.85 equivalent static value

## Slide 49: Seismic load sample calculation for block 3
In Y direction the value of response spectrum was 3100.5 KN
So scale factor value must be edit by interpolation.
Old scale factor was equal (g*Ie/R) = 9810*1.25/5 = 2452.5
New scale factor will be = (2452.5* 0.85*4676.02)/3100.5 = 3143.9
New value of response spectrum is 3947.6 and its equal to 0.85 equivalent static value
.

## Slide 50: Design check for block 3 after adding seismic load

## Slide 51: Torsional irregularity

## Slide 52: out-of-plan offset irregularity

## Slide 53: stiffness for soft and extreme soft story

## Slide 54: weight (mass) irregularity

## Slide 55: check centre of mass and centre of rigidity

## Slide 56: Check drift
Floor 6
X direction
Δ elastic = 0.00209
Δ inelastic = (Cd* Δ elastic )/Ie = (4.5*0.00209/1.25 = 0.007524
Δ all = 0.015 * 24 = 0.36
 |  |  |  |  |  |  | In Y
check drift |  | ∆ all=0.015*h (m) | ∆ inelastic(∆ elastic*cd/i) (m) | ∆ elastic (m) | max displacement (mm) | height (m) | # floor
ok |  | 0.06 | 0.000882 | 0.000245 | 0.245 | 4 | 1
ok |  | 0.12 | 0.0020196 | 0.000561 | 0.806 | 8 | 2
ok |  | 0.18 | 0.0026388 | 0.000733 | 1.539 | 12 | 3
ok |  | 0.24 | 0.0028872 | 0.000802 | 2.341 | 16 | 4
ok |  | 0.3 | 0.0028944 | 0.000804 | 3.145 | 20 | 5
ok |  | 0.36 | 0.0027648 | 0.000768 | 3.913 | 24 | 6

## Slide 57: Check p-delta effect
Floor 6
Y direction
ϴ = (Px* Δ inelastic*Ie)/(Vx*hx*Cd) = (11761* 0.00276*1.25)/(1309*24*4.5)
= 0.000518
ϴmax = 0.5/(β*Cd) = 0.5/(1*4.5 ) = 0.1111
ϴ < ϴmax
 |  |  |  |  |  |  | In Y
check p-delta | Ɵall | Ɵ | V(KN) | ∆ inelastic(m) | P axial(KN) | height (m) | floor #
ok | 0.1 | 0.001958 | 3974 | 0.000882 | 70569 | 4 | 1
ok | 0.1 | 0.001986 | 3738 | 0.0020196 | 58807 | 8 | 2
ok | 0.1 | 0.001516 | 3413 | 0.0026388 | 47046 | 12 | 3
ok | 0.1 | 0.001094 | 2911 | 0.0028872 | 35284 | 16 | 4
ok | 0.1 | 0.000756 | 2251 | 0.0028944 | 23523 | 20 | 5
ok | 0.1 | 0.000518 | 1309 | 0.0027648 | 11761 | 24 | 6
check p-delta | Ɵall | Ɵ | V(KN) | ∆ inelastic(m) | P axial(KN) | height (m) | floor #
ok | 0.1 | 0.006248 | 4061 | 0.0028764 | 70569 | 4 | 1
ok | 0.1 | 0.005174 | 3882 | 0.0054648 | 58807 | 8 | 2
ok | 0.1 | 0.003876 | 3519 | 0.0069588 | 47046 | 12 | 3
ok | 0.1 | 0.002812 | 3007 | 0.007668 | 35284 | 16 | 4
ok | 0.1 | 0.001974 | 2317 | 0.007776 | 23523 | 20 | 5
ok | 0.1 | 0.001382 | 1334 | 0.007524 | 11761 | 24 | 6

## Slide 58: Seismic load sample calculation for block 3
For block 1 at x direction
And hn = 16 m
Ta = 0.0488 * = 0.39
T = 1.6312 * 0.39 = 0.636
T from model = 0.409
CS = = 0.1
CS,max = = = 0.0821
CS,min = 0.044 * SDS * Ie = 0.044 * 0.4 * 1.25 = 0.022 > 0.01
By using Cs = 0.0821 and W = 23599.7 KN
V = 0.0821 * 23599.7 = 1937.53 KN
Vfrom ETABs = 1899.06 KN
%error = 2 %

## Slide 59: Seismic load sample calculation for block 3
For block 1 at y direction
hn = 16 m
Ta = 0.0488 * = 0.39
Cu = 1.6312
T = 1.6312 * 0.39 = 0.636
T from model = 0.39
CS = = 0.1
CS,max = = = 0.086
CS,min = 0.044 * SDS * Ie = 0.044 * 0.4 * 1.25 = 0.022 > 0.01
By using Cs = 0.086 and W = 23599.7 KN
V = 0.086 *23599.7 = 2029.75 KN
Vfrom ETABs = 1991.5 KN
%error = 1.9%

## Slide 60: Seismic load sample calculation for block 3
For block 2 at x direction
hn = 24 m
Ta = 0.0488 * = 0.52
Cu = 1.6312
T = 1.6312 * 0.39 = 0.848
T from model = 0.443
CS = = 0.1
CS,max = = = 0.0758
CS,min = 0.044 * SDS * Ie = 0.044 * 0.4 * 1.25 = 0.022 > 0.01
By using Cs = 0.0758 and W = 78772.9 KN
V = 0.0758 *78772.9 = 5971 KN
Vfrom ETABs = 5859.5 KN
%error = 1.9%

## Slide 61: Seismic load sample calculation for block 3
For block 2 at y direction
hn = 24 m
Ta = 0.0488 * = 0.52
Cu = 1.6312
T = 1.6312 * 0.39 = 0.848
T from model = 0.502
CS = = 0.1
CS,max = = = 0.067
CS,min = 0.044 * SDS * Ie = 0.044 * 0.4 * 1.25 = 0.022 > 0.01
By using Cs = 0.067 and W = 78772.9 KN
V = 0.067 *78772.9 = 5277.78 KN
Vfrom ETABs = 5170.78 KN
%error = 2%

## Slide 62: check drift
For block 1 at x direction
Δ elastic = 0.00194
Δ inelastic = =
= 0.006984
Δ all = 0.015 * 16 = 0.24
Δ inelastic < Δ all
For block 2 at y direction

## Slide 63: check drift
For block 2 at x direction
For block 2 at y direction

## Slide 64: check P delta effect
For block 1 at x direction
ϴ = =
= 0.000826045
ϴmax = = = 0.1111
ϴ < ϴmax
For block 1 at y direction

## Slide 65: check P delta effect
For block 2 at x direction
For block 2 at y direction

## Slide 66: Design of structural element
In this chapter, structure element will be designed according to the ACI Code requirement. Slab that used in building is two way slab system with drop beam. And the design include earthquake requirement. Block 2 and block 3 will design in this chapter.

## Slide 67: Design of slab
The structure didn’t achieve the direct design method , so a new method will be used as procedure bellow depends on finite element used ETAB’s programme:
1/ calculate minimum area of steel depends on 𝜌min= 0.0018 2/ calculate the capacity of section of slab according minimum steel on section. 3/ compute the positive and negative moment during minimum capacity. 4/ display “moment11 & moment22” on ETAB’s included maximum positive and negative range. 5/ define the location that capacity increase. 6/ define the moment that exceed minimum. 7/ calculate new 𝜌 of new moment. 8/ add addition steel on slab.

## Slide 68: block 2 slab
𝜌min= 0.0018 thickness of slab = 200mm As=0.0018*200*1000 = 360 mm2 use steel ∅12 = 113 mm2 use 4 bars with area = 452 mm2
a = = = 7.97mm
= 0.9(452*420(160 - ) = 26.65 KN.m/m

## Slide 69: Block 2 slab
M11
M22

## Slide 70: Block 2 slab
As noted, all range in slab is less than minimum moment, so reinforcement in slab is minimum steel.
1∅12/250mm bottom steel For top steel use shrinkage steel with 𝜌min= 0.0018 As = 360mm2

## Slide 71: Slab reinforcement block 2

## Slide 72: Block 3 slab
𝜌min= 0.0018 thickness of slab = 200mm As=0.0018*200*1000 = 360 mm2 use steel ∅12 = 113 mm2 use 4 bars with area = 452 mm2
a = = = 7.97mm
= 0.9(452*420(160 - ) = 26.65 KN.m/m

## Slide 73: Block 3 slab
M11
M22

## Slide 74: Block 3 slab
As noted, there is a moment value more than capacity of section using minimum steel.
Maximum moment after display moment 11 & 22 is 60 KN.m so, 1m in each side of centre of column in both direction is adequate for this value of moment as shown in figure below.

## Slide 75: Block 3 slab
After that, steel that used in whole slab is minimum steel except the region around column in both direction.
Asmin= 0.018 * 1000 * 200 = 3600 mm2
Use 1∅12/250 mm
And for region around column Mu = 60 KN.m
𝜌= = = 0.0066
As = 0.0066 * 1000 * 160 = 1056 mm2
Use 1∅18/200 mm

## Slide 76: Slab reinforcement for block 3

## Slide 77: Design of beam
For flexure At beginning, there is a check must be doing to ensure that ETAB programme calculate rebar percentage like hand calculation by doing this procedure: 1/ Display and design for moment come from live load on selected beam below .
2/Calculate rebar percentage from moment and compare it with rebar percentage from ETAB.

## Slide 78: Design of beam
For shear and torsion
Compare the values of Vu with ∅Vc
And compare the values of Tu with Tth
Then compute the values of , S and Al

## Slide 79: Design of beam
1/ requirement for longitudinal bars
(1) Beams shall have at least two continuous bars at both top and bottom faces. Continuous bottom bars shall have area not less than one-fourth the maximum area of bottom bars along the span. These bars shall be anchored to develop fy in tension at the face of support.
(this requirement will show in detailing drawing)
(2) The positive moment strength at the face of the joint shall be at least one-third the negative moment strength provided at that face of the joint. Neither the negative not the positive moment strength at any section along the length of the beam shall be less than one-fifth the maximum moment strength provided at the face of either joint.
.

## Slide 80: Design of beam
2/ for transverse reinforcement
∅Vn of beams resisting earthquake effect, E, shall not be less than the smaller of (a) and (b):
(a)The sum of the shear associated with development of nominal moment strengths of the member at each restrained end of the clear span and the shear calculated for factored gravity loads as shown in the figure

## Slide 81: Design of beam
(b) The maximum shear obtained from design load combinations that include E, with taking E twice the earthquake load in the load combinations.
(2) At both ends of the beams, stirrups shall be provided over a length of at least 2h measured from the face of the supporting member toward midspan. The first stirrups shall be located not more than 50mm from the face of the supporting member. Spacing of stirrups shall not exceed the smallest of
(a) d/4.
(b) Eight times the diameter of the smallest longitudinal bar enclosed.
(c) 24 times the diameter of the stirrupsbar.
(d) 300 mm.
(3) Transverse reinforcement spacing shall not exceed d/2 throughout the length of the beam.

## Slide 82: Block 2 beam
For flexure
Check for ETAB value
1/ display moment from live for selected beam below.
M =19.53 KN.m

## Slide 83: Block 2 beam
Calculate rebar percentage from moment and compare it with rebar percentage from ETAB.
𝜌= = = 0.000278
𝜌ETAB=0.0003
%Difference = 7.3%
Check O.K.

## Slide 84: Block 2 beam
Now display rebar percentage from ETAB including all combination that include seismic load.
As noted, most beams in structure have minimum rebar percentage (𝜌min= 0.0033) exclude beams shown in figure

## Slide 85: Block 2 beam

## Slide 86: Block 2 beam
All beams that signed in figure have a cross section 650*500
As650*500 = 0.0033*650*500 = 1072.5 mm2
use 5∅18 with As = 1272.3 mm2 for positive and negative reinforcement(top and bottom)
As800*600 = 0.0033*800*600 = 1584 mm2
use 7∅18 with As = 1781.3 mm2 for positive and negative reinforcement(top and bottom)
For beams that signed in figure, all values of rebar percentage that exceed 𝜌min is negative reinforcement.
use 𝜌 =0.0041
As = 0.0041*590*500 = 1209.5 mm2
use 6∅18 with As = 1526.8 mm2 for top steel.

## Slide 87: Block 2 beam ( stirrups )
beam 650*500
Vc= = = 260.16 KN
Vu from envelop strength combination = 188.5 KN
Tu = 20.05 KN.m
Vu ≤ Vc so use minimum shear reinforcement
()min = max [ , ] = = 0.416
Tth = = = 15.188 KN.m
= = 0.186 mm2/mm
= 0.208
= 0.416 + 2*0.208 = 0.832 mm2/mm
Use = 1.01 mm2/mm and stirrups with ∅10
= 2*78.5 =157 mm2
S = = 155.52 mm use S =150 mm
800*600mm section
()min = max [ , ] = = 0.5 mm2/mm
= 0.25
= 0.5 + 2*0.25 = 1 mm2/mm
S = = 157 mm
Use stirrups with 1∅10 with S = 150mm

## Slide 88: Block 2 beam (longitudinal torsional reinforcement)
650*500mm
Al = = 0.208 = 378.56 mm2
Al.min = = = 1327.53mm2
Use Al = 1327.53 mm2
1327.53/6 =221.25 mm2
Use 2∅18 in middle of beam
800*600 mm
Al = = 0.25 = 580 mm2
Al.min = = = 1939.763mm2
1939.763/6 =323.3 mm2
Use 2∅18 in middle of beam

## Slide 89: Block 3 beam
For flexure
Check for ETAB value
1/ display moment from live for selected beam below.
M = 24.312 KN.m

## Slide 90: Block 3 beam
Calculate rebar percentage from moment and compare it with rebar percentage from ETAB.
𝜌= = = 0.000835
𝜌ETAB=0.0009
%Difference = 7.2%
Check O.K.

## Slide 91: Block 3 beam
Now display rebar percentage from ETAB including all combination that include seismic load.

## Slide 92: Block 3 beam
As500*400 = 0.0033*500*400 =660 mm2 use 5∅14 with As =769.7mm2 for positive and negative reinforcement(top and bottom)
As400*300 = 0.0033*400*300 =396 mm2 use 3∅14 with As = 461.8 mm2 for positive and negative reinforcement(top and bottom)
As600*500 = 0.0033*600*500 = 990 mm2 use 7∅14 with As = 1077.6 mm2 for positive and negative reinforcement(top and bottom)
For beams that signed in figure, all values of rebar percentage that exceed 𝜌min is negative reinforcement.
𝜌= 0.0057 As500*400 = 0.0057*440*400 = 1003.2 mm2 use 7∅14 with As = 1077.6mm2 for positive and negative reinforcement(top and bottom)
𝜌= 0.0048 As400*300 = 0.0048*340*300 = 489.6 mm2 use 4∅14 with As = 615.7 mm2 for positive and negative reinforcement(top and bottom)
𝜌=0.0043 As600*500 = 0.0043*540*500 = 1161 mm2 use 8∅14 with As = 1231.5 mm2 for positive and negative reinforcement(top and bottom)

## Slide 93: Block 3 beam ( stirrups )
beam 500*400
Vc= = = 155.2 KN
Vu from envelop strength combination = 110.2 KN
Tu = 19.9 KN.m
Vu ≤ Vc so use minimum shear reinforcement ()min = max [ , ] = = 0.333 mm2/mm
Tth = = = 7.35 KN.m
= = 0.35 mm2/mm
= 0.166
= 0.333 + 2*0.35 = 1.033 mm2/mm
Use = 1.085 mm2/mm and stirrups with ∅10
= 2*78.5 =157 mm2
S = = 144.7 mm use S =140 mm

## Slide 94: Block 3 beam ( stirrups )
400*300mm section
()min = max [ , ] = = 0.25 mm2/mm
= 0.125
= 0.25 + 2*0.125 = 0.5 mm2/mm
S = = 314 mm
Smin = 380 = 253.33
Use stirrups with 1∅10 with S = 250mm
600*500mm section
()min = max [ , ] = = 0.416 mm2/mm
= 0.208
= 0.416 + 2*0.208 = 0.832 mm2/mm
S = = 188 mm
Use stirrups with 1∅10 with S = 150mm

## Slide 95: Block 3 beam (longitudinal torsional reinforcement)
500*400mm
Al = = 0.35 = 434 mm2
Al.min = = = 615.9mm2
Use Al = 615.9 mm2
1327.53/6 =102.65 mm2
Use 2∅14 in middle of beam
400*300 mm
Al = = 0.125 = 105 mm2
Al.min = = = 524.94mm2
524.94/6 =87.49 mm2
Use 2∅14 in middle of beam
600*500 mm
Al = = 0.208 = 341.12 mm2
Al.min = = = 1469.8mm2
1469.8/6 =245 mm2
Use 2∅14 in middle of beam

## Slide 96: Beam reinforcement

## Slide 97: Beam reinforcement

## Slide 98: Beam reinforcement

## Slide 99: Design for column
Firstly , check for ETAB results from gravity load and then start design check including all design combinations.
And for shear load compare Vu with ∅Vc to compute shear reinforcing.

## Slide 100: Design for column
requirement for intermediate column
(1) Vu shall be at least the leaser of (a) and (b):
(a) The shear associated with development of nominal moment strengths of the column at each restrained end of the unsupported length due to reverse curvature bending. Column flexural strength shall be calculated for the factored axial force, consistent with the direction of the lateral forces considered, resulting in the highest flexural strength.
(b) The maximum shear obtained from factored load combinations that include E, with 𝛺𝑜 𝐸 substituted for E.
(2) At both ends of the columns, stirrups shall be provided at spacing S0 over a length 𝑙𝑜 measured from the joint face. Spacing S0 shall not exceed the smallest of :
(a) 8 times the diameter of the smallest longitudinal bar enclosed.
(b) 24 times the diameter of the stirrups bar.
(c) One-half of the smallest cross-sectional dimension of the column.
(d) 300 mm.
Length 𝑙𝑜 shall not be less than the greatest of :
(a) One-sixth of the clear span of the column.
(b) Maximum cross-sectional dimension of the column.
(c) 450 mm.
(3) The first stirrups shall be located not more than S0 from the joint face.
(4) Outside of length 𝑙𝑜 spacing of transverse reinforcement shall be in accordance with 10.7.6.5.2. from ACI 318-11.

## Slide 101: Block 2 column
Check ETAB results, by choosing this column below according gravity load.
This column has a dimension 400*400mm with effective depth 340mm
At the beginning, make a slenderness check for column to define short or long column.
Slenderness ratio = ≤ 22
K = 1 (fixed support)
Lu = 4000 - = 3675 mm
r = 0.3 * 400 = 120mm
= = 30.625 > 22
So check moment
M1=14.155 KN.m
M2=22.634 KN.m
M1/M2 = 0.64
34-12 * = 41.5 > 30.625
Neglect slenderness so, column is short

## Slide 102: Block 2 column
To find rebar percentage, interaction diagram will be used as follow:
1/ Mu = 22.634 KN.m
2/ axial load = 480.16 KN
3/ 𝛾 = = = 0.7
= = = 0.354 → = 0.05 ksi
= = = 3.01 → = 0.43 ksi
By hand calculation for rebar percentage using interaction diagram for column
ρ = 0.01

## Slide 103: Block 2 column

## Slide 104: Block 2 column
At the beginning, determine capacity of the column section by using equation below:
= 95.25 KN
Firstly, computing Vu from gravity load using ETAB.
Vu = 11.5 KN < ∅Vc so use min
()min = max [ , ] = = 0.333

## Slide 105: Block 2 column
Now start design including all combinations
Vu = 32.7 KN
Vu < ∅Vc
So use min = 0.333 mm2/mm

## Slide 106: Block 2 column

## Slide 107: Block 2 column
mm2/mm
Av = 2 * = 157 mm2
S = = 471 mm
Compare this value of spacing with intermediate column requirement as shown in figure.
S0 = →→ use 120 mm
S1= →→ use 250 mm
L0 = →→ use 600 mm
Ls = 4000 – 2*600 = 2800 mm

## Slide 108: Block 2 column

## Slide 109: Block 3 column
Check ETAB results, by choosing this column below according gravity load.
This column has a dimension 500*500mm with effective depth 440mm
At the beginning, make a slenderness check for column to define short or long column.
Slenderness ratio = ≤ 22
K = 1 (fixed support)
Lu = 4000 - = 3800 mm
r = 0.3 * 500 = 150mm
= = 25.33 > 22
So check moment
M1=-23.7 KN.m
M2=39.66 KN.m
M1/M2 = -0.6
34-12 * = 41.2 > 25.33
Neglect slenderness so, column is short

## Slide 110: Block 3 column
To find rebar percentage, interaction diagram will be used as follow:
1/ Mu = 39.66 KN.m
2/ axial load = 3142.18 KN
3/ 𝛾 = = = 0.75
= = = 0.317 → = 0.045 ksi
= = = 12.57 → = 1.79 ksi
By hand calculation for rebar percentage using interaction diagram for column ρ = 0.01

## Slide 111: Block 3 column
At the beginning, determine capacity of the column section by using equation below:
= 152.13 KN
Firstly, computing Vu from gravity load using ETAB.
Vu = 18.1 KN < ∅Vc so use min
()min = max [ , ] = = 0.416

## Slide 112: Block 3 column
Now start design including all combinations
Vu = 34.4 KN
Vu < ∅Vc
So use min = 0.416 mm2/mm

## Slide 113: Block 3 column
mm2/mm
Av = 2 * = 157 mm2
S = = 377.4 mm
S0 = →→ use 120 mm
S1= →→ use 250 mm
L0 = →→ use 600 mm
Ls = 4000 – 2*600 = 2800 mm

## Slide 114: Block 3 column

## Slide 115: Design for shear wall
1/using design in ETAB the value of rebar percentage is determined and compare it with minimum value.
2/using maximum of these values to determine area of steel and determine capacity of section using section designer in ETAB.
3/Compare capacity values with load on shear load.

## Slide 116: Shear wall in block 2
To check ETAB’s results select a sample of shear wall to check result as shown in figure.
At ground floor => Length = 1000mm thickness =200mm height = 4m
After start design check, ETAB give rebar percentage 0.0072, use Ø12 mm.
As = 1000*200*0.0072 =1440 mm2
As = 1440/2 = 720 mm2 for each layer.
Use 1Ø12/100 mm

## Slide 117: Shear wall in block 2
To determine capacity of section and drawing interaction diagram for cross section of shear wall including minimum longitudinal reinforcing, section designer in ETAB will use.

## Slide 118: Shear wall in block 2
By displaying interaction diagram for M 3&2, capacity of section .
Axial capacity = 2933.78 KN
Moment 3 capacity = 105.5 KN.m
Moment 2 capacity = 608.2 KN.m
Nu = 1010.85 KN Mu major = 584.16 KN.m Mu minor = 4.19 KN.m Vu = 226.1 KN
h= 200 mm Lw = 1000mm d=0.85*1000 = 850mm
ØVc = = 243.74 KN
cross section IS adequate.

## Slide 119: Shear wall in block 2
Check spacing
S = min = 333mm
Use 1Ø12/100mm for Longitudinal reinforcement
For transverse reinforcement
Because the section is adequate for shear use minimum reinforcement
= 0.0072*200 = 1.44 mm2/mm
Use Ø10 for two layers
= 1.44 S =109..03 use 100mm
S = min = 200 so use 1Ø10/100 mm

## Slide 120: Shear wall in block 2
Check for nominal capacity
Vn = 𝐴𝑐𝑣 ( 𝛼𝑐 𝜆 + 𝜌* 𝑓𝑦 )
𝐴𝑐𝑣 = 1000*200 = 200000 mm2
𝛼𝑐 = 0.17 because 4000/1000 >2
Vn = 200000(0.17* + 0.0072*420) = 784.71 KN
Vn = Vc+Vs = 243.74 + 1.44*420* = 757.82 KN < 784.71 O.K

## Slide 121: Shear wall in block 2

## Slide 122: Shear wall in block 3
By using ETAB’s programme and to check ETAB’s results select a sample of shear wall to check result as shown in figure.
After start design check, ETAB give rebar percentage 0.0025 at this value is minimum so, use Ø12 mm.
As = 5500*200*0.0025 =2750 mm2
As = 2750/2 = 1375 mm2 for each layer.
Use 1Ø12/450 mm (to make check only)

## Slide 123: Shear wall in block 3
To determine capacity of section and drawing interaction diagram for cross section of shear wall including minimum longitudinal reinforcing, section designer in ETAB will use.

## Slide 124: Shear wall in block 3
By displaying interaction diagram for M 3&2, capacity of section as shown in figure.
Axial capacity = 31226.78 KN
Moment 3 capacity = 31901 KN.m Moment 2 capacity = 2545.3 KN.m

## Slide 125: Shear wall in block 3
For shear loads on shear wall:
Ø Vc =
Nu = 4435 KN Mu major = 9072 KN.m Mu minor = 54.3 KN.m Vu = 1435.2 KN
h= 200 mm Lw = 5500mm d=0.85*5500 = 4675mm
ØVc = = 1335.84 KN
So shear wall thickness must be increase to 300 mm
ØVc = 2007.53 KN so now cross section adequate.
Check spacing
S = min = 450mm
Use 1Ø12/450mm for Longitudinal reinforcement

## Slide 126: Shear wall in block 3
For transverse reinforcement
Because the section is adequate for shear use minimum reinforcement
= 0.0025*300 = 0.75mm2/mm
Use Ø10 for two layers
= 0.75 S =209.333 use 200mm
S = min = 450 so use 1Ø10/200 mm

## Slide 127: Shear wall in block 3
Check for nominal capacity
Vn = 𝐴𝑐𝑣 ( 𝛼𝑐 𝜆 + 𝜌* 𝑓𝑦 )
𝐴𝑐𝑣 = 5500*300 = 1650000 mm2
𝛼𝑐 = 0.25 because 4000/5500 <1.5
Vn = 1650000(0.25* + 0.0025*420) = 3915.24 KN
Vn = Vc+Vs = 2007.53 + 0.75*420* = 3480.15 KN < 3915.24 O.K

## Slide 128: Shear wall in block 3

## Slide 129: Design for footing
The select of the type of foundation depend on the bearing capacity of soil or rock, the distance column and checking the overlapping condition if happened or not if choosing single footing, or this structure if state over rock layer with bearing capacity of 300KN/m2,so for economic consideration the single footing is the best choice .
in other hand, the requirement for designing the structure for earth quick ,is to have plastic hinges in joint and this need fixed support , so to solve these problem , an distribution of ties beam is used between column & shear wall , and this choice will help to resist differential settlement and make a structure as one unit to resist the earth quick force .

## Slide 130: Design for footing
There is two type of footing in this project :
1/ mat foundation
Mat foundation used when single footing overlap and distance between footing is too small and the area of footing cover the most of ground floor area and it used in block 3 as shown.

## Slide 131: Design for footing
Mat foundation design steps :
1/ calculate minimum area of steel depends on 𝜌min= 0.0018 2/ calculate the capacity of section of foundation according minimum steel on section. 3/ compute the positive and negative moment during minimum capacity. 4/ display “moment11 & moment22” on ETAB’s included maximum positive and negative range. 5/ define the location that capacity increase. 6/ define the moment that exceed minimum. 7/ calculate new 𝜌 of new moment. 8/ add addition steel on foundation.

## Slide 132: Design for footing

## Slide 133: Design for footing
2/ single footing
Single footing was designed with tie beam
In the model fixed restrain is used but the single footing area designed for axial load only by using pin restrain in stead of fixed restrain by established new model with pin restrain and tie beam.
Tie beam is used to resist differential settlement and moment on column

## Slide 134: Block 2 footing (single footing)
Axial load is taken from ETAB to compute area of single footing as shown in table

## Slide 135: Block 2 footing (single footing)
Design for the first group with dimensions (2 * 2 m) and axial force of 1563.8 KN
qu = pu/AF= 1563.8/ 4 = 390.9 KN/m2
to determine thickness of footing
Vu = =
ǾVc= *bw *d = *1000 *d
By solving these two equation d =.29m
Using h = 400mm & d = 330mm
Check for punching
Vu punching = Pu – a1qu = 1563.8 – ( 0.4+0.33)2 *390.9 = 1355.4 KN
ǾVc punching = .33* *bo *d
Where bo is the perimeter of the critical section for interior column
bo = 2(c1 +d) + 2(c2 + d)
ǾVc punching= 0.75*0.33** ( 400+330) *4 *330/1000 = 1261.9 KN
ǾVc punching < Vu punching so increase the thickness of footing to 500mm with effective depth 430 mm .
Vu punching = Pu – a1qu = 1563.8 – ( 0.4+0.43)2 *390.9 = 1294.5 KN
ǾVc punching= 0.75*0.33** ( 400+430) *4 *430/1000 = 1576.8 KN
ǾVc punching > Vu punching O.K

## Slide 136: Block 2 footing (single footing)
The procedure of design for flexure is as cantilever in each direction with width of 1000mm an effective depth of 430mm & l1= l-c1/2 = (2 - 0.4) /2 = 0.8
Mu = = = 125.08 KN.m
𝜌= = = 0.001816
As= 0.001816*1000*430= 780.8mm2
Asmin = 0.0018*1000*500 = 900mm2
Use 5Ǿ16/1000mm bottom steel in each direction.
As shrinkage = Asmin /2 = 450 mm2
Use 4Ǿ12/1000mm top steel for each direction.
Design for the second group with dimensions (2.5m*2.5m)and axial force of 2196.9KN
qu = Pu/AF= 2196.9/ 6.25 = 351.5 KN/m2
to determine thickness of footing
Vu = =
ǾVc= *bw *d = *1000 *d
By solving these two equation d 0.36m
Using h = 500mm & d = 430mm

## Slide 137: Block 2 footing (single footing)
The procedure of design for flexure is as cantilever in each direction with width of 1000mm an defective depth of 430mm & l1= (l - c1)/2 = (2.5 - 0.4) /2 = 1.05
MU = = = 193.7 KN.m
𝜌= = = 0.00283
As = 0.00283*1000*430 = 1220.2mm2
As min = 0.0018*1000*500 = 900mm2 so use As = 1220.mm2
Use 4Ǿ20/1000 mm bottom steel in each direction.
As shrinkage = As min /2 = 450mm2.
Use 4Ǿ12/1000 mm top steel for each direction.

## Slide 138: Block 2 footing (wall footing)
By using pier in ETAB, values of moment and shear will be get
Area of footing needed = (axial force)/(b.c ) = 1254.6/(300 ) = 4.1 m2 this area needed for axial force only so to take the two moment in consideration , try a footing with dimension 2.5*2.5 m

## Slide 139: Block 2 footing (wall footing)
qu = = = 281.2 KN/m2 <300 KN/m2 O.K
Check wide beam shear
Because the footing is square footing so this check will done for the maximum moment M2
qu1 = = = 282.4 KN/m2
qu2 = = = 245.3 KN/m2
try a thickness of 500 mm with effective depth of 430 mm.
qu at d = 430mm = 245.3 + ((282.4 – 245.3)*1.08)/2.5 = 269.62 KN/m2
Vu = area under the load = 0.82(282.4+269.62)*0.5= 225.8 KN
ǾVc= * *bw *d = = *1000 *430/1000 = 284.41 KN
ǾVc > Vu O.K

## Slide 140: Block 2 footing (wall footing)
Check punching
qu at d/2 = 245.3+14.9 = 260.2 KN/m2
A* for bunching = 1.43*0.63+0.8*0.63 = 1.4 m2
B0 = (0.63+1.43+0.8)*2 = 5.72 m
Vu punching = pu – a1qu = 1593.06 – ( 1.41)*260.2 =1227.5 KN
ǾVc punching= 0.75*0.33** 5.72 *1000 *430/1000 = 3221.2 KN
ǾVc punching > Vu punching O.K

## Slide 141: Block 2 footing (wall footing)
The procedure of design for flexure is as cantilever in each direction with width of 1000mm an defective depth of 430mm
Mu = = = 219.6 KN.m
𝜌= = = 0.0032
As= .0032*1000*430= 1388.7mm2
Asmin = 0.0018*1000*500 = 900mm2 so use As = 1388.7.mm2
Use 6Ǿ18/1m bottom steel in direction of M2.
For another direction with M3 = 37.8 KN.m
qu = = =269.3 KN/m2
by comparing the value of qu in each direction of M2&M3 is too close so using the same reinforcement for bottom steel 6Ǿ18/1000 mm
For top steel
As shrinkage = As min /2 = 450mm2.
Use 4Ǿ12/1000 mm top steel in each direction.

## Slide 142: Block 2 footing (tie beam)

## Slide 143: Block 2 footing (tie beam)
For flexure
Use 4Ø20 with As=1256.64 mm2
For shear
Use 1Ø10/250 mm

## Slide 144: Block 3 foundation
Axial load is taken from ETAB to compute area of single footing as shown in table

## Slide 145: Block 3 foundation
Mat foundation will be use
By assuming thickness of mat foundation is 700 mm with effective depth = 630mm
At the beginning, check for punching
Vu punching = pu – a1qu = 3850.052 – ( 0.5+0.63)2 * 427.7 =3303.92 KN
b0= 4(500+630) = 4520 mm
ǾVc punching= 0.75*0.33** 4.52*1000 *630/1000 = 3729.35 KN
ǾVc punching > Vu punching O.K

## Slide 146: Block 3 foundation
As shown most of value are in range so its reinforcement minimum
1Ø18/200 mm
And for value exceed minimum rebar reinforcement
Max value of moment is 404.18 KN.m
𝜌= = = 0.002756
As = 0.002756 * 1000 * 630 = 1736.6 mm2
Use 1Ø20/150 mm

## Slide 147: Block 3 foundation