## Slide 1: An-Najah National University Building Engineering Department An Integrated Design Of A courthouse
Presented By:
Ibrahim Suwan
Omar Khader
Anas Abu Awad
Shahd Imer
Supervisor:
Eng. Abdulhakeem Juhari

## Slide 2: Outline
Introduction.
Architectural Design.
Structural Design.
Mechanical Design.
Electrical Design.
Environmental Design.
Quantity Survey.

## Slide 3: Introduction

## Slide 4: Courthouse Definition
Definition:
courthouse is a governmental institution that settles disputes between two or more entities,

## Slide 5: Courthouses Types
Types of regular courts in Palestine:
  Magistrates' court
  Lower Court.
  Appellate Court.

## Slide 6: The Selected Site
The Selected site:
Design
Design

## Slide 7: Architectural
Design

## Slide 8: Site Plan
Site Plan

## Slide 9: Architectural Plans
Basement Floor

## Slide 10: Architectural Plans cont.
Ground Floor

## Slide 11: Architectural Plans cont.
First Floor

## Slide 12: Architectural Plans cont.
Second Floor

## Slide 13: Structural
Design

## Slide 14: Seismic Joints and Blocks
The building consist of four blocks separated by 6 cm seismic joints

## Slide 15: Materials
Materials:
Section | Material strength
Beams | 24 MPa (b300)
Slabs | 24 MPa (b300)
Columns | 28 MPa(b350)
Tie beam | 24 MPa (b300)
Footings | 28 MPa (b350)
Shear walls | 24 Mpa (b300)

## Slide 16: Loads Calculation
Loads for block A:
Types of load | Load KN/m2
Dead Load (Own weight) | 5.95
Super Imposed | 4
Live Load | 5

## Slide 17: Seismic Factors
Seismic Factors used in deign:
Soil type Sc and the bearing capacity of soil = 300 KN/m2 .
Z=0.2
I=1.25
Cv=0.32
Ca=0.24
R=5.5

## Slide 18: Structural Elements Design
Columns:
All Columns have dimensions of 80cm*80cm
Footing:
There are several types of footing:
Isolated footing.
Combined footing.
Wall footing .

## Slide 19: Structural Elements Design cont.
Tie Beams:
All Tie beams have dimensions of 45cm*60cm.
Slabs:
 | Block A,C | Block B,D
Slab Thickness (cm) | 40 | 50

## Slide 20: Structural Elements Design cont.
Beams:
Beam | Dim(h*b) m
External Main beam | 1.20*0.6
Internal Main beam | 1.20*0.8
Secondary beam | 0.6*0.6

## Slide 21: Structural Elements Details
Isolated footing :

## Slide 22: Structural Elements Details Cont.
Combined footing :

## Slide 23: Structural Elements Details Cont.
Retaining Wall :

## Slide 24: Structural Elements Details Cont.
Slab Design

## Slide 25: Structural Elements Details Cont.
Design for columns:

## Slide 26: Structural Elements Details Cont.
Design for Beams:

## Slide 27: Structural Elements Details Cont.
Design for Staircase:

## Slide 28: Mechanical
Design

## Slide 29: Water supply

## Slide 30: Water supply cont.

## Slide 31: Drainage System

## Slide 32: Rainwater Drainage

## Slide 33: Fire Protection

## Slide 34: HVAC

## Slide 35: Sprinklers, HVAC & Luminaires

## Slide 36: Electrical
Design

## Slide 37: Lighting Design
Lighting design for the library

## Slide 38: Lighting Design Cont.
Lighting design for the executive circle

## Slide 39: Lighting Design Cont.
Lighting design for Judge Office

## Slide 40: Sockets Distribution

## Slide 41: Lighting Distribution

## Slide 42: Cameras Distribution

## Slide 43: Environmental
Design

## Slide 44: Ecotect Model
ECOTECT Program was used to: 1. Analyze sun movement and natural lighting. 2. Calculate heating and cooling loads

## Slide 45: The Materials used
layers for external walls (U = 0.39 W/m2.k):
Material | Thickness (cm)
Limestone | 4
Concrete | 10
Block | 10
Insulation | 5
Block | 10
Plaster | 1

## Slide 46: The Materials used cont.
layers for ceiling (U = 0.41W/m2.k):
Material | Thickness (cm)
Tiles | 2
Screed | 2.5
Sand | 3
Concrete | 8
Ytong block | 32
Air gap | 50
False ceiling | 1.6

## Slide 47: Thermal Calculation
Total heating load and cooling load per m2 =56.6 KWh
The acceptable range from 30 to 80 KWh .

## Slide 48: Daylighting calculation
For Judge office 1:
DF=4.25%

## Slide 49: Daylighting calculation cont.
For Judge office 3:
DF=2.65% less than 3%, We need Modification

## Slide 50: Daylighting calculation cont.
The modification we made is to expand windows
From 1m to 1.2m
After modification DF=3.91%

## Slide 51: Daylighting calculation cont.
For Courtroom1:
DF=0.00% less than 3%, We need Modification

## Slide 52: Daylighting calculation cont.
Duo to architectural concerns windows can’t be opened
Then compensate the lack of natural lighting with artificial lighting

## Slide 53: STC Calculation
In our project we have to maintain a confidential level. Basic partition’s STC= 36dB, so need to add modifications to reach 50 dB or more.
The modifications are:
Double gypsum board, both sides +4
Double thickness insulation +6
Plaster on both sides +4
So, 36+4+4+6 = 50 dB

## Slide 54: STC Calculation cont.
Section for modified partition

## Slide 55: IIC Calculation
As shown in the table above, our ceiling model complies with the last model in the table. in the model IIC was 68 dB, meanwhile our model is more dens and thicker than that model so its guaranteed that our model will provide the sufficient IIC range.

## Slide 56: RT60
The following table shows the acoustical criteria for courthouse spaces:

## Slide 57: RT60 Cont.
Material | α
Terrazzo tiles | 0.02
Wood seats | 0.88
Wood Tables | 0.07
Wooden floor | 0.07
Walls (plaster) | 0.03
Doors | 0.07
Suspended ceiling | 0.92
Window (glass) | 0.12
Acoustical tiles | 0.53
Teaching board | 0.07
The material used in the courthouse

## Slide 58: RT60 Cont.
Courtroom 1 |  |  |  |  |  | 
 | Area describtion |  | Area | α | Area* α | RT60
 | Floor Plan | Tiles | 88.14 | 0.02 | 1.7628 | 0.671081
 |  | Wood Seats | 10.68 | 0.88 | 9.3984 | 
 |  | Tables | 11.18 | 0.07 | 0.7826 | 
 |  | Wooden floor | 16.72 | 0.07 | 1.1704 | 
 | Elevations | Walls | 201.65 | 0.03 | 6.0495 | 
 |  | Doors | 6.25 | 0.07 | 0.4375 | 
 | Ceiling | suspended ceiling | 128.2 | 0.92 | 117.944 | 
 |  | Total | 462.82 |  | 137.5452 | 
For courtroom 1 RT60= 0.67 within the range (0.6-0.7), then O.K.

## Slide 59: RT60 Cont.
For courtroom 2 RT60= 0.65 within the range (0.6-0.7), then O.K.
Courtroom 2 |  |  |  |  |  | 
 | Area description |  | Area | α | Area* α | RT60
 | Floor Plan | Tiles | 72.54 | 0.02 | 1.4508 | 0.652521
 |  | Wood Seats | 10.68 | 0.88 | 9.3984 | 
 |  | Tables | 11.18 | 0.07 | 0.7826 | 
 |  | Wooden floor | 14.27 | 0.07 | 0.9989 | 
 | Elevations | Walls | 170.51 | 0.03 | 5.1153 | 
 |  | Doors | 6.25 | 0.07 | 0.4375 | 
 | Ceiling | suspended ceiling | 99.14 | 0.92 | 91.2088 | 
 |  | Total | 384.57 |  | 109.3923 | 

## Slide 60: RT60 Cont.
For courtroom 2 RT60= 0.65 within the range (0.6-0.7), then O.K.
Registry |  |  |  |  |  | 
 | Area description |  | Area | α | Area* α | RT60
 | Floor Plan | Tiles | 149.7328 | 0.02 | 2.994656 | 0.592392
 |  | Wood Seats | 7.4172 | 0.88 | 6.527136 | 
 |  | Tables | 26.46 | 0.07 | 1.8522 | 
 | Elevations | Walls | 186.215 | 0.03 | 5.58645 | 
 |  | Porous material | 55 | 0.65 | 35.75 | 
 |  | windows | 7.5 | 0.12 | 0.9 | 
 |  | Doors | 9 | 0.07 | 0.63 | 
 | Ceiling | suspended ceiling | 183.61 | 0.92 | 168.9212 | 

## Slide 61: Quantity
Survey

## Slide 62: Project Cost
Floor Area = 2533.6 m2 , Total Building Area = 10,134 m2.
Total Cost = 23,644,375 NIS.
Cost/m2 = 2334 NIS