## Slide 1
Green Building for Jalqamous multi-purpose
An-Najah National University
Faculty of Building Engineering
Dec. 2013

## Slide 2: Prepared By : Wala’ Ihbeashih- Wala’ Hourane- Ghadeer Ahmad
Graduation Project:
An-Najah National University
Faculty of Building Engineering
Supervised By :
Dr. Sameh Mona
Green Building for Jalqamous multi-purpose

## Slide 3: Outlines for our presentation:
Building Engineering
Graduation Project
Introduction about Green Building.
Project General Information.
Architectural design.
Environmental design.
Structural design.
Mechanical design.
Electrical design.
Out Lines :

## Slide 4: Introduction about Green Buildings:
Building Engineering
Graduation Project
Introduction :
Green Building Aspects
Site Sustainability
15%
Indoor environment quality
15%
Energy efficiency
30%
Water efficiency
25%
Material & resources
10%
Innovation & new technologies
5%

## Slide 5: Introduction about Green Buildings:
Building Engineering
Graduation Project
The Goals of having Green Buildings:
General Objectives
 Efficiently using energy, water, and other resources.
 Protecting occupant health and improving employee productivity.
 Reducing waste, pollution and environmental degradation.

## Slide 6: General Information
Building Engineering
Graduation Project
A- Location & site plan
The proposed site is located in the village of Jalqamous, which is approximately 10 km to the south east of Jenin in the north of the West Bank.

## Slide 7: General Information
Building Engineering
Graduation Project
A- Jalqamous climate:
Dec | Nov | Oct | Sep | Aug | Jul | Jun | May | Apr | Mar | Feb | Jan | Month
25 (78) | 29.0 (84) | 39 (102) | 370 (99) | 35.8 (96) | 37.6 (99) | 37.6 (100) | 40.4 (105) | 38.6 (101) | 26.8 (80) | 26 (79) | 25 (77) | Max Temp °C (°F)
18.8 (66) | 25.0 (77) | 30.6 (87) | 33.2 (92) | 34.2 (94) | 33.6 (92) | 32.9 (100) | 31.0 (88) | 28.3 (83) | 21.6 (71) | 18.2 (65) | 174 (63) | Average Max °C (°F)
6.0 | 11.0 | 11.0 | 17.8 | 21.0 | 21.4 | 17.0 | 12.8 | 3.4 | 5.0 | 1.0 | 2.0 | MIin Temp °C (°F)
8.7 (48) | 11.8 (53) | 16.1 (61) | 19.8 (68) | 21.1 (70) | 19.6 (63) | 17.3 (63) | 14.0 (57) | 11.2 (52) | 8.6 (48) | 7.1 (45) | 6.8 (44) | Average Min °C (°F)
13.7 (57) | 18.4 (65) | 23.3 (74) | 26.5 (80) | 27.6 (82) | 26.6 (80) | 25.1 (79) | 22.5 (73) | 19.7 (67) | 15.1 (59) | 12.6 (55) | 21.1 (54) | Average Daily °C (°F)
93 | 40 | 16 | 0 | 0 | 0 | 0 | 6 | 25 | 65 | 62 | 107 | Rainfall mm
74 | 66 | 65 | 64 | 65 | 63 | 63 | 60 | 67 | 76 | 84 | 80 | Relative Humidity %
5.4 | 6.8 | 8.1 | 9.1 | 10 | 11.1 | 11.3 | 9.7 | 7.8 | 6.8 | 5.6 | 5.4 | Sun Hour

## Slide 8: General Information
Building Engineering
Graduation Project
A- Sun path & Wind movement:

## Slide 9: Architectural design
Building Engineering
Graduation Project
Outline:
Location & site characteristics.
Site Plan.
Ground, First , Basement & Roof Plans.
Elevations.
Sections.

## Slide 10: General Information
Building Engineering
Graduation Project
A- Location & site characteristics:
Non spoiled land.
Steep Slopes.
Natural rocks.
Non planted area.
Opened view to east & south.
Access to land from North & south

## Slide 11: Architectural design
Building Engineering
Graduation Project
A- Location & site plan:

## Slide 12: Architectural design
Building Engineering
Graduation Project
A- Jalqamous climate:

## Slide 13: Architectural design
Building Engineering
Graduation Project
A- Basement Floor:

## Slide 14: Architectural design
Building Engineering
Graduation Project
A- Ground Floor:

## Slide 15: Architectural design
Building Engineering
Graduation Project
A- First Floor:

## Slide 16: Architectural design
Building Engineering
Graduation Project
A- Roof Floor:

## Slide 17: Architectural design
Building Engineering
Graduation Project
A- Elevations:
Western Elevation
Eastern Elevation

## Slide 18: Architectural design
Building Engineering
Graduation Project
A- Elevations:
Northern Elevation
Southern Elevation

## Slide 19: Architectural design
Building Engineering
Graduation Project
A- Jalqamous climate:
Section B-B
Section A-A

## Slide 20: Environmental & Green building Evaluation:
Building Engineering
Graduation Project
Outline
Orientation.
Sun path.
Natural Lighting.
Thermal Comfort.
Cooling & Heating.

## Slide 21: Environmental & Green building Evaluation:
Building Engineering
Graduation Project
Orientation
The best orientation for the two models is at 137 away from north.

## Slide 22: Environmental & Green building Evaluation:
Building Engineering
Graduation Project
Sun path
In 21th of January at 12:00 pm :
Second model
first model

## Slide 23: Environmental & Green building Evaluation:
Building Engineering
Graduation Project
Sun path
In 21th of July at 12:00 pm :
Second model
first model

## Slide 24: Environmental & Green building Evaluation:
Building Engineering
Graduation Project
Natural Lighting( Multi-Purpose Room )
first model:
Average Value: 6.45%
Second model:
Average Value: 7.75%
Value range: 1.2-81.2 %
Average value: 6.45 %
Value range: 1.2-81.2 %
Average value: 6.45 %
Value range: 1.2-81.2 %
Average value: 6.45 %
Value range: 1.2-81.2 %
Average value: 6.45 %
Value range: 1.2-81.2 %
Average value: 6.45 %

## Slide 25: Environmental & Green building Evaluation:
Building Engineering
Graduation Project
Thermal comfort ( Phase 1 & 2 )
In this project we use (Polystyrene foam low density) . The U-value and the cross section of the external wall as shown here:
Value range: 1.2-81.2 %
Average value: 6.45 %
Value range: 1.2-81.2 %
Average value: 6.45 %
Value range: 1.2-81.2 %
Average value: 6.45 %
Value range: 1.2-81.2 %
Average value: 6.45 %
Value range: 1.2-81.2 %
Average value: 6.45 %

## Slide 26: Environmental & Green building Evaluation:
Building Engineering
Graduation Project
Cooling & Heating:
first model
73.184 KWh/m2/year
Second model
45.034 KWh/m2/year

## Slide 27: Environmental & Green building Evaluation:
Building Engineering
Graduation Project
Comparison between two phases
Environmental standards | Phase (1) |  |  | Phase(2) |  |  | Best phase
Thermal comfort | Well sealed | Average | Cross ventilated (still air) | Well sealed | Average | Cross ventilated (still air) | Phase(2)
 | 25.4 | 27.9 | 12 | 30.5 | 29.2 | 12.6 | 
Heating& cooling(/m2) | 73.184 KWh |  |  | 45.034 KWh |  |  | Phase(2)
Lighting(%) | 6.45 |  |  | 7.75 |  |  | Phase(2)

## Slide 28: Environmental & Green building Evaluation:
Building Engineering
Graduation Project
Green Building Evaluation:
In our evaluation of green aspects for this building,,, we depended on the New Palestinian Code for Green Buildings taking into consideration that the evaluation was focused on the design stage for every step. But the points for either construction & operation stage were put Automatically & we hope that this points will be achieved in the nearly future.
Hint:

## Slide 29: Environmental & Green building Evaluation:
Building Engineering
Graduation Project
Green Building Evaluation:
The evaluation of green aspects was taken for the phase(1) as shown in the tables below :
1) Site Sustainability
2) Indoor Environment Quality
Items | earned | point | Achieved points
Site Sustainability | Yes | No | 
Construction activity pollution prevention | Yes |  | required
Site selection | Yes |  | 1
Building Accessibility | Yes |  | 3
Site development | Yes |  | 5
Outdoor thermal comfort | Yes |  | 2
Urban heat Island | Yes |  | 3
Alternative transportation | Yes |  | 2
Storm water design | Yes |  | 4
Light pollution reduction |  | No | 0
Total Point |  |  | 20
Items | earned | point | Achieved points
Indoor environment quality | Yes | No | 
Minimum IAQ performance | Yes |  | required
Smoking control | Yes |  | required
Healthy ventilation delivery |  | No | 0
Material emission |  | No | 0
Car Park Air quality management | Yes |  | 2
Thermal comfort &controls | Yes |  | 6
High frequency lighting | Yes |  | 2
Daylight &glare | Yes |  | 3
View | Yes |  | 2
Indoor noise pollution | Yes |  | 2
Safe& secure Environment |  | No | 0
Total point |  |  | 17

## Slide 30: Environmental & Green building Evaluation:
Building Engineering
Graduation Project
Green Building Evaluation:
3) Energy Efficiency
4) Water Efficiency
Items | earned | point | Achieved points
Energy efficacy | Yes | No | 
التخطيط لأنظمة الطاقة بالمبنى | Yes |  | required
تحقيق الحد الأدنى لكفاءة استهلاك الطاقة | Yes |  | required
التخطيط لإدارة أنظمة التبريد بالمبنى | Yes |  | required
تحقيق الحد الأفضل لكفاءة استخدام الطاقة | Yes |  | 10
Renewable energy | Yes |  | 14
كفاءة المعدات والأجهزة المستخدمة في المباني | Yes |  | 5
المباني الذكية |  | No | 0
Total Point |  |  | 29
Items | earned | point | Achieved points
Water efficacy | Yes | No | 
ترشيد استهلاك المياه |  |  | required
ترشيد استهلاك الماء البارد | Yes |  | 8
ترشيد انتاج استهلاك الماء الساخن | Yes |  | 15
Rain water harvesting& reuse | Yes |  | 4
Waste gray water recycling reuse | Yes |  | 8
Water system management, monitoring, metering& control | Yes |  | 2
Total point |  |  | 37

## Slide 31: Environmental & Green building Evaluation:
Building Engineering
Graduation Project
Green Building Evaluation:
5) Materials & resources
6) Innovation, and building Integrated design
Innovation, and building Integrated design | Yes | No | Achieved points
Innovation in design | Yes |  | 4
Integrated design approach | Yes |  | 3
Using new technologies |  | NO | 0
Total Point |  |  | 7
Items | Earned | point | Achieved points
Material& resource | Yes | No | 
Construction& operation waste management program | Yes |  | required
Hazard material elimination | Yes |  | required
Non-polluting material | Yes |  | 3
Regional materials | Yes |  | 4
Recycled materials |  | No | 0
Rapidly renewable materials | Yes |  | 2
Material reuse |  | No | 0
Material durability | Yes |  | 2
Building reuse | Yes |  | 2
Design for flexibility& disassembly |  | No | 
Total point |  |  | 13

## Slide 32: Environmental & Green building Evaluation:
Building Engineering
Graduation Project
Green Building Evaluation:
As a result from the previous tables, 123 points were achieved & this is can be considered as a silver degree in the Palestinian Rating System.:
Aspects of Green Building: | Possible Points | Achieved Point
Sustainable sites | 30 | 20
Water efficiency | 50 | 37
Energy and Atmosphere | 60 | 29
Materials and Resources | 20 | 13
Indoor Environmental Quality | 30 | 17
Innovation in Design | 10 | 7

## Slide 33: Structural design
Building Engineering
Graduation Project
Structural design
Design Codes:
The structural design will be according to :
1) The American Concrete Institute code ACI 318-08 .
2) The seismic design according to UBC-97.
Software:
SAP 2000, V14.2.2

## Slide 34: Structural design
Building Engineering
Graduation Project
Design data
Compressive strength of concrete (f\c)
beams
shear walls
columns
footing
f\c =30 MPa
(Fy = 420 MPa)
300 KN/m2
Sc
Soil type is
Bearing capacity of soil
Yielding strength of steel

## Slide 35: Structural design
Building Engineering
Graduation Project
Loads
Dead load consist:
Own weight for the building comes from the weight of (beams, columns , slabs, wall).
Superimposed dead load is
Live load
Seismic design load:
Importance factor=1
Seismic coefficient Cv=0.36
Seismic coefficient Ca=0.24
R=3.5
3 KN/m²
3KN/m²

## Slide 36: Structural design
Building Engineering
Graduation Project
Unit weights for different materials:
Material | Density (kN/m3)
Reinforced concrete (beams, columns) | 25
Brick | 12
Masonry stone | 26
Sand | 18
Aggregate | 17
Polystyrene | 0.3
Mortar | 2.3
Tile | 12

## Slide 37: Structural design
Building Engineering
Graduation Project
Preliminary dimensions:
Slab Dimension:
-In our project, we have one way ribbed slab in the first floor and apart of the second slab is a one way solid with drop beams.
- Slab Thickness = 30 cm
Slab Dimension
Beams Dimensions:
Main beam (hidden) : (30*75),(30*50).
Main beam(drop): (50*70).
Secondary beam : (30*40).
Columns Dimensions:
Column (25*30) .
Column (25*40) .
Column (25*50) .
Column (25*60) .

## Slide 38: Structural design
Building Engineering
Graduation Project
3D sap model

## Slide 39: Structural design
Building Engineering
Graduation Project
Model Validation
Compatibility check :

## Slide 40: Structural design
Building Engineering
Graduation Project
Equilibrium check :
This difference between manual and SAP weight may be related to ignoring some details in manual calculations or to some assumption in manual calculations.
percentage of error shouldn’t exceed 5%
Loads | SAP | Manual | Error%
Dead Load | 16368 KN | 15667.8 KN | 4%
Live Load | 1899.52 KN | 1904 KN | 0.28%
the check it was ok because the error less than 5%.

## Slide 41: Structural design
Building Engineering
Graduation Project
Local equilibrium check (internal loads)

## Slide 42: Structural design
Building Engineering
Graduation Project
Design elements :
slab
Beams.
Columns.
Footings.
Shear wall.
Stairs.
Seismic Design.

## Slide 43: Structural design
Building Engineering
Graduation Project
Slab design :
The Slabs are designed as one way ribbed slab with hidden beams & one way solid slab with drop beams with thickness =30cm
Section in ribbed slab

## Slide 44: Structural design
Building Engineering
Graduation Project
Slab Reinforcement:

## Slide 45: Structural design
Building Engineering
Graduation Project
Slab Reinforcement:

## Slide 46: Structural design
Building Engineering
Graduation Project
Sections in slab:

## Slide 47: Structural design
Building Engineering
Graduation Project
Beams Design:

## Slide 48: Structural design
Building Engineering
Graduation Project
Sections in main beam (30*75)cm:

## Slide 49: Structural design
Building Engineering
Graduation Project
Sections in secondary beam (30*40)cm:

## Slide 50: Structural design
Building Engineering
Graduation Project
Columns Design:
.
Columns Groups:
Column group | Ag | ρ | As(mm) | ϴ | #N
1 | 150000 | 0.01 | 1500 | 16 | 8
2 | 125000 | 0.01 | 1250 | 16 | 8
3 | 100000 | .01 | 1000 | 16 | 6
4 | 75000 | 0.01 | 750 | 16 | 4

## Slide 51: Structural design
Building Engineering
Graduation Project
Columns Design:
.
Center Plan:

## Slide 52: Structural design
Building Engineering
Graduation Project
Columns Design:
.
Sections in columns:

## Slide 53: Structural design
Building Engineering
Graduation Project
Columns Design:
.
Sections in columns:

## Slide 54: Structural design
Building Engineering
Graduation Project
Footings Design:
.
Footings Groups:
Group | P service | P ultimate | Dimension | As | No of bar
1 | 2400 | 2902 | L=3m B=2.7 H=0.55 m | 4522.4 mm2 4246 mm2 | long direction 15 ϕ 20 Short direction 14 ϕ 20
2 | 1515 | 1852 | L=2.6m B=2m H=0.7m | 2808 mm2 2160 mm2 | long direction 10 ϕ 20 Short direction 7ϕ 20
3 | 683 | 765.5 | L=1.7m B=1.4 m H=0.4m | 1224 mm2 1008 mm2 | long direction 4ϕ 20 Short direction 4ϕ 20
We used two types of footings:
1-single footing
2-Wall footing

## Slide 55: Structural design
Building Engineering
Graduation Project
Footings Design:
.
Footings Plan:

## Slide 56: Structural design
Building Engineering
Graduation Project
Footings Design:
.
Single Footing Detail:

## Slide 57: Structural design
Building Engineering
Graduation Project
Footings Design:
.
Wall Footing Details:

## Slide 58: Structural design
Building Engineering
Graduation Project
Stair Design:
.
Stair Dimensions:
Our Calculations for designing stair were taken for the element as shown below :

## Slide 59: Structural design
Building Engineering
Graduation Project
Stair Design:
.
Stair Dimensions:
After Calculations for designing stair the dimensions are:
= 290
Going = 30 cm
Riser = 17 cm
Floor height = 3.49 m
The stair case in our building has three parts, in each part:
No. of goings = 6
No. of risers = 7
The width of the one step = 1.35m
Stair slab thickness = 25cm
Slab waist thickness = 15 cm

## Slide 60: Structural design
Building Engineering
Graduation Project
Stair Design:
.
Check deflection by sap:
Check shear by sap:

## Slide 61: Structural design
Building Engineering
Graduation Project
Stair Design:
.
Bending moment by sap:
Area of steel by sap:

## Slide 62: Structural design
Building Engineering
Graduation Project
Stair Design:
.
Stair’s Reinforcement:

## Slide 63: Structural design
Building Engineering
Graduation Project
Seismic Design:
.
Seismic Zone:
The project is designed and analysed using UBC97 design code. The
building is in Jenin City, which in zone 2B where Z=0.2.
Seismic coefficient (Cv=0.36).
Seismic coefficient (Ca=0.24).
The structure system is designed as ordinary structure
The Response spectrum scale factor (gI/R) =2.8
By using response spectrum method:

## Slide 64: Structural design
Building Engineering
Graduation Project
Seismic Design:
.
Check for ( T ):
Fundamental period of structure(T):
In this check, period calculated manually was compared with the period that results from SAP
T (manually) =0.23 sec
T (sap) =0.24 sec

## Slide 65: Structural design
Building Engineering
Graduation Project
Seismic Design:
.
Response Spectrum Results:
Our results were come after using 100 modes instead of 12 modes.

## Slide 66: Structural design
Building Engineering
Graduation Project
Seismic Design:
.
Earthquake force check:
The check was finding based on equivalent static method manually . After that we compared it with SAP result (Response spectrum).
Base shear value (manually) = 1123.6 KN
Base shear value (sap) = 1477.723 KN

## Slide 67: Mechanical Design
Building Engineering
Graduation Project
Outline
Water Supply system.
Sanitation system.
Rain incline .
Elevator system.
Fire System.
HVAC system.

## Slide 68: Mechanical Design
Building Engineering
Graduation Project
Water supply
Ground Floor:

## Slide 69: Mechanical Design
Building Engineering
Graduation Project
Sanitation system
Ground Floor:

## Slide 70: Mechanical Design
Building Engineering
Graduation Project
Sanitation system
For zones 2 & 3:

## Slide 71: Mechanical Design
Building Engineering
Graduation Project
Sanitation system

## Slide 72: Mechanical Design
Building Engineering
Graduation Project
Rain incline

## Slide 73: Mechanical Design
Building Engineering
Graduation Project
According to the American code, the design consists two things:
The type of the elevator
The number of the elevator
The type of the elevators
(2500Ib/400ft/min)
The number of elevators are two; the main one & another one for services.
Elevator design system

## Slide 74: Mechanical Design
Building Engineering
Graduation Project
Fire System:
Fire Exits

## Slide 75: Mechanical Design
Building Engineering
Graduation Project
Tow manual system:
fire extinguisher ( Class K)
fire hose system(hose wheel)
Fire System:
Protection Systems:

## Slide 76: Mechanical Design
Building Engineering
Graduation Project
HVAC System:
Distribution of diffuser:

## Slide 77: Electric Design:
Building Engineering
Graduation Project
Outline
Power distribution.
Manual lighting Design.
Lighting Design by DIALux.
Distribution board .

## Slide 78: Electric Design:
Building Engineering
Graduation Project
Power distribution:
In our project we use normal socket (2A,5A) and special socket(16A).

## Slide 79: Electric Design:
Building Engineering
Graduation Project
Manual lighting Design:
For artificial lighting
Technical values for design
Function | Em (Lx)
Offices | 500
Meeting room | 750
Entrance hall | 300
Computer room | 500
Multipurpose hall | 500
Corridors | 150
Stairs | 100
Function | Height
Offices | Desktop-75cm
Corridors | Ground level
Stairs | The level of pedal stairs

## Slide 80: Electric Design:
Building Engineering
Graduation Project
Lighting Design by DIALux.
Lighting units used in DIALux .

## Slide 81: Electric Design:
Building Engineering
Graduation Project
light distribution in meeting room with DIALux:-

## Slide 82: Electric Design:
Building Engineering
Graduation Project
light result for meeting room in DIALux:-
Average illuminances[lx] =Direct + indirect = 524+227 = 751>700
OSRAM 4008321380937 DEDRA T5 VABS KIT 4x14W/840

## Slide 83: Electric Design:
Building Engineering
Graduation Project
light distribution in office1 with DIALux:-
light distribution in office 1
Work plane display

## Slide 84: Electric Design:
Building Engineering
Graduation Project
light result for meeting room in DIALux:-
Average illuminances[lx] =Direct+indirect=354+171=515>500
OSRAM 4050737038117 Siteco louvre lum.
M,3x14W,T16,ECG,dir ALU MT

## Slide 85: Electric Design:
Building Engineering
Graduation Project
Lighting units and switches distribution for ground floor
Total lighting load | 6960 watt
Total number of lamp | 119 lamp

## Slide 86: Electric Design:
Building Engineering
Graduation Project
Distribution board :

## Slide 87: Quantity surveying
Building Engineering
Graduation Project
  Quantity surveying
Item | Item Description | Unit | Quantity | Direct Cost (NIS/ unit) |  |  | Unit Cost (NIS/unit ) | Total Direct cost (NIS) | Unit Price (NIS ) | Total Price (NIS )
 |  |  |  | Labor Cost | Material Cost | Equipment cost |  |  |  | 
1.1 | Earth Work |  |  |  |  |  |  |  |  | 
1.1.1 | Excavation | CM | 306 | 3 | ـــــــ | 12 | 15 | 4590 | 17.0 | 5214.2
1.1.2 | Back Filling | CM | 219.92 | 3 | ـــــــ | ــــــــ | 3 | 659.76 | 3.41 | 749.5
1.2 | Form Work |  |  |  |  |  |  |  |  | 
1.2.1 | Foundation | SM | 121.84 | 8 | 50 | ـــــــ | 58 | 7066.72 | 65.89 | 8027.8
1.2.2 | Column | SM | 212.25 | 8 | 50 | ـــــــ | 58 | 12310.5 | 65.89 | 13984.7
1.2.3 | Tie beams | SM | 168.92 | 8 | 50 | ـــــــ | 58 | 9797.36 | 65.89 | 11129.8
1.2.4 | Slab | SM | 734.6 | 8 | 50 | ـــــــ | 58 | 42606.8 | 65.89 | 48401.3
1.2.5 | Stairs | SM | 34.717 | 8 | 50 | ـــــــ | 58 | 2013.586 | 65.89 | 2287.4
1.3 | Concrete Work |  |  |  |  |  |  |  |  | 
1.3.1 | Foundation | CM | 86.08 | 15 | 300 | ـــــــ | 315 | 27115.2 | 357.84 | 30802.9
1.3.2 | Column | CM | 16.232 | 15 | 300 | ـــــــ | 315 | 5113.08 | 357.84 | 5808.5
1.3.3 | Tie beams | CM | 38 | 15 | 300 | ـــــــ | 315 | 11970 | 357.84 | 13597.9
1.3.4 | Slab | CM | 89 | 15 | 300 | ـــــــ | 315 | 28035 | 357.84 | 31847.8
1.3.5 | Beams | CM | 50.46 | 15 | 300 | ـــــــ | 315 | 15894.9 | 357.84 | 18056.6
1.3.6 | Stairs | CM | 7.935 | 15 | 300 | ـــــــ | 315 | 2499.525 | 357.84 | 2839.5
1.4 | Steel Work |  |  |  |  |  |  |  |  | 
1.4.1 | Foundation | Ton | 2.03 | 300 | 21450 | ـــــــ | 3600 | 7308 | 4089.6 | 8301.9
1.4.2 | Column | Ton | 2.9 | 300 | 3300 | ـــــــ | 3600 | 10440 | 4089.6 | 11859.8
1.4.3 | Tie beams | Ton | 1.23 | 300 | 3300 | ـــــــ | 3600 | 4428 | 4089.6 | 5030.2
1.4.4 | Slab | Ton | 4.5 | 300 | 3300 | ـــــــ | 3600 | 16200 | 4089.6 | 18403.2
1.4.5 | Beams | Ton | 5.275 | 300 | 3300 | ـــــــ | 3600 | 18990 | 4089.6 | 21572.6
1.4.5 | Stairs | Ton | 14.2 | 300 | 3300 | ـــــــ | 3600 | 51120 | 4089.6 | 58072.3
1.5 | Finishing |  |  |  |  |  |  |  |  | 
1.5.1 | Block | SM | 4213 | 8 | 2 | ـــــــ | 10 | 42130 | 11.36 | 47859.7
1.5.2 | internal plastering | SM | 1450.65 | 5 | 5 | ـــــــ | 10 | 14506.5 | 11.36 | 16479.4
1.5.3 | Stone | SM | 712.99 | 25 | 65 | ـــــــ | 90 | 64169.1 | 102.24 | 72896.1
1.5.4 | Tiles | SM | 1043.25 | 13 | 50 | ـــــــ | 63 | 65724.435 | 71.57 | 74663.0
1.5.5 | Painting | SM | 1450.65 | 13 | 20 | ـــــــ | 33 | 47871.45 | 37.49 | 54382.0
1.5.6 | Windows | Unit | 163.2 | 10 | 300 | ـــــــ | 310 | 50592 | 352.16 | 57472.5
1.5.7 | Doors | Unit | 64.76 | 12 | 700 | ـــــــ | 712 | 46109.12 | 808.83 | 52380.0
1.5.8 | Insulation | SM | 945.29 | 2.5 | 50 | ـــــــ | 52.5 | 49627.725 | 59.64 | 56377.1
Total |  |  |  |  |  |  |  | 658888.761 |  | 748497.6

## Slide 88: Quantity surveying
Building Engineering
Graduation Project
  Quantity surveying
The total cost for our project for all element without mechanical & electrical elements.
Total price (NIS) | 748497.6

## Slide 89: Introduction about Green Buildings:
Building Engineering
Graduation Project
Manual lighting Design:
Walaa’
Walaa’
Ghadeer