## Slide 1: Design for restaurant
Prepared By:
Rasha Suwan
Ola Ziad
Lina Qassem
Supervisor: Dr. Moayad Salhab.

## Slide 2: Contents
Introduction.
Site analysis.
Architectural design.
Environmental design.
Structural design.
Electrical design .
Mechanical design.
Quantity Survey and cost.
Conclusion.

## Slide 3: INTRODUCTION

## Slide 4: SITE LOCATION
Location: Northern west of Nablus City.
Area: The site area is about 5800 m2.

## Slide 5: SITE ANALYSIS
Considering the sun path ,wind ,noise and pollution.

## Slide 6: SITE PLAN

## Slide 7
Architectural Design

## Slide 8
Architectural Design
Plans
Elevations
Sections
Results

## Slide 9: Feraro Restaurant 3D Model

## Slide 10: Basement floor plan
Architectural Design
Total area of this floor it is about 490 m2
It contains: parking.

## Slide 11: Ground floor plan
Architectural Design
Total area of this floor it is about 1550 m2
It contains: Reception, security room, hall, terrace, services, stuff room, kitchen and store.

## Slide 12: First floor plan
Architectural Design
Total area of this floor it is about 1120 m2
It contains: Hall, bar, playing area, manager room, services and store .

## Slide 13: North elevation
Architectural Design

## Slide 14: South elevation
Architectural Design

## Slide 15: West elevation
Architectural Design

## Slide 16: East elevation
Architectural Design

## Slide 17: Section A-A
Architectural Design

## Slide 18: Section B-B
Architectural Design

## Slide 19
Result
Architectural Design
Functions | Result area percentage for functions (%) | Standard area percentage for functions (%)
Hall | 53 | 50
Kitchen | 28 | 30
Services | 19 | 20

## Slide 20
Structural Design

## Slide 21
Structural Design
Codes & standards
Materials
Loads
Results
Checks

## Slide 22
Codes and Standards:
ACI 318-14 for reinforced concrete design.
UBC-97 for seismic design and its load combinations.
ASCE for load combinations.
Structural Design

## Slide 23
Materials :
Concrete strength for columns and shear wall f′c= 28MPa ,for footing f′c= 32MPa, and 24MPa for beams and slabs.
Steel yield strength Fy= 420MPa.
Bearing capacity for soil = 250 kN/m2
Structural Design

## Slide 24
Structural Design
Lateral loads:
Nablus City.
Seismic zone is 2B (z=0.2)
Soil profile is SD
Acceleration seismic coefficients, Ca=0.28
Velocity seismic coefficients, Cv= 0.4
Importance factor, I=1
Force reduction factor, R=5.5

## Slide 25
Loads :
Dead load.
Super imposed dead load =5 kN/m2 .
Live load = 5 kN/m2 .
Structural Design

## Slide 26
Structural Design
3D Model form ETABS

## Slide 27
Checks:
Compatibility check.
Structural Design

## Slide 28
Structural Design
Checks:
Compatibility check.
Equilibrium check.
All of the percentage error that checked from dead, live and SID less than 5%

## Slide 29
Structural Design
Checks:
Compatibility check.
Equilibrium check.
Stress strain check.
All of the structural elements checked, the difference between ETABS and manual calculations was been less than 10%

## Slide 30
Structural Design
Checks:
Compatibility check.
Equilibrium check.
Stress strain check.
Deflection check
F
IGURE
93
:
SHOW THE MAXIMUM DEF
LECTION FROM
ETABS2016
.
Deflection limitation= 32.5mm.
Maximum deflection in slab = 29.279mm.
The checks deflection is ok.

## Slide 31
Structural Design
Checks:
Compatibility check.
Equilibrium check.
Stress strain check.
Deflection check.
Deflection limitation= 70mm.
Maximum deflection in slab = 50.449mm.
The checks deflection is ok.

## Slide 32
Structural Design
Checks:
Compatibility check.
Equilibrium check.
Stress strain check.
Deflection check.
Period check.
T ETABS < T manual so check is ok.

## Slide 33
Structural Design
Checks:
Compatibility check.
Equilibrium check.
Stress strain check.
Deflection check.
Period check.
Model participation mass ratio.

## Slide 34
Structural Design
Model participation mass ratio.
For first model
The summation for both directions greater than 0.9 in model 8.so this check its ok.

## Slide 35
Structural Design
Model participation mass ratio.
For second model
The summation for both directions greater than 0.9 in model 11 .so this check its ok.

## Slide 36
Structural Design
Checks:
Compatibility check.
Equilibrium check.
Stress strain check.
Deflection check.
Period check.
Model participation mass ratio.
Base shear.
VETABS >V manual so check is ok.

## Slide 37
Structural Design
Checks:
Compatibility check.
Equilibrium check.
Stress strain check.
Deflection check.
Period check.
Model participation mass ratio.
Base shear.
Drift check.
limitation so check is ok.

## Slide 38
Structural Design
(Results)
Basement floor for slab & beams distributions.

## Slide 39
Structural Design
(Results)
Ground floor for slab & beams distributions.

## Slide 40
Structural Design
(Results)
First floor for slab & beams distributions.

## Slide 41
 | Width(cm) | Depth(cm)
U-BOOT slab |  | 45
Waffle slab |  | 45
Beams | 90 | 45
 | 70 | 
 | 50 | 
 | 30 | 
 | 50 | 200
 | 30 | 100
Columns(rectangular) | 90 | 40
 | 60 | 
 | 30 | 
 | 100 | 100
 | 100 | 60
Columns(circular) | 90 | 
Columns(circular) | 70 | 
Shear walls | 30 | 
Structural Design
(Results)

## Slide 42
Structural Design
(Results)
Footing and tie beam distributions plan

## Slide 43
Model.NO | Type | Footing thickness (cm)
1 | Single footing | 100
 | Mat | 80
2 | All footing | 60
Structural Design
(Results)

## Slide 44
Environmental Design

## Slide 45
Environmental Design
Thermal design
Acoustical design
Lighting design

## Slide 46
Environmental Design
Thermal design (3D model from design builder program).

## Slide 47
Environmental Design
Thermal design (Materials).
External walls Internal walls U-value = 0.416 w/.K U-value = 1.67 w/.K

## Slide 48
Environmental Design
Thermal design (Materials).
U-BOOT slab Waffle slab U-value = 0.337 w/.K U-value = 0.309 w/.K

## Slide 49
Environmental Design
Thermal design (Materials).
Internal wall layer U-value = 0.372 w/.K

## Slide 50
Environmental Design
Thermal design (Heating loads).

## Slide 51
Environmental Design
Thermal design (Cooling loads).

## Slide 52
Environmental Design
Thermal design (Simulation comfort).

## Slide 53
Environmental Design
Thermal design (Site energy).

## Slide 54
Environmental Design
Thermal design (Shading in winter).
At 12:00 pm on 21/January
At 8:00 am on 21/January

## Slide 55
At 12:00 pm on 21/June
At 8:00 am on 21/June
Environmental Design
Thermal design (Shading in summer).

## Slide 56
Environmental Design
Acoustical design (Reverberation time (RT60) ).
Double volume hall

## Slide 57
Result for double volume hall
Environmental Design
Acoustical design (Reverberation time (RT60) ).

## Slide 58
Environmental Design
Acoustical design (Reverberation time (RT60) ).
Kitchen

## Slide 59
Environmental Design
Acoustical design (Reverberation time (RT60) ).
Result for kitchen

## Slide 60
Environmental Design
Acoustical design (Sound Transmission Class (STC)).
For external walls:
Designed value by using Insul software is 61 dB.

## Slide 61
Environmental Design
Acoustical design (Sound Transmission Class (STC)).
For internal walls:
Designed value by using Insul software is 47 dB.

## Slide 62
Environmental Design
Acoustical design (Sound Transmission Class (STC)).
For composite walls:
Designed value by using Insul software is 45 dB.

## Slide 63
Environmental Design
Lighting design.
Used DIALUX software to achieve the required artificial deign, nine zones were taken into consideration.
  Parking.
  Kitchen.
  Reception.
  Stuff room.
  Manager room.
  6. Terrace.
  7. Storage.
  8. Main Hall.
  9. Hall.

## Slide 64
Environmental Design
  Lighting design (Luminaire used).

## Slide 65
Environmental Design
  Lighting design (Luminaire used).

## Slide 66
Environmental Design
  Lighting design (Luminaire used).

## Slide 67
Environmental Design
Lighting design (Results.)
Parking assessment | Illuminance (Lux) | Glare
Standards | 75 | ____
Result | 109 | ____
Kitchen assessment | Illuminance (Lux) | Glare
Standards | 500 | ____
Result | 504 | ____
Reception assessment | Illuminance (Lux) | Glare
Standards | 300 | ____
Result | 305 | ____

## Slide 68
Environmental Design
Stuff room assessment | Illuminance (Lux) | Glare
Standards | 500 | 19
Result | 507 | 17.8
Manager room assessment | Illuminance (Lux) | Glare
Standards | 300 | 22
Result | 404 | 20.9
Terrace assessment | Illuminance (Lux) | Glare
Standards | 150 | _____
Result | 274 | _____
Lighting design (Results.)

## Slide 69
Environmental Design
Lighting design (Results.)
Storage assessment | Illuminance (Lux) | Glare
Standards | 100 | ____
Result | 164 | ____
Hall assessment | Illuminance (Lux) | Glare1 | Glare2
Standards | 150 | 22 | 22
Result | 204 | 17 | 20.1
Small hall assessment | Illuminance (Lux) | Glare
Standards | 150 | ____
Result | 190 | ____

## Slide 70
Environmental Design
Lighting design (3D rendering view).
Parking.

## Slide 71
Environmental Design
Reception
Lighting design (3D rendering view).

## Slide 72
Environmental Design
Lighting design (3D rendering view).
Kitchen

## Slide 73
Environmental Design
Lighting design (3D rendering view).
Stuff room

## Slide 74
Environmental Design
Lighting design (3D rendering view).
Environmental Design
Manager room

## Slide 75
Environmental Design
Lighting design (3D rendering view).
Terrace

## Slide 76
Environmental Design
Store
Lighting design (3D rendering view).

## Slide 77
Environmental Design
Main hall
Lighting design (3D rendering view).

## Slide 78
Environmental Design
Hall
Lighting design (3D rendering view).

## Slide 79
Electrical Design

## Slide 80
Electrical Design
Lighting arrangement plans
Power distribution plans
Annual consumption

## Slide 81
Electrical Design
Lighting for basement floor

## Slide 82
Lighting for ground floor
Electrical Design

## Slide 83
Lighting for first floor
Electrical Design

## Slide 84
Electrical Design
Power distribution in ground floor

## Slide 85
Electrical Design
Power distribution in first floor

## Slide 86
Consumption | KWH
Electrical appliances | 322.165
Air condition system (A/C) | 168.92
lighting system | 150.8616
Total | 642.1
Electrical Design
Annual consumption cost (NIS) in winter and summer =642.1* 0.74 = 475NIS.
Annual consumption cost (NIS) in spring season =515.4* 0.74 = 381.4NIS.
Annual consumption table:

## Slide 87
Mechanical Design

## Slide 88
Mechanical Design
Water supply plans
Water consumption
Drainage system plans
Firefighting system
HVAC system

## Slide 89
Water supply in ground floor
Mechanical Design

## Slide 90
Water supply in first floor
Mechanical Design

## Slide 91
Mechanical Design
Water consumption :
Water consumption by people 70 litter for cold water.
Water consumption by people 10 litter for hot water.
Total number of people 400 person /day.
Total amount of cold fresh water 28 CM.
Total amount of hot water 4 CM.
Water consumption for firefighting 9 CM.

## Slide 92
Drainage for ground floor
Mechanical Design

## Slide 93
Drainage for first floor
Mechanical Design

## Slide 94
Mechanical Design
Rainwater drainage

## Slide 95
Mechanical Design
HVAC system
VRF system was used.
Main component of VRF system is:
Outdoor unit
Fan coil (indoor units)
Ducts
Diffusers
Liner slot diffusers
Inline extract fan
Collector

## Slide 96
HVAC system in ground floor
Mechanical Design

## Slide 97
HVAC system in first floor
Mechanical Design

## Slide 98
Firefighting system
Mechanical Design
Used several systems for firefighting:
Automatic sprinkler system
Up-right sprinkler
Extinguisher
Standpipes and hose stations.
Warning signs
Heat and smoke detectors

## Slide 99
Firefighting system in ground floor
Mechanical Design

## Slide 100
Firefighting system in first floor
Mechanical Design

## Slide 101: QUANTITY SURVEY AND COST
Stage | Cost (NIS )
Excavation and backfilling | 150748
Structural work | 1990843.8
Finishing | 1431305.7
Mechanical work | 411665
Electrical work | 140225
PV system | 12000
Total project cost | 41367 5 .78
Total unit cost(NIS/m2) = 1880.36 NIS/m2