## Slide 1
An-Najah National University Faculty of Engineering & Information Technology. Building Engineering Department. Graduation project (2) Integrated redesign of modern English school in Nablus city.
Prepared By:
1. Anwar Juma.
2. Sali Yahya.
3. Sineen Yahya.
Supervisor: Dr.Fady fatayer

## Slide 2: TABLE OF CONTENTS 03 01 02 04 05
06
Introduction
Architectural Aspects
Structural Aspects
Electro-Mechanical Aspects
Environmental Aspects
Quantity Surveying and Cost Estimation
2

## Slide 3: 01 Introduction

## Slide 4: Project Description
Location:
The site is located in Al-Ma’ajeen in Nablus, Palestine
Area = 4800m²
Three Streets surrounding school

## Slide 5: 02 Architectural Aspects
Site analysis
Adding a Parking floor
plans before and after modification
3D Picture

## Slide 6
Site Analysis
6

## Slide 7
Adding a Parking floor

## Slide 8: Basement two floor before modification
Plan before modification
8

## Slide 9: Basement two floor After modification
Plan After modification
9

## Slide 10: Basement one floor before modification
Plan before modification
10

## Slide 11: Basement one floor After modification
Plan After modification
11

## Slide 12: Ground floor before modification
Plan before modification
12

## Slide 13: Ground floor After modification
Plan After modification
13

## Slide 16: 03 Enviromental Aspects
Design Builder simulation
Daylight Factor
Shading Analysis

## Slide 17
Design Builder Simulation Analysis
External wall
Internal wall
17

## Slide 18
Design Builder Simulation Analysis
Roof slab
18

## Slide 19
Design-Builder Simulation Analysis(Thermal comfort)
PMV (-0.5 to +0.5)
Total cooling load capacity= 271.93 kW
Total heating load capacity= 259.94 kw
19

## Slide 20
Design-Builder Simulation Result
20

## Slide 21
Daylight analysis for Basement 2
Before Modification
After Modification

## Slide 22
Daylight analysis for Basement 2
Before Modification
After Modification

## Slide 23
Daylight analysis for Ground floor
Before Modification
After Modification

## Slide 24
Daylight analysis for Ground floor
Before Modification
After Modification

## Slide 25
Shading
25

## Slide 26: 03 Structural Aspects
Structural System
Structural Checks
Seismic Design
Seismic Checks
Design & Details

## Slide 27
Structural Blocks

## Slide 28
Structural System
The following codes were used in the structural design:
The American concrete institute code ACI 318 for reinforced concrete design
Uniform Building Code -UBC-97 for seismic design and load combinations.
Dead load (From ETABS)
SID= 4 KN/m2
Live Loads = 5 KN/m2
Load effect :
28

## Slide 29
Structural System
Basement three floor Column Distribution

## Slide 30
Structural System
Basement two floor Column Distribution

## Slide 31
Structural System
Basement one floor Column Distribution

## Slide 32
Structural System
Block 1 Compatibility Check

## Slide 33
Structural System
Block 1 Equilibrium Check
Load | Manual calculation | ETABs | Error (%)
Dead | 18194.088 | 18425.338 | 1.2%
Live | 9850 | 9851.2581 | 0.005%
SID | 20222.51 | 20222.5112 | 0.0%

## Slide 34
Structural System
Block 1 Internal forces checks Stress-Strain Check – Columns
Stress-Strain Check – beams
Column type | Calculated axial load | Axial load from ETABS | Difference (%)
Edge | 2589.39 | 2566.790 | 0.8%
Corner | 354.87 | 356.98 | 0.5%
Middle | 597.51 | 610.27 | 2.0%
beams | Calculated moment | ETABs moment | Difference (%)
Main beam | 380.34 | 377.115 | 0.85%
Secondary beam | 270.81 | 267.7 | 1.16%

## Slide 35
Structural System
Block 2 Compatibility Check

## Slide 36
Structural System
Block 2 Equilibrium Check
Load | Manual calculation | ETABs | Error (%)
Dead | 24145.6 | 23775.59 | 1.5%
Live | 10326.85 | 10301.54 | 0.24%
SID | 22763 | 22763.71 | 0.0%

## Slide 37
Structural System
Block 2 Internal forces checks Stress-Strain Check – Columns
Stress-Strain Check – beams
Column type | Calculated axial load | Axial load from ETABS | Difference (%)
Edge | 417.03 | 451.65 | 7.6%
Corner | 129.35 | 126.69 | 0.5%
Middle | 1645.42 | 1719.37 | 4.3%
beams | Calculated moment | ETABs moment | Difference (%)
Main beam | 374.88 | 391.355 | 4.2%
Secondary beam | 346.725 | 337.68 | 2.6%

## Slide 38
Structural System
Block 3 Compatibility Check

## Slide 39
Structural System
Block 3 Equilibrium Check
Load | Manual calculation | ETABs | Error (%)
Dead | 37510.83 | 36737.5138 | 0.4%
Live | 11350 | 11360.8905 | 0.09%
SID | 14480 | 15036.38 | 1.05%

## Slide 40
Structural System
Block 3 Internal forces checks Stress-Strain Check – Columns
Column type | Calculated axial load | Axial load from ETABS | Difference (%)
Edge | 1527.3 | 1605.32 | 4.8%
Corner | 1095.89 | 1185.13 | 7.5%
Middle | 4924.85 | 5329.32 | 7.5%

## Slide 41
Seismic Design
City of structure: Nablus
zone 2B which has a seismic zone factor of 0.20.
Soil profile type of very dense soil and soft rock (Sc).
Seismic importance factor of 1.5.
Building frame concrete system R 5.5.
Ca of 0.24.
Cv of 0.32.

## Slide 42
Structural System
Seismic checks Block 1
1. Check modal participation mass ratio

## Slide 43
Structural System
Seismic checks Block 2
1. Check modal participation mass ratio

## Slide 44
Structural System
Seismic checks Block 3
1. Check modal participation mass ratio

## Slide 45
Structural System
Seismic checks 2.Time period and base shear check
Block one |  |  |  |  | 
 | T ETABs | T calculated | V calculated | V ETABS | ERROR
X | 0.249 | 0.48 | 6515.014 | 6371.73 | 2.1%
Y | 0.304 | 0.48 | 6515.014 | 6515.01 | 2.3%
Block two |  |  |  |  | 
 | T ETABs | T calculated | V calculated | V ETABS | ERROR
X | 0.377 | 0.46 | 8121.142 | 8086.86 | 0.42%
Y | 0.250 | 0.46 | 8121.142 | 8121.126 | 0.0%
Block three |  |  |  |  | 
 | T ETABs | T calculated | V calculated | V ETABS | ERROR
X | 0.377 | 0.54 | 9233.135 | 9199.0931 | 0.36%
Y | 0.250 | 0.54 | 9233.135 | 9233.14 | 0.0%

## Slide 46
Structural System
Seismic checks 3. Drift check
Block 1
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4500 | 4.1 | 14.2 | 4.1 | 14.2 | 15.785 | 54.67 | 112.5
4500 | 21.3 | 34.1 | 17.2 | 19.9 | 66.22 | 76.615 | 112.5
4500 | 43 | 56 | 21.7 | 21.9 | 83.54 | 84.315 | 112.5
Height | Dis-X | Dis-Y | Drift-X | Drift-Y | Delta-X | Delta-Y | Delta Limitation
(mm) | (mm) | (mm) | (∆S) | (∆S) | (∆m) | (∆m) | (∆story)
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4500 | 26 | 10 | 26 | 10 | 100.1 | 38.5 | 112.5
4000 | 48 | 38 | 22 | 28 | 84.7 | 107.8 | 112.5
4000 | 64 | 52 | 16 | 14 | 61.6 | 53.9 | 112.5
Height | Dis-X | Dis-Y | Drift-X | Drift-Y | Delta-X | Delta-Y | Delta Limitation
(mm) | (mm) | (mm) | (∆S) | (∆S) | (∆m) | (∆m) | (∆story)
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9000 | 31.1 | 47.2 | 31.1 | 47.2 | 119.73 | 181.72 | 225
4000 | 51.6 | 57.7 | 20.5 | 10.5 | 78.925 | 40.425 | 112.5
Height | Dis-X | Dis-Y | Drift-X | Drift-Y | Delta-X | Delta-Y | Delta Limitation
(mm) | (mm) | (mm) | (∆S) | (∆S) | (∆m) | (∆m) | (∆story)
Block 2
Block 3

## Slide 47
Design and Details
Slab design

## Slide 48
Design and Details
Slab design

## Slide 49
Design and Details
Slab design

## Slide 50
Design and Details
Slab design

## Slide 51
Design and Details
Ground floor Slab

## Slide 52
Design and Details
Ground floor Slab

## Slide 53
Design and Details
Column design and Detailing

## Slide 54
Design and Details
Column design and Detailing

## Slide 55
Design and Details
Footing design and Detailing

## Slide 56
Design and Details
Footing design and Detailing

## Slide 57
Design and Details
Beam design and Detailing

## Slide 58: 04 Electro-Mechanical Aspects
HAVC System
Water Supply and Drainage
Power Design and photovoltaic system design
Artificial Lighting
Acoustical Design

## Slide 59
HAVC System
VRF System has been considered
Four outdoor units with a capacity of 84 kW for each unit.
Indoor units –wall mounted with airflow = 357 CFM, diffuser with airflow = 468 m3/h , 140 CFM ,270 m3/h.
Outdoor unit
Ceiling diffuser
Split unit

## Slide 60
HAVC System
HVAC system in Basement 2

## Slide 61
HAVC System
HVAC system in Basement 1

## Slide 62
HAVC System
HVAC system in Ground floor

## Slide 63
Water Supply system
Vertical (steel) | Horizontal (PVC) | Branch (PVC)
2" | 1 1/4" | 3/4"
Vertical (steel) | Horizontal (PVC) | Branch (PVC)
- | 1 1/4" | 3/4"
Vertical (steel) | Horizontal (PVC) | Branch (PVC)
1” | 3/4" | 3/4"
Vertical (steel) | Horizontal (PVC) | Branch (PVC)
- | 3/4" | 1/2"

## Slide 64
Drainage system

## Slide 65
Rain water system

## Slide 66
Fire fighting

## Slide 67
Sprinkler system in Basement 2 floor

## Slide 68
detector system in Basement 2 floor

## Slide 69
escape routes in Basement 2 floor

## Slide 70
Artificial Lighting
Space Analysis and Design have both been done with DIALux.
administration room 12. corridor
Cafeteria 13. First Aid
Art room 14. Dressing room
Class Room 15. Computer lab
Dressing Room 16. Library
Kitchen 17. Entrance hall
Sport hall
Teacher room
Laboratory

## Slide 71
Artificial Lighting
Class room
Library
Computer lap
Entrance hall
Art room
Kitchen

## Slide 72
Artificial Lighting
First Aid

## Slide 73
Artificial Lighting
Meeting room

## Slide 74
Artificial Lighting
Lighting Plans

## Slide 75
Power Design
Socket and Distribution Boards Plans
Groung Floor

## Slide 76
Power Design
Main Distribution Board

## Slide 77
Photovoltaic system design

## Slide 78
Photovoltaic system design

## Slide 79
Acoustical design
Designed spaces:
Auditorium
Cafeteria
Classroom
Corridor
Massing, shape and arrangement of seating
Assumptions

## Slide 80
Acoustical design
Designed spaces:
Auditorium
Cafeteria
Classroom
Corridor

## Slide 81
Acoustical design
Designed spaces:
Auditorium
Cafeteria
Classroom
Corridor
analysis

## Slide 82
Acoustical design
Designed spaces:
Auditorium
Cafeteria
Classroom
Corridor

## Slide 83
Acoustical design
Designed spaces:
Auditorium
Cafeteria
Classroom
Corridor

## Slide 84
Acoustical design

## Slide 85: 05 Quantity Surveying & Cost Estimations
Cost Estimation of the School has been conducted based on the Calculate in details for all work and activities

## Slide 86
Quantity Surveying & Cost Estimations
Total school cost = 19777711.92N NIS. Area of School = 5084.2 SM.
Unit cost = 3890.03 NIS/SM

## Slide 87: Thanks!
Does anyone have any questions?