## Slide 1: An-Najah National University Engineering & IT Faculty Civil Engineering Department
The Structural Design and Analysis of a futuristic court house in Nablus
By:
Alaa Abd al-Ra’ouf Othman Al-mosa.
Mussab Abdulrahim Tafal.
Deya’ Ahmad Barhoush.
Murad Mufid ya’qoob.
Under supervision of : Dr. Mahmoud Dwaikat/ Dr.Imad Al-Qasem.

## Slide 2: Outline:
Introduction.
Block 1.
Block 2.
Block 3.
Steel bridge.

## Slide 3
INTRODUCTION

## Slide 4
Project Overview
Location : Nablus.
7 floors: Basement and 6 floors for each building(main and secondary .
Floor area(main) : 2321 m².
Floor area (secondary):842 m².
Three steel bridges: the critical one is (19.2m) length.

## Slide 5
Architectural challenges

## Slide 6
Floors Dimensions and Uses.
*Main

## Slide 7
Floors Dimensions and Uses. *Secondary

## Slide 8
Blocks Distribution

## Slide 10
Codes
ACI 318-14 (American Concrete Institute)
IBC-2015 (International Building Code).
ASCE-2010 (American Society of Civil Engineers).
ASTM (American standards for testing materials).

## Slide 11
Materials

## Slide 12
Reinforcement steel Gr (60) type A615 according to ASTM specifications is used

## Slide 13
Loads

## Slide 14
Live load

## Slide 15
Super Imposed loads

## Slide 17
Partitions loads

## Slide 18
External walls

## Slide 19
Load combinations

## Slide 20
Modifiers for each element
Modifier | Element
0.7 | Column
0.35 | Beam
0.25 | Slab
0.7 | Shear wall

## Slide 21
Seismic parameters for used in the Project.
Nablus City.
Rock.

## Slide 22
BLOCK 1

## Slide 24
Basement slab

## Slide 25
Structural system

## Slide 26
For one way ribbed slab
Max span=6 m .
Thickness=0.34 m.

## Slide 27
For Waffle slab
Max. span=10.7m
Thickness=500mm
Thickness of slab=(L/36)*(4/3)

## Slide 28
Beams Dimensions

## Slide 29
We take the column that gives the longest panel = (7.8*7.5)
Pu=7.8*7.5*22*7=8599.5 KN.
Pu=ᶲʎ (0.85fc (Ag-0.01Ag) +0.01Ag*Fy)
ᶲ = 0.65
ʎ = 0.8
fc = 35MPa
fy = 420MPa
Ag=700*700 mm2.
800*800 mm2 was used
Preliminary design

## Slide 30
Compatibility check

## Slide 31
Equilibrium check

## Slide 32
By hand calculation for dead load
Total = 38322 KN
Error=38322-37143/37143*100% = 3.1% <5% , Error is acceptable
Live load
LL=5KN/m2 & total area=3528 m2
Reaction = LL*total area
=3528*5=17640KN
Error=17942-17640/17942 *100% = 1.6% <5%
Error is acceptable
Equilibrium check

## Slide 33
Internal Forces Check
For beam :
By hand calculation
W (live) = 5*4.5*(0.5) = 11.25KN/m
M=WL2/8=12*5^2/8=34.56 KN.m
By etabs :
M = ((16.2 +15.5) /2) +16= 32KN.m
Error=6.25% < 10% error is acceptable.

## Slide 34
Deflection check
Deflection=30.3-0.25(9+9+11.5+13)
=20mm
Allowable deflection = L/240
L=14.7m
=14.7/240=0.061m=61mm>20.3mm its ok

## Slide 35
Dynamic Analysis

## Slide 39
Result

## Slide 40
Definition of Response Spectrum function

## Slide 44
Modal Participation mass ratio:

## Slide 45
Torsion check:

## Slide 46
Drift Check:

## Slide 48
Detailing samples :

## Slide 51
BLOCK 2

## Slide 53
Structural system
Basement slab

## Slide 54
Structural system
Remaining slabs

## Slide 55
For one way solid slab
Max span= 7 m .
Thickness=0.35 m.

## Slide 56
Beams Dimensions

## Slide 57
We take the column that gives the largest panel = (6.75*6.3)
Pu=6.75*6.3*25.4*7=7561KN.
Pu=ᶲʎ (0.85fc (Ag-0.01Ag) +0.01Ag*fy)
ᶲ=0.65
ʎ=0.8
Fc=35MPa
fy=420MPa
Ag=577600mm2.
1000*700mm2. Was used
Preliminary design

## Slide 58
Compatibility check

## Slide 59
Equilibrium check

## Slide 60
By hand calculation for dead load
Total = 63264
Error = 61362-63264/61362*100% = 3.1 % <5% Error acceptable
LL=5KN/m2 & total area=area1 +area2= 680 +3036 = 3716 m2
Reaction = LL*total area
=3716*5=18580KN
Error=18597-18580/18597 *100% = 0.09% <5% Error accepted.
Equilibrium check

## Slide 61
Internal Force Check
For beam :
By hand calculation
W (live)=33.75KN/m
M=WL2/8=33.75*11.4^2/8=548 KN.m
By etabs :
M = 526 KN.m
Error=4.2 %< 10% Error aceptable

## Slide 62
Deflection check
Deflection=33.157-0.25(5.3+4.55+5.7+7.2)
=27.5mm
Allowable deflection = L/240
L=13 m
=13/240=0.054m=54mm>27mm, Error is acceptable

## Slide 63
Dynamic Analyses

## Slide 65
Modal Participating mass ratio

## Slide 67
Base shear check

## Slide 68
Result

## Slide 69
Definition Response spectrum

## Slide 74
Torsion Check

## Slide 75
Inelastic response displacement in x

## Slide 76
Inelastic response displacement in y

## Slide 77
Detailing of some structural elements:

## Slide 80
Bracing

## Slide 83
BLOCK 3

## Slide 85
Structural system
Basement slab

## Slide 86
Structural system
Ground Slab

## Slide 87
Structural system
remaining slabs

## Slide 88
Beams Dimensions
Max beam length =9.5 m

## Slide 89
For waffle slab:
Max span=9.5 m .
Thickness=0.5 m.

## Slide 90
For waffle slab:

## Slide 91
Model checks:
Compatibility check

## Slide 92
Equilibrium checks:
For Live Load:
By hand: 32605KN
By etabs: 32513KN
Error=32513-32605/32513 *100% = 0.3% <5% Error is.acceptable
For dead loads:Error=68287-71042/68287*100% Error= 4<5%  Error is acceptable.
For beam:
Moment by hand =7.26 Kn.
Moment by Etabs = 7 Kn.
Error= 3.7<5%  Error is acceptable

## Slide 93
Deflection check:
From long term combination load(2D+2SD+1.3L)
Deflection= 20.68 mm
=27.5mm
Allowable deflection = 20/240
L=20 m
=20/240=0.083m=83mm>27mm
It’s ok!

## Slide 94
Dynamic Analysis

## Slide 99
Definition of Response Spectrum function

## Slide 103
Modal Participation mass ratio:

## Slide 104
Torsion check:

## Slide 107
Detailing samples :

## Slide 110
Design of some structural elements:
Column element:

## Slide 114: Steel bridge
The structure contains three identical in design bridges
The most critical bridge was designed
It has a total length of 19.2 m
The bridge consists of a 1 m height truss that is braced laterally every 3.2 m.
Braces where added in other directions to reduce warping effect.
Connection where designed on Ram connections and checked manually
Two sample critical connections where designed.
Gravity loads are transferred by purlins to the structure.

## Slide 115: Steel Bridge
Note that trusses are covered by plates which are added as super-imposed load in the analysis.
bridge functions as a connection between the main and secondary buildings .

## Slide 116: Methodology of analysis.
SAP model.
Defining material: (A36) steel.
Defining sections: (W-sections) LRFD, Square tube sections.
Section unification by iteration and check analysis vs design sections.
Check compatibility.
Check deflection.
Check period.

## Slide 117: SAP Bridge Model.

## Slide 118: Steel sections.

## Slide 119: Section Dimensions.
W6*8.5:
Depth: 148 mm
Flange Width: 100 mm
Flange Thickness: 4.9 mm
Web Thickness: 4.3 mm

## Slide 120: Section Dimensions.
HSS 2-1/2 x 1-1/2 x .125:
Outside depth: 0.0635 m.
Outside width: 0.0381 m.

## Slide 121: Compatibility
Shows that the whole structure works as a unit.

## Slide 122: Bridge Period
The period of the bridge = 0.12884 seconds which is reasonable.

## Slide 123: Connections
Only two sample connections where designed
The first connection was designed on RAM connections.
The second connection was designed manually.
The methodology that will be followed in the steel bridge design is to choose the most critical connections design them manually and compare the calculations to the RAM connections check values.

## Slide 124: Connection 1 (truss members connection)

## Slide 125: **load vs capacity ratio = 0.21 which means the connections can withstand the subjected load. And the ratio is highlighted in green which means that the connection is designed according to the standard dimension from the AISC 2016 LRFD code.

## Slide 126: RAM CHECKS cont.

## Slide 127: Connection 2 (purlins and beams)
HSS sections were used with a line of weld = 10 cm

## Slide 128: Checks
SHEAR:
Design shear =
=0.75
Check base metal yielding:
0.6

## Slide 129
**ANY QUESTIONS ?! يا رب لاء !!

## Slide 130
Thank You Very Much