## Slide 1
Graduation Project 2
Students | Supervisor
Abdelrahman Braik | Eng. Salameh Abdelfattah
Bisan Nazzal | 
Solar-powered water pumping system

## Slide 2: TABLE OF CONTENTS
Introduction.
Literature review.
Methodology.
Results.

## Slide 3
Design of solar pumping system and studying the feasibility of using solar PV water pumping systems instead of diesel generator for each well in Nablus/Tulkarm
    Yearly saving (cost)
    Emissions CO2
Studding the maximum power water production using tilt angle changes for each well in Nablus/Tulkarm
Using PVsyst analysis program.
Objective of project

## Slide 4
Literature review
Designing, sizing and modeling of Photovoltaic Water Pumping Systems.
Economic Analysis of using Solar Energy.
Feasibility of Energy Supply of Water Pumping in Palestine.
Simulation of Photovoltaic Water Pumping System for small scale Irrigation.
Electrification by using PVsyst,
Exploration of an Economic Photovoltaic well to Storage Pumping System based on PVsyst Simulation.

## Slide 5
PV system
Chart: Direct Normal Irradiation
Tulkarem | 89.52 | 97.5 | 135.3 | 172.85 | 223.22 | 240.09 | 235.49 | 213.43 | 194.02 | 171.24 | 122.53 | 136.68
Nablus | 70.64 | 76.42 | 125.94 | 160.67 | 212.83 | 249.79 | 250.85 | 223.29 | 187.04 | 170.22 | 97.48 | 120.95
Jinen | 95.26 | 102.18 | 138.14 | 178.88 | 231.02 | 262.51 | 255.8 | 232.74 | 202.82 | 174.49 | 122.27 | 134.2
Monthly Solar Radiation in
Nablus, Tulkarm and Jenin.
Schematic diagram for a
Typical PV pumping system

## Slide 6
Software
Case study
Tulkarm & Nablus

## Slide 7
Geographical and climatic Resources
Orientation

## Slide 8
Pumping Hydraulic System

## Slide 9
Photovoltaic PV Panel
Number of modules and strings
Converter device for pump system
Inverter

## Slide 10
Detailed losses

## Slide 11
Near shading

## Slide 12
Results
Water volume pumped for Nablus
Chart: Water volume Powered
| Annual | Semi-annual | seasonally | Monthly
 | 29576 | 29990 | 30052 | 30205
Chart: 
| Annual | Semi-annual | seasonally | Monthly
 | 0 | 1.3998 | 1.6094 | 2.1267
Water volume power VS fixed tilt angle for Nablus

## Slide 13
Results
Water volume pumped for Tulkarm
Water volume power VS fixed tilt angle for Tulkarm
Chart: Water volume Powered
| Annual | Semi-annual | Seasonally | Monthly
 | 15309 | 15745 | 15734 | 15831
Chart: Water volume power
| Annual | Semi-annual | Seasonally | Monthly
 | 0 | 2.848 | 2.7761 | 3.4098

## Slide 14
Energy cost
Yearly saving in Nablus & Tulkarm Well

## Slide 15
Simple payback period (SPBP)
Cash flow of photovoltaic (PV) system

## Slide 16
Emissions

## Slide 17
THE END
THANK YOU