## Slide 1: Graduation Project (2) Integrated Four stars hotet
Prepared by :
Angham Abdat
Nida’a Odeh
Reem Halaweh
Wa’d Amarneh
Supervisor: Dr.Monther Dweikat

## Slide 2: Outline
Introduction
Site analysis
Architectural design
Environmental design
Structural design
Electrical design
Mechanical design
Safety
Quantity Survey

## Slide 3: Introduction

## Slide 4: SITE ANALYSIS
The proposed land was chosen to be in Bait-wazan, which west Nablus

## Slide 5: Architectural Design
Site Plan

## Slide 6: Site plane

## Slide 7: Architectural Design
Basement floor
769.7 m2 which contains spaces that used for storage, maintenance, food preparation and spaces for electrical and mechanical control .

## Slide 8: Architectural Design
Ground floor
2006.5 m2 which contains entrance, gym, offices, conference hall, loopy, reception and waiting areas.

## Slide 9: Architectural Design
first floor
2006.5 m2 which contains restaurant & terraces.

## Slide 10: Architectural Design
Second & third floor (for guest room ).
Area 1000.5m2

## Slide 11
fourth & fifth floor (for guest room ).
Area 878.5m2
Architectural Design

## Slide 12: Architectural Design
6th + 7th floor (for guest room ).
Area 754.7 m2

## Slide 13: Elevations
NORTH ELEVATION

## Slide 14: Elevations
EAST ELEVATION

## Slide 15: Elevations
SOUTH ELEVATION

## Slide 16: Elevations
WEST ELEVATION

## Slide 17: SECTIONS
SEC A-A

## Slide 18: SECTIONS
SEC B-B

## Slide 19: 3D RENDER
3D

## Slide 20: 3D RENDER
ENTEANCE

## Slide 21: 3D RENDER
3D

## Slide 22: 3D RENDER
3D

## Slide 23: Environmental Design.
Material used.
Thermal design.
Artificial lighting.
Acoustical design.

## Slide 24: Environmental Design.
Materials.
External wall layers.
(7) cm jamaine lime stone.
(8) cm cast concrete.
(5) cm Foam-polyurethane.
(10) cm concrete block.
(1.5) cm cement plaster.
U-value= 0.468 W/

## Slide 25: Environmental Design.
Roof layers. (out)
(0.5) cm Roofing asphalt roll roofing.
(5) cm cast concrete.
(5) cm foam-polyurethane.
(6) cm concrete.
(27) cm light weight concrete block.
(1) cm cement plaster.
(100) cm Air Gap.
(8) cm Gypsum board.
U-value= 0.258 W/

## Slide 26: Environmental Design.
Internal floors layers.
(3) cm ceramic tile.
(3) cm mortar.
(7) cm sand and gravel.
(6) cm light weight concrete.
(5) cm foam-polyether.
(27) cm concrete block.
(1) cm cements plaster.
(100) cm Air Gap.
(8) cm Gypsum plaster.
U-value= 0.251 W/

## Slide 27: Environmental Design.
Glass Prosperities.
Double LoE (e2=0.1) clear glass with 6mm/13 mm Argon gas.

## Slide 28: Environmental Design.
Heating and cooling loads.
Site energy Vs base line energy.
Total site energy. | 156.22 KWh/m2
Energy intensify baseline | 231.2 KWh/m2
Heating design capacity. | 207 KW
Cooling design capacity. | 332 KW

## Slide 29: Environmental Design.
Simulation.
heating and cooling load analysis.

## Slide 30: Environmental Design.
Natural daylight analysis.
Function | D.F
Restaurant | 3.3
Conference room | 3.7
Quest bedroom | 2.169
Office | 2.3

## Slide 31
Acoustic Design
Reverberation Time(RT60): We used ECOTECT Analysis Program in the calculation and testing of the reverberation time.

## Slide 32
Note : RT60 range for restaurant is (0.8 – 1.2), does not achieve the requirements . so we need to do some modifications
Reverberation time
We used decorative sound absorption materials such as Acoustical board to meet the requirement

## Slide 33
Reverberation time
For conference room:
RT60 value ranges from( 0.6-1.20) , this room achieves requirements

## Slide 34: Acoustic Design
The STC for partition must =45 dB Improvement in STC by add to basic partition staggered studs

## Slide 35: Loud Speakers
(211 mm H x 251 mm diameter) :Enclosure outer dimensions 110° conical coverage Nominal coverage angle :
SI 26CT :

## Slide 36
Structural Design
The hotel 9 floors are made completely of reinforced concrete.
The hotel has one on ground water tank.

## Slide 37: Structural Design
Codes and Standards:
ACI -318-11 for reinforced concrete structural design.
UBC -97 for earthquake design.
ASCE 7 2010 for load combinations
For the design of the structure and its elements ETABS , SAP and hand calculations were used .

## Slide 38
Structural Design

## Slide 39: Structural Design
Design data:
Concrete strength, f’c=28 MPa.
Steel yield strength fy=420 MPa.
Bearing capacity for soil = 250 kN/m2

## Slide 40: Structural Design
Vertical Loads:
Load Type | Public spaces | Others
Live Load (kN/m2 ) | 5 kN / m2 | 3 kN / m2
SID ( kN /m2 ) | 5 kN / m2 | 5 kN / m2

## Slide 41: Structural Design
Seismic Design data :
The city of structure is Nablus.
The seismic zone factor. Z=0.2.
The soil profile is type Sc.
The acceleration seismic coefficient Ca=0.24
The velocity seismic coefficient Cv=0.32.
The Seismic importance factor is 1.
The structural design type is intermediate, R=5.5

## Slide 42: Sections Dimensions
Structural Element | Dimensions
Ribbed Slab | 33 cm thickness
Solid Slab | 25 cm thickness
Columns | (70X40) , ( 40 X 40 ) , ( 70X70) , ( 100 X 50 ) and ( 60 X 60 )
Beams | ( 50X50) , ( 40 X 40 ) , ( 70 X 90 )

## Slide 43: Modeling

## Slide 44: Verification of the model
Compatibility check
Equilibrium check
Internal force check

## Slide 45: Verification of the model
Compatibility check

## Slide 46: Verification of the model
Equilibrium Check
 | Live load ( kN) | SID (kN) | Dead load (kN)
Manual | 18480 | 42736 | 52326
By ETABS | 18461 | 42556 | 51153
% Error | 0.1% | 0.62% | 4.3%

## Slide 47: Verification of the model
Internal force check
 | Manual | By ETABS | %Error
Column 9 | 5821 kN | 5647 kN | 3.06%
Main beam | 667 kN.m | 626 kN kN.m | 6.5%
Span of the slab | 10.38 kN.m | 11.01 kN.m | 5.9%

## Slide 48: Design checks
Period Check
0.805 < 1.13 sec
Drift Check
97mm < 100 mm
Deflection check
13.3mm < 14.8mm
Modal participating mass ratio check
0.91 > 0.90
Base shear check
7023kN > 6972kN
7041kN > 6972kN

## Slide 49: Slab Reinforcement

## Slide 50: Beams Reinforcement

## Slide 51: Columns Reinforcement

## Slide 52: Footing Reinforcement

## Slide 53: Shear Wall Reinforcement

## Slide 54: Stair Reinforcement

## Slide 55: Water Tank Reinforcement(Seismic Design)

## Slide 56: Electrical Design.

## Slide 57: Electrical design.
Recommended illumination.
Reflection factor.

## Slide 58: Electrical design.
Artificial lighting.
Quest Bedroom.
E(lux) | U | UGR | D.F
177 | 63 | 18.6 | 2.169

## Slide 59: Electrical design.
Bed room selected luminaires.

## Slide 60: Electrical design.
Artificial lighting.
Conference room.
E(lux) | U | UGR | D.F
350 | 0.57 | 16.8 | 3.7

## Slide 61: Electrical design.
Conference room selected luminaires.

## Slide 62: Electrical design.
Lighting arrangement.

## Slide 63: Electrical design.
Lighting arrangement.
Lighting arrangement.

## Slide 64: Electrical design.
Sockets arrangement.
Function | Minimum quantity of sockets
Kitchen | 6
Master Bedroom | 6
Dining room | 4
Single bedroom | 4
Bath room | 1-double insulated

## Slide 65: Electrical design.
Circuit breaker branches.

## Slide 66: Electrical design.
Main distribution board.

## Slide 67: Mechanical design.

## Slide 68: Mechanical design
1- Water Supply System
2-Drainage System
3-H-VAC System

## Slide 69
Mechanical design
Water supply design

## Slide 70
Water distribution System
Mechanical design

## Slide 71
Domestic hot water
We need almost 10000 L DHW
we will use evacuated tube to heat water

## Slide 72
Rain Water Drainage

## Slide 73
Drainage roof design

## Slide 74
Fire resistance system
Safety design

## Slide 75: Mechanical design.
HVAC systems.
Systems used are :
Centralized system( Chilled water )  in Basement, Ground and first floor.
Split Units (VRF)  in Guest floors.
Main components of centralized system are :
Chiller (for cooling and heating).
A.H.U
Ducts.
Diffusers.

## Slide 76: Mechanical design.
Centralized system.
Cooling load = 153 KW = 44 ton .
Selected chiller is EWWD-4-XS-369

## Slide 77: Mechanical design.
Centralized system.
Air handling unit.
Selected air handling unit is ADT-F/B from
Daikin.
Diffusers.

## Slide 78: Mechanical design.
Ducts and diffusers arrangement in restaurant.

## Slide 79: Mechanical design.
Chiller location.

## Slide 80: Mechanical design.
Split units system(VRF).
Indoor units.
Cooling load for guest floors is 179 KW= 51 TR.
TIWM1012B21S
YIDM006B21S

## Slide 81: Mechanical design.
Outdoor unit.

## Slide 82: Mechanical design.
Split units system(VRF).

## Slide 83: Quantities and Survey
Total Cost of the Project | 43,033,325 NIS
Cost Per m2 | 3100 NIS / m2