## Slide 1: بسم الله الرحمن الرحيم
Development of a Water Master Plan for Jenin Governorate (2020-2040)
Prepared by
Yasmeen Nairat Ayah Dweikat
Isra Balati Amna Melham
Under supervision of: Dr. Anan Jayyousi

## Slide 2: INTRUDUCTION
we will choose Jenin Governorate as an area to study the future problem of water lack by studying the difference between the required and existing quantity of water that Jenin need it in the next 20 years by developing a Master plan that will propose a new water resources with an investigation plan to implement the project during the next 20 years.

## Slide 3: OVERVIEW OF JENIN
LOCATION , COMMUNTIES AND TOPOGRAPHY

## Slide 4: Existing Water Supply System
Water Resources:
Selected Indicators for Water Statistics in the West Bank..

## Slide 5
Water Produced per Basin in the West Bank For Jenin Governorate.
Palestinian Water Wells and its Annual Pumping Quantity for Jenin Governorate and Type of Use.

## Slide 6
Domestic Sector, Water Consumed, Total Losses, Population and Daily Consumption per Capita in Jenin Governorate.
Needed, Supply and Consumed Quantities, Population and Deficit in Domestic Supply in Jenin Governorate.

## Slide 7: Water Networks:
In the Figure, the main pipelines in Jenin Governorate that we will work on it to develop the water plan in Jenin in the future. It’s the most important part because water reach to Jenin by it

## Slide 8: Present Water Demand:
We collected data on the population and current water demand in each city, village, and cluster. This information is obtained from the Palestinian Central Bureau of Statistics and the Water Authority according to 2017 statistics.
Using the formula:
Pfuture = Pnow * (1+r)n
Pnow: Population in 2017
Pfuture: Population in 2020.
n: No. of years, n =3 years.
r: growth rate. We take it from the following table

## Slide 10
Demand (year) = (The population (year) * Demand unit (year L/Capita/Day) * 365 (day/year) /)1000 (L/m3) * (1-loss %))
Future Water Demand:
Year | Demand unit (l/c/day) | N | Loss %
2020 | 60 | 3 | 46.12
2025 | 80 | 8 | 35
2030 | 100 | 13 | 25
2040 | 120 | 23 | 15

## Slide 11: Clusters in Jenin Governorate
We divided Jenin government into clusters based on several factors, and these factors are:
Some communities get water from certain sources in the present time, so we cannot separate them in the future.
Administrative divisions.
Social divisions.
Commercial divisions

## Slide 12
this cluster.
Qabaytia Cluster.
Arraba Cluster.
Yabad Cluster.
Jenin Cluster.
Faqquaa Cluster.
AL-Yammun Cluster.
Raba Cluster

## Slide 13
Population and Supply in the years 2017, 2020, 2025, 2030 and 2040.

## Slide 14
Population and Demand in the years 2020, 2025, 2030 and 2040

## Slide 15: Population and Supply for the year 2020 (m3).

## Slide 16: Population and Supply for the year 2025 (m3).

## Slide 17: Population and Supply for the year 2030 (m3).

## Slide 18: Population and Supply for the year 2040 (m3).

## Slide 19: Population and Demand in the year 2020 (m3).

## Slide 20: Population and Demand in the year 2025 (m3).

## Slide 21: Population and Demand in the year 2030 (m3).

## Slide 22: Population and Demand in the year 2040 (m3).

## Slide 23: Gap of water demand in Jenin governorate
After we found population and demand in years of present and future time, and by knowing about the amount of water supply in Jenin government in 2017, we consider that the amount of water supply are constant in the next years in the future (2020-2040)
So depending on this information and assumption, we account the amount of gap of the water
We use this formula
Amount of gap = demand – supply.

## Slide 24
Population and Gap for the year 2025 (m3).

## Slide 25
Population and Gap for the year 2030 (m3).

## Slide 26
Population and Gap for the year 2040 (m3).

## Slide 27: Plans to cover the Gap
The short-term solutions
Maintenance of the existing networks
Rain Water Harvesting
The long-Term Solutions:
Taking water from Jordon Valley
Construction of wells

## Slide 28: Maintenance of the existing networks
The plan will be done as a steps.
In the interval [2020-2025] the percentage of water will be saved by maintenance will be = 10.56% from the supplied amount of water.
In the interval [2025-2030] the percentage of water will be saved by maintenance will be 21.12% from the supplied amount of water.
In the interval [2030-2040] the percentage of water will be saved by maintenance will be 21.12% from the supplied amount of water

## Slide 29
The Amount of Water Saved from Maintenances in Jenin for Each Cluster.

## Slide 30: Rain-Water Harvesting
Avg. family size is 4.8 capita.
No. of floor in each building is 3 floors.
Avg. area of each apartment is 167.7 m2.
Avg. annual rainfall is 528 mm.

## Slide 31: Total Area of the Rooftop Buildings in Each Cluster Due to the Intervals

## Slide 33: The amount of water saved from The short-term solutions
Total Amount of Water Provided from Two Solutions

## Slide 34: Remaining Gap
The New Gap Results from Short Term Solutions

## Slide 35: The Population and the New Gap for Jenin Governorate in 2025.

## Slide 36: The Population and the New Gap for Jenin Governorate in 2030.

## Slide 37: The Population and the New Gap for Jenin Governorate in 2040.

## Slide 38: The long-Term Solutions: Jordan valley
Taking water from Jordon Valley
Palestinians are allowed to use only permitted to use 40% of the water in this basin or approximately 58 mcm of water per year. Since its occupation in 1967
Based on the right of the Palestinian people to Jordan waters according to the agreements, in this project, water will be taken from the Jordan Valley for use in Jenin for agricultural uses. This is because in the project it will solve the water gap in home use. Therefore, the agricultural aspect is taken into account in the project

## Slide 39: Construction of Wells
The New Gap for the Intervals of the Plan in each Cluster.

## Slide 40
The Plan will take a three terms to be construct and supply water to the clusters.
Short-term Plan:
Wells will be constructed equal 1,400,000 m3
his results that 5 wells is needed to construct in Jenin Governorate through the interval until 2025.
5 wells, 3 in the North and 2 in the West of Jenin Governorate

## Slide 41: Location of wells in 2025:

## Slide 42: A pump with a depth of 300 meters from the surface of the well to pump water up to the well. Q= HP = ∆Z + HL

## Slide 43: Location of wells and tanks in 2025
Diminution of cubic tanks in 2025 , we assume the depth and find the length

## Slide 44: The Conveyance Network will construct in Jenin Governorate in 2025.

## Slide 45
Calculation:
-Q= -assuming the velocity in the conveyance lines equal 2.5 m/s.
-D =, diameter in inches.
-Take the max available diameter, take in consideration the velocity in the lines not more than 2 m/s.

## Slide 46
Pump characteristics are defined for the conveyance lines
By Energy Equation :
There is an assumption for the head loss :

## Slide 47
Mid-term Plan:
Well will be constructed equal 1,400,000 m3
his results that 6 wells is needed to construct in Jenin Governorate through the interval until 2030.
So, we add (1) wells in the North of Jenin Governorate.

## Slide 48
We add two connection in 2030

## Slide 49: The calculation as previous term :

## Slide 50
Long-Term Plan
The Number of wells needed in this interval is calculated which results that 10 wells is needed to construct in Jenin Governorate through the interval until 2040. Previously 6 wells are constructed in 2025 and 2030. So. Four additional wells should be constructed. The place will be 1 in the North part of Jenin in Faqquaa and 3 in the West of Jenin Governorate

## Slide 51: Wells Name, Volume of Water and Characteristics of the Pumps will used in 2040.

## Slide 52: The Rounded Volume of Water needed in Each Cluster in 2040.

## Slide 53: The Conveyance Lines in Jenin Governorate in 2040.

## Slide 55: Price and Cash Flow or the project for 2025,2030 and 2040
  The total cost includes both an account
  Price for Drilling Wells ( 100$ for 1m Excavation)
  Price for Wells pumps (Assume = 90,000$)
Price for Tanks (Assume 1168NIS for Volume = 1500m3)
Price for Conveyance lines in the Network:
Diameter as the table
Pumps (Assume = 90,000$)

## Slide 56: Total Price of the Project for each interval (NIS)

## Slide 57: The Cash flow for the project

## Slide 58: Sample of proposed Packages

## Slide 60: Suggestion to cover the price of the project
The Conversion between the Future Cost and the Annual Cost.
The price from each person to collect the total price in each interval of the plan, Thus we can collect the cost of the project and solve the problem of water gap.

## Slide 61
THANK YOU