## Slide 1
An-Najah National University
Faculty of Engineering
Department of Building Engineering
Graduation Project-II
Project Supervisor:
Eng. Ameer Al-Aker
Prepared by:
Nuzha Atare
Issam Ishtayeh
Ashraf Atteih
An Integrative Design Of Residential Building

## Slide 2
Outline:-
Introduction.
Methodology
Project Design
  Architectural design .
  Environmental design .
  Structural design .
  Electrical design .
  Mechanical design .
  Cost estimation .
  The time scheduling .
  Conclusion

## Slide 3: Introduction:
The main objective for the project is to design an integrated residential building in all aspects (architectural, structural, mechanical, HVAC system, environmental, public safety and electrical aspects)

## Slide 4: Methodology:
METHODOLOGY
PART 1
PART 2
Literature Review
Specifications
Questionnare
Cases study
Site selection and it analysis
Design data
Project Design
Results Discussion

## Slide 5: Site Location:
  The building is located onTulkarem and its located
  in the Northern direction .
Total used Area from the site:770 m2

## Slide 6
The Site plan
Architectural Design

## Slide 7
Architectural Design
apartment 1 +2
normal
Apartment 3+4
Duplex
Total used Area from the site:770 m2
The area distributed to 7 floors
the building include parking in the ground floor and the rest floors are apartments .
Each floor area is about 550 m2
Each floor is divided into four apartments.
Two apartments are designed as normal (one house in one story ) with area of 128 m2 each apartment .
Another two apartments is designed as duplex (one house in two story ) with area of 147 m2 each apartment .

## Slide 8: Ground floor (Parking)
Architectural Design

## Slide 9: First floor plan :

## Slide 10: Second floor plan :

## Slide 11: North Elevation
Architectural Design
South Elevation

## Slide 12
Architectural Design
West Elevation
East Elevation

## Slide 13: Section A-A
Architectural Design
Section B-B

## Slide 14: 3D Picture of the building
Architectural Design

## Slide 15
Environmental System
Environmental design
Acoustical Design
Thermal Calculations
Daylight

## Slide 16
Analysis the building environmentally by ECOTECT program
Environmental System
ECOTECT Program was used to: 1. Analyze sun movement and natural lighting. 2. Calculate heating and cooling loads

## Slide 17: Thermal Calculations
the properties Ceiling interaction with floor
U=0.45 w/m2.k
U=0.42 w/m2.k
The properties for the external wall

## Slide 18
The properties for the partition is :
Thermal Calculations
Properties for double tented glazed window
U=0.28 w/m2.k

## Slide 19: Total heating load and cooling load per m^2 = 49.003 KWh The acceptable range from 30 to 80 KWh
Thermal Calculations

## Slide 20: Daylight factor
The daylight factor must be within the range which is (3-5).
D.F for Left apartment in the first floor

## Slide 21: Reverberation time for guest room :
Before modification
After modification
Acoustical Design
RT60 for residential building should be .6-.8 sec
Total STC of inside wall = 54db.
Total STC of external wall = 59db
IIC =55 db

## Slide 22
The structural design was made by ETABS program
Structural System

## Slide 23
Structural design
Structural design
Design data & code
Results
Gravity Loads
&
Seismic loads
Checks

## Slide 24
Design data
Compressive strength of concrete (fc)
beams
shear walls
columns
slabs
footing
2. Yielding strength of steel (fy) 4200 kg/cm2
3. Bearing capacity of soil(q) 2.5kg/cm2
Bracing
160 kg/cm2
240 kg/cm2
Structural Design

## Slide 25
3D modeling
Structural Design
Design Code:
The structural design will be according to :
1) the American Concrete Institute code ACI 318 .
2) the seismic design according to UBC-97

## Slide 26
Loads
Gravity loads
Superimposed dead load= 4KN/m²
Live load =3 KN/m²
External wall load =21 KN/m
ETABS model (Loads)
Structural Design

## Slide 27
Checks
ETABS model
(after run)
 | ETABS | Standard (ACI 318) | 
Ok | T(period)=0.343 sec | T(period)=2 sec | Compatibility check
Ok | D = 17.9 mm | D= 21.25 mm | Deflection check
Ok | 4.2% error | 5% error | Equilibrium check
Ok | 3.64% | 10% error | Stress-strain check
Structural Design

## Slide 28
Seismic data
The seismic zone factor, Z= 0.15
The importance factor, I=1.0
The ductility factor, R= 5.5
The seismic coefficient, Ca=0.18
The seismic coefficient, Cv=0.25
The UBC97 code seismic parameters are as follows:
Structural Design

## Slide 29
Seismic Checks
ETABS model
(after run)
 | ETABS | Standard (ACI 318) | 
Ok | T (x)=0.343 sec T (y) = 0.042 sec | T(manual)=0.478 sec | Time period
Ok | 91.52% 91.43% | Larger than 90% | Mass Participation Ratio
Ok | VETABS (X max) = 8353.8 KN VETABS (Y max) =89464.6 KN | 7723 KN | Seismic shear force check
Structural Design

## Slide 30
Preliminary dimensions:-
Slab dimensions
Thickness → 32 cm
Flange width →52 cm
Web width →12 cm
Flange thickness → 8 cm
Beam dimension
Main beam → (70*32) cm
Secondary beam → (50*32) cm
Column dimension
group 1→ (50*30) cm
group 2→ (60*30) cm
group 3→ (70*30) cm
group 4→ (80*30) cm
Structural Design

## Slide 31
Slab Design
Structural Design

## Slide 32
Slab Design
Bottom 2Ф10mm/rib
Top 2Ф10mm /rib
Shrinkage 3Ф8mm/m
Structural Design

## Slide 33
Beams Design
Beams divided to groups according to number of spans
Main beams divided to 4 groups
Secondary beams divided to 4 groups
Structural Design

## Slide 34
Beams Design
Structural Design

## Slide 35
Columns Design
columns divided to groups according to the dimensions
Columns divided to 4 groups
Structural Design

## Slide 36
Columns Design
Sample
Structural Design

## Slide 37
Footings Design
The reinforcement for each footing has been calculated according to the ultimate loads
Structural Design

## Slide 38
Shear walls Design
The reinforcement for each wall has been calculated by ETABS
Structural Design

## Slide 39
The artificial lighting
DIALUX software was used to design the lighting system
Electrical Design

## Slide 40
For artificial lighting
Technical values for design :
1. illuminance value(Lx)
2. Work plane
Function | Height
Bed room | 75cm
kitchen | 95cm
Living | 75cm
Guest room | 75cm
Type of room | Luminance at work plan(lux)
Bed room | 250-280
kitchen | 300
Living | 300
Guest room | 300
Electrical Design

## Slide 41
Lighting design
Artificial lighting
    Types of Lamps are used in our building floors:
BEGA 5127 2 TC-D 26W
OSRAM 4008321629388
OSRAM 4008321629455
Electrical Design

## Slide 42
SAMPLE:. Bedroom
Lighting design
Artificial lighting
distribution of light units
Illumenance =280 lux
Work plane =75cm
T5-49w/827Florescent Lamps used
Electrical Design

## Slide 43
SAMPLE:. Master Bedroom
Lighting design
Artificial lighting
CHECKS | Standard | result | 
Uniformity | 0.6-0.8 | 0.67 | ok
Glare | smaller than10 | Smaller than10 | ok
Glare
Electrical Design

## Slide 44
Mechanical Design
Elevator design
HVAC design
Sanitation system

## Slide 45
A-Elevator design system
The design consists two things:
The type of the elevator
The number of the elevator
The type of the elevators
(2000 Ib/100 Ft/min)-one elevator
Mechanical Design

## Slide 46
B. HVAC design
The used system in HVAC design is Panasonic VRF
Mechanical Design

## Slide 47
B. HVAC design
The used unit | Heating load | Cooling load | Summer
One unit with 1 tone | 1.01 kw | 1.33 kw | Master room in duplex
Mechanical Design
1 tone =3.57 KW

## Slide 48
C. Sanitation system
Clean water supply
Drainage water
Mechanical Design

## Slide 49
Sanitation system
Clean water
Required pipe diameter | Element
2” | Meter
2” | Vertical
2” | Horizontal
2” | branch
Required pipe diameter | Pipe type
3” | Meter
2” | Vertical
2” | Horizontal
2” | branch
Duplex apartments
Normal apartments
Mechanical Design

## Slide 50
Water supply plane for normal apartment

## Slide 51
Sanitation system
Drainage Systems.
Required pipe diameter | Element
4” | stack
2” | Lavatory
2” | shower
2” | Kitchen sink
2” | Dish washing machine
2” | Washing machine
Mechanical Design

## Slide 52
Drainage system plane for supply for normal apartment

## Slide 53
Quantity Surveys & Cost
Cost (NIS) | Element
61745 | Excavation works
2464246.4 | Structural works
3320067.6 | Architectural works
Total cost foe the building= 5846059 NIS
The cost per meter square = 282 DJ

## Slide 54
Project planning and Scheduling
The planning and scheduling was made by primavera –p6 program

## Slide 55
The project divide into two parts:
Sub structure: which include (excavation ,footing ,neck column ,tie beam and base slab)
Super structure: which include (column, shear wall, floor slab, external wall, internal wall, electro-mechanical, plastering, door and painting).
Project planning and Scheduling
Assumptions
Primavera is a program that divide the activities in the project by using work down structure method (WBS), and determine the reliability of these activities, and calculate the full life of the project and determine the critical path,

## Slide 57
حبايبنا..... منورين..... هندسة البناء.....الشغل نظيف 