## Slide 1
An Najah National University Engineering College Building Engineering Department
Students : Noran Malhas
Malak Ghannam
Gharam Odeh
Supervisor : Dr.Monther Dwikat
Graduation Project II

## Slide 2: Outline Project
Project Description
Architectural Design
Structural Design
Environmental Design
Electrical Design
Mechanical Design
Project Management & Quality Surveying

## Slide 3: Architectural Design
Ground Floor

## Slide 4: First Floor

## Slide 5: Second Floor

## Slide 6: Site Plan

## Slide 7: Southern Elevation

## Slide 8: Northern Elevation

## Slide 9: Eastern Elevation

## Slide 10: Western Elevation

## Slide 11: Section A-A

## Slide 12: Section B-B

## Slide 13: Spaces in the School

## Slide 14: Evacuation Ground floor Plan

## Slide 15: Evacuation First floor plan

## Slide 16: Evacuation Second floor plan

## Slide 17: Structural Design
3D Model in ETABS

## Slide 18: Compatibility check

## Slide 19: Equilibrium check

## Slide 20: Local Equilibrium check

## Slide 21: Seismic Design
According to the projects’ location which is in Nablus, then the seismic zone factor is 0.2
The projects’ soil type (Sc), Acceleration coefficient (Ca) = 0.24, Velocity coefficient (Cv) = 0.32.
Importance factor of the building is I= 1.5
The system which is used in this seismic design is Building Frame system with a response modification factor (R) of 5.5 for both directions.
The response spectrum scale factor = 2675, where the scale factor = (I/R) *g, g=9810.

## Slide 22: Time period check
Time period manually = 0.55 sec
Time period from ETABS = 0.53

## Slide 23: Slab Design
Two-way voided slab(U-Boot) is used in this design, because it uses less concrete, has less deflection, and the U-boot that was used materials that can be recycled
Thickness of slab = 42 cm

## Slide 24: Retaining wall

## Slide 25: Retaining wall Detailing

## Slide 26: Longitudinal Section

## Slide 27: Sections in Beam

## Slide 28: Section In column

## Slide 29: Water Tank
Water Pressure

## Slide 30: Soil Pressure

## Slide 31: Earthquake Load

## Slide 32: Water Tank slab Checks
Compatibility check
Equilibrium check
Live Load Manually =4*4*5 = 80KN

## Slide 33: Water Tank Details

## Slide 34: Environmental Design
Reverberation time (RT60) was estimated for the following spaces:
Classroom
Library
Teachers’ room
Headmasters’ room

## Slide 35: RT60 for headmasters’ room
FREQUNECY | 50% occ | 100% occ
63Hz | 1.06 | 0.98
125Hz | 1.19 | 1.11
250Hz | 0.84 | 0.72
500Hz | 0.82 | 0.71
1kHz | 0.82 | 0.72
2kHz | 0.69 | 0.62
4kHz | 0.59 | 0.57
8kHz | 0.41 | 0.41
16kHz | 0.40 | 0.40
Range For RT60 is between (0.6-1.2)

## Slide 36: Sound Transmission Class (STC).
By using INSUL program , STC for external wall was founded 53. Whereas, STC standard is 40

## Slide 37: Sound Transmission Class (STC).
By using INSUL program , STC for internal wall was founded 47. Whereas, STC standard is 38

## Slide 38: Passive Analysis
Shading
Thermal analysis
Daylight

## Slide 39: Shading
Shadows from building in 21/1 at 8:00 am
Shadows from building in 21/7 at 8:00 am

## Slide 40: External wall Layer
U-value = 0.377 w/m2-k

## Slide 41: Internal wall Layer
U-value =1. 228 w/m2-k

## Slide 42: Floor Layer
U-value =0.319 w/m2-k

## Slide 43: Roof Layer
U-value =0.36 w/m2-k

## Slide 44: Glazing (triple glazing)

## Slide 45: Thermal Analysis
Comfort for the school building

## Slide 46: Thermal Analysis
Air, radiant and operative temperatures.

## Slide 47: Thermal Analysis
Site and source energy of the school building

## Slide 48: Daylight
Ground floor
First floor

## Slide 49: Electrical Design
Lighting was designed by using DIAlux EVO for five spaces:
Headmaster Room
Secretary Room
Waiting Room
Clinic
Classroom

## Slide 50: Manager Room
3D Model By DIAlux Evo

## Slide 51: Requirements
500 Lux is required for the Headmaster Room
The Lux that was achieved in the space

## Slide 52: Types of Luminaire
Two Types of luminaires were used in Headmaster room :

## Slide 53: Lighting Distribution plan

## Slide 54: Number of lighting in each floor
No | Article name | DBG | DBF | DBS
1 | Philips Lighting | - | 56 | 56
2 | Dropper Hi-Flux 2500K Led Strip 200mm | 38 | - | -
3 | D70-S195 LED 3000 840 SI | 14 | 12 | 12
4 | SM540C PSD L1480 OC LED50S/840 NO | 8 | - | 8
5 | ALGORITMO SOSPENSIONE 2368mm LED 4000K EMISSIONE DIRETTA WALL WASHER / INDIRETTA LED DIMMER BIANCO | 4 | 14 | -
6 | CHAL PRO LED3000-840 HFIX RMB W6 [STD] | 34 | 17 | 11

## Slide 55: Wattage for each type used
No | Article name | watt
1 | Philips Lighting | 24
2 | Dropper Hi-Flux 2500K Led Strip 200mm | 2.9
3 | D70-S195 LED 3000 840 SI | 28
4 | SM540C PSD L1480 OC LED50S/840 NO | 38
5 | ALGORITMO SOSPENSIONE 2368mm LED 4000K EMISSIONE DIRETTA WALL WASHER / INDIRETTA LED DIMMER BIANCO | 124
6 | CHAL PRO LED3000-840 HFIX RMB W6 [STD] | 26

## Slide 56: Ground Floor Lighting Plan

## Slide 57: First Floor Lighting Plan

## Slide 58: Second Floor Lighting Plan

## Slide 59: Number of Outlets in each floor
Distribution boards | Outlets (2Amp) | Special loads (10Amp)
DBG | 21 | 1
DBF | 53 | -
DBS | 25 | -

## Slide 60: Ground Floor Socket Plan

## Slide 61: First Floor Socket Plan

## Slide 62: Second Floor Socket Plan

## Slide 63: Photovoltaic system
PV Cells distribution on the roof of the Academic school

## Slide 64: Specifications of the PV Cells
Site: Bet Dagan
Tilt angle (α): 32
Cells were oriented to the south
Type of the model: SPR-E20-435-COM
Manufacturer: Sun power
Module area: 2.162
Total module area: 143
Cells area: 1.962
Total cells area: 130
Number of modules: 66 module

## Slide 65: Results

## Slide 66: Payback Period
Initial cost of the system: 40,194 $

## Slide 67: Mechanical Design
Water supply System
Water Drainage System
HVAC System
Firefighting System

## Slide 68: Water supply System

## Slide 69: Water drainage System

## Slide 70: Manholes distribution

## Slide 71: HVAC System
Radiator design
Heating load for each space of building

## Slide 72: First Floor
Distribution of radiator in first floor

## Slide 73: Fire hoses Ground floor plan

## Slide 74: Fire hoses First floor Plan

## Slide 75: Fire Extinguisher Ground floor plan

## Slide 76: Fire Extinguisher First floor Plan
Fire Extinguisher In the Corridor
Fire Extinguisher In the Computer Lab and Library

## Slide 77: Fire Extinguisher Second Floor
Fire Extinguisher In the Corridor
Fire Extinguisher In Arts and Crafts room

## Slide 78: Quantity Survey