## Slide 1: ISO 50001:2011 Preparing Specialized Arab Hospital –Nablus for ISO 50001:2011 STANDARD
Project team:
Lana Ghannam Nidal Amer Omar Othman Waseem Shanabli Zaid Sayeh
Supervisors:
Eng. Suleiman Daifi Dr. Mohammed Alsayed

## Slide 2: Agenda
Introduction
  Background
  Problem Statement & Constraints
  Energy management & ISO 50001
Methodology
  PDCA
Developed work
    Gap Analysis
    Energy Analysis
ISO 50001 Implementation
Management and structural framework
Energy policy
Energy planning
implementation

## Slide 3: Problem Statement

## Slide 4: How to solve the problem?
Solution of energy-related issues was taken seriously on an international level
Several organizations developed many energy management systems
ISO 50001 was addressed as one of the most successful tools in making solutions

## Slide 5: Energy management & ISO 50001
Energy management is the process of
Monitoring,
Controlling, and
Conserving
“energy” in a building or organization.

## Slide 6
Energy Consumption
Collecting the data
Finding Opportunities
Taking Action
Tracking the progress
Energy management systems typically:

## Slide 7
Reduce greenhouse-gas emissions
Develop of a baseline of energy use
Reduce energy costs
Improve overall performance
Implementing a good energy management system can


## Slide 8: ISO 50001
ISO is the principal organization that develops and publishes voluntary standards that impact specifications for products, services, and good practices globally.
In the field of energy management, ISO 50001:2011 standard was established.
This standard deals with all of the energy components in the targeted institution.

## Slide 9
Implementing the standard can optimize the energy performance of any organization by reducing energy consumption and increasing energy systems efficiencies.
Awareness of this new standard is still limited and this can be noticed from the small number of organizations that have adopted or applied the requirements of the standard.
Locally, we have persuaded the Specialized Arab Hospital management to accept implementing the standard initially by our project team.

## Slide 10: Specialized Arab Hospital
Specialized Arab Hospital was founded in 1997.
It includes multiple medical departments.
Specialized Arab Hospital, managed by experienced people and a highly efficient and distinctive management, always strives to be the best.

## Slide 11: Methodology

## Slide 12: Prepared Literature Review after collecting necessary data
Literature Review
Energy Saving
Energy & Energy Management
Indain Standard
Case Studies

## Slide 13: ISO 50001:2011 Standard uses a management approach tool called the PDCA cycle.

## Slide 16
Gap analysis
Establish energy policy
Creates energy profile
Implementation
Put energy saving objectives
Air pressure system
Lighting
Checking
Hvac
Boilers
Motors
The process goes as in this chart

## Slide 18: Performed a Gap Analysis

## Slide 19
Gap Analysis is a technique that businesses use to determine what steps need to be taken in order to move from its current state to its desired, future state.

## Slide 20
The results were as in the following table:
Results showed how far ,the gap between the current situation of the hospital and the future state that should be reached, is.

## Slide 21: Future Works

## Slide 22
Energy consumption systems
Energy Baseline
Energy Audit
By the end of this year:

## Slide 23
After analyzing the major energy consumption systems, action plans will be set.
Performing the action plans will close Gap between the current and the future state.

## Slide 24: Conclusion
Overall situation needs a lot of work and improvement.
The hospital has no energy Policy and the team will develop a one in parallel with systems characterizing.
Energy Management principles are to be considered.
The most positive advantage is expressed by the interest and the intention of the hospital to develop and follow up with ISO 50001 requirements.

## Slide 25: END