## Slide 1: Software to calculate heating and cooling loads
Prepared by:
Ahmad Ismail
Laith Husain
Adham Harazneh Supervisor:
Dr. Salameh Abd Al-Fattah

## Slide 2: outline
The importance of heating and cooling.
ASHARE
HAP and Carriers
Methodology
. Selection of CFM
. Mathematical formulas
Visual basic
Future work

## Slide 3: The importance of heating and cooling.
HVAC
Sizing
Consumed power
Accurate calculation

## Slide 4: The main object of this project.
Heating and cooling calculations
Building information
Software function
Location
Java

## Slide 5: What is cooling and heating loads?
Cooling load definition
Cooling load types
Main object of cooling load
Heating load definition
Types of heating load

## Slide 6: ASHRAE
The definition of ASHRAE.
How adding chapter to ASHRAE

## Slide 7: Our literature view
Previous programs
HAP
Previous researches

## Slide 8: methodology
Object
Mathematical formulas
Windows
Java
Inputs and outputs
Run software
Check

## Slide 9: Software windows
Heating load

## Slide 10: Software windows
Cooling load

## Slide 11: Sample of code

## Slide 12: Sample of code

## Slide 13: How to use the software:
First : Download.
Second : Windows.
Third: Information required.
Fourth : Start with heating load window and fill inputs.
Fifth :Calculate.
Sixth : Save .
Seventh : Go to second page
Eighth : Fill inputs and press calculate.
Ninth : Save.
Tenth : Exit .

## Slide 14: Apply software on an existing building.

## Slide 15: Apply software on an existing building.

## Slide 16: Apply software on an existing building.

## Slide 17: Apply software on an existing building.

## Slide 18: Apply software on an existing building.
4-windows
aluminum ,double glass , air speed 5m/s
Area for window1 = 1.25*2= 2.5 m2
Area for glass1 = 2.5*0.7= 1.75 m2
Area for window2=1*1=1m2
Area for glass2=1*0.75=0.75 m2
5-Weather data
Region -Middle East
Location- Palestine City-Nablus
Latitude-32.2 degree Longtitude-35.2 degree
Elevation 648.0 M
Summer design dry bulb=29.9 Celsius - Summer coincident wet bulb = 18.3 Celsius
Summer daily range =11.6 k
Winter design dry bulb= 2.9 Celsius
Winter coincident wet bulb = -2.5 Celsius

## Slide 19: Apply software on an existing building.

## Slide 20: Conclusion
The accuracy of doing heating and cooling loads calculations for west bank zone
Features in this software( especially region)
Role of Engineer
Future work :
a) Regions
b) Duct
c) Domestic and pump
d) Drawing