## Slide 1: Integrated design of masjed
Presented by:
Supervisor : Eng. Ala’a Shaheen
21/12/2017
An-Najah National University
Sharaf Khalefa
Hussam Alaker
Saeed Abo Shamleh

## Slide 2: outline
Introduction
Site analysis
Architectural design
Environmental design
Structural design
Electrical design
Mechanical design
Safety
Quantity Survey

## Slide 3: Introduction
The masjed is a house of worship for Muslims . The masjed typically consists of a large lounge building and services places

## Slide 4: Site Analysis
Land area = 1223 m2
Building area = 834m2
The topography of the land : two level with 3 meter difference between them

## Slide 5: Architectural design
Site plan

## Slide 6: Architectural design
Basement

## Slide 7: Architectural design
Ground floor

## Slide 8: Architectural design
First floor

## Slide 9: Architectural design
Northern
elevation

## Slide 10: Architectural design
Southern
elevation

## Slide 11: Architectural design
Eastern elevation

## Slide 12: Architectural design
Western
elevation

## Slide 13: Architectural design
Sections

## Slide 14: Architectural design
Section A-A

## Slide 15: Architectural design
Section B-B

## Slide 16: Architectural design
3D-view

## Slide 17: Architectural design
3D-view

## Slide 18: Architectural design
3D-view

## Slide 19: Architectural design
3D-view

## Slide 20: Architectural design
3D-view

## Slide 21: Environmental Design
Building Shadow at 8:00 am on 21th Jun..

## Slide 22: Environmental Design
Building Shadow at 12:00 am on 21th Jan..

## Slide 23: Environmental Design
Materials
Elements | U-value (W/m2-k)
External walls | 0.628
Internals walls | 1.616
Ground slab | 0.58
Glass | 1.686

## Slide 24: Environmental Design
Thermal analysis.

## Slide 25: Environmental Design
Design capacity= 45.41 KWh for masjed

## Slide 26: Environmental Design
Thermal comfort

## Slide 27: Environmental Design
Daylight factor , Avg DF=4.87%

## Slide 28: Acoustical design

## Slide 29: Acoustical design
Acoustic improving
Perforated acoustic panels.
Plaster Joists .
Wood decoration.
Books shelves .

## Slide 30: Acoustical design
STC and IIC
Elements | 
External wall with glass | STC=45dB
Ceiling (mezzanine floor) | STC= 65dB
Ground Slab | IIC=78dB

## Slide 31: Acoustical design
AD-S8T Type (wall mounted)
Specifications
Dimensions: 254 mm width
440 mm height

## Slide 32: Acoustical design
By Ease Focus program

## Slide 33: Acoustical design
By Ease Focus program

## Slide 34: Acoustical design
When the absorption factor
is taken into account
AL% | S/N (dB) | SpL (dB) | Distance (m)
12 | 50.2 | 85.2 | 0.5
12 | 44.6 | 79.6 | 1
12 | 39.9 | 74.9 | 2
12 | 38 | 73 | 3
12 | 37 | 72 | 4
12 | 36.5 | 71.5 | 5
12 | 36.2 | 71.2 | 6
12 | 36 | 71 | 7
12 | 35.9 | 70.9 | 8
12 | 35.8 | 70.8 | 9
12 | 35.7 | 70.7 | 10
12 | 35.7 | 70.7 | 11
12 | 35.6 | 70.6 | 12
12 | 35.6 | 70.6 | 13
12 | 35.6 | 70.6 | 14
12 | 35.6 | 70.6 | 15
12 | 35.6 | 70.6 | 16
12 | 35.5 | 70.5 | 17
12 | 35.5 | 70.5 | 18
SPL around 70db .
Al% =12 .
Which is acceptable.

## Slide 35: Structure design
Codes and Standards:
(ACI 318) for RC Structures Design
(UBC 97) for Earthquake Loads
(ASCE 7 2010) for loads computations

## Slide 36: Structure design
Loads
Live Load = 5 KN/m2
SID= 5.65 KN/m2
Lateral loads:
Jenin city.
The seismic zone factor Z=0.2.
The soil profile is type Sc.
The Acceleration seismic coefficient Ca=0.24
The Velocity seismic coefficient Cv=0.32.
The Seismic importance factor is 1.25.
The structural design type is intermediate, R=5.5

## Slide 37: Structure design
Material
Compressive strength of Concrete f′c=28 MPa
Yielding strength of steel Fy = 420 MPa.

## Slide 38: Structure design
3D Modeling For Masjid & Minaret .

## Slide 39: Structure design
Beam Distribution For Ground Floor .

## Slide 40: Structure design
Beam Distribution For First Floor .

## Slide 41: Structure design
Checks:
1.Compatibility Check

## Slide 42: Structure design
2.Equilibrium Check
3.Internal Forces Check
Load | manual calculation(KN) | Etabs calculation(KN) | %Error
Dead | 9306.81 | 9523.011 | 2.27
Live | 4809.7 | 4784.479 | 0.53
SID | 3794 | 3770.052 | 0.64
Element | Manual calculation(KN.m) | Etabs calculation(KN.m) | %Error
Slab1 | 37.66 | 36 | 4.61
beam2 | 120 | 111.3 | 7.82
column7 | 797.52 | 769 | 3.71

## Slide 43: Structure design
4.Deflection check.
5.Drift check.
6.Period check.
7.Model participating mass ratio check.

## Slide 44: Structure design
Slab:
One-Way Ribbed Slab

## Slide 45: Structure design
Beam Design

## Slide 46: Structure design
Column Design

## Slide 47: Structure design
Dome Design

## Slide 48: Structure design
Shear Wall Design

## Slide 49: Structure design
Minaret Design

## Slide 50: Structure design
Footing plan

## Slide 51: Structure design
Single Footing Design

## Slide 52: Structure design
Wall Footing Design

## Slide 53: Electrical Design
Lighting design

## Slide 54: Electrical Design
Lighting design

## Slide 55: Electrical Design
Result

## Slide 56: Electrical Design

## Slide 57: Electrical Design

## Slide 58: Electrical Design
Type | Current(Amp) | Type | Area(mm2)
Lighting breaker | 10 | Lighting | 1.5
Power breaker | 16 | Power | 2.5
Main breaker | 30 | Main | 10
Space name | Number of socket | Number of special loads
Pray hall | 10 | 3
Imam room | 2 | 0
Library | 2 | 0
Women pray hall | 3 | 0
W.C+abultion area for men | 4 | 2
W.C+abultion area for women | 1 | 1
Entrance & stairs | 4 | 0
Basement | 6 | 0
Storage and mechanical room | 2 | 2
Total | 34 | 8

## Slide 59: Mechanical design
Water Supply System.
Drainage System.
HVAC System.

## Slide 60: Mechanical design
Water Supply System.

## Slide 61: Mechanical design
Water Supply System.

## Slide 62: Mechanical design
Drainage System.

## Slide 63: Mechanical design
Rain water discharge.

## Slide 64: Mechanical design
HVAC Design:
VRF system used.
4 indoor unit with 5 out door unit.

## Slide 65: Mechanical design
HVAC System.

## Slide 66: Mechanical design
HVAC System.

## Slide 67: Mechanical design
HVAC System.

## Slide 68: Mechanical design
Basement ventilation layout

## Slide 69: Safety design
Low fire hazard Dry powder Fire Extinguisher.

## Slide 70: Safety design

## Slide 71
Item | Total cost ($) | Unit cost ($/m2)
Excavation work | 61580 | 86
Civil and finishing work | 275420 | 385
Mechanical work | 54638 | 76.5
Electrical work | 14493 | 20
Total | 344204 | 481
Quantity survey

## Slide 73
Thank you