## Slide 1
Graduation Project – II
Integrated Re-design Ayesh office Building in Ramallah AL-Bireh
Sajeda Murad
Alaa dumaidi
Ahmad Kiwan
2020-2021
Supervised name: Dr. Nermen AlBarq
An-Najah National University Building Engineering Department

## Slide 2
Introduction of the project
Architectural aspects
Environmental aspects
Structural aspects
Electro-mechanical
Quantities
Table of Contents

## Slide 3
Introduction

## Slide 4
Architectural design

## Slide 5
Basement Floor.

## Slide 7
Before Modification.(Area 830 m2)
After Modification.(Area 830m2)
Ground Floor.

## Slide 8
South Elevation.

## Slide 9
North Elevation.

## Slide 10
West Elevation.

## Slide 11
East Elevation.

## Slide 12
3 D VIEW

## Slide 13
Environmental Adjustments
Daylighting
Thermal analysis
HVAC design
Environmental design

## Slide 14: Environmental Adjustments
Horizontal louvers were added on the south elevation.
Vertical louvers were added on the west & east elevations.
the external wall, roof ,floor were isolated to get the required U value.
The double class used

## Slide 15
Daylighting
before
after

## Slide 16: Elemental properties of structural and material layers within the element:
External wall
U-value for external wall =0.321<0.5
Floor
U-value for floor = 0.421<0.85

## Slide 17
Roof
Elemental properties of structural and material layers within the element:
U-value for roof =0.324<0.39
(double glazing, low Clr 6mm/6mm XENON)
Window

## Slide 18: Thermal analysis
Results for heating & cooling load analysis after adjustment :
Block | Design cooling Capacity (kW) | Design Heating Capacity (kW)
Totals | 723.87 | 325.64

## Slide 19: Thermal analysis
Results for heating load analysis
Total heating load =325.64 KW
Design heating Load Per Floor Area= 27.38(W/m2) =
Results for cooling load analysis
Total cooling load =723.87 kw
Design Cooling Load Per Floor Area
(W/m2) =60.8W

## Slide 20: Thermal analysis
comfort results
The number of non-comfort hours in the building:

## Slide 21
From the Design Builder program:
Total Heating Load = 325.64 kW.
Total Cooling Load = 723.87 kW.
Total Flowrate = 46004 L/s.
HVAC System
Design Flow Rate (m3/s) | Humidity (%) | # Of out door unit
46.004 | 49.2 | 6

## Slide 22: HVAC System
Outdoor unit :
6VRF unit with capacity 135 KW
VRF units AP4814HT8P-E
Indoor unit:
AP4814HT8P-E
Diffuser
Rectangular diffuser ).3X.3M)

## Slide 23: HVAC System
Supply diffusers
Return diffusers
Block | Zone | Design Flow Rate (m3/s) | Design Capacity (kW)Cooling | Design Capacity (kW) Heating | Floor Area (m2) | No. Diffuser | 76 | L/S from catalogue
G.F | Storage | 0.1171 | 1.74 | 1.18 | 27.7 | 1 | 400 | 385
 | Storage | 0.1292 | 1.92 | 1.34 | 32.1 | 2 |  | 
 | Storage | 0.1261 | 1.91 | 1.3 | 31.4 | 2 |  | 
 | Storage | 0.1259 | 1.87 | 1.31 | 31.1 | 2 |  | 
 | Storage | 0.1440 | 2.14 | 1.44 | 36.6 | 2 |  | 
 | Storage | 0.1439 | 2.18 | 1.39 | 34.9 | 2 |  | 
 | Storage | 0.1989 | 2.99 | 1.98 | 37 | 2 |  | 
 | Zone 4 | 0.0074 | 0.12 | 0.05 | 2.6 | 1 |  | 
 | W.C | 0.0079 | 0.13 | 0.07 | 3 | 1 |  | 
 | W.C | 0.0074 | 0.11 | 0.06 | 2.6 | 1 |  | 
 | W.C | 0.0094 | 0.14 | 0.08 | 3.1 | 1 |  | 
 | Office | 0.2236 | 3.38 | 2.27 | 52 | 3 |  | 
 | Stair & elevator | 0.2041 | 3.23 | 1.53 | 51 | 3 |  | 
 | room( Storage) | 0.9617 | 15.48 | 6.55 | 228.8 | 11 |  | 
 | Carddor | 0.4937 | 8.1 | 2.98 | 137.3 | 7 |  | 
 | Stair & elevator | 0.1212 | 2.01 | 0.92 | 38.1 | 2 |  | 
FF | Stair & elevator | 0.3299 | 5.24 | 1.71 | 71 | 4 |  | 
 | Carddor | 0.4868 | 7.76 | 2.07 | 110.6 | 6 |  | 
 | Office | 0.1586 | 2.52 | 0.9 | 33 | 2 |  | 
 | Office | 0.2487 | 3.83 | 2.09 | 48.4 | 2 |  | 
 | Stair & elevator | 0.0852 | 1.18 | 0.69 | 38.6 | 2 |  | 
 | Office | 0.2125 | 3.37 | 1.43 | 46.3 | 2 |  | 
 | Office | 0.1604 | 2.55 | 0.8 | 34.4 | 2 |  | 
 | Office | 0.1341 | 2.12 | 0.7 | 28.4 | 1 |  | 
 | Office | 0.2021 | 3.21 | 1.41 | 43.7 | 2 |  | 
 | Office | 0.4635 | 7.18 | 2.96 | 91.6 | 5 |  | 
 | Office | 0.3560 | 5.69 | 2.41 | 92.8 | 5 |  | 
 | Office | 0.3933 | 6.29 | 2.61 | 103.4 | 5 |  | 
 | Office | 0.3192 | 4.99 | 2.29 | 71.6 | 4 |  | 
 | Totals | 6.5720 | 103.41 | 46.52 | 1563.2 |  |  | 

## Slide 24: HVAC System

## Slide 25
Structural Design

## Slide 26: Load material and code Data:
Load :
Materials Data
Construction materials that were used in the building:
For slab and beam use concrete B300 with fʹc =24 MPa.
For column and shear wall & mat foundation use concrete B350 with fʹc =28MPa.
Steel reinforcements with yielding strength fy=420MPa.
Design Codes:
ASCE: American society of civil engineers.
ACI 318-14: American concrete institute 2014.
Jordanian National Building Codes - Loads and Forces Code.
UBC-97 For seismic design
Type of load | Load considered (KN/m2)
Live load | 3.5 KN/m2
Live load ( Basement floor) | 3.5 KN/m2
Superimposed dead load | 5.96KN/m2
Partitions dead load /m height | 1.66 KN/m2

## Slide 27: The structural system of Slab
-Slab thickness design :
Two Way ribbed slab H=300mm.
Shear check:
Vu
ᴓVc=˃Vu→ Vs=-Vc

## Slide 28
Column distribution :
Dimensions of Columns
column type |  | length (cm) | width (cm)
rectangular | c1 | 180 | 30
 | c2 | 180 | 40
 | c3 | 80 | 80
 | c4 | 180 | 80

## Slide 29: Dimensions of Beams
Beam | Width | Depth | Effective depth
B1 | 400 | 700 | 640
B2 | 300 | 700 | 640
Beam design in GF, FF,SF UP to Roof
Beam design in B3, B2,B1
Beam | Width | Depth | Effective depth
B1 | 400 | 700 | 640

## Slide 30
Checks
Compatibility check
Equilibrium check
Stress σ & Strain ɛ check
Period check
Base shear check
Drift check
Structural analysis

## Slide 31
Compatibility check and Period
Period check.
T =1.4 × Ct (hn) ¾
T =1.4 × 0.0488 (52) ¾ =1.51 Sec.
𝑇𝑒𝑡𝑎𝑏𝑠 𝑠ℎ𝑜𝑢𝑙𝑑 𝑏𝑒 ≤ 𝑇𝑚𝑒𝑡ℎ𝑜𝑑𝑎 𝑇𝑥 = 1.437 < 1.51 → 𝑂𝐾. 𝑇𝑦 = 1.221 < 1.51 → 𝑂𝐾.
Case | Mode | Period | UX | UY | UZ | Sum UX | Sum UY
 |  | sec |  |  |  |  | 
Modal | 1 | 1.437 | 0.0001 | 0.1941 | 0 | 0.0001 | 0.1941
Modal | 2 | 1.221 | 0.045 | 0.2578 | 0 | 0.0451 | 0.4519
Modal | 3 | 1.139 | 0.4326 | 0.0305 | 0 | 0.4777 | 0.4823
Modal | 4 | 0.384 | 6.62E-06 | 0.0138 | 0 | 0.4777 | 0.4961
Modal | 5 | 0.285 | 0.0017 | 0.1235 | 0 | 0.4794 | 0.6195
Modal | 6 | 0.224 | 0.146 | 0.0017 | 0 | 0.6255 | 0.6212
Modal | 7 | 0.202 | 0.005 | 1.73E-05 | 0 | 0.6305 | 0.6212
Modal | 8 | 0.195 | 0 | 0.0008 | 0 | 0.6305 | 0.6221
Modal | 9 | 0.192 | 0 | 0.0004 | 0 | 0.6305 | 0.6225
Modal | 10 | 0.188 | 0.0006 | 0.0041 | 0 | 0.6311 | 0.6266
Modal | 11 | 0.164 | 9.65E-06 | 0.0035 | 0 | 0.6311 | 0.6301
Modal | 12 | 0.136 | 0.0002 | 0.0273 | 0 | 0.6313 | 0.6574

## Slide 32
Equilibrium check:
Error % Doesn’t exceed 5 %
Deflection check:
Maximum deflection calculate by Etabs from serves =36.75< 45mm .
 | load | from etabs | from manual | error
live load | 3.5 | 40323.24 | 40056.07 | 0.66%
SID load | 5.96 | 69132.4 | 68667.54 | 0.67%

## Slide 33
Frame | M manual | M Etabs (KN.m) | % Error
 | (kN.m) |  | 
AB | 135.9 KN.m | 131.73 | 3.16%
Stress-strain check:
Slab internal force:
Column internal force:
33
 | Manual (KN) | ETABS (KN) | %Error
live load | 2049.6 | 2062.3 | 0.62%
SID load | 3513.6 | 3535.53 | 0.62%
dead | 4104.16 | 4346.75 | 5.58%
BEAM | M manual (KN) | M etabs (KN) | % Error
Beam 2 | 121.41 | 101.8 | 1.125
Beam internal force

## Slide 34
    Seismic design criteria
1
Mass source: 100% for dead laods and SID , 25% for live laods.
2
Seismic zone : The faculty is located in Ramallah city Therefore, the seismic zone is 2B and the Z value is equal to 0.20.
3
Soil profile: The soil type is clay so the soil profile is SD .
4
5
6
Force Reduction Factor R = 5.5 (Building Frame System - shear wall)
Importance Factor I = 1.0
Acceleration-Dependent Seismic Coefficient Ca = 0.2
7
Velocity-Dependent Seismic Coefficient Cv = 0.2
8
Response spectrum scale factor = = = 2230
Response spectrum scale factor = (𝐼×𝑔)/𝑅 = (1.25 ∗9810)/5.5 = 2230
1
Mass source: 100% for dead laods and SID , 25% for live laods.
2
Seismic zone : The faculty is located in Ramallah city Therefore, the seismic zone is 2B and the Z value is equal to 0.20.
3
Soil profile: The soil type is clay so the soil profile is SD .
4
5
6
Force Reduction Factor R = 5.5 (Building Frame System - shear wall)
Importance Factor I = 1.0
Acceleration-Dependent Seismic Coefficient Ca = 0.2
7
Velocity-Dependent Seismic Coefficient Cv = 0.2
8

## Slide 35
Base shear check
EQx Max= 29092.6292
EQy Max= 29091.7554
EQ ≥ V its ok.
BASE SHEAR CHECK | 
Soil profile | SD
I | 1
Ca | 0.28
Cv | 0.4
R | 5.5
Ω | 2.8
Ct | 0.0488
hn | 52
T | 1.52
Tetabs | 1.437
w | 2.08E+05
Vmain | 2.91E+04
Vsecondry | 8.73E+03
Load Case/Combo |  | FX | FY
 |  | kN | kN
After Scaling |  |  | 
EQx Max | 29092.6292 |  | 5490.6615
EQy Max | 12595.1634 |  | 29091.7554

## Slide 36
Drift check
T ˂ 0.7, Δ M =2.5% * H, H: story height.
T ≥ 0.7, Δ M =2.0% * H, H: story height.
Story | Height | Dis X | Dis Y | Drift X | Drift Y | Delta X | Delta Y | Delta Limits
0 | _ | 0 | 0 | _ |  |  |  | 
B3 | 4000 | 0.235 | 0.235 | 0.235 | 0.235 | 0.905 | 0.905 | 80.00
B2 | 4000 | 0.594 | 0.596 | 0.359 | 0.361 | 1.382 | 1.390 | 80.00
B1 | 4000 | 1.494 | 1.496 | 0.900 | 0.900 | 3.465 | 3.465 | 80.00
GF | 4500 | 10.150 | 11.512 | 8.656 | 10.016 | 33.326 | 38.562 | 90.00
F1 | 4000 | 21.683 | 26.569 | 11.533 | 15.057 | 44.402 | 57.969 | 80.00
F2 | 4000 | 35.299 | 44.503 | 13.616 | 17.934 | 52.422 | 69.046 | 80.00
F3 | 4000 | 50.269 | 64.520 | 14.970 | 20.017 | 57.635 | 77.065 | 80.00
F4 | 4000 | 66.339 | 85.572 | 16.070 | 21.052 | 61.870 | 80.192 | 80.00
F5 | 4000 | 82.972 | 107.666 | 16.633 | 22.094 | 64.037 | 80.192 | 80.00
F6 | 4000 | 100.056 | 129.208 | 17.084 | 21.542 | 65.773 | 80.192 | 80.00
F7 | 4000 | 117.043 | 150.037 | 16.987 | 20.829 | 65.400 | 80.192 | 80.00
F8 | 4000 | 130.349 | 170.344 | 13.306 | 20.307 | 51.228 | 78.182 | 80.00
F9 | 4000 | 150.326 | 190.755 | 19.977 | 20.411 | 76.911 | 78.582 | 80.00

## Slide 37
Detailing requirements:
Diaphragm details:

## Slide 38
Rectangular columns details:
Columns details details:

## Slide 39
Beams details:

## Slide 40
Mat foundation Layout

## Slide 41
Mat foundation Layout
Basement Retaining wall
Shear check:
For toe and heal :
ØVC = ( 0.75/6 )×√28 × 380 × 1000 ×10-3 = 251.3 KN/m
Toe maximum shear is:98.45KN/m , less than ØVC → ok
Heel maximum shear is : = 154.48KN/m , less than ØVC

## Slide 42
Lighting units and switches /Electrical design

## Slide 43
Lighting Unit layout
Plan for Mezzanine Floor Plan & ground floor.

## Slide 44
Lighting Unit layout
plan for first floor.

## Slide 45
Lighting Unit layout
plan for second floor.

## Slide 46
Office Lab DIALUX results.
Luminaire layout plan for Computer lab
UGR Check.

## Slide 48
Electrical power

## Slide 49
Switch distribution of Mezzanine Floor Plan & ground floor

## Slide 50
Switch distribution
of first floor

## Slide 51
Switch distribution
of second floor

## Slide 52
Mechanical system

## Slide 53
Diameter Of Pipes
Mezzanine Floor Plan & ground floor
 | Meter | vertical | Horizontal | branch | Critical branch
Diam. (inch) | 2 1/2” | 3” | 2” | 2” | 1 ½”
Pressure loss | 0.35 | 4.5 | 0.17 | 0.49 | 2.52
Total loss | 8.03 |  |  |  | 

## Slide 54
First floor

## Slide 55
Drainage system
The distribution of manhole

## Slide 56
FIREFIGHTING SYSTEM

## Slide 59
Acoustical- design.

## Slide 60
Office 1
Standard of RT60= (0.5-1.1) Sec.

## Slide 61
Quantity surveying and cost estimate

## Slide 62
Total cost that estimated for cultural center = 10393589.07 NIS.→ 3093330.081$
Cost for project building per m2= 3093330.081/11893.7=260$.
Work | Budget Cost (NIS)
Sub-Structure | 1554239.652
Super Structure | 1806806.938
Non- Structure | 182325
Finishing | 2417599.133
Mechanical Work | 2651154
Electrical Work | 80235
safety work | 5880
External work | 50000
Total Cost | 10393589.07

## Slide 63
Thank you for listening 
Any questions