## Slide 1
An-Najah National University
Building Engineering Department
Graduation Project II
Engineering Association-Nablus Branch Redesign
Submitted by:
Ahmad Ba’ara
Mohammad Haqash
Waleed Faqeeh
Supervisor:
Eng. Narmeen Barq

## Slide 2
Presentation outline
Introduction.
Site analysis.
Architectural Design.
Structural Design.
Environmental and Mechanical Design.
Project Cost.
2

## Slide 3
Introduction
This presentation will show the new design steps and site evaluating for Engineering Association Branch at Nablus city , the old building design there are some problems that we had to solve in the new design:
Absent of privet parking
Absent of elevators
impractical Function distribution
Doesn’t support seismic design
Inefficient Environmental design for natural lighting and ventilation
3

## Slide 4
Site Analysis
Site location: Nablus- Mreige Sreet
Land Area : 830 m2

## Slide 5
Site Analysis
Weather condition
Temperature grading figure in winter

## Slide 6
Site Analysis
Weather condition
Temperature grading figure in summer

## Slide 7
Site Analysis
Weather condition
Wind Direction

## Slide 8
Site Analysis
Site plan and levels

## Slide 9
Architectural Design
Ground floor Spaces
Basemen Spaces
Functions Spaces
Function | Area ( m2)
Basement | 435.6
Ground Floor | 496.21
First Floor | 496.2
Second Floor | 352.73
Total Building Area | 1780.75

## Slide 10
Architectural Design
Second floor Spaces :
First Floor Spaces
Functions Spaces

## Slide 11
Architectural Design
Architectural Plans: Basement plan
Old Design
New Design
In the old design , the basement consist of sport room and kitchenette only

## Slide 12
Architectural Design
Architectural Plans: Ground Floor Plan
Old Design
New Design

## Slide 13
Architectural Design
Architectural Plans: First Floor Plan
Old Design
New Design

## Slide 14
Architectural Design
Architectural Plans: Second Floor Plan
Old Design
New Design

## Slide 15
Architectural Design
Architectural Elevation : West Elevation
Old Design
New Design
15

## Slide 16
Architectural Design
Architectural Elevation : East Elevation
Old Design
New Design

## Slide 17
Architectural Design
Architectural Elevation : North Elevation
Old Design
New Design
17

## Slide 18
Architectural Design
Architectural Elevation : South Elevation
Old Design
New Design

## Slide 19
Architectural Design
Section A-A
Architectural Sections
Section B-B

## Slide 20
Architectural Design
3d Views

## Slide 21
Architectural Design
3D Views

## Slide 22
Architectural Design
3D Views

## Slide 23
Architectural Design
3D Views

## Slide 24
Structural Design
Codes and Standards
ACI -318-11 for reinforced concrete structural design.
UBC -97 for earthquake design.
ASCE 7 2010 for load combinations

## Slide 25
Structural Design
Design data
Concrete strength for slabs and beams, f’c =24 mpa.
Concrete strength for columns and shear walls ,f’c =28 mpa.
Steel yield strength fy =420 mpa.
Bearing capacity for soil = 350 kN/m2

## Slide 26
Structural Design
Loads
Live load = 2 kN/m2
Super Imposed Dead (S.I.D) =6 kN/ m2
The seismic zone factor. Z=0.2.
The soil profile is type Sc.
The acceleration seismic coefficient Ca=0.24
The velocity seismic coefficient Cv=0.32.
The Seismic importance factor is 1.
The structural design type is intermediate, R=5.5

## Slide 27
Structural Design
Verification of model
Compatibility check.
Equilibrium check .
Internal force check.
Deflection check .
Drift check .
Period check.
Model participating mass ratio check.

## Slide 28
Structural Design
Slab Design
Two-way solid slab with 25 cm thickness.

## Slide 29
Structural Design
Beams Plan
Cross section Drop beam with 70*30 cm

## Slide 30
Structural Design
Beams Sections

## Slide 31
Structural Design
Beams Sections

## Slide 32
Structural Design
Beams Sections

## Slide 33
Structural Design
Column Sections

## Slide 34
Structural Design
Shear wall Sections

## Slide 35
Structural Design
Shear wall Sections

## Slide 36
Structural Design
Retaining wall Sections

## Slide 37
Structural Design
Footing Plan and Sections

## Slide 38
Structural Design
Etabs Model

## Slide 39
Environmental and Mechanical Design
Environmental Design
Thermal analysis
Element | U-value (w/m2 .k)
External wall | 0.757
Internal wall | 1.639
flat roof | 0.419
glass | 1.493
Floor | 0.273

## Slide 40
Environmental and Mechanical Design
Environmental Design
Thermal analysis
Time Schedule of working hours:

## Slide 41
Environmental and Mechanical Design
Environmental Design
Thermal analysis
Heating and cooling load
Site Energy

## Slide 42
Environmental and Mechanical Design
Environmental Design
Thermal analysis
Fangers:
Building heating capacity:

## Slide 43
Environmental and Mechanical Design
Environmental Design
Thermal analysis
Consumption of electromechanical in kWh/m2):

## Slide 44
Environmental and Mechanical Design
Environmental Design
Shading:
21/1 at 12:00 PM
21/1 at 08:00 AM

## Slide 45
Environmental and Mechanical Design
Environmental Design
Shading:
21/7 at 12:00 PM
21/7 at 08:00 AM

## Slide 46
Environmental and Mechanical Design
Environmental Design
Daylight:
Office
Multi-purpose room

## Slide 47
Environmental and Mechanical Design
Environmental Design
Daylight:
Average Daylight factor
Function | Average Daylight factor (%)
Office | 1.8
Multi-purpose | 2.25
Meeting | 1.15
Corridor | 1.03
Video conference | 2.13
Stairs | 1.59
Computer room | 1.99
Teaching room | 1.37

## Slide 48
Environmental and Mechanical Design
Environmental Design
Lighting
Luminaires part list:

## Slide 49
Environmental and Mechanical Design
Environmental Design
Lighting
Level of illuminance each space:
Function | Eavg (lux)
Office | 610
Multi-purpose | 988
Meeting | 752
WC | 170
Corridor | 512
Video conference | 663
parking | 657
Stairs | 164
Computer room | 341
Teaching room | 463

## Slide 50
Environmental and Mechanical Design
Environmental Design
Lighting
Lighting views from DiaLux EVO:

## Slide 51
Environmental and Mechanical Design
Environmental Design
Acoustical Design System (Multi- Purpose room)
STC ( Sound transmission coefficient) in North External wall. :

## Slide 52
Environmental and Mechanical Design
Environmental Design
Acoustical Design System (Multi- Purpose room)
STC ( Sound transmission coefficient) in west External wall. :

## Slide 53
Environmental and Mechanical Design
Environmental Design
Acoustical Design System (Multi- Purpose room)
RT60 ( Reverberation time).
53

## Slide 54
Environmental and Mechanical Design
Mechanical Design
Drainage System
Vertical Line drainage:

## Slide 55
Environmental and Mechanical Design
Mechanical Design
Drainage System
Drainage System in Basement floor

## Slide 56
Environmental and Mechanical Design
Mechanical Design
Drainage System
Drainage System in WC’S

## Slide 57
Environmental and Mechanical Design
Mechanical Design
Water supply System
The consumption in building is divided to
Employee = 15*45 = 675 liter /day.
Visitors = 30*45 = 1350 liter/day assuming 30 visitors of 60 will consume water same as each employee.
Workers = 5*45 =225 liter/day.
Cleaning and irrigation almost = 150 liter/day.
The total consumption = 675 + 1350 + 225 + 150 = 2400 liter/day.
The municipality provides water every (3-5) days.
The consumption in four days = 2400*4 = 9600 liter.
7 tanks with 1.5 m3 is needed

## Slide 58
Environmental and Mechanical Design
Mechanical Design
HVAC System
VRV system (Variable Refrigerant Volume) was used for HVAC system .
Duct system were used .

## Slide 59
Environmental and Mechanical Design
Mechanical Design
Electrical System
Basement lighting

## Slide 60
Environmental and Mechanical Design
Mechanical Design
Electrical System
Ground floor lighting

## Slide 61
Environmental and Mechanical Design
Mechanical Design
Electrical System
First floor lighting

## Slide 62
Environmental and Mechanical Design
Mechanical Design
Electrical System
Second floor lighting

## Slide 63
Environmental and Mechanical Design
Mechanical Design
Electrical System
Number of sockets in each space.

## Slide 64
Environmental and Mechanical Design
Mechanical Design
Electrical System
Branches.

## Slide 65
Environmental and Mechanical Design
Mechanical Design
Electrical System
Sockets distribution in first floor.

## Slide 66
Environmental and Mechanical Design
Mechanical Design
Fire Fighting System

## Slide 67
Project cost
Element | Total cost ($) | Unit cost ($/m2)
Excavation | 2829 | 1.58
Civil | 234235.4 | 136.64
Architectural | 224628.14 | 126.19
Mechanical | 51730 | 29.06
Electrical | 63945 | 35.92
Total | 561767.54 | 315.46

## Slide 68
Thank you