## Slide 1
Real Time Health Monitoring and Tracking System using GPS/GSM Technologies
SUPERVISED BY:
Dr. Saed Tarapiah
PREPARED BY:
Orjuwan Damaj, Riham Ghazawi
&Manar Zaid

## Slide 2
Outline
Overview
System Idea
System Components
Methodology
Result and Discussion
Recommendations

## Slide 3
Overview

## Slide 7
Result and Discussion
System Hardware
The ECG ( two cases )
The GPS Reading
LilyPad Temperature Sensor Reading
The Sent SMS
Google Map Position

## Slide 8
System Hardware

## Slide 9
Normal ECG

## Slide 10
Normal ECG

## Slide 11
Unconnected Pulse Sensor ECG

## Slide 12
Unconnected Pulse Sensor ECG

## Slide 13
The GPS Reading

## Slide 14
LilyPad Temperature Sensor Reading

## Slide 15
The Sent SMS

## Slide 16
Google Map Position

## Slide 17
Recommendations
Android application could be implemented.
Send the name of patient’s position by using server, GPRS, and data structure.
Additional sensors may be added to expand system work filed to include extra illness like Alzheimer's, Diabetes mellitus and Blood pressure.

## Slide 18
Economical Feasibility
Model Total cost:
Arduino: 170 NIS
GPS / GPRS / GSM MODULE V3.0: 520 NIS
Pulse Sensor: 135 NIS
LilyPad Temperature Sensor: 25 NIS
The total cost approximately ≈ 850 NIS
Operating cost:
The cost of SMS: 0.25 NIS

## Slide 20
THANKS FOR COMING