## Slide 1: Active Filter
Eng. Sarah Alkouni
Eng. Noura Abu Ghosh
Eng. Reem Baker
Supervisor: Dr. Kamel Saleh

## Slide 2: Content
Introduction
Methods
Simulation Design
Hardware Design
Discussion

## Slide 3: Introduction
Harmonic distortion is brought about mainly by nonlinear loads.
Integer–multiple frequencies of the fundamental frequency.
Harmonics limit a power system’s ability to perform optimally.
Pure AC signal.
Distorted due to a many harmonics.
Distorted due to a 3rd harmonic.

## Slide 4: Introduction
Active power filters can be used to eliminate supply current harmonics.
This is done by extracting the harmonics and making the inverter inject them into system.
Increased power quality.
Real and reactive power compensation.
Improved power factor.

## Slide 5: Methods
H–Bridge in Active Filtering
  An electronic circuit composed of semiconductor devices; act like switches.
  Controlled by a PWM signal.
  Used to inject current harmonics into the power system.
  Produces harmonic current in reverse order as required by the nonlinear load.
  Results in a purely sinusoidal source current.

## Slide 6: Methods
Hysteresis Control
A hysteresis comparator compares reference (demand) current with measured (actual) current.

## Slide 7: Methods
Harmonic Extraction Theory
  The method used is the d–q synchronous frame for three phase systems.
  For a single–phase system; more quantities are required.

## Slide 8: Simulation Design

## Slide 9
Hardware Design
Sensor testing
H–bridge Testing
Comparison of Two Loads
Closed Loop System

## Slide 10
Code Flowchart

## Slide 11
Discussion
Source current before inverter in MATLAB.
Real–time source current before inverter (alpha) in hardware.

## Slide 12
Fs = 5000 Hz
Foutput = 50 Hz
i = 5000/50 = 100 pulses
theta = i*2*3.14/100.0, for
Discussion
Theta obtained in MATLAB.
Theta obtained in hardware.

## Slide 13
Discussion
Obtaining alpha and beta components:
Alpha and beta in MATLAB.

## Slide 14
Discussion
Obtaining alpha and beta components:
Alpha and beta in hardware.
if(r>=0 && r<76) {
beta[r] = alpha[r+24];
}
else if(r>=76 && r<100) {
beta[r] = alpha[r-75];
}

## Slide 15
Discussion
Unfiltered d–component in MATLAB.
Real–time unfiltered d–component in hardware.
To convert to d–q frame in Arduino:
d_current = alpha[i]*sin(theta) - beta[i]*cos(theta);
q_current = alpha[i]*cos(theta) + beta[i]*sin(theta);

## Slide 16
Discussion
Unfiltered q–component in MATLAB.
Real–time unfiltered q–component in hardware.

## Slide 17
Discussion
High frequency component of d–component in MATLAB.
Harmonic Extraction
High frequency extraction using an HPF.

## Slide 18
Real–time fundamental frequency of d–component.
Discussion
Harmonic Extraction
Using an LPF in discrete form (using the bilinear method) in Arduino:
d_f_current = d_f_previous*(C-10)/(C+10)+ 10*d_current/(C+10)+ 10*d_previous/(C+10);
q_f_current = q_f_previous*(C-10)/(C+10)+ 10*q_current/(C+10)+ 10*q_previous/(C+10);

## Slide 19
High frequency component of q–component in MATLAB.
Real–time fundamental frequency of q–component.
Discussion
Harmonic Extraction

## Slide 20
Id_ref = d_current - d_f_current;
Iq_ref = q_current - q_f_current;
Discussion
Harmonic Extraction
High frequency component of d–component in Arduino.
High frequency component of q–component in Arduino.

## Slide 21
Discussion
Reference Current in green.
I_alpha = Id_ref *cos(theta) - Iq_ref*sin(theta);
Harmonic Extraction

## Slide 22
Discussion
PWM signal in green.
if(I_alpha > I_bridge) {
bridge_pwm = 1;
}
else
bridge_pwm = 0;
Hysteresis Control

## Slide 23
Discussion
Real–time source current after H–bridge operation.
Source current after H–bridge operation in MATLAB.

## Slide 24: Thanks for Your Attention