## Slide 1: Graduation Project 2 SUSTAINABLE PERFORMANCE INTEGRATION FOR BUSINESSMEN FORUM BUILDING'S
Prepared By :
Ahmad AWWAD
Othman DARIYAH
Tariq SHEHAB
Supervised By : Eng. Wala OMAR

## Slide 2: Outline
Site description & Analysis
Architectural design
Environmental design
Structural design
Mechanical design
Electrical design
Quantity survey and cost
Conclusion

## Slide 3: Introduction
Nablus Businessmen forum.

## Slide 4: Site analysis
N

## Slide 5: Sun Path & Shading
12 pm in December
12 pm in June

## Slide 6: Architectural design
Site Plan
Second floor
Basements
Ground Floor
First Floor

## Slide 7: Site Plan
N

## Slide 8: Basements
N
First basement floor
second basement floor
About 650 and capacity for 18 cars for each basement floor.

## Slide 9: Ground Floor
Expected Number of
Audience
210
Schedule
Afternoon & Evening Time
Space | Area ()
Multipurpose Hall | 278
Lobby | 90
store | 11
Space | 
Multipurpose Hall | 278
Lobby | 90
store | 11
Total area = 518

## Slide 10: First Floor
Expected Occupancy
8-11
Schedule
8 Working hours
(9 am-5 pm)
Total area = 518
Space | Area ()
Administration | 28
Office 1,2 and 3 | 20
Rest area | 27
Meeting Room | 40
Kitchenette | 9
Terrace | 100
Space | 
Administration | 28
Office 1,2 and 3 | 20
Rest area | 27
Meeting Room | 40
Kitchenette | 9
Terrace | 100
Total area = 518

## Slide 11: second Floor
Expected Number of
Users
100
Schedule
At Evening Time
Total area = 418
Space | Area ()
Guest area | 200
Kitchen | 18
Space | 
Guest area | 200
Kitchen | 18

## Slide 12: Southern Elevation

## Slide 13: Northern Elevation

## Slide 14: Eastern Elevation

## Slide 15: Western Elevation

## Slide 16: Comparison
The comparison between the old design and our design for the ground floor
 | The current design | Our design
lobby | Lobby with an area of 40 m2 is not enough for 255 people | Lobby with an area of 90 m2 is enough for 210 people
Toilets | There are not enough number of toilets for men and women, and there are no urinals | There are enough number of toilets for men and women, and there are urinals
Toilet for the disabled | There is no toilet for the disabled | There is a toilet for the disabled
Store | There is no storage area for excessive chairs and the stage equipment’s | here is a storage area for excessive chairs and the stage equipment’s

## Slide 17: Comparison
In the current design, there are 15 parking spaces only .
In our design, the basement floors designed as garages with capacity 35 cars, and in outside the building and within the boundaries of the building land, there are 7 parking spaces.
Total = 42 parking spaces.
In the current design, the view of the terrace was mainly north, but on the north side the view was blocked because of a building from the north.
In our design, we change the location of terrace to the south side with view to the south and east.
In the current design, there is excessive areas for offices and the meeting room, and there is no rest area.

## Slide 18: Environmental Design
Thermal design.
Natural Lighting.
Acoustic Design.

## Slide 19: Thermal
Two types of Exterior Wall (1,2)
1
2
U-Value = 0.49 W/.K
Both almost have the U value

## Slide 20: Thermal
Exterior Slab
U-Value= 0.39W/.K.
Glazing
Double grey 3mm/13mm argon LOE (low emittance glass).
U-Value= 1.49W/.K.

## Slide 21: Design Builder Results

## Slide 22: Design Builder Results

## Slide 23: Design Builder Results

## Slide 24: Design Builder Results

## Slide 25: Comparison
 | New Design | Existence Building
Energy Consumption | 176KW/ | 117KW/
 | New Design | Existence Building
Energy Consumption |  | 
Big difference between the energy consumption of the existing and the new design is noted.

## Slide 26: Natural Lighting
Space | DF% | DF% Required | DF% Min | Comparison
Lobby | 8.11 | 2 | 0.6 | Within
Multipurpose | 0.81 | 2 | 0.6 | Within
Corridor | 1.36 | 2 | 0.6 | Within
Stair | 2 | 2 | 0.6 | Within
Ground Floor

## Slide 27: Natural Lighting
First Floor
Space | Average Daylight Factor (%) | DF% Required | DF% Required | Comparison
Office 3 | 1.87 | 4 | 1.6 | Within
Corridor | 1.44 | 2 | 0.6 | Within
Meeting Room | 0.9 | 2 | 0.8 | Within
Administration Office | 1.31 | 4 | 1.6 | Within
Office 2 | 1.76 | 4 | 1.6 | Within
Office 1 | 1.9 | 4 | 1.6 | Within
rest | 3.88 | 2 | 0.6 | Within
Kitchenettes | 0.36 | 2 | 0.6 | Not

## Slide 28: Natural Lighting
Second Floor
Block | Average Daylight Factor (%) | DF% Required | DF% Required | Comparison
Guest | 3.88 | 2 | 0.6 | Within
Kitchen | 1.5 | 2 | 0.6 | Within

## Slide 29: Comparison
Space | DF% existing design | DF% New design | DF% Required | DF% Minimum
Multipurpose | 0.39 | 0.81 | 1 | 0.6
Lobby | 5.37 | 8.11 | 2 | 0.6
Office (avg.) | 0.2 | 1.84 | 4 | 1.6
Administration Office | 1.29 | 1.31 | 4 | 1.6
Meeting Room | 0.96 | 0.9 | 2 | 0.8
Guest | 2.14 | 3.88 | 2 | 0.6
Kitchen | 2.97 | 1.5 | 2 | 0.6

## Slide 30: Acoustical Design
Sound Transmission Class (STC)
Internal Partition

## Slide 31: Acoustical Design
Sound Transmission Class (STC)
External Wall

## Slide 32: Acoustical Design
Sound Transmission Class (STC)
Offices:-
Meeting Room :
STC values within the recommended.

## Slide 33: Acoustical Design
Impact insulation class (IIC)
Slab 25 cm
The recommended IIC = 50 db.
75>50 within.

## Slide 34: Acoustical Design
Reverberation Time (RT60)
Finishes

## Slide 35: Acoustical Design
Reverberation Time (RT60)
Multipurpose
Recommended (1.4-1.9) at 500-1000Hz
Most suitable analysis equation: Sabine

## Slide 36: Acoustical Design
Reverberation Time (RT60)
Meeting Room
Recommended (0.6-1.9) at 500-1000Hz
Most suitable analysis equation: Sabine

## Slide 37: Structural Design:
Codes and Standards:
ACI 318-14 for reinforced concrete design.
UBC-97 for seismic design and its load combinations.

## Slide 38: Structural Design:
Material :
concrete fc = 40 Mpa were used for foundation & columns. concrete fc = 24 Mpa for slabs & beams.
Reinforcement steel Fy = 420 Mpa.
Soil bearing capacity = 250KN/m²

## Slide 39: Structural Design:
Loads
Dead load.
Super imposed dead load =3.5 kN/m2 .
Live load = 5 kN/m2
Seismic load .

## Slide 40: Structural Design:
Seismic design

## Slide 41: Structural Design:
Model in ETABS program

## Slide 42: Structural Design:
Checks:
Compatibility check.

## Slide 43: Structural Design:
Checks:
Equilibrium check
load case | ETABS | HAND | Error | OK (<5%)
Dead | 23,915.21 | 22,766.937 | 5% | OK
Live | 12,386.79 | 12,341.5 | 1.72% | OK
SID | 12,685.24 | 12,907.25 | 0.36% | OK

## Slide 44: Structural Design:
Checks:
Internal forces checks
All columns and beams that checked, the difference between ETABS and hand calculations was been less than 10%

## Slide 45: Structural Design:
Checks:
Deflection check. MAX. allowable deflection = 58 mm in beams & 25mm in slab

## Slide 46: Structural Design:
Checks:
Period check.
Time period by ETABS equal 0.543 s.
period from hand calc.= 0.49s
T from ETABS = 0.54 s < (1.4 * 0.49) = 0.69s  OK

## Slide 47: Structural Design:
Checks:
Base shear check

## Slide 48: Structural Design:
Checks:
Drift cheek
The critical story is ground floor ΔS = 5mm
Maximum Inelastic Response Displacement
ΔM = .7 * 5.5 * 5 = 19.25mm < The limit = 0.025 * 5500 = 137.5 mm.

## Slide 49: Structural Design:
Slab sections reinforcement :
for b1, b2 & ground floor h = 35 cm
for 1st & 2nd floors h = 25 cm

## Slide 50: Structural Design:
Beams Dimensions:
Main beams ( 1m depth & 0.5m width )
Secondary beams is hidden beams with width 0.5m

## Slide 51: Structural Design:
Columns Dimensions:

## Slide 52: Structural Design:
Columns reinforcement:

## Slide 53: Structural Design:
Footing :

## Slide 54: Structural Design:
Basement wall Reinforcements:
H = 30 cm

## Slide 55: Structural Design:
Water Tank Reinforcements :

## Slide 56: Structural Design:
Water Tank Reinforcements :

## Slide 57: Structural Design:
Stairs Reinforcements:

## Slide 58: Mechanical design
Water Supply System
Drainage System
H-VAC System
Fire-fighting System

## Slide 59: Mechanical design
Water Supply System
(water consumption)
Floor | Type | Maximum water consumption
G.F | Flush Toilet | 1764 liter/ day
 | Flus Urinal | 154 liter/ day
 | Lavatories | 600 liter/ day
F.F | Flush Toilet | 97 liter/ day
 | Lavatories | 332 liter/ day
S.F | Flush Toilet | 840 liter/ day
 | Lavatories | 285 liter/ day
 | Kitchen | 1660 liter/ day
Annual consumption for fresh water:
192 m3 /365 days
→ 2.6 m3 /5 days. (In critical case)
Annual consumption for flush tank
66.1 m3 /year
→ 0.91 m3 /5 days → 1 m3 /5 days
The flow required per F.H.S is 379 liters / minute. 5 * 379 * 30 = 56850 liters = 57 m3 (In critical case).

## Slide 60: Mechanical design
Water Supply System

## Slide 61: First floor water supply system paln

## Slide 62: Mechanical design
Drainage System
Storm water :
the annual rainfall rate in Nablus is 600 mm, there are 450 m2 of roofs in the building exposed to rainwater.
0.6 * 450 = 270 m3 → 250 m3 usable

## Slide 63: Mechanical design
Drainage System

## Slide 64: Mechanical design
Drainage System

## Slide 65: Mechanical design
fire-fighting System

## Slide 66: Mechanical design
means of egress

## Slide 67: HVAC Design
We select variable refrigerant volume with separated mechanical ventilation system to be used in the building. VRV system consists of outdoor unit, indoor units, and liquid & gas pipes. With VRT technology.
Separate ventilation system for high occupancy space , Toilets & Garages.

## Slide 68: HVAC Design
Colling Load
Floor | Zone | Design Capacity (kW)
 | Lobby | 15.21
Ground Floor | Multipurpose | 58.43
 | Corridor | 6.86
 | Office3 | 1.66
 | Corridor | 24.57
 | Meeting Room | 5.26
 | Administration Office | 2.59
1stFloor | Office2 | 1.75
 | Office1 | 1.69
 | Rest | 3.32
 | Kitchenettes | 0.56
 | Guest | 40.67
2ndFloor | Kitchen | 1.76
Total |  | 164.67

## Slide 69: HVAC Design
Heating Load
Floor | Zone | Design Capacity (kW)
 | Lobby | 9.73
Ground Floor | Multipurpose | 45.17
 | Corridor | 6.21
 | Office 3 | 1.66
 | Corridor | 17.92
1stFloor | Meeting Room | 6.06
 | Administration Office | 2.64
 | Office 2 | 1.72
 | Office 1 | 1.68
 | rest | 4.1
 | Kitchenettes | 0.54
2ndFloor | Guest | 35.37
 | Kitchen | 1.1
Total |  | 133.9

## Slide 70: Out door unit design

## Slide 71: Indoor unit design

## Slide 72: High Occupancy spaces ventilation system

## Slide 73: Ground flor HVAC Plan

## Slide 74: First floor HVAC Plan

## Slide 75: Second floor HVAC Plan

## Slide 76: Garages Ventilation system

## Slide 77: Basement 1 HVAC Plan

## Slide 78: Basement 2 HVAC Plan

## Slide 79: Electrical Design
Wiring Connections & Socket distributions.
Artificial Lighting

## Slide 80: Ground Floor lighting wiring connections plan
Electrical Design

## Slide 81: Ground Floor Sockets Plan
Electrical Design

## Slide 82: Electrical Design
Ground Floor Circuit Breaker

## Slide 83: Electrical design
Artificial lighting
 | E (lux) | U | MAX UGR
Stage area | 520 > 500 | 0.72 > 0.6 | 18.4 < 19
Seating area | 363 > 300 | 0.58 < 0.6 | 18.8 < 19
multipurpose hall

## Slide 84: Electrical design
Artificial lighting
Offices and meeting room
 | E (lux) | U | MAX UGR
Table surface | 528 > 500 | 0.73 > 0.6 | 17.6 < 19
Surrounding | 439 > 300 | 0.60 = 0.6 | 17.6 < 19

## Slide 85: Electrical design
Artificial lighting
Garages
 | E (lux) | U | MAX UGR
Stage area | 219 > 200 | 0.43> 0.4 | 24.5 < 25

## Slide 86: Cost Analysis

## Slide 87: Conclusion
1. Improvement in building functionality & Highlight the building.
2. Improvement in building thermal behavior.
3. Improvement in acoustical design.
4. Structural seismic design.
4. Use of rain water.
5.Efficient firefighting systems & egress plans.
6. Efficient HVAC system.
7. Design takes into account people with special needs by providing ramps & elevator.
8. Electrical lighting wiring take into account natural lighting.

## Slide 88
THANK YOU