## Slide 1
HAJJA BASIC SCHOOL
An-Najah National University Building Engineering Department
Prepared By:
Baha 'a Mohammad
Haitham Awayes
Odai Said Salahat
Supervisor:
Eng. Ala’a Shaheen

## Slide 2: Contents
Architectural
Site and location
Environmental design
Structural Design
Electro- Mechanical Design
Cost estimation
Fire and safety
Introduction

## Slide 3: Introduction
The school environment is a part of the general environment, and has its own characteristics that are different from other environments.
Statistics indicate an increase in the number of students year after year and the need for new schools continuously to provide a good educational environment for children.
Total number of students is 288 ( 2019/2020).
Total number of employees is 12 .

## Slide 4: Site Description
Located to the east of Qalqilya.
Total area of the site is 2052 m².
It is surrounded by Secondary school from west, and there are houses at east .
The facility is reached by one road has an entrance leading inside, the road has a width of 6 m.

## Slide 5: Architectural Modifications
Emergency stairs
Recourses Room
Before
After
Before
After

## Slide 6: Architectural Modifications
Toilets
Before
After
Storage
Before
After

## Slide 7: Architectural Plans
Ground Floor plan

## Slide 8
First Floor plan

## Slide 9
Site plan

## Slide 10: Elevations
West
East

## Slide 11: Elevations
South
North

## Slide 12: Sections
Section A-A
Section B-B

## Slide 13: Environmental design
Material properties
Thermal behavior
Ventilation
Daylighting
shading
Acoustical Comfort

## Slide 14
U – value
0.5 w/m2.k
External wall
Internal wall
U – value
0.657 w/m2.k
Material properties

## Slide 15: Thermal Analysis
Total design heating capacity = 50 kW
Number of uncomfortable hour = 177.5 hour/year .
Temperature
22 C
Thermal comfort Analysis

## Slide 16
Daylight analysis for the model for the ground floor before and after modification
Before
After
Daylight analysis

## Slide 17
Daylight analysis for southern classroom before and after modification
Before
After
Daylight analysis

## Slide 18: Ventilation
Natural ventilation is obtained through cross way.

## Slide 19: Shading
Horizontal cantilevers were added to windows in south facade for the decreasing process of solar gain through glass, and deciduous trees use for east elevation.

## Slide 20
The overshadowing analyses show that the amenity have at least 2 hours during work time for 50% and more of sunlight which is within the standard.
Shading in 21/3 at 8:00AM
Over Shadowing
20
Shading in 21/3 at 10:00AM

## Slide 21
Shading in 21/3 at 12:00PM
21
Shading in 21/3 at 2:00PM

## Slide 22: Acoustical Design
Classroom
Entrance
library
Corridor
Office
First aid room
Outside
Designed spaces:

## Slide 23: Acoustical Design
Loudspeakers
Classroom
Entrance
Outside

## Slide 24
Classroom
Entrance
Outside

## Slide 25: Loud speaker for ground floor

## Slide 26: STC & OITC

## Slide 27: Structural Design
Material properties
Verification checks
Seismic checks
Design and detailing
Codes

## Slide 28: Structural Design
Codes
ACI 318M-14
ASCE
UBC 97
AISC LRFD
Material Properties
Reinforced Concrete
Property | Value
Compressive strength fʹc for substructure | 28 MPa
Compressive strength fʹc for super structure | 24 MPa
28

## Slide 29
Reinforcing Steel Structural Steel
Property | Value
Grade | Grade 60
Modulus of elasticity | 200 GPa
Yielding strength | 420 MPa
Ultimate strength | 620 MPa
Property | Value
Grade | Grade 50
Modulus of elasticity | 200 GPa
Yielding strength | 250 MPa
Ultimate strength | 450 MPa
Load | Value
Live load | 5 kN/m²
Super imposed dead load | 4.5 kN/m²
Snow load | 0.5 kN/m²
Wind load | 0.7 kN/m²
Designed Loads
29

## Slide 30
seismic load
Seismic zone factor Z = 2B
Soli profile: Stiff soil with site classification C
Seismic coefficient Ca =0.24
Seismic coefficient Cv = 0.32
Force reduction factor R=5.5
30

## Slide 31
Structural blocks
31

## Slide 32
Columns center
32

## Slide 33
Verifications checks
Compatibility check
Equilibrium check
Internal Forces check
Block 2
Block 1
33

## Slide 34
Verifications checks
Equilibrium check
Block 2
Block 1
34

## Slide 35
Verifications checks
Internal Forces check
Block 2
Block 1
35

## Slide 36
Seismic load checks
Mass participation ratio for modal analysis check
36

## Slide 37
Seismic load checks
Drift check
Block 1
Block 2
37

## Slide 38
ETABS Checks
Base Shear check
Structural aspects
For this check make sure base shear from response spectrum cases equal or more than base shear from equivalent static method through modifying scale factor.
Base Shear check for Block 2
Base Shear check for Block 1
38

## Slide 39
Slab system
Block 1 – one-way ribbed slab 20 cm – Drop beams
39

## Slide 40
Slab system
Block 2 – one-way ribbed slab 20 cm – Drop beams
40

## Slide 41
One-way ribbed slab section
Slab Section
41

## Slide 42
Beams Design
42

## Slide 43
Columns Design
Column | Rebar % | Width | Depth | As used | Middle | S (stirrups)
 |  | mm | mm | mm² | bars | mm
C1 | 1.00% | 200 | 500 | 1000 | 8Ø14 | 1Ø10/200
C2 | 1.00% | 250 | 500 | 1250 | 10Ø14 | 1Ø10/200
C3 | 1.00% | 400 | 500 | 2000 | 10Ø16 | 1Ø10/200
Longitudinal reinforcement steel design
43

## Slide 44
Shear wall Design
44

## Slide 45
Footing Design
45

## Slide 46
Footing Design
46

## Slide 47
Footing Design
47

## Slide 48
Water tank
48

## Slide 49
Steel Design
49

## Slide 50
Steel Design
Group | Section (mm)
Purlins | TUBO 30×60×3.6
Beams | TUBO 600×600×5.9
columns | TUBO 600×600×5.9
50

## Slide 51
Connection Design
51

## Slide 52
Connection Design
Base plate
52

## Slide 53
Stairs Design
53

## Slide 54: Mechanical design
Water system
Drainage system
Central Heating system
Fire Fighting

## Slide 55: Water system

## Slide 56: Water system
Diameter Of Pipes
Vertical | Horizontal | Branch
2 '' | 1.25'' | 0.75''

## Slide 57: Drainage system

## Slide 58: Drainage system
Rain water drainage

## Slide 59
Total Design Heating load = 50 kW
Central Heating system

## Slide 60: Distribution of Radiator for the ground floor

## Slide 61: Distribution of Radiator for the first floor

## Slide 62: Fire Fighting

## Slide 63: Fire Fighting

## Slide 64: Emergency Exits

## Slide 65: Electrical design
Socket distribution
Artificial lighting
Low Voltage System
PV system

## Slide 66: Electrical design Socket distribution

## Slide 67
The selected Luminaires
Artificial lighting
Lighting with switches

## Slide 68
Illuminance result from DIALux evo for the classroom .

## Slide 69
Library
Headmaster room
Result from DIALux evo

## Slide 70: Light and switch distribution

## Slide 71: Light and switch distribution

## Slide 72: Low voltage distribution

## Slide 73
PV system
73
Cash flow chart

## Slide 74: Quantity surveying and cost estimation
1. Total project cost is ILS 2260000
2. Unit cost for project ILS 1350 per m²
3. Unit cost for structural work ILS 960 per m²
4. Unit cost for mechanical work ILS 50 per m²
5. Unit cost for electrical work ILS 120 per m²

## Slide 75
Chart: Percentage of works cost from total cost
| Sub-Structure | Super-Structure | Site work | Mechanical work | Electrical work
Sales | 2 | 10 | 1.3 | 1 | 2